DST-FIST Equipment Details for ISTEM Registration

Brief Description

The Electron Beam Evaporation System is a versatile thin-film deposition tool used for depositing high-quality metallic and dielectric films under high-vacuum conditions. It supports research and development in semiconductor device fabrication, MEMS, nanotechnology, optoelectronics, and advanced materials by enabling precise control over film thickness, deposition rate, and material purity. The system is widely used for contact metallization, thin-film device fabrication, and functional coating applications.

Equipment Information

Equipment Name:
Physical Vapour Deposition System – Automated Electron Beam Evaporation

Equipment Category:
Thin Film Deposition / Physical Vapour Deposition (PVD)

Manufacturer:
HHV (Hind High Vacuum)

Model:
ATS 500

Serial Number:
(D1337)

Year of Installation:
2023–2024

Funding Agency:
Department of Science and Technology – Fund for Improvement of S&T Infrastructure (DST-FIST)

Purchase Value:
₹92,99,580 (INR)

Technical Specifications

The HHV ATS 500 Electron Beam Evaporation System is a high-vacuum Physical Vapour Deposition (PVD) system designed for the deposition of high-purity metal and dielectric thin films for semiconductor, MEMS, optoelectronic, and nanotechnology applications.

Key Specifications:

- Deposition Technique: Electron Beam (E-beam) Evaporation

- High-vacuum deposition chamber

- Multi-pocket electron beam hearth for multiple materials

- Suitable for deposition of high-melting-point metals, oxides, and dielectric materials

- High-purity thin film deposition with excellent adhesion and uniformity

- Computer-controlled deposition process

- Quartz Crystal Microbalance (QCM) for real-time deposition rate and thickness monitoring

- Substrate holder with rotation for improved film uniformity

- Programmable deposition recipes

- Suitable for wafer sizes up to 4 inches (100 mm) and small substrates

- Base vacuum: Better than 1 × 10⁻⁶ mbar (typical)

- Applications include semiconductor metallization, optical coatings, MEMS fabrication, sensor development, and research in advanced functional materials.

- E beam Power: 6 KW

- Lowest thickness:  2 nm

Location

- Building: E Block

- Department: Mechanical Engineering/ Clean Room / Semiconductor Device Fabrication Facility

- Room Number: E-209

Contact Person / Facility Manager

Faculty In-charge:
Prof. Satish Kumar Dubey

Facility Manager:
Mr. Narayana Rao Gurram

Availability:

Allowed for Internal and external users

Usage Charges:

| S. No | Internal users | External academic users | Industry users |
| --- | --- | --- | --- |
|  | 500/hr | 1000/hr | 2000/hr |

Minimum slot booking time: 5 hr