## Sheet1
S.No | Equipment Name | Name of Equipment Technologist/Operator | Email id of Equipment Technologist/Operator | Contact No. (Mobile No.) of Equipment Technologist/Operator | Approved Abbreviation | Landmark/Location (Room No.) | Make (Manufacturer of Equipment) | Model No. | Funding Agency Type (External/Instituion) | Funding Agency Details (Use Comma if multiple) Such as DST, CSIR, ICMR etc. | Equipment Description | Cost of Instrument Sanctioned in the Project | Year of Installation | Present status of Equipment (Up/Down/Under Maintenance) | % of total time to be made available to the external users | Category | Lab/Facility Name | Department Name | Name of Head of the Department | Email id of Head of the Department | Phone No. (Office) of Head of the Department | Name of Department Representative | Contact No. of Department Representative | Email id of Department Representative | Name of Faculty Incharge of Facility | Email id of Faculty Incharge of Facility | Contact No. of Faculty Incharge of Facility | Name of Departments (in case Faculty Incharge belongs to multiple departments) | Name of Departments (in case Equipment Technologist/Operator belongs to multiple departments) | Name of the Project | Duration (From Year - To Year)
1 | Vickers hardness tester | Dr. G. V. S. Nageswara Rao, P Anil Kumar/G. Damodhar Naidu | gvsnr@nitw.ac.in, anilkumar.puli35@gmail.com, gd720067@student.nitw.ac.in | 8332969382, 9989653739, 7416280080 | ---- | MM224 | Matsuzawa | VMT X7 | External | DAE-BRNS | To measure the Vickers hardness values of various materials | Rs.10,22,472/- | 2014-09-01 | up | 25-30% | ---- | Materials testing laboratory | Department of Metallurgical and Materials Engineering | Dr. T. Mahesh Kumar | mme_hod@nitw.ac.in | 9490165345 | Dr. G. V. S. Nageswara Rao | 8332969382 | gvsnr@nitw.ac.in | Dr. G. V. S. Nageswara Rao | gvsnr@nitw.ac.in | 8332969382 | ---- | ---- | Development and evaluation of wear properties of boron carbide and chromium diboride for control rod applications in nuclear reactor | 3 years, 2013 - 2016
2 | Leica optical microscope with image analysis | Dr. G. V. S. Nageswara Rao, P Anil Kumar/G. Damodhar Naidu | gvsnr@nitw.ac.in, anilkumar.puli35@gmail.com, gd720067@student.nitw.ac.in | 8332969382, 9989653739, 7416280080 | ---- | MM224 | LEICA | DMi8A | External | DAE-BRNS | To carryout the optical microstructural studies | Rs.33,78,894/- | 2016 | up | 25-30% | ---- | Materials testing laboratory | Department of Metallurgical and Materials Engineering | Dr. T. Mahesh Kumar | mme_hod@nitw.ac.in | 9490165345 | Dr. G. V. S. Nageswara Rao | 8332969382 | gvsnr@nitw.ac.in | Dr. G. V. S. Nageswara Rao | gvsnr@nitw.ac.in | 8332969382 | ---- | ---- | Enhancement of Type-IV cracking resistance of modified 9Cr-1Mo ferritic steel by thermo mechanical treatment | 3 years, 2014 - 2017
3 | Linear precision saw | Dr. G. V. S. Nageswara Rao, P Anil Kumar/G. Damodhar Naidu | gvsnr@nitw.ac.in, anilkumar.puli35@gmail.com, gd720067@student.nitw.ac.in | 8332969382, 9989653739, 7416280080 | ---- | MM224 | Buehler | Isomet 4000 | External | AR&DB | To cut the samples precisely | Rs.6,52,000/- | 2010-06-18 | up | 25-30% | ---- | Materials testing laboratory | Department of Metallurgical and Materials Engineering | Dr. T. Mahesh Kumar | mme_hod@nitw.ac.in | 9490165345 | Dr. G. V. S. Nageswara Rao | 8332969382 | gvsnr@nitw.ac.in | Dr. G. V. S. Nageswara Rao | gvsnr@nitw.ac.in | 8332969382 | ---- | ---- | Improvement of Tribological Properties of Titanium alloys | 3 years, 2008 - 2011
4 | Vibromet2 | Dr. G. V. S. Nageswara Rao P. Anil Kumar/G. Damodhar Naidu | gvsnr@nitw.ac.in, anilkumar.puli35@gmail.com, gd720067@student.nitw.ac.in | 8332969382, 9989653739, 7416280080 | ---- | MM224 | Buehler | Vibromet2 |  |  | High end polishing, to prepare samples for EBSD, FESEM studies | Rs.12,00,000/- | 2012 | up | 25-30% | ---- | Materials testing laboratory | Department of Metallurgical and Materials Engineering | Dr. T. Mahesh Kumar | mme_hod@nitw.ac.in | 9490165345 | Dr. G. V. S. Nageswara Rao | 8332969382 | gvsnr@nitw.ac.in | Dr. G. V. S. Nageswara Rao | gvsnr@nitw.ac.in | 8332969382 | ---- | ----
5 | Micro vickers hardness tester | Dr. G. V. S. Nageswara Rao P. Anil Kumar/G. Damodhar Naidu | gvsnr@nitw.ac.in, anilkumar.puli35@gmail.com, gd720067@student.nitw.ac.in | 8332969382, 9989653739, 7416280080 | ---- | MM224 | Shimadzu | HMV-2000 |  |  | To measure the Vickers hardness values on perticluar phases of material | Rs.6,00,000/- | 1996 | Under maintanence | 25-30% | ---- | Materials testing laboratory | Department of Metallurgical and Materials Engineering | Dr. T. Mahesh Kumar | mme_hod@nitw.ac.in | 9490165345 | Dr. G. V. S. Nageswara Rao | 8332969382 | gvsnr@nitw.ac.in | Dr. G. V. S. Nageswara Rao | gvsnr@nitw.ac.in | 8332969382 | ---- | ----
6 | Resonance Frequency Damping Analyser Professional | Dr. G. V. S. Nageswara Rao P. Anil Kumar/G. Damodhar Naidu | gvsnr@nitw.ac.in, anilkumar.puli35@gmail.com, gd720067@student.nitw.ac.in | 8332969382, 9989653739, 7416280080 | ---- | MM224 | IMCE | RFDA Professional | External | DAE-BRNS | To get the basic material parameters such as E, G and poisson's values | Rs.14,06,970/- | 2015 | up | 25-30% | ---- | Material testing laboratory | Department of Metallurgical and Materials Engineering | Dr. T. Mahesh Kumar | mme_hod@nitw.ac.in | 9490165345 | Dr. G. V. S. Nageswara Rao | 8332969382 | gvsnr@nitw.ac.in | Dr. G. V. S. Nageswara Rao | gvsnr@nitw.ac.in | 8332969382 | ---- | ---- | Development and evaluation of wear properties of boron carbide and chromium diboride for control rod applications in nuclear reactor | 3 years, 2013 - 2016
7 | Pin on disc wear testing machine | Dr. G. V. S. Nageswara Rao P. Anil Kumar/G. Damodhar Naidu | gvsnr@nitw.ac.in, anilkumar.puli35@gmail.com, gd720067@student.nitw.ac.in | 8332969382, 9989653739, 7416280080 | ---- | MMG06 | Ducom | TR-20LE | External | MHRD (R&D) | To understood the tribological properties of material |  | 2006-09-23 | up | 25-30% | ---- | High temperature materials testing laboratory | Department of Metallurgical and Materials Engineering | Dr. T. Mahesh Kumar | mme_hod@nitw.ac.in | 9490165345 | Dr. G. V. S. Nageswara Rao | 8332969382 | gvsnr@nitw.ac.in | Dr. G. V. S. Nageswara Rao | gvsnr@nitw.ac.in | 8332969382 | ---- | ---- | Surface Modification of Ti alloys used for Biomedical Implants | 3 years, 2005 - 2008
8 | Erosion tester | Dr. G. V. S. Nageswara Rao P. Anil Kumar/G. Damodhar Naidu | gvsnr@nitw.ac.in, anilkumar.puli35@gmail.com, gd720067@student.nitw.ac.in | 8332969382, 9989653739, 7416280080 | ---- | MMG06 | Ducom | TR - 470 |  |  | To study the erosion properies | Rs.5,00,000/- | 2011 | up | 25-30% | ---- | High temperature materials testing laboratory | Department of Metallurgical and Materials Engineering | Dr. T. Mahesh Kumar | mme_hod@nitw.ac.in | 9490165345 | Dr. G. V. S. Nageswara Rao | 8332969382 | gvsnr@nitw.ac.in | Dr. G. V. S. Nageswara Rao | gvsnr@nitw.ac.in | 8332969382 | ---- | ----
9 | Creep testing machine (1 No) | Dr. G. V. S. Nageswara Rao P. Anil Kumar/G. Damodhar Naidu | gvsnr@nitw.ac.in, anilkumar.puli35@gmail.com, gd720067@student.nitw.ac.in | 8332969382, 9989653739, 7416280080 | ---- | MMG06 | ATS | 03-1568-2-04 |  |  | To study creep deformation and rupture life of the materials | Rs.14,00,000/- | 2007 | up |  | ---- | High temperature materials testing laboratory | Department of Metallurgical and Materials Engineering | Dr. T. Mahesh Kumar | mme_hod@nitw.ac.in | 9490165345 | Dr. G. V. S. Nageswara Rao | 8332969382 | gvsnr@nitw.ac.in | Dr. G. V. S. Nageswara Rao | gvsnr@nitw.ac.in | 8332969382 | ---- | ---- | AICTE-R&D | 1999-2002
10 | Creep testing machines (18 Nos) | Dr. G. V. S. Nageswara Rao P. Anil Kumar/G. Damodhar Naidu | gvsnr@nitw.ac.in, anilkumar.puli35@gmail.com, gd720067@student.nitw.ac.in | 8332969382, 9989653739, 7416280080 | ---- | MMG06 | STS | 9018 | External | Mission Directorate, AUSC, IGCAR | To study creep deformation and rupture life of the materials | Rs.3,75,43,905/- | 2018-19 | up |  | ---- | High temperature materials testing laboratory | Department of Metallurgical and Materials Engineering | Dr. T. Mahesh Kumar | mme_hod@nitw.ac.in | 9490165345 | Dr. G. V. S. Nageswara Rao | 8332969382 | gvsnr@nitw.ac.in | Dr. G. V. S. Nageswara Rao | gvsnr@nitw.ac.in | 8332969382 | ---- | ---- | Generation of Creep Data of wrought Alloys of 617M and 304HCu | 2 years, 2018 (on - going)
11 | Servo electric fatigue testing systems (2 Nos) | Dr. G. V. S. Nageswara Rao P. Anil Kumar/G. Damodhar Naidu | gvsnr@nitw.ac.in, anilkumar.puli35@gmail.com, gd720067@student.nitw.ac.in | 8332969382, 9989653739, 7416280080 | ---- | MMG06 | BISS | Electra-100 (UT-20-0100) | External | Mission Directorate, AUSC, IGCAR | Creep fatigue interaction, Low cycle fatigue | Rs.2,10,26,010/- | 2019-20 | up |  | ---- | High temperature materials testing laboratory | Department of Metallurgical and Materials Engineering | Dr. T. Mahesh Kumar | mme_hod@nitw.ac.in | 9490165345 | Dr. G. V. S. Nageswara Rao | 8332969382 | gvsnr@nitw.ac.in | Dr. G. V. S. Nageswara Rao | gvsnr@nitw.ac.in | 8332969382 | ---- | ---- | a) Evaluation of Creep-Fatigue interaction properties of Alloy 617M forging (b) Evaluation of Creep-Fatigue interaction properties of 625 casting | 15 months, 2018
12 | Muffle furnace | Dr. G. V. S. Nageswara Rao P. Anil Kumar/G. Damodhar Naidu | gvsnr@nitw.ac.in, anilkumar.puli35@gmail.com, gd720067@student.nitw.ac.in | 8332969382, 9989653739, 7416280080 | ---- | MMG06 | Therelek | REC-22038 A2 | External | DAE-BRNS | To carryout the heat treatment studies | Rs.2,86,861/- | 2016 | up | 25-30% | ---- | High temperature materials testing laboratory | Department of Metallurgical and Materials Engineering | Dr. T. Mahesh Kumar | mme_hod@nitw.ac.in | 9490165345 | Dr. G. V. S. Nageswara Rao | 8332969382 | gvsnr@nitw.ac.in | Dr. G. V. S. Nageswara Rao | gvsnr@nitw.ac.in | 8332969382 | ---- | ---- | Enhancement of Type-IV cracking resistance of modified 9Cr-1Mo ferritic steel by thermo mechanical treatment | 3 years, 2014 - 2017
13 | Universal testing machine | Dr. G. V. S. Nageswara Rao P. Anil Kumar/G. Damodhar Naidu | gvsnr@nitw.ac.in, anilkumar.puli35@gmail.com, gd720067@student.nitw.ac.in | 8332969382, 9989653739, 7416280080 | ---- | MMG06 | Shimadzu | Autograph (AG - X/R) | External | AICTE (MODROB) | To carryout the tensile, compression studies & High Temperature Tensile tests | Rs.22,00,000/- | 1996 | up |  | ---- | High temperature materials testing laboratory | Department of Metallurgical and Materials Engineering | Dr. T. Mahesh Kumar | mme_hod@nitw.ac.in | 9490165345 | Dr. G. V. S. Nageswara Rao | 8332969382 | gvsnr@nitw.ac.in | Dr. G. V. S. Nageswara Rao | gvsnr@nitw.ac.in | 8332969382 | ---- | ---- | AICTE-MODROB | 1995 - 1997