## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Surface Area Analyser for Powders | SAA | Room No: 336, GICT Building, Ahmedabad University | Smart Instruments Pvt. Ltd | Multi Point BET SMART SORB 93 |  | Internal | Ahmedabad University |  | Surface area analyzer is based on dynamic BET principle. Nitrogen gas is used for adsorption. The dynamic flow method uses a high sensitive thermal conductivity detector to measure the change in the concentration of an adsorbate/ carrier gas mixture during adsorption or desorption process. It determines the surface area at single point and it can be enhanced for measuring multi point surface area and total pore volume analysis with different gas mixture percentage. The user friendly software stores data and computes the final surface area value. | School of Engineering and Applied Science | GICT Building | 843780 | - | Functional | Analytical | - | - | - | - | - | Sridhar Dalai | sridhar.dalai@ahduni.edu.in | grants.office@ahduni.edu.in
Gas chromatography | GC | Room No: 336, GICT Building, Ahmedabad University | NUCON | 5765 | - | Internal | Ahmedabad University |  | Gas chromatography (GC) is a common type of chromatography used in analytic chemistry for separating and analysing compounds that can be vaporized without decomposition. Typical uses of GC include testing the purity of a particular substance, or separating the different components of a mixture (the relative amounts of such components can also be determined). GC helps in identification of some compounds. In preparative chromatography, GC can be used to prepare pure compounds from a mixture. | School of Engineering and Applied Science | GICT Building | 505000 | - | Functional | Analytical | - | - | - | - | - | Aditi Singhal | aditi.singhal@ahduni.edu.in | grants.office@ahduni.edu.in
High Performance Liquid Chromatograph | HPLC | Room No: 336, GICT Building, Ahmedabad University | Shimadzu | Prominence - I LC 2030 Plus |  | Internal | Ahmedabad University |  | HPLC is used for precise measurement of the concentrations of individual compounds in a mixture. It is one of the widely used techniques in the fields like: clinical research, biochemical research and Industrial quality control, etc. The principle involved in HPLC testing is the separation of compounds in a mixture. Segregation of compounds is due to their relative differences in travel through the column on the application of pressure exerted through the mobile phase or carrying liquid. | School of Engineering and Applied Science | GICT Building | 1600000 | - | Functional | Analytical | - | - | - | - | - | Snigdha Khuntia | snigdha.khuntia@ahduni.edu.in | grants.office@ahduni.edu.in
Thermogravimetric Analysis | TGA | Room No: 336, GICT Building, Ahmedabad University | incarp | STA7300 Hitachi | - | Internal | Ahmedabad University |  | Thermogravimetric analysis (TGA) is a powerful technique for measuring the thermal stability of materials, including polymers. In this method, changes in the weight of a specimen are measured while its temperature is increased. TGA can measure the moisture and volatile contents of a sample. The apparatus consists of an empathetic scale to measure weight changes and a programmable furnace to control the sample's heat. | School of Engineering and Applied Science | GICT Building | 2500000 | - | Functional | Analytical | - | - | - | - | - | Sridhar Dalai | sridhar.dalai@ahduni.edu.in | grants.office@ahduni.edu.in
X- Ray Diffractometer | XRD | Room No: 336, GICT Building, Ahmedabad University | Rigaku | Rigaku |  | Internal | Ahmedabad University |  | X-ray diffraction analysis (XRD) is a technique used in materials science to determine the crystallographic structure of a material. XRD works by irradiating a material with incident X-rays and then measuring the intensities and scattering angles of the X-rays that leave the material.A primary use of XRD analysis is the identification of materials based on their diffraction pattern. As well as phase identification, XRD also yields information on how the actual structure deviates from the ideal one, owing to internal stresses and defects | School of Engineering and Applied Science | GICT Building | 5300000 |  | Functional | Analytical | - | - | - | - | - | Sridhar Dalai | sridhar.dalai@ahduni.edu.in | grants.office@ahduni.edu.in
UV Spectrophotometer | UV-Vis | Room No: 335, GICT Building, Ahmedabad University | Perkin-Elmer, | Lambda 365 |  | Internal | Ahmedabad University |  | UV-Visible Spectroscopy is based on the absorption of ultraviolet light or visible light by chemical compounds, which results in the production of distinct spectra. Spectroscopy is based on the interaction between light and matter. Applications of UV-Vis spectroscopy, Characterization of smaller nanoparticles, Examination of structural protein changes by tracking changes in peak wavelength absorbance, Determination of battery composition, Kinetic and monitoring studies of dyes and dye byproducts. | School of Engineering and Applied Science | GICT Building | 1033000 |  | Functional | Analytical | - | - | - | - | - | Snigdha Khuntia | snigdha.khuntia@ahduni.edu.in | grants.office@ahduni.edu.in
Karl Fischer Titrator |  | Room No: 335, GICT Building, Ahmedabad University | Spectralab Instruments Pvt. Ltd. | Whiz Stans Alon | - | Internal | Ahmedabad University |  | Karl Fischer Titrator is used to measure moisture Content of solid , liquid | School of Engineering and Applied Science | GICT Building | 236250 |  | Functional | Analytical | - | - | - | - | - | Dharamashi Rabari | dharamashi.rabari@ahduni.edu.in | grants.office@ahduni.edu.in
Electronic Spin Resonator Spectrometer | ESR | Room No: 336, GICT Building, Ahmedabad University | Bruker/Magnettech | MS- 500 | - | Internal | Ahmedabad University |  | ESR spectroscopy is a versatile technique that is used for both qualitative and quantitative assessments of chemical paramagnetic species such as free radicals, transition metal ions, organic radicals and certain coordination compounds. ESR provides insights of electronic structures of such species. | School of Engineering and Applied Science | GICT Building | 6687000 | - | Functional | Analytical | - | - | - | - | - | Ramya Srinivasan | ramya.srinivasan@ahduni.edu.in | grants.office@ahduni.edu.in
Total Organic Carbon Analyzer | TOC | Room No: 336, GICT Building, Ahmedabad University | Shimandzu | TOC-L CPH EN | - | Internal | Ahmedabad University |  | On-line TOC analyzers offer uninterrupted monitoring of total organic carbon levels for a range of water purity levels. With real-time results, continuous TOC analyzers allow for immediate, preventative actions when excursions are detected to offset potential contamination and ensure regulatory compliance requirements are met. | School of Engineering and Applied Science | GICT Building | 2790700 |  | Functional | Analytical | - | - | - | - | - | Snigdha Khuntia | snigdha.khuntia@ahduni.edu.in | grants.office@ahduni.edu.in
Vector Network Analyzer | VNA | Room No. 224, GICT Building, Ahmedabad University | Keysight Technlogies | E5063A |  | Internal | Ahmedabad University |  | S- parameter measurement of a 2-port network. To measure the frequency response of components, capturing both amplitude and phase of high-frequency signals at each frequency point. | School of Engineering and Applied Science | GICT Building | 2183000 | - | Functional | Analytical | - | - | - | - | - | Sanket Patel | sanket.patel@ahduni.edu.in | grants.office@ahduni.edu.in
Particle Image Velocitimetry | PIV | Room No: G1, AG Teacher College, Ahmedabad University | TSI Instruments India Private Limited | - | - | Internal | Ahmedabad University |  | Macro-PIV is a particle-image velocimetry (PIV) system that measures the velocity distribution of a flow field on a large scale. This instrument is based on non-invasive optical technique that uses tracer particles to visualize fluid flow. In the PIV system, a fluid is seeded with tracer particles. A laser associated with the PIV instrument, helps to illuminate a thin sheet of the fluid. The movement of the particles is captured through a high speed camera. The camera and laser is being controlled by a synchronizer, associated with the instrument. PIV can be used for research as well as education purpose. It has been used to study fluid flows in rotating rigid helices, impellers, flow over bluff bodies, etc. | School of Engineering and Applied Science | AG Teachers Building | 5227500 | - | Functional | Analytical | - | - | - | - | - | Anamika Maurya | anamika.maurya@ahduni.edu.in | grants.office@ahduni.edu.in
Dynamic Fatigue and Fracture Machine |  | G5, Design Research Laboratory, SCS Building, Ahmedabad University | INSTRON | - | - | Internal | Ahmedabad University |  | Fatigue and Fracture Machine is a high-precision testing system designed to evaluate the fatigue and fracture properties of metallicmaterials. These machines are widely used in research and industry to determine how materials behave under cyclic loading and to measure their fracture toughness. | School of Engineering and Applied Science | Design Research Laboratory | 3476051 | - | Functional | Analytical | - | - | - | - | - | Bimal Das | bimal.das@ahduni.edu.in | grants.office@ahduni.edu.in