## Sheet1
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Rate/Hr | Refernce Website | Equipment Status | Category
ATI "Nano" force torque transducers | ATI | CFD First floor (As of now) | ATI Industrial Automation USA | Nano 17, Nano 25 | 101 | Internal Funding | NFSG |  | ATI "Nano" force torque transducers for fingertip force/torque measurements - 6 available (5 of 17 mm dia, one of 25 mm dia) | Applied Mechanics | Varadhan SKM | 0 |  | Up and Running
Polhemus Liberty Electromagnetic tracking sensors | Polhemus | CFD First floor (As of now) | Polhemus, USA | Liberty Microsensors, Liberty Data Acquisition system | 102 | External Funding | DST, CSRI |  | These are electromagnetic trackers that can detect movements of rigid bodies on which they are mounted. Used for tracking hand/finger movements in our lab. Requires a metal-free space for optimal functioning. Requires a very clean dust free room for hassle free operation. | Applied Mechanics | Varadhan SKM | 0 |  | Up and Running
VMG Kinematic gloves | VMG | CFD First floor (As of now) | Virtual motion labs, USA | VMG Glove based kinematics measurement system | 103 | External Funding | DST CSRI Project |  | These are glove based kinematics measurement system that measures hand/finger kinematics. | Applied Mechanics | Varadhan SKM | 0 |  | Awaiting installation.
Surface Plasmon Resonance Instrument | OpenSPR | ASE160 | Nicoya Lifesciences, Canada |  | 104 | External Funding | Indo-German Science and Technology Centre (IGSTC) |  | Gold nanoparticle based plasmonic glass substrates for biomolecular interaction analysis | Applied Mechanics | Dr. V. V. Raghavendra Sai | 0 |  | Running
Multichannel High-sensitivity spectrometer |  | ASE160 | Horiba Instruments Inc., USA | Triax90 spectrometer+ Syncirity Detector | 105 | External Funding | Indo-German Science and Technology Centre (IGSTC) |  | This system allows absorbance measurements from 10 different channels simultaneously. In addition fluorescence and Raman scattering measurements may also be carried out (Provided relavent filters are arranged by users) | Applied Mechanics | Dr. V. V. Raghavendra Sai | 0 |  | Running
Automatic fiber bending machine |  | ASE160 | Indigenious technology |  | 106 | External Funding | Indo-German Science and Technology Centre (IGSTC) |  | Built-inhouse facility to fabricate U-bent fiber optic probes using C)2 LASER and a automated rotational mechanism | Applied Mechanics | Dr. V. V. Raghavendra Sai | 0 |  | Running