## Sheet1
Equipment Name | Approved Abbreviation | Landmark/Location (Room No.) | Make (Manufacturer of Equipment) | Model No. | Funding Agency Type (External/Instituion) | Funding Agency Details (Use Comma if multiple) Such as DST, CSIR, ICMR etc. | Equipment Description | Cost of Instrument Sanctioned in the Project | Year of Installation | Present status of Equipment (Up/Down/Under Maintenance) | % of total time to be made available to the external users | Category | Lab/Facility Name | Department Name | Name of Head of the Department | Email id of Head of the Department | Phone No. (Office) of Head of the Department | Name of Department Representative | Contact No. of Department Representative | Email id of Department Representative | Name of Faculty Incharge of Facility | Email id of Faculty Incharge of Facility | Contact No. of Faculty Incharge of Facility | Name of Departments (in case Faculty Incharge belongs to multiple departments) | Name of Departments (in case Equipment Technologist/Operator belongs to multiple departments) | Name of the Project | Duration (From Year - To Year) | Name of Equipment Technologist/Operator | Email id of Equipment Technologist/Operator | Contact No. (Mobile No.) of Equipment Technologist/Operator
Automated Grinder & Polisher for Rock, Mineral and Ore | NA | Cutting & Polishing Lab | Struers, Denmark | LaboPol 5 | Institution | NIT Raipur | DIA 8 inch / 200 mm, Lid LALID, Cast Iron Disc, MD-Disc, LABOFORCE-1 (Power Head), Specimen Mover Plate, Specimen Holder for Thin Sections | Rs.720759 | 2015 | Up | 20% | Research | Cutting & Polishing Lab | Applied Geology | Dr. P. Diwan | pdiwan.geo@nitrr.ac.in | 9479221399 | Dr. N. Vishwakarma | 9425614577 | nvishwakarma.geo@nitrr.ac.in | Dr. N. Vishwakarma | nvishwakarma.geo@nitrr.ac.in | 9425614577 | Applied Geology | NA | NA | 2015- Present | Dr. N. Vishwakarma | nvishwakarma.geo@nitrr.ac.in | 9425614577
Automated Augate Mortal Pestle | NA | Cutting & Polishing Lab | IKON Make, India | IK- 169 | Institution | NIT Raipur | 150 mm dia., digital timer & digital RPM meter | Rs. 77400 | 2015 | Up | 20% | Research | Cutting & Polishing Lab | Applied Geology | Dr. P. Diwan | pdiwan.geo@nitrr.ac.in | 9479221399 | Dr. N. Vishwakarma | 9425614577 | nvishwakarma.geo@nitrr.ac.in | Dr. N. Vishwakarma | nvishwakarma.geo@nitrr.ac.in | 9425614577 | Applied Geology | NA | NA | 2015- Present | Dr. N. Vishwakarma | nvishwakarma.geo@nitrr.ac.in | 9425614577
Trasmited & Reflected Research Microscope | NA | Petrology Research Lab | Carl Zeiss Make, Germany | AXIOSCOPA1 POL | Institution | NIT Raipur | Transmited & Reflected Light Microscope with Camera Attechment and software for image analysis | Rs. 1944287 | 2014 | Up | 20% | Research | Petrology Research Lab | Applied Geology | Dr. P. Diwan | pdiwan.geo@nitrr.ac.in | 9479221399 | Dr. N. Vishwakarma | 9425614577 | nvishwakarma.geo@nitrr.ac.in | Dr. N. Vishwakarma | nvishwakarma.geo@nitrr.ac.in | 9425614577 | Applied Geology | NA | NA | 2013- Present | Dr. N. Vishwakarma | nvishwakarma.geo@nitrr.ac.in | 9425614577
2.5x Objective for Research Microscope | NA | Petrology Research Lab | Carl Zeiss Make, Germany | 2X Objective | Institution | NIT Raipur | 2.5 X Objective for Research Microscope | Rs. 54857 | 2017 | Up | 20% | Research | Petrology Research Lab | Applied Geology | Dr. P. Diwan | pdiwan.geo@nitrr.ac.in | 9479221399 | Dr. N. Vishwakarma | 9425614577 | nvishwakarma.geo@nitrr.ac.in | Dr. N. Vishwakarma | nvishwakarma.geo@nitrr.ac.in | 9425614577 | Applied Geology | NA | NA | 2017- Present | Dr. N. Vishwakarma | nvishwakarma.geo@nitrr.ac.in | 9425614577
Binacular Ore Microscopes for Students | NA | Optical Lab | CENSIKO Ltd. Agra, India | ORE-TN-O-CXL | Institution | NIT Raipur | Binaocular Transmited & Reflected Microscopes for ore mineral studies with accessories | Rs. 756686 | 2014 | Up | 20% | Research | Optical Lab | Applied Geology | Dr. P. Diwan | pdiwan.geo@nitrr.ac.in | 9479221399 | Dr. N. Vishwakarma | 9425614577 | nvishwakarma.geo@nitrr.ac.in | Dr. N. Vishwakarma | nvishwakarma.geo@nitrr.ac.in | 9425614577 | Applied Geology | NA | NA | 2014- Present | Dr. N. Vishwakarma | nvishwakarma.geo@nitrr.ac.in | 9425614577
Binacular Polarizing Microscopes for Students | NA | Optical Lab | CENSIKO Ltd. Agra, India | POL-BN-O-CXL | Institution | NIT Raipur | Binaocular Transmited Microscopes for Thin Section study of minerals and rocks with accessories | Rs. 740178 | 2014 | Up | 20% | Research | Optical Lab | Applied Geology | Dr. P. Diwan | pdiwan.geo@nitrr.ac.in | 9479221399 | Dr. N. Vishwakarma | 9425614577 | nvishwakarma.geo@nitrr.ac.in | Dr. N. Vishwakarma | nvishwakarma.geo@nitrr.ac.in | 9425614577 | Applied Geology | NA | NA | 2014- Present | Dr. N. Vishwakarma | nvishwakarma.geo@nitrr.ac.in | 9425614577
Schmidt Hammer | NA | Petrology Research Lab | Proceq Make, Switzerland | Proceq N Type | Institution | NIT Raipur | Original Manual Proceq Schmidt Rebound Hammer | Rs.116550 | 2018 | Up | 20% | Research | Optical Lab | Applied Geology | Dr. P. Diwan | pdiwan.geo@nitrr.ac.in | 9479221399 | Dr. N. Vishwakarma | 9425614577 | nvishwakarma.geo@nitrr.ac.in | Dr. N. Vishwakarma | nvishwakarma.geo@nitrr.ac.in | 9425614577 | Applied Geology | NA | NA | 2018 - Present | Dr. N. Vishwakarma | nvishwakarma.geo@nitrr.ac.in | 9425614577
Diamod Saw Rock Cutting Machine | NA | Cutting & Polishing Lab | STRIPLEX, India | CW 1 | College Fund | GEC Raipur | Rock Cutting Machine with Diamond Saw (Manual) | Rs. 7995 | 1984 | Up | 20% | Research | Cutting & Polishing Lab | Applied Geology | Dr. P. Diwan | pdiwan.geo@nitrr.ac.in | 9479221399 | Dr. N. Vishwakarma | 9425614577 | nvishwakarma.geo@nitrr.ac.in | Dr. N. Vishwakarma | nvishwakarma.geo@nitrr.ac.in | 9425614577 | Applied Geology | NA | NA | 1984 - Present | Dr. N. Vishwakarma | nvishwakarma.geo@nitrr.ac.in | 9425614577
Grinding Machine | NA | Cutting & Polishing Lab | Assembled | Not Available | College Fund | GEC Raipur | Rock Grinding Machine (Manual) | Not Available | Not Available | Up | 20% | Research | Cutting & Polishing Lab | Applied Geology | Dr. P. Diwan | pdiwan.geo@nitrr.ac.in | 9479221399 | Dr. N. Vishwakarma | 9425614577 | nvishwakarma.geo@nitrr.ac.in | Dr. N. Vishwakarma | nvishwakarma.geo@nitrr.ac.in | 9425614577 | Applied Geology | NA | NA | Present | Dr. N. Vishwakarma | nvishwakarma.geo@nitrr.ac.in | 9425614577
Grinding Machine | NA | Cutting & Polishing Lab | Assembled | Not Available | College Fund | GEC Raipur | Rock Grinding Machine (Manual) | Not Available | Not Available | Up | 20% | Research | Cutting & Polishing Lab | Applied Geology | Dr. P. Diwan | pdiwan.geo@nitrr.ac.in | 9479221399 | Dr. N. Vishwakarma | 9425614577 | nvishwakarma.geo@nitrr.ac.in | Dr. N. Vishwakarma | nvishwakarma.geo@nitrr.ac.in | 9425614577 | Applied Geology | NA | NA | Present | Dr. N. Vishwakarma | nvishwakarma.geo@nitrr.ac.in | 9425614577
Multiparameter | NA | Hydrogeology Lab | WTW-Xylem Analytics | WTW 2FD56G | Institution | NIT Raipur | Digital measurement with two universal measuring channels with the Multi 3620 IDS – pH, ORP, dissolved oxygen and/or turbidity simultaneously | Rs. 381020 | 2017 | Up | 20% | Research | Hydrogeology lab | Applied Geology | Dr. P. Diwan | pdiwan.geo@nitrr.ac.in | 9479221399 | Dr. D C Jhariya | 9754244867 | dcjhariya.geo@nitrr.ac.in | Dr. D C Jhariya | dcjhariya.geo@nitrr.ac.in | 9754244867 | Applied Geology | NA | NA | 2017- Present | Dr. D C Jhariya | dcjhariya.geo@nitrr.ac.in | 9754244867
Spectroquant | NA | Hydrogeology Lab | Merc | Prove300 | Institution | NIT Raipur | 190-320 nm UV, 320-1100 nm VIS, xenon flash lamp, 4 nm spectral bandwidth | Rs. 480162 | 2016-17 | Up | 20% | Research | Hydrogeology lab | Applied Geology | Dr. P. Diwan | pdiwan.geo@nitrr.ac.in | 9479221399 | Dr. D C Jhariya | 9754244867 | dcjhariya.geo@nitrr.ac.in | Dr. D C Jhariya | dcjhariya.geo@nitrr.ac.in | 9754244867 | Applied Geology | NA | NA | 2017- Present | Dr. D C Jhariya | dcjhariya.geo@nitrr.ac.in | 9754244867
Waterlevel Indicator | NA | Hydrogeology Lab | Integrated geo instruments and services (p) ltd | SR5-RLDB-5:1,17B | External | CGCOST | Consist of panel meter and sensor , Light weight and Portable | Rs. 48951 | 2017 | Up | 20% | Research | Hydrogeology lab | Applied Geology | Dr. P. Diwan | pdiwan.geo@nitrr.ac.in | 9479221399 | Dr. D C Jhariya | 9754244867 | dcjhariya.geo@nitrr.ac.in | Dr. D C Jhariya | dcjhariya.geo@nitrr.ac.in | 9754244867 | Applied Geology | NA | Identification of potential ground artificial recharge zones for rain water harvesting in raipur muncipal corporation & Naya Raipur area, Chhattisgarh | 2017- Present | Dr. D C Jhariya | dcjhariya.geo@nitrr.ac.in | 9754244867
Resistivity meter- Aquameter (CRM 500) | NA | Hydrogeology Lab | Anvic System | CRM-500 | Institution | NIT Raipur | Potential Measuring Range 10 Micro Volts Resistance Measuring Range 1 mohm to 10 Kohm Data Averaging Up to 64 cycle Accuracy 1% Depth of Investigation Up to 500 meters | Rs. 95625 | 2008 | Up | 20% | Research | Hydrogeology lab | Applied Geology | Dr. P. Diwan | pdiwan.geo@nitrr.ac.in | 9479221399 | Dr. D C Jhariya | 9754244867 | dcjhariya.geo@nitrr.ac.in | Dr. D C Jhariya | dcjhariya.geo@nitrr.ac.in | 9754244867 | Applied Geology | NA | NA | 2008- Present | Dr. D C Jhariya | dcjhariya.geo@nitrr.ac.in | 9754244867
Resistivity meter (SSR-MP-AT) | NA | Hydrogeology Lab | Integrated geo instruments and services (p) ltd | SSR-MP-AT | Institution | NIT Raipur | Excellent depth penetration with relatively low power inputs, Utilizes the signal stacking up to 16 successive readings to achieve good signal enhancement, Can be used for depths of up to 600m under favorable geological field | Rs. 143000 | 2007 | Up | 20% | Research | Hydrogeology lab | Applied Geology | Dr. P. Diwan | pdiwan.geo@nitrr.ac.in | 9479221399 | Dr. D C Jhariya | 9754244867 | dcjhariya.geo@nitrr.ac.in | Dr. D C Jhariya | dcjhariya.geo@nitrr.ac.in | 9754244867 | Applied Geology | NA | NA | 2007- Present | Dr. D C Jhariya | dcjhariya.geo@nitrr.ac.in | 9754244867
|  |  |  | DDR 3 | Institution | NIT Raipur | Resistivity surveys up to about 200m depth: The equipment consists of two separate comportment-one for reading the current (G.Unit) and the other for directly reading the resistance/the potential (P-Unit), both housed in a single box: extensive use in ground water exploration, dam site investigation, delineation of geological structural feature | Rs. 26884 | 2007
Mirror Stereoscope | NA | Photgeology lab | Jafri Survey Instruments | 4-Binocular | Institution | NIT Raipur | It provides view of entire overlap by an arrangement of prisms and mirrors with increased distance to about 15 to 20cms. In addition, binoculars, attached with the mirror stereoscope, provide 3X to 8X magnification. The mirror stereoscopes are most widely used in photo interpretation and in photo measurements, in combination with parallax bar. Mirror stereoscopes can be used for larger format sizes of aerial photographs because the visual base in this is enlarged by double reflections. | Rs.19845 | 2016 | Up | 20% | Research | Photogeology lab | Applied Geology | Dr. P.Diwan | pdiwan.geo@nitrr.ac.in | 9479221399 | Dr. Himanshu Govil | 9927337832 | hgovil.geo@nitrr.ac.in | Dr, Himanshu Govil | hgovil.geo@nitrr.ac.in | 9927337832 | Applied Geology | NA | NA | 2016- Present | DR. HIMANSHU GOVIL | hgovil.geo@nitrr.ac.in | 9927337832
Global Postioning System | NA | Remote sensing and GIS lab | Garmin | Gramin Orgon 650 | Institution | NIT Raipur | 3'' capacitive touchscreen ; Dual-band GPS/GLONASS antenna;6-axis compass & barometric altimeter sensors; ANT, Bluetooth(R) capable to wirelessly share routes, tracks, waypoints & geocaches between units; Dual orientation; Rugged & waterproofIPX-7; 8 megapixel camera with autofocus & LED flash/torch;Built-in basemap with DEM (digital elevation model) data;User-customizable button; Compatible with all Garmin(R) spine-mountable accessories, including bike mount, belt clip, carabiner clip, automotive mount, etc.; microSD(TM) Card slot;Requires 2 AA batteries or unit internal charger with optional 650T standard NiMH pack | Rs.37800 | 2016 | Up | 20% | Research | Remote sensing and GIS lab | Applied Geology | Dr. P.Diwan | pdiwan.geo@nitrr.ac.in | 9479221399 | Dr. Himanshu Govil | 9927337832 | hgovil.geo@nitrr.ac.in | Dr, Himanshu Govil | hgovil.geo@nitrr.ac.in | 9927337832 | Applied Geology | NA | NA | 2016- Present | DR. HIMANSHU GOVIL | hgovil.geo@nitrr.ac.in | 9927337832
Unmanned Aerial Vehicle | NA | Remote sensing and GIS lab | DJI | DJI-inspire1v2 | Institution | NIT Raipur | It integrate an HD video transmission system, 360° rotating gimbal and a 4K camera, as well as the simplicity of app control. The image processing system CineCore2.0 has been upgraded to CineCore2.1, recording video at up to 6K in CinemaDNG/RAW and 5.2K in Apple ProRes when used with Zenmuse X7 camera. It goes from 0 to 50 mph (80 kph) in just 5 seconds and hits a maximum speed of 58 mph (94 kph) and has a max descent speed of 9m/s for unheard of speed and agility in an aircraft this size. A dual battery system prolongs the flight time to a maximum of 27 minutes (with an X4S), while self-heating technology allows it to fly even in low temperatures. | Rs.219975 | 2019 | Up | 20% | Research | Remote sensing and GIS lab | Applied Geology | Dr. P.Diwan | pdiwan.geo@nitrr.ac.in | 9479221399 | Dr. Himanshu Govil | 9927337832 | hgovil.geo@nitrr.ac.in | Dr, Himanshu Govil | hgovil.geo@nitrr.ac.in | 9927337832 | Applied Geology | NA | NA | 2019- Present | DR. HIMANSHU GOVIL | hgovil.geo@nitrr.ac.in | 9927337832
Research Stereozoom Microscope with camera attachment model - HDCE-X5 | NA | Stratigraphy and Paleontology Lab (Micropaleontology Lab) Department of applied geology | Lawrence & mayo | LM 52-3625 | Institution | NIT Raipur | Apochromatic corrected stereo scopy zoom system; Zoom Ratio: 10:1; Magnification range: 8X – 80X; Eyepiece: EX 10X/22mm; Free working distance: 78 mm; Built in LED Based cold-light source for both reflected and transmitted light with variable light intensity control; Inclined (20°) binocular tube (55mm to 75mm inter-pupillary distance) with Photo Attachment (one photo tube) for focusing arrangement with Camera; High-Resolution color HD digital 5MP CMOS camera with high speed progressive scanning; Software:For image calibration, measurement & image enhancement and documentation; USB2 & HDMI connection compatible with PCs and Retina Screen. | Rs. 262500 | 2018 | Up | 20% | Research | Micropaleontology lab | Applied Geology | Dr. P. Diwan | pdiwan.geo@nitrr.ac.in | 9479221399 | Dr. Vikal Kumar Singh | 9425662166 | vikal_singh@gmail.com | Dr. Vikal Kumar Singh | vikal_singh@gmail.com | 9425662166 | Applied Geology | NA | NA | 2018- Present | Dr. Vikal Kumar Singh | vikal_singh@gmail.com | 9425662166
Stereozoom Microscope | NA | Stratigraphy and Paleontology Lab (Micropaleontology Lab) Department of applied geology | Lawrence & mayo | LM 52-3621 | Institution | NIT Raipur | Binocular head with IPD 55–75 mm inter-pupillary distance; Built in cold-light source incident illumination LED. Transmitted illumination LED. With variable light intensity control; Zoom Ratio: 6.3:1; Free working distance: 115mm; Magnification range: 4X - 100X; | Rs. 306800 | 2018 | Up | 20% | Research | Micropaleontology lab | Applied Geology | Dr. P. Diwan | pdiwan.geo@nitrr.ac.in | 9479221399 | Dr. Vikal Kumar Singh | 9425662166 | vikal_singh@gmail.com | Dr. Vikal Kumar Singh | vikal_singh@gmail.com | 9425662166 | Applied Geology | NA | NA | 2018- Present | Dr. Vikal Kumar Singh | vikal_singh@gmail.com | 9425662166