## Sheet1
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Fluke ProSim 8 Spotkit | ProSim 8 | Center for Biomedical Equipment Testing and Calibration (CBET) | FLUKE | ProSim 8 | 6936045, 6931011 | - | - | - | Patient simulator for testing multi-parameter monitors (ECG, SpO₂, NIBP, IBP, Temp). | Biomedical Engineering | Dr.A.Allwyn Gnanadas | 1761705 | https://www.flukebiomedical.com/products/patient-simulators/prosim-8-and-prosim-8p-vital-signs-patient-simulator | Working | Testing | NIL | NIL | 3,17,106.9(IGST) | Helix Private Limited | nagaraj@helixindia.com | Helix Private Limited | nagaraj@helixindia.com | allwyn@kpriet.ac.in
VT-650 Gas Flow Analyzer | Fluke VT-650 | Center for Biomedical Equipment Testing and Calibration (CBET) | FLUKE | Fluke VT-650 | 6787708 | - | - | - | Measures ventilator performance – flow, pressure, volume, O₂ concentration. | Biomedical Engineering | Dr.A.Allwyn Gnanadas | 679800 | https://www.flukebiomedical.com/products/gas-flow-analyzers/vt650-gas-flow-analyzer | Working | Testing | NIL | NIL | 1,22,364(SGST+CGST) | Sinetec Automation Pvt.Ltd | accounts@sinetecautomation.com | Helix Private Limited | nagaraj@helixindia.com | allwyn@kpriet.ac.in
IDA-1S Infusion Device Analyzer | Fluke IDA-1S | Center for Biomedical Equipment Testing and Calibration (CBET) | FLUKE | Fluke IDA-1S | 6745060 | - | - | - | Tests accuracy and flow rates of infusion pumps and syringe drivers. | Biomedical Engineering | Dr.A.Allwyn Gnanadas | 375242 | https://www.flukebiomedical.com/products/infusion-pump-analyzers/ida-1s-infusion-device-analyzer | Working | Testing | NIL | NIL | 67,543.56(SGST+CGST) | Sinetec Automation Pvt.Ltd | accounts@sinetecautomation.com | Helix Private Limited | nagaraj@helixindia.com | allwyn@kpriet.ac.in
ESA612 Electrical Safety Analyzer | Fluke ESA612 | Center for Biomedical Equipment Testing and Calibration (CBET) | FLUKE | Fluke ESA612 | 6847067 | - | - | - | Tests electrical safety of medical devices (leakage, grounding, insulation, functional). | Biomedical Engineering | Dr.A.Allwyn Gnanadas | 364572 | https://www.flukebiomedical.com/products/electrical-safety-analyzers/esa612-electrical-safety-analyzer | Working | Testing | NIL | NIL | 65,623(SGST+CGST) | Sinetec Automation Pvt.Ltd | accounts@sinetecautomation.com | Helix Private Limited | nagaraj@helixindia.com | allwyn@kpriet.ac.in
Impulse 6000D Defibrillator Analyzer | Fluke Impulse 6000D | Center for Biomedical Equipment Testing and Calibration (CBET) | FLUKE | Fluke Impulse 6000D | 6789030 | - | - | - | Tests defibrillator energy output, synchronization, and functionality. | Biomedical Engineering | Dr.A.Allwyn Gnanadas | 453492 | https://www.flukebiomedical.com/products/defibrillator-analyzers/impulse-6000d-defibrillator-analyzer | Working | Testing | NIL | NIL | 81,628.56(SGST+CGST) | Sinetec Automation Pvt.Ltd | accounts@sinetecautomation.com | Helix Private Limited | nagaraj@helixindia.com | allwyn@kpriet.ac.in
Fluke Temperature & Humidity Meter | Fluke 971 | Center for Biomedical Equipment Testing and Calibration (CBET) | FLUKE | Fluke 971 | 66121106 | - | - | - | Measures and calibrates temperature and humidity conditions for biomedical environments. | Biomedical Engineering | Dr.A.Allwyn Gnanadas | 23840 | https://www.fluke.com/en-in/product/building-infrastructure/indoor-air-quality-testing/fluke-971 | Working | Testing | NIL | NIL | 4,291(SGST+CGST) | Sinetec Automation Pvt.Ltd | accounts@sinetecautomation.com | Helix Private Limited | nagaraj@helixindia.com | allwyn@kpriet.ac.in
s