## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Fluke ProSim 8 Spotkit | ProSim 8 | F006,KPR Center for Biomedical Equipment Calibration and Testing, Department of Biomedical Engineering, KPRIET | FLUKE | ProSim 8 | 6936045, 6931011 | Internal Funding | - | - | Patient simulator for testing multi-parameter monitors (ECG, SpO₂, NIBP, IBP, Temp). | Biomedical Engineering | Fluke ProSim 8 Spotkit | 1761705 | https://www.flukebiomedical.com/products/patient-simulators/prosim-8-and-prosim-8p-vital-signs-patient-simulator | Working | Testing | Helix Private Limited | nagaraj@helixindia.com | Helix Private Limited | nagaraj@helixindia.com | allwyn@kpriet.ac.in
VT-650 Gas Flow Analyzer | Fluke VT-650 | F006,KPR Center for Biomedical Equipment Calibration and Testing, Department of Biomedical Engineering, KPRIET | FLUKE | Fluke VT-650 | 6787708 | Internal Funding | - | - | Measures ventilator performance – flow, pressure, volume, O₂ concentration. | Biomedical Engineering | VT-650 Gas Flow Analyzer | 679800 | https://www.flukebiomedical.com/products/gas-flow-analyzers/vt650-gas-flow-analyzer | Working | Testing | Sinetec Automation Pvt.Ltd | accounts@sinetecautomation.com | Helix Private Limited | nagaraj@helixindia.com | allwyn@kpriet.ac.in
IDA-1S Infusion Device Analyzer | Fluke IDA-1S | F006,KPR Center for Biomedical Equipment Calibration and Testing, Department of Biomedical Engineering, KPRIET | FLUKE | Fluke IDA-1S | 6745060 | Internal Funding | - | - | Tests accuracy and flow rates of infusion pumps and syringe drivers. | Biomedical Engineering | IDA-1S Infusion Device Analyzer | 375242 | https://www.flukebiomedical.com/products/infusion-pump-analyzers/ida-1s-infusion-device-analyzer | Working | Testing | Sinetec Automation Pvt.Ltd | accounts@sinetecautomation.com | Helix Private Limited | nagaraj@helixindia.com | allwyn@kpriet.ac.in
ESA612 Electrical Safety Analyzer | Fluke ESA612 | F006,KPR Center for Biomedical Equipment Calibration and Testing, Department of Biomedical Engineering, KPRIET | FLUKE | Fluke ESA612 | 6847067 | Internal Funding | - | - | Tests electrical safety of medical devices (leakage, grounding, insulation, functional). | Biomedical Engineering | ESA612 Electrical Safety Analyzer | 364572 | https://www.flukebiomedical.com/products/electrical-safety-analyzers/esa612-electrical-safety-analyzer | Working | Testing | Sinetec Automation Pvt.Ltd | accounts@sinetecautomation.com | Helix Private Limited | nagaraj@helixindia.com | allwyn@kpriet.ac.in
Impulse 6000D Defibrillator Analyzer | Fluke Impulse 6000D | F006,KPR Center for Biomedical Equipment Calibration and Testing, Department of Biomedical Engineering, KPRIET | FLUKE | Fluke Impulse 6000D | 6789030 | Internal Funding | - | - | Tests defibrillator energy output, synchronization, and functionality. | Biomedical Engineering | Impulse 6000D Defibrillator Analyzer | 453492 | https://www.flukebiomedical.com/products/defibrillator-analyzers/impulse-6000d-defibrillator-analyzer | Working | Testing | Sinetec Automation Pvt.Ltd | accounts@sinetecautomation.com | Helix Private Limited | nagaraj@helixindia.com | allwyn@kpriet.ac.in
Fluke Temperature & Humidity Meter | Fluke 971 | F006,KPR Center for Biomedical Equipment Calibration and Testing, Department of Biomedical Engineering, KPRIET | FLUKE | Fluke 971 | 66121106 | Internal Funding | - | - | Measures and calibrates temperature and humidity conditions for biomedical environments. | Biomedical Engineering | Fluke Temperature & Humidity Meter | 23840 | https://www.fluke.com/en-in/product/building-infrastructure/indoor-air-quality-testing/fluke-971 | Working | Testing | Sinetec Automation Pvt.Ltd | accounts@sinetecautomation.com | Helix Private Limited | nagaraj@helixindia.com | allwyn@kpriet.ac.in

## Worksheet 1 (hidden)
NEHU Internal Funds
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Internal Resource Generation
SRIC Development Fund
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Vinayaka Missions Research Foundation
NITTTR Bhopal
ICAR-CMFRI
Ministry of Textiles
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
DBT, Govt. of India
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
CSIR, Govt. of India
DST, Govt. of India
ICFRE