## EQUIPMENTS UNDER PLANGRANT
PURCHASING EQUIPMENTS UNDER PLANGRANT, TEQIP & INSTITUTE FUND
Slno. | Name of the Faculty | Name of the Item | Make | Model | Amount | Head of Account | Year | Labs | Date of Purchase | Working/ Not Working/Repair
1 | TEQIP-I | Electrinic Weighing Balance |  | 4FP-430V | 69750 | TEQIP-I | 2007-08 | Bio Chemistry Lab | 01.04.2017 | Not Working
2 | TEQIP-I | Refrigirator (Penta Coll) | LG |  | 24500 | TEQIP-I | 2007-08 | IA Lab |  |  | Not
3 |  | Refrigirator |  |  | 14990 |  | 2012-13 | Micro Biology | 06.12.2012
4 | TEQIP-I | Steril Laminor Flow Bench |  |  | 91875 | Plangrant | 2007-08 | Micro Biology | 24.05.2007
5 | TEQIP-I | Micro Centrifuge |  | 3300 | 171651 | TEQIP-I | 2007-08 | Genetics Lab | 17.05.2007
6 | Dr Ramaraju | Lab Quest Micro Centrifuge |  | 100MCF00800VTO | 11959 | TEQIP-I | 2019-20 | Bio Chemistry Lab | 10.10.2019
7 | TEQIP-I | OLYMPUS Binocular Imported research Microscope | OLYMPUS | CX21 | 642017 | Plangrant | 2007-08 | Micro Biology | 19.06.2007
8 | TEQIP-I | Ultra low temparature cabin (-80°C) | Cry scientific | URC-H-450-4 | 332716 | TEQIP-I | 2007-08 | DSP Lab | 16.06.2007 | Not Working
9 | TEQIP-I | Air Condition (Split type) 1.5t |  |  | 27103 | TEQIP-I | 2007-08 | IA Lab | 10.08.2007
10 | TEQIP-I | Dedital Bacterio Logical & cell culture incubator |  | 2000237 | 137190 | TEQIP-I | 2007-08 | Micro Biology | 25.07.2007 | Not Working
11 | TEQIP-I | Laptops(2) | Dell | FK 492 No520 | 95080 | TEQIP-I | 2007-08 | Head Room | 26.03.2007
12 | TEQIP-I | Xerox Machine (Ricoh) | Ricoh | Aficio MP2000L/LE/DSM 6200/2020D Slno.L7176150529 | 108831 | TEQIP-I | 2006-07 | Office | 02.03.2007 | Not Working
13 | TEQIP-I | Toshiba Projector |  |  | 89216 | TEQIP-I | 2007-08 | Class room | 26.03.2007 | Working
14 | TEQIP-II | Projector |  | NP-M260XG Slno.2841817FG | 43700 | TEQIP-II | 2012-13 | Class room | 04.01.2013
15 | TEQIP-I | Focus Tripod Single Stand Screen |  |  | 3600 | TEQIP-I | 2007-08 | Class room | 30.07.2007
16 | TEQIP | Micro Pipettes |  |  | 53400 | TEQIP | 2007-08 | Micro Biology | 22.08.2007
17 | Dr Urmila Saxena | Ultra sonic Processor |  |  | 438248 | Plangrant | 2014-15 | Micro Biology | 16.09.2014
18 | TEQIP-I | Wireless Brodband Router | Link Syst | WRTS4G | 3974 | TEQIP-I | 2007-08 | Dr Satish babu Room | 23.08.2007
19 | TEQIP-I | SEMI Automatic Autoclave |  | SAIII | 80219 | TEQIP-I | 2007-08 | DSP Lab | 29.08.2007
20 | TEQIP-I | Degital PH Meter(04) |  | LI127 | 31012 | TEQIP-I | 2007-08 | Bio Chemistry Lab | 29.08.2007 | Not Working
21 | TEQIP-I | Micro Processor Based PH Analyzer |  | LI612 | 14100 | TEQIP-I | 2007-08 | IA Lab | 29.08.2007
22 | TEQIP-I | Laboratyory Hot Air Owen |  | TI 125D | 46305 | TEQIP-I | 2007-08 | Micro Biology & GE Lab | 30.08.2007
23 | Dr Ramaraju | Static Incubator | Themo | Heart herm/GS60 | 69600 | Plangrant | 2014-15 | DSP Lab | 16.07.2014
24 | TEQIP-I | Electrophoresis Syastem |  | Mini-Proteam su cell GI | 130613 | TEQIP-I | 2007-08 | Micro Biology & GE Lab | 16.10.2007
25 | Dr Ramaraju | Electrophoresissetup | Bio Rad, USA | EK 300i | 379877 | TEQIP-I | 2017-18 | DSP Lab | 25.05.2018
26 | TEQIP-I | Electrinic Portable Balance |  |  | 16875 | TEQIP-I | 2007-08 | IA Lab | 19.12.2007
27 | TEQIP-I | Single Cylinder trolley |  |  | 7312 | TEQIP-I | 2007-08 | Laboratory | 07.12.2007
28 | TEQIP-I | Microplate Reader | Bio Rad, USA | 680 | 281250 | TEQIP-I | 2007-08 | IA Lab | 03.01.2008
29 | TEQIP-I | Scanning Visible Spectophotomater |  | FGSL 0177 | 82368 | TEQIP-I | 2007-08 | Bio Chemistry Lab | 22.12.2007
30 | TEQIP-I | Cyclomixer |  | 18-01 | 17042 | TEQIP-I | 2007-08 | Genetics Lab | 08.12.2007
31 | TEQIP-I | Heating Mantles |  | TI -66RE | 6075 | TEQIP-I | 2007-08 | Bio Chemistry Lab | 13.12.2007
32 | TEQIP-I | Dry bath Gel Rocker |  | GR-2 | 28898 | TEQIP-I | 2007-08 | Genetics Lab | 08.12.2007
33 | Plangrant | Dry bath | BR Biochem life sciences taiwan | BIPH-100 | 105000 | Plangrant | 2019-20 |  | 18.09.2019
34 | TEQIP-I | UV/Visible Transillunisator | M/s Biotech | 0908 | 38138 | TEQIP-I | 2007-08 | Genetics Lab | 04.01.2008
35 | TEQIP-I | Micro Wave |  | 2342AE | 4700 | TEQIP-I | 2007-08 | IA Lab | 01.02.2008
36 | Plangrant | Micro Wave |  | 38SRC1 | 14500 | Plangrant | 2012-13 | Bio Chemistry Lab | 11.01.2013
37 | TEQIP-I | Analytical Balance | Afcoset Elect | ER120A | 101250 | TEQIP-I | 2007-08 | Bio Chemistry Lab | 21.12.2007
38 | TEQIP-I | Rotary Shaker |  | RS-2HBL | 56419 | TEQIP-I | 2007-08 | Micro Biology | 17.01.2008
39 | TEQIP-I | Water Bath shaker Magnetic Stirrer, Maganetic Stirrer with Hot Plate |  | RSB-12 | 35714 | TEQIP-I | 2007-08 | Micro Biology & Biochmestry Lab | 22.02.2008
40 | TEQIP-I | Orbital Shaker Incubator |  | CIS-24BL | 119168 | TEQIP-I | 2007-08 | Micro Biology & Biochmestry Lab | 03.01.2008 | Not Working
41 | TEQIP-I | Cooling Centrifuge |  | C-30BL | 143151 | TEQIP-I | 2007-08 | Micro Biology & Biochmestry Lab | 25.01.2008
42 | TEQIP-I | Electrophoresis Equipment |  |  | 131994 | TEQIP-I | 2007-08 | Micro Biology | 18.10.2007
43 | Plangrant | Degasses Unit for HPCL | Shimadzu |  | 294000 | Plangrant | 2016-17 | DSP Lab | 16.06.2016
44 | TEQIP-I | Thermal Cycler |  |  | 287903 | TEQIP-I | 2007-08 | Genetics Lab | 20.12.2007
45 | Dr Ramaraju | GAC Chromatography |  |  | 877646 | Plangrant | 2014-15 | DSP Lab | 24.06.2014
46 | TEQIP-I | 1.Westren Bloting Apparatus 1.SouthernBloting Apparatus |  |  | 64142 | TEQIP-I | 2008-09 | Genetics Lab | 21.01.2008
47 | Dr Satish Babu | Refrigerator (01) 950Ltrs |  |  | 129150 | Plangrant | 2017-18 | Bio Instrumentation Lab | 27.04.2018
48 | Dr Satish Babu | Refrigerator (02) 400Ltrs |  |  | 134978 | Plangrant | 2017-18 | Bio Instrumentation Lab | 26.04.2018
49 | TEQIP-I | Colony Counter |  |  | 12454 | TEQIP-I | 2008-09 | Micro Biology | 10.01.2008
50 | TEQIP-I | Double Stage Hight Vacum Pump |  |  | 21320 | TEQIP-I | 2008-09 | Bio Instrumentation Lab | 07.01.2008
51 | TEQIP-I | Tissue Homoge Niser |  | RQT-127A/D | 9194 | TEQIP-I | 2008-09 | Micro Biology & Genetics Lab | 15.03.2008
52 | Dr Amitava Bandhu | Temperaturte Controller Shaker Incubator | Eppendorf |  | 737625 | Plangrant | 2017-18 | Bio Process eng lab | 14.05.2018
53 | TEQIP-I | Water Deionization System |  |  | 106834 | TEQIP-I | 2008-09 | Micro Biology & Genetics Lab | 15.02.2008
54 | TEQIP-I | Bioreactor |  |  | 556920 | TEQIP-I | 2009-10 | Bio Process eng lab | 14.08.2009 | Not Working
55 | TEQIP-I | Ultra pure water purification system |  |  | 183709 | TEQIP-I | 2008-09 | DSP Lab | 06.06.2008
56 | TEQIP-I | Double Beam UV-VIS Scaning Spectrometer |  |  | 615795 | TEQIP-I | 2008-09 | Molucular Biology & GE Lab | 15.08.2008
57 | Dr Sreenivasa Rao | Peristatic Pump |  |  | 64000 | Plangrant | 2012-13 | DSP Lab | 28.01.2013
58 | Institute Equipment | Refrigirator (02) | Godrej 342 ltrs | GODREJ GFE 360Y Metalic Steel | 46000 | Institute Equipment | 2009-10 | DSP Lab | 20.04.2009
59 | Institute Equipment | Stabilizer Volt-1KvA (02) |  |  | 2400 | Institute Equipment | 2009-10 | Micro Biology & DSP Lab | 29.04.2009
60 | Institute Equipment | Sensor 70rC-30 BL cooling cenrifuge |  |  | 2427 | Institute Equipment | 2010-11 | Laboratory | 29.04.2009
61 |  | PH Electrodes with glass guard |  |  | 2458 |  | 2009-10 | Laboratory | 09.02.2010
62 | Dr Amitava Bandhu | PH Electrodes with glass guard |  |  | 38940 | Plangrant | 2017-18 | Micro Biology | 30.11.2017
63 |  | Access Control Security Device |  |  | 60401 |  | 2010-11 | Department Purpose | 16.11.2009 |  | Not
64 |  | Binocular Microscope head |  |  | 15600 |  | 2010-11 | Laboratory | 10.03.2011 |  | Not
65 |  | 10-100µl micro pipettes(06) |  |  | 21600 | Plangrant | 2010-11 | Laboratory | 27.02.2011
66 |  | 100-100µl micro pipettes(06) |  |  | 21600 | Plangrant | 2010-11 | Laboratory | 27.02.2011
67 |  | 1000µl micro pipettes(06) |  |  | 9000 | Plangrant | 2010-11 | Laboratory | 27.02.2011
68 |  | 0.5µl micro pipettes(06) |  |  | 21600 | Plangrant | 2010-11 | Laboratory | 26.04.2011
69 |  | Autocalve PA21 |  | PA21 | 27023 | Plangrant | 2011-12 | Micro Biology & Bio Process Lab | 13.05.2011
70 |  | Hot plate |  |  | 6188 | Plangrant | 2011-12 | DSP Lab | 01.04.2011
71 |  | PH controller |  |  | 32175 | Plangrant | 2011-12 | Micro Biology | 07.06.2011
72 |  | Peristatic Pump |  | ENPD-100 Express(STD) | 69525 | Plangrant | 2011-12 | DSP Lab | 01.06.2011
73 |  | Ratameter |  |  | 20336 | Plangrant | 2011-12 | Bio Reaction Eng Lab | 30.05.2011
74 |  | Horigontal laminor air flow | Clenair | CAH 1800 | 86430 | Plangrant | 2011-12 | Micro Biology | 18.05.2011
75 | Dr K Narasimhulu | Dissolved Oxigen Controler and sensor |  |  | 109962 | Plangrant | 2011-12 | BPCI Lab | 04.08.2011
76 |  | V-Guard 600VA UPS (02) |  | 600VA UPS | 4000 | Plangrant | 2011-12 | Genetics Lab | 09.09.2011 |  | Not
77 |  | UPS 2KvA UPS System with DC power pack |  |  | 138935 | Plangrant | 2011-12 | Genetics Lab & IA Lab | 11.08.2011
78 |  | 5Kva UPS |  |  | 178600 | Plangrant | 2011-12 | BPE Lab | 02.08.2011
79 | Dr Ramaraju | LMMS -300 Hotpalte Magnetic Stirrer |  | LMMS-300 | 20000 | Plangrant | 2015-16 |  | 06.05.2015
80 |  | Inverter Microscope |  |  | 255524 | Plangrant | 2011-12 | IA Lab | 08.11.2011
81 |  | V Lite MS 4.0 sofware |  |  | 693000 | Plangrant | 2011-12 | Bio Infarmetic Lab | 15.11.2011
82 | Dr Onkara Perumal | V Lite MS 4.0 sofware |  |  | 997500 | Plangrant | 2014-15 | Bio Infarmetic Lab | 12.03.2015
83 | Dr V Kohila | Micro Pipettes (06) |  |  | 286000 | Plangrant | 2015-16 | Laboratory | 10.04.2015
84 | Dr Ramaraju | HPLC Column |  |  | 66064 | Plangrant | 2015-16 | DSP Lab | 13.04.2015
85 |  | Orbital Shaker Incubator with Stabilizer |  |  | 118630 | Plangrant | 2011-12 | Micro Biology | 30.08.2011
86 |  | Autocalve (Vertical type) |  |  | 47813 | Plangrant | 2011-12 | Micro Biology & Bio Process Lab | 17.08.2011 | Not Working
87 | Dr Ramaraju | 20KvA Online UPS System |  |  | 894725 | Plangrant | 2014-15 | Department Purpose | 03.07.2014
88 |  | Autoclave Portble (02) |  | PS21 | 50440 | Plangrant | 2011-12 | DSP Lab | 16.01.2012
89 | PE Office | Split Ac (06) | V-Guard | 1.5 T 5Star | 400302 | Plangrant | 2014-15 | Laboratory | 06.02.2015
90 | I A Lab | Biosafty Cabinet |  | BCAD_BS-422-II-A1 | 183401 | Plangrant | 2011-12 | IA Lab | 24.08.2011
91 | Computer Lab | 1.5 T Split Air Conditional with Stabilizer (04) |  |  | 134600 | Plangrant | 2011-12 | Genetics Lab & IA Lab | 15.02.2012
92 |  | Super Pro Designer |  |  | 206575 | Plangrant | 2011-12 | Bio Process eng lab | 02.03.2012
93 | Dr Prakash Saudagar | Gardient PCR |  |  | 900000 | Plangrant | 2015-16 | Laboratory | 16.05.2016
94 | Office | Cannon D520(Laser printer with scaner copies |  |  | 14800 | Plangrant | 2011-12 | Office | 25.11.2011 | Working
95 | Bioprocess Lab | Two Tank Intracting System & Two Tank Non Intracting System |  |  | 106638 | Plangrant | 2012-13 | BPCI Lab | 24.12.2012
96 | Bioprocess Lab | Packed bed Bioreactor |  |  | 393700 | Plangrant | 2011-12 | Bio Process eng lab | 29.03.2012
97 | Bioprocess Lab | temperaturte Controller trainer | Product 311A |  | 109946 | Plangrant | 2012-13 | BPCI Lab | 24.11.2012
98 | Dr Asim Bikas Das | Freezer | 995SSULT-86 freezer |  | 620508 | Plangrant | 2014-15 | Genetics Lab | 02.06.2014
99 | Bioprocess Lab | setup for time constant of U tube mano meter | VIIIT |  | 43386 | Plangrant | 2012-13 | BPCI Lab | 05.01.2012
100 | Dr Asim Bikas Das | micro piptte set(03) | Socorex |  | 460000 | Plangrant | 2014-15 | Laboratory | 24.04.2014
101 | Bioprocess Lab | setup for time constant of thermo couple and thermameter | 826XS |  | 61487 | Plangrant | 2012-13 | BPCI Lab | 16.01.2013
102 | Dr Ramaraju | Gaas purification pavel and gas cylinders |  |  | 86992 | Plangrant | 2014-15 | DSP Lab | 15.04.2014
103 | Central Store | Desktop (03) |  |  | 104857 | Plangrant | 2012-13 | BPCI Lab | 22.01.2013
104 | Dr Ramaraju | High Perfomance liqied chromatography (HPLC) |  |  | 1387103 | Plangrant | 2014-15 | DSP Lab | 07.04.2014
105 | Dr Satish Babu | Analytical Balance |  | ER120A | 81500 | Plangrant | 2012-13 | IA Lab | 09.02.2013
106 | Dr V Kohila | Real time PCR Machine |  |  | 963174 | Plangrant | 2014-15 | Micro Biology | 19.05.2014
107 | TEQUIP-II | Co2 Incubator |  |  | 325500 | TEQIP-II | 2012-13 | IA Lab | 08.01.2013
108 | Dr K Narasimhulu | 6903-J022A V630-UV/VIS Spectro photo meter |  | 6903-J022A | 364999 | Plangrant | 2014-15 | IA Lab | 22.04.2014
109 | Dean SW | Water Cooler |  | V630/UV VIS | 735284 | Dean SW | 2014-15 | Office | 02.07.2014
110 |  | Cold Cabinet |  | SRA 15150G SS604 | 183200 | Plangrant | 2012-13 | DSP Lab | 28.03.2013
111 |  | Flame Photometer |  | FRC-V-1000 | 47213 | Plangrant | 2012-13 | IA Lab | 26.03.2013
112 | Dr Ramaraju | Cleanair Vertical Cauminal Air floe Bench |  |  | 333260 | Plangrant | 2014-15 | Micro Biology | 15.05.2014
113 |  | Presser Process Copntroller & Level Process Controller |  | CE(VPPA-401CE) (CE(VLPA-101-CE)) | 283986 | Plangrant | 2012-13 | BPCI Lab | 30.03.2013
114 | Dr Asim Bikas Das | F400-SAEV-TS-Deep Freezer |  | F400-SAEV-TS | 250000 | Plangrant | 2014-15 | Genetics Lab | 16.07.2014
115 |  | Benchtop /Table top refrigerator centrifuge |  |  | 514950 | Plangrant | 2012-13 | Micro Biology & Genetics Lab | 13.05.2013
116 | Dr Asim Bikas Das | Table refrigirator Centrifuge | Eppendrop |  | 441000 | Plangrant | 2017-18 | Genetics Lab | 14.05.2018
117 |  | Numeric -10KvA UPS System with DC power pack |  |  | 194134 | Plangrant | 2013-14 | Department Purpose | 14.11.2013
118 |  | Fast protein liquid chromatography (FPLC) |  |  | 901002 | Plangrant | 2013-14 | DSP Lab | 27.01.2014
119 | Dr Satish Babu | Autoclave (fully automatic) |  |  | 161490 | Plangrant | 2017-18 | AutoClave Room | 27.04.2018
120 | Dr Satish Babu | Gel Rocker |  |  | 149100 | Plangrant | 2019-20 |  | 30.01.2020
121 | Dr Satish Babu | Micro pipette set | Thermo scientific | 4700880 funn pipette F2 GLP kit | 47613 | Plangrant | 2017-18 | BPE Lab | 05.02.2018
122 | Dr Ramaraju | Virtex mixer |  |  | 42420 | Plangrant | 2019-20 | Bio Chemistry Lab | 10.10.2019
123 |  | liquied nitrogen container |  |  | 46096 | Plangrant | 2013-14 | Cell Culture Lab | 28.03.2014
124 | Dr Asim Bikas Das | Ice flake machine (air cooler) | (SPA Italy M/s Brena Ice |  | 233494 | Plangrant | 2014-15 | Micro Biology & Genetics Lab | 07.05.2014
125 | Dr Ramaraju | Desktop computers 1.VT/F core j74 770/446/500 pv (10) 2.V196HQLq6 18:5H 5ms pc (10) |  |  | 559614 | Plangrant | 2014-15 | Bio Informatic Lab | 30.12.2014
126 | Dr Asim Bikas Das | UV transilluminator |  |  | 145000 | Plangrant | 2014-15 |  | 05.02.2015
127 | Dr Urmila Saxena | Ay 15944-9PH 700 meter W/PH 7 AIC probes |  |  | 99950 | Plangrant | 2014-15 |  | 16.01.2015
128 | TEQIP | Computer server |  |  | 2703600 | TEQIP | 2013-14 | Bio Informatic Lab | 10.10.2013
129 | TEQIP | Freeze Dryer |  | ACM-780975 | 740943 | TEQIP | 2013-14 |  | 19.12.2013
130 | TEQIP | Windows 8'OS |  |  | 1858625 | TEQIP | 2013-14 |  | 21.12.2013
131 | PE Office | Split Ac (03) |  | 1.5 T 5star | 192150 | Plangrant | 2015-16 | Stem Cell Lab | 30.04.2015
132 | PE Office | 1.5 T 5 star model capacity loyrd split ACRWB 322 refrigirator water bath |  | 1.5 T 5star | 184982 | Plangrant | 2015-16 | Micro Biology Lab | 03.04.2015
133 | PE Office | Electrical wiring for modification of steem cell lab 5 staff rooms |  |  | 199658 | Plangrant | 2015-16 | Stem Cell Lab | 22.04.2015
134 | Dr Amitava Bandhu | RWB 322 refrigirator water bath | Thermo scientific | RWD 3220NY-1 | 500000 | Plangrant | 2015-16 | Micro Biology Lab | 27.08.2015
135 | Dr Amitava Bandhu | KHM Heating mantle |  | Kemi | 24950 | Plangrant | 2015-16 | DSP Lab | 26.10.2015
136 | Dr Urmila Saxena | Electochemical workstation | Metrohm Auto lab | Aut 204.220 | 912722 | Plangrant | 2015-16 | IA Lab | 21.08.2015
137 | Dr Prakash Saudagar | Fume Hood | Lab guard india Pvt Ltd | Optimaa ST1500 ABP-EDU | 521971 | Plangrant | 2015-16 | Laboratory | 06.01.2016
138 | Dr Amitava Bandhu | KMS-650 Hot plate magnatic stirrer |  | Kemi | 49195 | Plangrant | 2015-16 | Bio chemistry & DSP Lab | 26.10.2015
139 | Dr Ramaraju | SU8H0S3078DM Repromer |  |  | 83097 | Plangrant | 2015-16 |  | 16.03.2016
140 | Dr Satish Babu | Orbital Shaker Incubator |  | Orbitek-LE4676H | 504692 | Plangrant | 2015-16 |  | 24.04.2016
141 | Dr Asim Bikas Das | Co2 Incubator | Eppedorf | Galaxy 170 SCo2 Incubator | 399000 | Plangrant | 2016-17 | Cell Culture Lab | 06.07.2016
142 | Dr Satish Babu | UV VIS Spectro Photometer |  | UV-1800 | 837900 | Plangrant | 2016-17 | Laboratory | 06.05.2016
143 | Dr Satish Babu | Refrigirator |  |  | 70000 | Plangrant | 2017-18 | BPE Lab | 07.02.2018
144 | Dr Amitava Bandhu | 425/10 Double Distillation Unit TSGW |  | JSGW | 64999.68 | Plangrant | 2017-18 |  | 31.10.2017
145 | Dr Ramaraju | Orbital Shaker Incubator with universal tray | Genic Labratories | OS2-116736GB | 99648.64 | Plangrant | 2017-18 | DSP Lab | 09.03.2018
146 | Dr Amitava Bandhu | Gel dryer & Vaccume pump with moisture trap & connecting tube | ASP Barnd | TID-75 Sensor(GD3545) | 119994 | Plangrant | 2017-18 | Micro Biology Lab | 16.10.2017
147 | Dr Amitava Bandhu | Double vertical protein system | Genetix |  | 145600 | Plangrant | 2017-18 | Micro Biology Lab | 26.02.2018
148 | Central Store | Ricoh AFICO MP3054 Copier Machine | Ricoh AFICO | MP3054 | 119595 | Plangrant | 2015-16 | Office | 27.11.2015 | Repair
149 | Dr P Sreenivasa Rao | Analytical Balance |  |  | 99120 | Plangrant | 2015-16 |  | 04.01.2016
150 | Dr Ramaraju | PH Meter | Eutech instruments |  | 146682 | Plangrant | 2015-16 |  | 22.03.2016
151 | Dr Ramaraju | HE Gas |  |  | 50872 | Plangrant | 2015-16 |  | 28.03.2016
152 | Dr P Sreenivasa Rao | Vaccume Filtration Setup |  |  | 97266 | Plangrant | 2015-16 |  | 28.03.2016
153 | Dr V Kohila | Gel Electphoresis unit | Biotech | Maxi 03-03 | 99993 | Plangrant | 2015-16 |  | 15.03.2016
154 | Dr Urmila Saxena | Laminar Air Flow |  |  | 58800 | Plangrant | 2015-16 |  | 21.04.2016
155 | Central Store | 600 Valine Interactive UPS (10) |  | RH 58-07 | 36950 | Plangrant | 2016-17 |  | 20.04.2016
156 | Dr Asim Bikas Das | Centrifuge |  |  | 392464 | Plangrant | 2016-17 | Cell Culture Lab | 18.07.2016
157 | Dr V Kohila | Lab Refridigirator |  |  | 199800 | Plangrant | 2016-17 |  | 05.10.2016
158 | Dr Ramaraju | Micro processor Based Scanning visible spectro photometer | Elico Ltd | Sl177 | 222925.5 | Plangrant | 2016-17 |  | 01.12.2016
159 | Dr Ramaraju | Gel Documantaion System |  |  | 100678 | Plangrant | 2016-17 |  | 07.02.2017
160 | TEQIP | Visual Presenter |  |  | 30900 | TEQIP | 2013-14 |  | 05.11.2013 |  | Not
161 | TEQIP | Laptop Computer |  |  | 61275 | TEQIP | 2013-14 |  | 04.11.2013 |  | Not
162 | TEQIP | Interaction Pad |  |  | 10140 | TEQIP | 2013-14 |  | 25.11.2013 |  | Not
163 | Dr Amitava Bandhu | RADEX RD 1212-BT Advanced Radiatiopn Detector Quartz |  |  | 69997 | Plangrant | 2017-18 |  | 22.01.2018
164 | Dr Ramaraju | Water Bath termostatic Rectangular-BTI-57 |  |  | 9984 | Plangrant | 2017-18 |  | 05.02.2018
165 | Dr Ratna Prabha | Micro wave Oven (02) |  | Samsung (28 Ltrs) | 24990 | Plangrant | 2019-20 |  | 27.09.2019
166 | Dr V Kohila | Micro Pipette set (09) |  |  | 194746 | Plangrant | 2019-20 | Laboratory | 25.09.2019
167 | Dr M Jerold | Benq Projector |  |  | 24600 | Plangrant | 2019-20 | Class room | 24.09.2019 | Working
168 | Dr M Jerold | Benq Projector |  |  | 24600 | Plangrant | 2019-20 | Class room | 09.12.2019 | Working
169 | Dr M Jerold | Projector Screen 6/4 Motorized Malty White |  |  | 19350 | Plangrant | 2019-20 | Class room | 24.09.2019 | Working
170 | Dr Ramaraju | 336012 Quartz New type Heat 3361/62 Capacity 1.5 ltrs/hr - Borosil |  |  | 5922 | Plangrant | 2019-20 |  | 10.10.2019
171 | Dr Ramaraju | 336011 Space Borosil Biiler with water levels 3361/62 |  |  | 6006 | Plangrant | 2019-20 |  | 10.10.2019
172 | Dr Ramaraju | 3366241 Appratus Distillation Apparatus Power supply (DAPS) |  |  | 13881 | Plangrant | 2019-20 |  | 10.10.2019
173 | Dr Jerold | Reynold Appratus |  |  | 46940 | Plangrant | 2019-20 |  | 23.11.2019 | Working
174 | Dr Jerold | Thermal Condctivity in metal rod |  |  | 72900 | Plangrant | 2019-20 |  | 23.11.2019 | Working
175 | Dr Jerold | Loss due to Friction in pipe line |  |  | 67000 | Plangrant | 2019-20 |  | 23.11.2019 | Working
176 | Dr Jerold | Heat Tranfer in Natural Convection |  |  | 70540 | Plangrant | 2019-20 |  | 23.11.2019 | Working
177 | Dr Jerold | Emissivity Measurment Apparatus |  |  | 72900 | Plangrant | 2019-20 |  | 23.11.2019 | Working
178 | Dr Jerold | BE renoullis |  |  | 62280 | Plangrant | 2019-20 |  | 23.11.2019 | Working
179 | Dr Jerold | Heat Tranfer Thourgh Composite Wall Apparatus |  |  | 74080 | Plangrant | 2019-20 |  | 23.11.2019 | Working
180 | Dr Anubumathi | Upgradation Pressure |  |  | 14632 | Plangrant | 2019-20 |  | 14.01.2020 | Working
181 | Dr Anubumathi | Upgradation Level |  |  | 14632 | Plangrant | 2019-20 |  | 14.01.2020 | Working
182 | Dr Ratanaprabha | Weighing Balance |  |  | 245440 | Plangrant | 2019-20 |  | 23.01.2020 | working
183 | Dr Prakash Saudagar | Nikon Binocular microscope 16sets |  |  | 2977126 | Plangrant | 2019-20 |  | 14.02.2020 | Working
Not

## EQUIPMENTS UNDER PROJECTS
PURCHASING EQUIPMENTS UNDER PROJECTS
Slno. | Name of the Faculty | Name of the Item | Make | Model | Amount | Head of Account Year
1 | Dr Ratna Prabha | Electronic Weighing Balance | SCHIMAZZU | BL-220H | 39936 | RSM (2018-19) Dr DRP
2 | Dr M Jerold | Electronic Weighing Balance | SCHIMAZZU |  | 37406 | RSM (2018-19) Dr MJ
3 | Dr V Kohila | Refrigirator |  |  | 15800 | RSG (2013-14)DR VK-P-939
4 | Dr Amitava Bandhu | Refrigirator |  |  | 15800 | RSG(2013-14) Dr AB-P-941
5 | Dr Urmila Saxena | Refrigirator |  |  | 15800 | RSG(2013-14) Dr US-P-938
6 | Dr Ratna Prabha | PH Meter |  |  | 8700 | RSM (2018-19) Dr DRP
7 | Dr Ratna Prabha | Micro Waven |  |  | 17995 | RSM (2018-19) Dr DRP
8 | Dr M Jerold | Magnetic Stirrer with Hot Plate |  |  | 10030 | RSM (2018-19) Dr MJ
9 | Dr P Shyam | Magnetic Stirrer -1000ml Capacity with hot plate |  |  | 6457 | RSM (2019-20)Dr SP-P-1067
10 | Dr Prakash Saudagar | Biological safty cabinet | 7BZ-HF1200 LC took |  | 450000 | RS-826-GOI-SERB-Dr PS (2016-17)
11 | Dr Anbhumathi | Degital Micro Pipette set | Nichiryo |  | 29500 | RSM (2018-19) Dr Ap
12 | Dr Amitava Bandhu | Electroporator | Biorad | Gene pulsel Xcell | 444911 | RS-900-CSIR-Dr AB-BT (2017-18)
13 | Dr P Shyam | SOXHLET Extraction set |  |  | 11017 | RSM (2019-20)Dr SP-1067
14 | Dr Asim Bikas Das | Refrigirator |  |  | 15800 | RSG (2013-14) Dr ABD-P-940
15 | Dr Prakash Saudagar | Refrigirator |  |  | 29500 | RSG (2013-14) Dr PS -937
16 | Dr M Jerold | Digital PH Meter with electrode 802 Systronic |  |  | 13570 | RSM (2018-19) Dr MJ
17 | Dr M Jerold | Varival 11 Micro Pipette 10-100ul-1No-Himedia |  |  | 4106 | RSM (2018-19) Dr MJ
18 | Dr M Jerold | Varival 11 Micro Pipette 10-100ul-1No-Himedia (2) |  |  | 8212 | RSM (2018-19) Dr MJ
19 | Dr P Shyam | 2030 HOTO Ptm Hotplate 18x18cm Temp range 150-500˚C ceramic |  |  | 13578 | RSM (2018-19) Dr SP-P 1067
20 | Dr Ramaraju | HPLL Column |  |  | 66064 | RSG (2015-16) DR RRB-P-984
21 | Dr Prakash Saudagar | Micro Pipette set |  |  | 91782 | RS-826-GOI-SERB-Dr PS (2018-19)
22 | Dr Prakash Saudagar | Vertical Electrophoresis with blotting & power pack |  |  | 225000 | RS-826-GOI-SERB-Dr PS (2015-16)
23 | Dr K Narasimhulu | U604727-07 Homeni Babgen -7: 220VAC |  |  | 700000 | RS-786-SERB-Dr KN-BT-(2015-16)
24 | Dr Satish Babu | Water qua;ity Analyser |  |  | 60900 | RSM (2013/BT/Dr RSB
25 | Dr Amitava Bandhu | Digita micro pitette increment (set) | Genaxy |  | 54993 | RS-900-CSIR-Dr AB-BT (2018-19)
26 | Dr Satish Babu | Nephelometer furtriclity meter |  |  | 13213 | RSM (2013/BT/Dr RSB
27 | Dr Satish Babu | Activated sludge reactoe |  |  | 9000 | RSM (2013/BT/Dr RSB
28 | Dr K Divakar | Refrigirator Incubator shaker |  |  | 163735 | RS-798-GOI-DST-Dr KD-BT (2015-16)
29 | Dr Satish Babu | COD Analyzer |  |  | 76680 | RSM (2013/BT/Dr RSB
30 | Dr Ratna Prabha | Micro pipette Set |  |  | 15632 | RSM (2018-19) Dr DRP
31 | Dr P Sreenivasa Rao | 46300800 Novces Multi chanel # 8Chanel |  |  | 189000 | RS-787-DST- DR PSR (2019-16)
32 | Dr P Sreenivasa Rao | MAB 220-Anlytical Balance |  |  | 76000 | RS-787-DST- DR PSR (2015-16)
33 | Dr P Sreenivasa Rao | CM UC -6 Degital Ultrasonic Water Bath |  |  | 50000 | RS-787-DST- DR PSR (2015-16)
34 | Dr P Sreenivasa Rao | IR 10 Liquid Nitrogen container |  |  | 30000 | RS-787-DST- DR PSR (2015-16)
35 | Dr P Shyam | Variable volume pipette |  |  | 11463 | RSM (2018-19) - Dr Sp
36 | Dr Urmila Saxena | (51119300) UV Spectro photometer |  | 100-240V | 765980 | RS-816-GOI-SERB-Dr US-BT (2015-16)
37 | Dr V Kohila | Sub mariue Gel electro phoreis unit | Biotech |  | 24732 | RSG (2013-14)-P939- Dr Vk
38 | Dr Asim Bikas Das | Sub mariue Gel electro phoreis unit | Biotech |  | 24732 | RSG (2013-14)-P-940 Dr ABD
39 | Dr Urmila Saxena | Automatic Autoclave | ASP Barnd | Verticla NoBT-1 (ASP) | 169800 | RS-816-GOI-SERB-Dr US-BT (2015-16)
40 | Dr Amitava Bandhu | Protein Gel electrophoresis unit (vertical) complete with electro blotting system | Scieplas | TV100YKEB SYS | 97325 | RSG (2013-14)-P-940 Dr AB
41 | Dr Urmila Saxena | Protein Gel electrophoresis unit (vertical) complete with electro blotting system | Scieplas | TV100YKEB SYS | 97325 | RSG(2013-14)-p-938-Dr Us-BT
42 | Dr Asim Bikas Das | Fixed RPM mini centrifuge | scieplas biochrom |  | 8663 | RSG (2013-14)-P-940 Dr ABD-BT
43 | Dr Urmila Saxena | Gel Rocker |  |  | 11948 | RSG (2013-14)P-938 Dr US
44 | Dr Prakash Saudagar | 1. Magnetic Shaker 2. Gel Rocking Shaker 3. Electrophoresis unit |  |  | 48247 | RSG (2013-14)-P-937 Dr PS-BT
45 | Dr Urmila Saxena | Vortex Machine |  |  | 9962 | RSG (2013-14)-P-938 Dr US
46 | Dr V Kohila | Micro pipette set |  |  | 48575 | RSG (2013-14)-P939- Dr Vk
47 | Dr Prakash Saudagar | Computation Computer System |  | intexcomE3-1220 | 105000 | RSG (2013-14)-P937- Dr PS
48 | Dr Urmila Saxena | Magnetic Stirre with hot Plate |  |  | 8379 | RSG (2013-14)-P938- Dr US
49 | Dr Asim Bikas Das | Vortex mixer |  |  | 9450 | RSG (2013-14)-P-940 Dr AB
50 | Dr Prakash Saudagar | Vortex Shaker Variable |  |  | 9900 | RSG (2013-14)-P937- Dr PS
51 | Dr K Divakar | PH Meter |  |  | 34810 | RS-798-GOI-DST-Dr KD-BT (2017-18)
52 | Dr P Shyam | PH Meter (pen type) |  |  | 1534 | RSM (2018-19) Dr SP
53 | Dr V Kohila | Protein Gel electrophoresis with power supply & blotting unit |  |  | 199948 | RSG (2014-15)-P-982 Dr Vk
54 | Dr Ramaraju | Stirring water |  |  | 95000 | RSG (2015-16)-P-984 Dr RRB
55 | Dr P Shyam | Heating Mantles |  |  | 3817 | RSM (2018-19) Dr SP
56 | Dr Urmila Saxena | Eutech PH Meter |  |  | 76715 | RS-816-GOI-SERB-Dr US-BT (2015-16)
57 | Dr K Divakar | Fosmid Sequencing onillaumina next 500 plat form |  |  | 36640 | RS-798-GOI-Dr KD-BT (2015-16)
58 | Dr K Divakar | Refrigirator |  | 190A | 14962 | RS-798-GOI-Dr KD-BT (2015-16)
59 | Dr Prakash Saudagar | Refrigirator |  |  | 49612 | RS-826-GOI-SERB-Dr PS-BT (2016-17)
60 | Dr Satish Babu | Refrigirator |  |  | 14995 | RS-808-CSIR-Sr RSB-BT (2017-18)
61 | Dr K Divakar | Balance Electronic | Shimadza | BC-220 H | 39375 | RS-798-GOI-DST-Dr KD-BT (2016-17)
62 | Dr K Divakar | Laminar Air Flow (harizantal) |  | RS-58-05 | 38325 | RS-798-GOI-DST-Dr KD-BT (2016-17)
63 | Dr Anbhumathi | Laminar Air Flow (harizantal) |  |  | 75000 | RSM (2018-19) Dr Ap
64 | Dr Ratna Prabha | Laminar Air Flow (harizantal) |  |  | 75000 | RSM (2018-19) Dr DRP
65 | Dr M Jerold | Laminar Air Flow Chamber(harizantal) |  |  | 45900 | RSM (2018-19) Dr MJ
66 | Dr K Divakar | Refrigirator centrifuge |  |  | 126307 | RS-798-GOI-DST-Dr KD-BT (2016-17)
67 | Dr K Divakar | Autoclave |  |  | 49590 | RS-798-GOI-DST-Dr KD-BT (2016-17)
68 | Dr M Jerold | Autoclave (BTI) (Portable) Complete Stainless Steel with dressing |  |  | 14998 | RSM (2018-19) Dr MJ
69 | Dr Ratna Prabha | Semi Autoclave |  |  | 48000 | RSM (2018-19) Dr DRP
70 | Dr K Divakar | Balance Electronic |  |  | 87084 | RS-798-GOI-DST-Dr KD-BT (2017-18)
71 | Dr M Jerold | Orbital Shaker Incubator |  |  | 90270 | RSM (2018-19) Dr MJ
72 | Dr Satish Babu | Ion meter with fluoride electrode refrigirator |  |  | 99225 | RS-808-CSIR-Sr RSB-BT (2017-18)
73 | Dr P Shyam | Refirigirator |  |  | 26196 | RSM(2018-19 Dr Sp
74 | Dr M Jerold | Double door refrigirator |  |  | 34304 | RSM (2018-19) Dr MJ
75 | Dr Ratna Prabha | Refirigirator |  |  | 24995 | RSM (2018-19)-P-1066 Dr DRP
76 | Dr K Narasimhulu | HPLC System |  |  | 980000 | RS-786-SERB-Dr KN-BT-(2015-16)
77 | Dr K Divakar | LENOVO C 2030 Desktop computer |  | LENOVO C2030 | 44900 | RS-798-GOI-DST-Dr KD-BT (2015-16)
78 | Dr K Divakar | Midi submarine electrophorossis system |  | BN 14-3-02 | 17035 | RS-798-GOI-DST-Dr KD-BT (2015-16)
79 | Dr K Divakar | Cm-101 Plus-Cyclo mixer Brushless motor & Suilable for inter char geable mixing heads |  | CM-101-Plus | 7686 | RS-798-GOI-DST-Dr KD-BT (2015-16)
80 | Dr K Divakar | Magnetic stirrer | Remi |  | 23578 | RS-798-GOI-DST-Dr KD-BT (2015-16)
81 | Dr Amitava Bandhu | Deep Frezer (-20°C) | Blue Star |  | 26900 | RS-821-SERB-Dr AB (2015-16)
82 | Dr Urmila Saxena | Water bath |  |  | 191788 | RS-816-GOI-SERB-Dr US-BT (2015-16)
83 | Dr Urmila Saxena | Refrigirator orbilatal incubator shaker | ASP Barnd | TI-611 | 191952 | RS-816-GOI-SERB-Dr US-BT (2015-16)
84 | Dr P Shyam | 2KvA Online UPS | Orbiteck-LE |  | 43900 | RSM(2018-19 Dr Sp
85 | Dr Anbhumathi | 2KvA Online UPS |  |  | 43900 | RSM (2018-19) Dr Ap
86 | Dr Amitava Bandhu | Gel Documantaion System |  |  | 283960 | RS-821-SERB-Dr AB (2016-17)
87 | Dr Satish Babu | Membrane filtrator set up laboratory scale |  |  | 199250 | RS-808-CSIR-Sr RSB-BT (2016-17)
88 | Dr Amitava Bandhu | SCLE Plas Sequencing Gell Apparatus Bichrom |  | TVS 1000 | 488915 | RS-821-SERB-Dr AB (2016-17)
89 | Dr Ramaraju | Pretreatment equipment (p nematic Actuator) |  |  | 99800 | RS-841-GOI-SERB- Dr RRB-BT (2016-17)
90 | Dr V Kohila | Gel Documantaion System/ Mage Quant | GE Healtcare | LAS 500 | 724500 | RS-910-GOI-SERB-Dr VK-BT (2018-19)
91 | Dr M Jerold | Water Bath 5Ltrs |  |  | 17228 | RSM (2018-19) Dr MJ
92 | Dr K Divakar | Upright Freezer Static |  |  | 75520 | RS-798-GOI-DST-Dr KD-BT (2018-19)
93 | Dr Amitava Bandhu | Bench Top Beta |  |  | 21000 | RS-900-CSIR Dr AB (2018-19)
94 | Dr Amitava Bandhu | Beta Micro Tube rack |  |  | 23625 | RS-900-CSIR Dr AB (2018-19)
95 | Dr P Shyam & Dr Anbhumathi | Computer workstation (02) |  | Tyrone camarero SS400TR 34R | 353558 | RSM (2018-19)Dr SP & Dr AP
96 | Dr Ratna Prabha | Water still ( Automatic) |  | Steel SISCO C26887) | 20709 | RSM (2018-19) Dr DRP
97 | Dr M Jerold | Sox hlet Appatus |  |  | 3304 | RSM (2018-19) Dr MJ
98 | Dr M Jerold | Microwave Oven -20Ltrs |  |  | 9591 | RSM (2018-19) Dr MJ
99 | Dr M Jerold | Laboratory Mantle |  |  | 8624 | RSM (2018-19) Dr MJ
100 | Dr M Jerold | Heating Mantles |  |  | 2065 | RSM (2018-19) Dr MJ
101 | Dr M Jerold | Rotor |  |  | 10532 | RSM (2018-19) Dr MJ
102 | Dr M Jerold | Centrifuge |  |  | 24465 | RSM (2018-19) Dr MJ
103 | Dr M Jerold | 101121 Degital Photoelectric Colormeter with 8 filters 112 systronics |  |  | 13216 | RSM (2018-19) Dr MJ
104 | Dr V Kohila | CPR 24 Plus Refrigirator Centrifuge |  |  | 284550 | RS-910-GOI-SERB-Dr VK-BT (2019-20)
105 | Dr K Divakar | Ultrasonicator |  |  | 194906 | RS-798-GOI-DST-Dr KD-BT (2019-20)
106 | Dr Ramaraju | Biochemistry Analyzer |  |  | 2399858 | RS-841-GOI-SERB- Dr RRB-BT (2019-20)
107 | Dr V Kohila | Microscope Primovert |  |  | 788004 | RS-910-GOI-SERB-Dr VK-BT (2019-20)
108 | Dr Prakash Saudagar | Trinocular Inverted research Microscope Fluorescence NCE with Accessories | Nikon | Ti2-U | 1729404 | RS-948-SERB-Dr.PS-BT (2019-20)
109 | Dr P Shyam | Laminor Air Flow Chamber |  |  | 66675 | RSM(2019-20) P-1067
110 | Dr Prakash Saudagar | Cylinder (Co2 Gas Cylinder |  |  | 16170 | RS-948-SERB-Dr.PS-BT (2019-20)
111 | Dr Ratna Prabha | Compact Versatile Refrigirated Mico Centrifuge | Eppendrof | 5430R | 495000 | RS-967-GOI-SERB-DRP-BT
112 | Dr Prakash Saudagar | CO2 Incubator | Heal Force | HF 90Air Jacket | 279938 | RS-948-SERB-Dr.PS-BT (2019-20)
113 | Store | Multifunction Printer |  |  | 14880 | RSM(2019-20) P-1068
114 | Dr Suraj Bhan Sevda | Weighing Balance |  |  | 15800 | RSM(2020-21) P-1128
115 | Dr Ratna Prabha | Motar & Pistle 10033 (4") with wooden Handle |  |  | 4200 | RSM(2019-20) P-1066
116 | Dr Ratna Prabha | HOT Air Oven |  |  | 11996 | RSM(2019-20) P-1066
117 | Dr Suraj Bhan Sevda | HOT Air Oven |  |  | 13990 | RSM(2020-21) P-1128
118 | Dr Chocka Lingam | HOT Air Oven |  |  | 20800 | RSM(2020-21) P-1131
119 | Dr Ratna Prabha | Cryo Box Odegree Mini cooler |  |  | 3293 | RSM(2019-20) P-1066
120 | Dr P Shyam | Bacteriological Incubator |  |  | 12000 | RSM(2019-20) P-1067
121 | Dr M Jerold | Asus Laptop |  |  | 22900 | RSM(2019-20) P-1069
122 | Dr Ratna Prabha | Electrophorosis Power Supply |  |  | 18495 | RSM(2019-20) P-1066
123 | Dr Ratna Prabha | Horizantal Electrophosis Apparatus |  |  | 24969 | RSM(2019-20) P-1066
124 | Dr Ratna Prabha | HPLC System |  |  | 1995000 | RS-967-GOI-SERB-DRP-BT (2020-21)

## Sheet1
Details of the Insruments under the Department: Biotechnology
S.no. | Description of the Item | Cost of the Instruments | Date of Purchase | Name of the Lab | Name of the In-Charge | Catering to the needs of depts. | Current working status | AMC Status | Head of Account
1 | Xerox Machine (Ricoh) | 108831 | 02.03.2007 | Office | TEQIP-I | TEQIP-I | Not Working |  | 2006-07
2 | Electrinic Weighing Balance | 69750 | 01.04.2017 | Bio Chemistry Lab | TEQIP-I | TEQIP-I |  |  | 2007-08 | Not Working
3 | Refrigirator (Penta Coll) | 24500 |  | IA Lab | TEQIP-I | TEQIP-I |  |  | 2007-08
4 | Steril Laminor Flow Bench | 91875 | 24.05.2007 | Micro Biology | TEQIP-I | TEQIP-I |  |  | 2007-08
5 | Micro Centrifuge | 171651 | 17.05.2007 | Genetics Lab | TEQIP-I | TEQIP-I |  |  | 2007-08
6 | OLYMPUS Binocular Imported research Microscope | 642017 | 19.06.2007 | Micro Biology | TEQIP-I | TEQIP-I |  |  | 2007-08
7 | Ultra low temparature cabin (-80°C) | 332716 | 16.06.2007 | DSP Lab | TEQIP-I | TEQIP-I |  |  | 2007-08 | Not Working
8 | Air Condition (Split type) 1.5t | 27103 | 10.08.2007 | IA Lab | TEQIP-I | TEQIP-I |  |  | 2007-08
9 | Dedital Bacterio Logical & cell culture incubator | 137190 | 25.07.2007 | Micro Biology | TEQIP-I | TEQIP-I |  |  | 2007-08 | Not Working
10 | Laptops(2) | 95080 | 26.03.2007 | Head Room | TEQIP-I | TEQIP-I |  |  | 2007-08
11 | Toshiba Projector | 89216 | 26.03.2007 | Class room | TEQIP-I | TEQIP-I |  |  | 2007-08 | Working
12 | Focus Tripod Single Stand Screen | 3600 | 30.07.2007 | Class room | TEQIP-I | TEQIP-I |  |  | 2007-08
13 | Micro Pipettes | 53400 | 22.08.2007 | Micro Biology | TEQIP | TEQIP |  |  | 2007-08
14 | Wireless Brodband Router | 3974 | 23.08.2007 | Dr Satish babu Room | TEQIP-I | TEQIP-I |  |  | 2007-08
15 | SEMI Automatic Autoclave | 80219 | 29.08.2007 | DSP Lab | TEQIP-I | TEQIP-I |  |  | 2007-08
16 | Degital PH Meter(04) | 31012 | 29.08.2007 | Bio Chemistry Lab | TEQIP-I | TEQIP-I |  |  | 2007-08 | Not Working
17 | Micro Processor Based PH Analyzer | 14100 | 29.08.2007 | IA Lab | TEQIP-I | TEQIP-I |  |  | 2007-08
18 | Laboratyory Hot Air Owen | 46305 | 30.08.2007 | Micro Biology & GE Lab | TEQIP-I | TEQIP-I |  |  | 2007-08
19 | Electrophoresis Syastem | 130613 | 16.10.2007 | Micro Biology & GE Lab | TEQIP-I | TEQIP-I |  |  | 2007-08
20 | Electrinic Portable Balance | 16875 | 19.12.2007 | IA Lab | TEQIP-I | TEQIP-I |  |  | 2007-08
21 | Single Cylinder trolley | 7312 | 07.12.2007 | Laboratory | TEQIP-I | TEQIP-I |  |  | 2007-08
22 | Microplate Reader | 281250 | 03.01.2008 | IA Lab | TEQIP-I | TEQIP-I |  |  | 2007-08
23 | Scanning Visible Spectophotomater | 82368 | 22.12.2007 | Bio Chemistry Lab | TEQIP-I | TEQIP-I |  |  | 2007-08
24 | Cyclomixer | 17042 | 08.12.2007 | Genetics Lab | TEQIP-I | TEQIP-I |  |  | 2007-08
25 | Heating Mantles | 6075 | 13.12.2007 | Bio Chemistry Lab | TEQIP-I | TEQIP-I |  |  | 2007-08
26 | Dry bath Gel Rocker | 28898 | 08.12.2007 | Genetics Lab | TEQIP-I | TEQIP-I |  |  | 2007-08
27 | UV/Visible Transillunisator | 38138 | 04.01.2008 | Genetics Lab | TEQIP-I | TEQIP-I |  |  | 2007-08
28 | Micro Wave | 4700 | 01.02.2008 | IA Lab | TEQIP-I | TEQIP-I |  |  | 2007-08
29 | Analytical Balance | 101250 | 21.12.2007 | Bio Chemistry Lab | TEQIP-I | TEQIP-I |  |  | 2007-08
30 | Rotary Shaker | 56419 | 17.01.2008 | Micro Biology | TEQIP-I | TEQIP-I |  |  | 2007-08
31 | Water Bath shaker Magnetic Stirrer, Maganetic Stirrer with Hot Plate | 35714 | 22.02.2008 | Micro Biology & Biochmestry Lab | TEQIP-I | TEQIP-I |  |  | 2007-08
32 | Orbital Shaker Incubator | 119168 | 03.01.2008 | Micro Biology & Biochmestry Lab | TEQIP-I | TEQIP-I |  |  | 2007-08 | Not Working
33 | Cooling Centrifuge | 143151 | 25.01.2008 | Micro Biology & Biochmestry Lab | TEQIP-I | TEQIP-I |  |  | 2007-08
34 | Electrophoresis Equipment | 131994 | 18.10.2007 | Micro Biology | TEQIP-I | TEQIP-I |  |  | 2007-08
35 | Thermal Cycler | 287903 | 20.12.2007 | Genetics Lab | TEQIP-I | TEQIP-I |  |  | 2007-08
36 | 1.Westren Bloting Apparatus 1.SouthernBloting Apparatus | 64142 | 21.01.2008 | Genetics Lab | TEQIP-I | TEQIP-I |  |  | 2008-09
37 | Colony Counter | 12454 | 10.01.2008 | Micro Biology | TEQIP-I | TEQIP-I |  |  | 2008-09
38 | Double Stage Hight Vacum Pump | 21320 | 07.01.2008 | Bio Instrumentation Lab | TEQIP-I | TEQIP-I |  |  | 2008-09
39 | Tissue Homoge Niser | 9194 | 15.03.2008 | Micro Biology & Genetics Lab | TEQIP-I | TEQIP-I |  |  | 2008-09
40 | Water Deionization System | 106834 | 15.02.2008 | Micro Biology & Genetics Lab | TEQIP-I | TEQIP-I |  |  | 2008-09
41 | Ultra pure water purification system | 183709 | 06.06.2008 | DSP Lab | TEQIP-I | TEQIP-I |  |  | 2008-09
42 | Double Beam UV-VIS Scaning Spectrometer | 615795 | 15.08.2008 | Molucular Biology & GE Lab | TEQIP-I | TEQIP-I |  |  | 2008-09
43 | Bioreactor | 556920 | 14.08.2009 | Bio Process eng lab | TEQIP-I | TEQIP-I |  |  | 2009-10 | Not Working
44 | Refrigirator (02) | 46000 | 20.04.2009 | DSP Lab | Institute Equipment | Institute Equipment |  |  | 2009-10
45 | Stabilizer Volt-1KvA (02) | 2400 | 29.04.2009 | Micro Biology & DSP Lab | Institute Equipment | Institute Equipment |  |  | 2009-10
46 | PH Electrodes with glass guard | 2458 | 09.02.2010 | Laboratory |  |  |  |  | 2009-10
47 | Sensor 70rC-30 BL cooling cenrifuge | 2427 | 29.04.2009 | Laboratory | Institute Equipment | Institute Equipment |  |  | 2010-11
48 | 10-100µl micro pipettes(06) | 21600 | 27.02.2011 | Laboratory | Plangrant |  |  |  | 2010-11
49 | 100-100µl micro pipettes(06) | 21600 | 27.02.2011 | Laboratory | Plangrant |  |  |  | 2010-11
50 | 1000µl micro pipettes(06) | 9000 | 27.02.2011 | Laboratory | Plangrant |  |  |  | 2010-11
51 | 0.5µl micro pipettes(06) | 21600 | 26.04.2011 | Laboratory | Plangrant |  |  |  | 2010-11
52 | Access Control Security Device | 60401 | 16.11.2009 | Department Purpose |  |  |  |  | 2010-11
53 | Binocular Microscope head | 15600 | 10.03.2011 | Laboratory |  |  |  |  | 2010-11
54 | Autocalve PA21 | 27023 | 13.05.2011 | Micro Biology & Bio Process Lab | Plangrant |  |  |  | 2011-12
55 | Hot plate | 6188 | 01.04.2011 | DSP Lab | Plangrant |  |  |  | 2011-12
56 | PH controller | 32175 | 07.06.2011 | Micro Biology | Plangrant |  |  |  | 2011-12
57 | Peristatic Pump | 69525 | 01.06.2011 | DSP Lab | Plangrant |  |  |  | 2011-12
58 | Ratameter | 20336 | 30.05.2011 | Bio Reaction Eng Lab | Plangrant |  |  |  | 2011-12
59 | Horigontal laminor air flow | 86430 | 18.05.2011 | Micro Biology | Plangrant |  |  |  | 2011-12
60 | Dissolved Oxigen Controler and sensor | 109962 | 04.08.2011 | BPCI Lab | Plangrant | Dr K Narasimhulu |  |  | 2011-12
61 | UPS 2KvA UPS System with DC power pack | 138935 | 11.08.2011 | Genetics Lab & IA Lab | Plangrant |  |  |  | 2011-12
62 | 5Kva UPS | 178600 | 02.08.2011 | BPE Lab | Plangrant |  |  |  | 2011-12
63 | Inverter Microscope | 255524 | 08.11.2011 | IA Lab | Plangrant |  |  |  | 2011-12
64 | V Lite MS 4.0 sofware | 693000 | 15.11.2011 | Bio Infarmetic Lab | Plangrant |  |  |  | 2011-12
65 | Orbital Shaker Incubator with Stabilizer | 118630 | 30.08.2011 | Micro Biology | Plangrant |  |  |  | 2011-12
66 | Autocalve (Vertical type) | 47813 | 17.08.2011 | Micro Biology & Bio Process Lab | Plangrant |  |  |  | 2011-12 | Not Working
67 | Autoclave Portble (02) | 50440 | 16.01.2012 | DSP Lab | Plangrant |  |  |  | 2011-12
68 | Biosafty Cabinet | 183401 | 24.08.2011 | IA Lab | Plangrant | I A Lab |  |  | 2011-12
69 | 1.5 T Split Air Conditional with Stabilizer (04) | 134600 | 15.02.2012 | Genetics Lab & IA Lab | Plangrant | Computer Lab |  |  | 2011-12
70 | Super Pro Designer | 206575 | 02.03.2012 | Bio Process eng lab | Plangrant |  |  |  | 2011-12
71 | Cannon D520(Laser printer with scaner copies | 14800 | 25.11.2011 | Office | Plangrant | Office |  |  | 2011-12 | Working
72 | Packed bed Bioreactor | 393700 | 29.03.2012 | Bio Process eng lab | Plangrant | Bioprocess Lab |  |  | 2011-12
73 | V-Guard 600VA UPS (02) | 4000 | 09.09.2011 | Genetics Lab | Plangrant
74 | Refrigirator | 14990 | 06.12.2012 | Micro Biology |  |  |  |  | 2012-13
75 | Projector | 43700 | 04.01.2013 | Class room | TEQIP-II | TEQIP-II |  |  | 2012-13
76 | Micro Wave | 14500 | 11.01.2013 | Bio Chemistry Lab | Plangrant | Plangrant |  |  | 2012-13
77 | Peristatic Pump | 64000 | 28.01.2013 | DSP Lab | Plangrant | Dr Sreenivasa Rao |  |  | 2012-13
78 | Two Tank Intracting System & Two Tank Non Intracting System | 106638 | 24.12.2012 | BPCI Lab | Plangrant | Bioprocess Lab |  |  | 2012-13
79 | temperaturte Controller trainer | 109946 | 24.11.2012 | BPCI Lab | Plangrant | Bioprocess Lab |  |  | 2012-13
80 | setup for time constant of U tube mano meter | 43386 | 05.01.2012 | BPCI Lab | Plangrant | Bioprocess Lab |  |  | 2012-13
81 | setup for time constant of thermo couple and thermameter | 61487 | 16.01.2013 | BPCI Lab | Plangrant | Bioprocess Lab |  |  | 2012-13
82 | Desktop (03) | 104857 | 22.01.2013 | BPCI Lab | Plangrant | Central Store |  |  | 2012-13
83 | Analytical Balance | 81500 | 09.02.2013 | IA Lab | Plangrant | Dr Satish Babu |  |  | 2012-13
84 | Co2 Incubator | 325500 | 08.01.2013 | IA Lab | TEQIP-II | TEQUIP-II |  |  | 2012-13
85 | Cold Cabinet | 183200 | 28.03.2013 | DSP Lab | Plangrant |  |  |  | 2012-13
86 | Flame Photometer | 47213 | 26.03.2013 | IA Lab | Plangrant |  |  |  | 2012-13
87 | Presser Process Copntroller & Level Process Controller | 283986 | 30.03.2013 | BPCI Lab | Plangrant |  |  |  | 2012-13
88 | Benchtop /Table top refrigerator centrifuge | 514950 | 13.05.2013 | Micro Biology & Genetics Lab | Plangrant |  |  |  | 2012-13
89 | Numeric -10KvA UPS System with DC power pack | 194134 | 14.11.2013 | Department Purpose | Plangrant |  |  |  | 2013-14
90 | Fast protein liquid chromatography (FPLC) | 901002 | 27.01.2014 | DSP Lab | Plangrant |  |  |  | 2013-14
91 | liquied nitrogen container | 46096 | 28.03.2014 | Cell Culture Lab | Plangrant |  |  |  | 2013-14
92 | Computer server | 2703600 | 10.10.2013 | Bio Informatic Lab | TEQIP | TEQIP |  |  | 2013-14
93 | Freeze Dryer | 740943 | 19.12.2013 |  | TEQIP | TEQIP |  |  | 2013-14
94 | Windows 8'OS | 1858625 | 21.12.2013 |  | TEQIP | TEQIP |  |  | 2013-14
95 | Visual Presenter | 30900 | 05.11.2013 |  | TEQIP | TEQIP |  |  | 2013-14
96 | Laptop Computer | 61275 | 04.11.2013 |  | TEQIP | TEQIP |  |  | 2013-14
97 | Interaction Pad | 10140 | 25.11.2013 |  | TEQIP | TEQIP |  |  | 2013-14
98 | Ultra sonic Processor | 438248 | 16.09.2014 | Micro Biology | Plangrant | Dr Urmila Saxena |  |  | 2014-15
99 | Static Incubator | 69600 | 16.07.2014 | DSP Lab | Plangrant | Dr Ramaraju |  |  | 2014-15
100 | GAC Chromatography | 877646 | 24.06.2014 | DSP Lab | Plangrant | Dr Ramaraju |  |  | 2014-15
101 | V Lite MS 4.0 sofware | 997500 | 12.03.2015 | Bio Infarmetic Lab | Plangrant | Dr Onkara Perumal |  |  | 2014-15
102 | 20KvA Online UPS System | 894725 | 03.07.2014 | Department Purpose | Plangrant | Dr Ramaraju |  |  | 2014-15
103 | Split Ac (06) | 400302 | 06.02.2015 | Laboratory | Plangrant | PE Office |  |  | 2014-15
104 | Freezer | 620508 | 02.06.2014 | Genetics Lab | Plangrant | Dr Asim Bikas Das |  |  | 2014-15
105 | micro piptte set(03) | 460000 | 24.04.2014 | Laboratory | Plangrant | Dr Asim Bikas Das |  |  | 2014-15
106 | Gaas purification pavel and gas cylinders | 86992 | 15.04.2014 | DSP Lab | Plangrant | Dr Ramaraju |  |  | 2014-15
107 | High Perfomance liqied chromatography (HPLC) | 1387103 | 07.04.2014 | DSP Lab | Plangrant | Dr Ramaraju |  |  | 2014-15
108 | Real time PCR Machine | 963174 | 19.05.2014 | Micro Biology | Plangrant | Dr V Kohila |  |  | 2014-15
109 | 6903-J022A V630-UV/VIS Spectro photo meter | 364999 | 22.04.2014 | IA Lab | Plangrant | Dr K Narasimhulu |  |  | 2014-15
110 | Water Cooler | 735284 | 02.07.2014 | Office | Dean SW | Dean SW |  |  | 2014-15
111 | Cleanair Vertical Cauminal Air floe Bench | 333260 | 15.05.2014 | Micro Biology | Plangrant | Dr Ramaraju |  |  | 2014-15
112 | F400-SAEV-TS-Deep Freezer | 250000 | 16.07.2014 | Genetics Lab | Plangrant | Dr Asim Bikas Das |  |  | 2014-15
113 | Ice flake machine (air cooler) | 233494 | 07.05.2014 | Micro Biology & Genetics Lab | Plangrant | Dr Asim Bikas Das |  |  | 2014-15
114 | Desktop computers 1.VT/F core j74 770/446/500 pv (10) 2.V196HQLq6 18:5H 5ms pc (10) | 559614 | 30.12.2014 | Bio Informatic Lab | Plangrant | Dr Ramaraju |  |  | 2014-15
115 | UV transilluminator | 145000 | 05.02.2015 |  | Plangrant | Dr Asim Bikas Das |  |  | 2014-15
116 | Ay 15944-9PH 700 meter W/PH 7 AIC probes | 99950 | 16.01.2015 |  | Plangrant | Dr Urmila Saxena |  |  | 2014-15
117 | LMMS -300 Hotpalte Magnetic Stirrer | 20000 | 06.05.2015 |  | Plangrant | Dr Ramaraju |  |  | 2015-16
118 | Micro Pipettes (06) | 286000 | 10.04.2015 | Laboratory | Plangrant | Dr V Kohila |  |  | 2015-16
119 | HPLC Column | 66064 | 13.04.2015 | DSP Lab | Plangrant | Dr Ramaraju |  |  | 2015-16
120 | Gardient PCR | 900000 | 16.05.2016 | Laboratory | Plangrant | Dr Prakash Saudagar |  |  | 2015-16
121 | Split Ac (03) | 192150 | 30.04.2015 | Stem Cell Lab | Plangrant | PE Office |  |  | 2015-16
122 | 1.5 T 5 star model capacity loyrd split ACRWB 322 refrigirator water bath | 184982 | 03.04.2015 | Micro Biology Lab | Plangrant | PE Office |  |  | 2015-16
123 | Electrical wiring for modification of steem cell lab 5 staff rooms | 199658 | 22.04.2015 | Stem Cell Lab | Plangrant | PE Office |  |  | 2015-16
124 | RWB 322 refrigirator water bath | 500000 | 27.08.2015 | Micro Biology Lab | Plangrant | Dr Amitava Bandhu |  |  | 2015-16
125 | KHM Heating mantle | 24950 | 26.10.2015 | DSP Lab | Plangrant | Dr Amitava Bandhu |  |  | 2015-16
126 | Electochemical workstation | 912722 | 21.08.2015 | IA Lab | Plangrant | Dr Urmila Saxena |  |  | 2015-16
127 | Fume Hood | 521971 | 06.01.2016 | Laboratory | Plangrant | Dr Prakash Saudagar |  |  | 2015-16
128 | KMS-650 Hot plate magnatic stirrer | 49195 | 26.10.2015 | Bio chemistry & DSP Lab | Plangrant | Dr Amitava Bandhu |  |  | 2015-16
129 | SU8H0S3078DM Repromer | 83097 | 16.03.2016 |  | Plangrant | Dr Ramaraju |  |  | 2015-16
130 | Orbital Shaker Incubator | 504692 | 24.04.2016 |  | Plangrant | Dr Satish Babu |  |  | 2015-16
131 | Ricoh AFICO MP3054 Copier Machine | 119595 | 27.11.2015 | Office | Plangrant | Central Store |  |  | 2015-16 | Repair
132 | Analytical Balance | 99120 | 04.01.2016 |  | Plangrant | Dr P Sreenivasa Rao |  |  | 2015-16
133 | PH Meter | 146682 | 22.03.2016 |  | Plangrant | Dr Ramaraju |  |  | 2015-16
134 | HE Gas | 50872 | 28.03.2016 |  | Plangrant | Dr Ramaraju |  |  | 2015-16
135 | Vaccume Filtration Setup | 97266 | 28.03.2016 |  | Plangrant | Dr P Sreenivasa Rao |  |  | 2015-16
136 | Gel Electphoresis unit | 99993 | 15.03.2016 |  | Plangrant | Dr V Kohila |  |  | 2015-16
137 | Laminar Air Flow | 58800 | 21.04.2016 |  | Plangrant | Dr Urmila Saxena |  |  | 2015-16
138 | Degasses Unit for HPCL | 294000 | 16.06.2016 | DSP Lab | Plangrant | Plangrant |  |  | 2016-17
139 | Co2 Incubator | 399000 | 06.07.2016 | Cell Culture Lab | Plangrant | Dr Asim Bikas Das |  |  | 2016-17
140 | UV VIS Spectro Photometer | 837900 | 06.05.2016 | Laboratory | Plangrant | Dr Satish Babu |  |  | 2016-17
141 | 600 Valine Interactive UPS (10) | 36950 | 20.04.2016 |  | Plangrant | Central Store |  |  | 2016-17
142 | Centrifuge | 392464 | 18.07.2016 | Cell Culture Lab | Plangrant | Dr Asim Bikas Das |  |  | 2016-17
143 | Lab Refridigirator | 199800 | 05.10.2016 |  | Plangrant | Dr V Kohila |  |  | 2016-17
144 | Micro processor Based Scanning visible spectro photometer | 222925.5 | 01.12.2016 |  | Plangrant | Dr Ramaraju |  |  | 2016-17
145 | Gel Documantaion System | 100678 | 07.02.2017 |  | Plangrant | Dr Ramaraju |  |  | 2016-17
146 | Electrophoresissetup | 379877 | 25.05.2018 | DSP Lab | TEQIP-I | Dr Ramaraju |  |  | 2017-18
147 | Refrigerator (01) 950Ltrs | 129150 | 27.04.2018 | Bio Instrumentation Lab | Plangrant | Dr Satish Babu |  |  | 2017-18
148 | Refrigerator (02) 400Ltrs | 134978 | 26.04.2018 | Bio Instrumentation Lab | Plangrant | Dr Satish Babu |  |  | 2017-18
149 | Temperaturte Controller Shaker Incubator | 737625 | 14.05.2018 | Bio Process eng lab | Plangrant | Dr Amitava Bandhu |  |  | 2017-18
150 | PH Electrodes with glass guard | 38940 | 30.11.2017 | Micro Biology | Plangrant | Dr Amitava Bandhu |  |  | 2017-18
151 | Table refrigirator Centrifuge | 441000 | 14.05.2018 | Genetics Lab | Plangrant | Dr Asim Bikas Das |  |  | 2017-18
152 | Autoclave (fully automatic) | 161490 | 27.04.2018 | AutoClave Room | Plangrant | Dr Satish Babu |  |  | 2017-18
153 | Micro pipette set | 47613 | 05.02.2018 | BPE Lab | Plangrant | Dr Satish Babu |  |  | 2017-18
154 | Refrigirator | 70000 | 07.02.2018 | BPE Lab | Plangrant | Dr Satish Babu |  |  | 2017-18
155 | 425/10 Double Distillation Unit TSGW | 64999.68 | 31.10.2017 |  | Plangrant | Dr Amitava Bandhu |  |  | 2017-18
156 | Orbital Shaker Incubator with universal tray | 99648.64 | 09.03.2018 | DSP Lab | Plangrant | Dr Ramaraju |  |  | 2017-18
157 | Gel dryer & Vaccume pump with moisture trap & connecting tube | 119994 | 16.10.2017 | Micro Biology Lab | Plangrant | Dr Amitava Bandhu |  |  | 2017-18
158 | Double vertical protein system | 145600 | 26.02.2018 | Micro Biology Lab | Plangrant | Dr Amitava Bandhu |  |  | 2017-18
159 | RADEX RD 1212-BT Advanced Radiatiopn Detector Quartz | 69997 | 22.01.2018 |  | Plangrant | Dr Amitava Bandhu |  |  | 2017-18
160 | Water Bath termostatic Rectangular-BTI-57 | 9984 | 05.02.2018 |  | Plangrant | Dr Ramaraju |  |  | 2017-18
161 | Lab Quest Micro Centrifuge | 11959 | 10.10.2019 | Bio Chemistry Lab | TEQIP-I | Dr Ramaraju |  |  | 2019-20
162 | Dry bath | 105000 | 18.09.2019 |  | Plangrant | Plangrant |  |  | 2019-20
163 | Gel Rocker | 149100 | 30.01.2020 |  | Plangrant | Dr Satish Babu |  |  | 2019-20
164 | Virtex mixer | 42420 | 10.10.2019 | Bio Chemistry Lab | Plangrant | Dr Ramaraju |  |  | 2019-20
165 | Micro wave Oven (02) | 24990 | 27.09.2019 |  | Plangrant | Dr Ratna Prabha |  |  | 2019-20
166 | Micro Pipette set (09) | 194746 | 25.09.2019 | Laboratory | Plangrant | Dr V Kohila |  |  | 2019-20
167 | Benq Projector | 24600 | 24.09.2019 | Class room | Plangrant | Dr M Jerold |  |  | 2019-20 | Working
168 | Benq Projector | 24600 | 09.12.2019 | Class room | Plangrant | Dr M Jerold |  |  | 2019-20 | Working
169 | Projector Screen 6/4 Motorized Malty White | 19350 | 24.09.2019 | Class room | Plangrant | Dr M Jerold |  |  | 2019-20 | Working
170 | 336012 Quartz New type Heat 3361/62 Capacity 1.5 ltrs/hr - Borosil | 5922 | 10.10.2019 |  | Plangrant | Dr Ramaraju |  |  | 2019-20
171 | 336011 Space Borosil Biiler with water levels 3361/62 | 6006 | 10.10.2019 |  | Plangrant | Dr Ramaraju |  |  | 2019-20
172 | 3366241 Appratus Distillation Apparatus Power supply (DAPS) | 13881 | 10.10.2019 |  | Plangrant | Dr Ramaraju |  |  | 2019-20
173 | Reynold Appratus | 46940 | 23.11.2019 |  | Plangrant | Dr Jerold |  |  | 2019-20 | Working
174 | Thermal Condctivity in metal rod | 72900 | 23.11.2019 |  | Plangrant | Dr Jerold |  |  | 2019-20 | Working
175 | Loss due to Friction in pipe line | 67000 | 23.11.2019 |  | Plangrant | Dr Jerold |  |  | 2019-20 | Working
176 | Heat Tranfer in Natural Convection | 70540 | 23.11.2019 |  | Plangrant | Dr Jerold |  |  | 2019-20 | Working
177 | Emissivity Measurment Apparatus | 72900 | 23.11.2019 |  | Plangrant | Dr Jerold |  |  | 2019-20 | Working
178 | BE renoullis | 62280 | 23.11.2019 |  | Plangrant | Dr Jerold |  |  | 2019-20 | Working
179 | Heat Tranfer Thourgh Composite Wall Apparatus | 74080 | 23.11.2019 |  | Plangrant | Dr Jerold |  |  | 2019-20 | Working
180 | Upgradation Pressure | 14632 | 14.01.2020 |  | Plangrant | Dr Anubumathi |  |  | 2019-20 | Working
181 | Upgradation Level | 14632 | 14.01.2020 |  | Plangrant | Dr Anubumathi |  |  | 2019-20 | Working
182 | Weighing Balance | 245440 | 23.01.2020 |  | Plangrant | Dr Ratanaprabha |  |  | 2019-20 | working
183 | Nikon Binocular microscope 16sets | 2977126 | 14.02.2020 |  | Plangrant | Dr Prakash Saudagar |  |  | 2019-20 | Working