## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Equipment Description | Department Name* | Facility Name* | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Alert to be sent (Email id)*
Photolithography facility for photoresist processing, 1.Plasma clear PDC002, Spin Coater, Agitator, Hot plate etc 2. UV source UV KUB Z |  |  | Blackhole labs | 1a Plasma clear PDC002, 1b Spin Coater, 2a UV source UV KUB Z | 1a PDC002060063, 1b 15429, 2a 02 2008 99 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | CRF, 4th Floor | 5000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Sequenom Mass Array |  |  | Bruker | MLN 103-PD | 411 1267 09 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | spectroscopy II | 15000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
HIGH PRESSURE LIQUID CHROMATOGRAPHY (HPLC system) | HPLC |  | Agilent | 1100 series | DE33214302 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | C-307 | 2500000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
HIGH PRESSURE LIQUID CHROMATOGRAPHY (HPLC system) | HPLC |  | Agilent | 1200 series | DE63058623 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | HPLC | 2500000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
REAL TIME PCRS (RTPCR) | RTPCR |  | Applied Biosystems, USA | ABI 7900 HT | 201540 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | C-410 | 1000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
REAL TIME PCRS (RTPCR) | RTPCR |  | Applied Biosystems, USA | ABI QuantStudio5 | 272530496 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | New R & D 4th floor | 1000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
REAL TIME PCRS (RTPCR) | RTPCR |  | Applied Biosystems, USA | ABI Vii A 7 DX | 278990040 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | Spectroscopy II | 1000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Liquid Handling System |  |  | Robodesign/Rigaku, USA | Alchemist I | 307 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | E-015 | 2000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Lyophilizer/Freeze Drying System | Freeze dryer |  | Martin Christ | Alpha 1-2 LP Plus | 14329 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | W-315 | 2000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Fourier Transform Infrared Spectrometer (FTIR) | FTIR |  | Bruker Optik Gmbh | Alpha T | 200137 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | Spectroscopy II | 1500000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Model AVANCE III 600 MHz Imaging System | NMR |  | Bruker Biospin | AVANCE III HD | H03128OB 05 00 R 6347 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | NMR Microimagimg facility | 15000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Model AVANCE NEO 600 Mhz Spectrometer with Cryoprobe and cryo platform | NMR |  | Bruker Biospin | Avance NEO | H03128OB | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | NMR | 15000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
High Speed Floor model Centrifuges with rotors |  |  | Beckman Coulter | Avanti JXN-30 | JXY16C10 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | East wing 3rd floor Inst. Hall | 2500000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Advanced Stereo Fluorescence Microscope with Apotome |  |  | Carl Zeiss | Axio Zoom V 16 | 3941000756 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | C-105 | 4000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Advanced Fluorescence Microscope |  |  | Carl Zeiss | Axioimager.z2 | 3523000640 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | Advenced microscopy | 3500000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Small Angle X-Ray Scattering (SAXS) system | SAX |  | Rigaku | BioSAX 2000 | A1762 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | R&D Ground floor R110 | 10000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
CHEMI DOCUMENTATION SYSTEMS (CHEMI DOC) | CHEMI DOC |  | Vilber Lourmat, France | CHEMI-SMART 5000 | 710398 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | DNA Sequencing | 1000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
CHEMI DOCUMENTATION SYSTEMS (CHEMI DOC) | CHEMI DOC |  | Biorad, USA | Chemidoc MP | 734BR5051 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | W-212 | 1000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
CD SPECTROPOLARIMETERS (Model Chirascan plus) | CD |  | Applied Photophysics, UK | Chirascan plus | SGH301P30Q | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | CRF 1st floor | 15000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
ECOMRI Body composition analyser | ECOMRI |  | EchoMRI Corporation, Singapore | EchoMRI 500 | E26 261 RMT | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | New R & D 3rd floor | 2000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
MULTIMODE READERS (PLATE READERS) | PLATE READERS |  | Perkin Elmer, USA | EnSpire 2300 | 23000632 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | Spectroscopy I | 2000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Fluorimeter |  |  | Hitachi , Japan | F7000 | 2351 005 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | Spectroscopy I | 1800000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
High Performance 2 Tool (Pen and Cutter/Creasing) Flatbed Plotter Cutter |  |  | M/s. Graphtec Corporation, Japan | FC 2250 | D50112236 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | CRF - 1st floor | 1000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Fluorimeter (Modular Spectro Fluorometer) |  |  | Jobin Yvon, USA | Fluorolog FL3-22 | 0768B | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | spectroscopy II | 2625000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Fortessa cell analyser with high throughput module | FACS |  | Beckton Dickinson | Fortessa | H647788L5006 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | C-406 | 10000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Single crystal X-Ray Diffractometer (XRD) | XRD |  | Rigaku | FR-E+ Super Bright | D435103 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | New R&D building GF | 8000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Gel Documentation Systems (GEL DOC) | GEL DOC |  | Syngene, UK | G Box F3 | DR4V2/3638 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | C R T D H (CRF 4th Floor) | 500000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Gallios cell analyser | FACS |  | Beckman | Gallios | AY 45629 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | FACS | 5000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
MICROARRAY FACILITY: Genechip 7000G system | MICROARRAY |  | Affymetrix | Genechip 3000 7G | 54714780 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | C405 Microarray facility | 10000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Gel Documentation Systems (GEL DOC) | GEL DOC |  | Syngene, UK | GeneGenius | SYDR2151 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | DNA Sequencing | 500000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Small Angle X-Ray Scattering (SAXS) system | SAX |  | Hecus X-Ray systems | Genix | G06 08 02 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | New R&D building GF 108 | 10000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Super critical fluid extraction system |  |  | Applied Separations, USA | HELIX | 770000064290 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | CRF , FF 022 | 5000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Liquid Scintillation Counters (LSC) | LSC |  | Hidex OY Finland | Hidex 300SL Automatic TDCR | Part No 425 201 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | E-W. Basement | 5000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Raman Spectroscopy System | RAMAN SYSTEM |  | Renishaw | In Viva Reflex | 73A690 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | C 105 | 7500000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Bio-inert Quaternary LC System with UV, RI and FLD detectors | HPLC |  | Agilent | Infinity 1260 | DEAB600834 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | CRTDH ( Medical biotechnology) | 1000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
MULTIMODE READERS (PLATE READERS) | PLATE READERS |  | Tecan | Infinity M200 PRO | 1505000713 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | CRF | 2000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
ISOTHERMAL TITRATION CALORIMETER (ITC 200) | ITC |  | GE Healthcare | ITC200 | 04 12 634 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | Spectroscopy I | 5000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
CD SPECTROPOLARIMETERS (Model J-815) | CD |  | Jasco, Japan | J-815-150S | A015661168 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | Spectroscopy II | 200000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Spectral Confocal Laser Scanning Microscope | CONFOCAL |  | Carl Zeiss | LSM 880 Airyscan | 3869000127 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | C-105 | 8000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
LTQ Orbitrap velos with ETD & HESI -II and Easy nLC | MASS SPEC |  | Thermo Fisher Scientific,USA | LTQ-ORBITRAP-VELOS | 03209B | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | Proteomics | 15000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
High Speed Floor model Centrifuges with rotors |  |  | Thermo Fisher Scientific | LYNX -4000/6000 | 41785692 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | CRF Basement | 2500000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Microcontroller system, pressure pumps, flow controller etc |  |  | FLUIGENT, France | 3200016/6 | 4907044 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | CRF 1st FLOOR | 500000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Single crystal X-Ray Diffractometer (XRD) | XRD |  | Rigaku | MicroMax 007HF | FD404402 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | New R&D building GF | 8000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Plate Imaing System |  |  | Robodesign/Rigaku, USA | Minstrell III | 390 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | E015, Returned to stores | 2500000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Crystallization robotic system |  |  | TTP Labtech | Mosquito 5 deck | Mosquito HV System MHV 2114 Old Unit New Replacement Unit: MHV-2148 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | NGS | 5000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
ELISA Readers | ELISA |  | Thermo Fisher Scientific | Multiscan GO | 1500658 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | LACONES (CCMB Annexe I) | 500000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Atomic Force Microscopy (AFM system) | AFM |  | Nanonics | MV4000 | E 725, 3CDA | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | C-105 | 2000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Nonofiber electrospinning system |  |  | Kato Tech Co., Ltd, Japan | NEU | 2100601NEU N | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | CRF | 3000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Fortbio Octet Red 96 system (BLI System) | BLI system |  | Forte Bio, USA | Octet Red | FB 50195 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | CRF - I Floor | 10000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
High Content Screening system (HCS) | HCS |  | Perkin Elmer, USA | Operetta | OPRT 1314 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | spectroscopy II - C206 | 2250000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Table top ultra centrifuge with rotors | TABLE TOP ULTRA CENTRIFUG |  | Beckman Coulter | Optima MAX | CTM07C02 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | BSL- 3 | 2000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Floor model ultra centrifuge with rotors | ULTRA CENTRIFUGE |  | Beckman Coulter | Optima XPN | XPN20C020 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | New R & D | 3000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Crystallization robotic system |  |  | Douglas Instruments | Oryx 4 | XYZV Plate Loader 1734 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | E-015 | 5000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
THERMAL CYCLERS (PCR) | PCR |  | Bio-Rad, USA | PCR- C 1000 Touch | CT069062 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | New R&D 5th floor | 1000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
THERMAL CYCLERS (PCR) | PCR |  | ABI, USA | PCR- ProFlex | 2978021120206 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | New R&D 5th floor | 1000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
THERMAL CYCLERS (PCR) | PCR |  | Eppendorf, Germany | PCR- Pro S | 6331JH524855 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | New R & D 1st floor | 1000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
THERMAL CYCLERS (PCR) | PCR |  | ABI | PCR- ABI9700 | 805S 9141301 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | Lacones | 1000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Personal Molecular Imager (Phosphor Imager) |  |  | Biorad | PMI | 428BR737 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | C-308 | 2000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
3D Printer |  |  | PrintZworld, Kolkata | PrintZ | 0002, | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | Tissue Culture Facility (MBC) | 200000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
HIGH PRESSURE LIQUID CHROMATOGRAPHY (HPLC system) | HPLC |  | Shimadzu, Japan | Prominence | L20114404772AE | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | R.No : L216 LaCONES | 5000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Analytical Ultracentrifuge (AU) | AU |  | Beckman Coulter | ProteomeLab XL-I | PL110D02 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | CRF FIRST FLOOR | 5000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
CHEMI DOCUMENTATION SYSTEMS (CHEMI DOC) | CHEMI DOC |  | Syngene, UK | PXI 6 ACCESS | PX63A/1010 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | C-410 | 1000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
High performance hybrid quadrupole bench top Orbitrap Mass Spectrometer bench Top Orbitrap system with with integrated Easy nLC 1200 | MASS SPEC |  | Thermo Fisher Scientific,USA | Q-Exactive | Part No 0726020 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | Proteomics | 15000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
High performance, ultra high field quadrupole bench top Orbitrap Mass Spectrometer System with integrated Easy nLC 1200 | MASS SPEC |  | Thermo Fisher Scientific,USA | Q-Exactive HF | 05389L | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | Proteomics | 15000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Robotic Incubators for Plate Storage & Retrieval |  |  | Robodesign/Rigaku, USA | RoboIncubator | 365 366 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | E-015, Returned to stores | 3000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
REAL TIME PCRS (RTPCR) | RTPCR |  | Roche, USA | Roche LC480 | 27838 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | spectroscopy II | 1000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Scanning Electron Microscope (SEM) | SEM |  | Hitachi , Japan | S-3400N | 340508 02 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | C-105 | 3000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Speed Vac Concentrator System | Speed Vac |  | Thermo Fisher Scientific | SPD131DDAP1-230 | 1154431701170820 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | New R & D Iind Floor | 1000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
MULTIMODE READERS (PLATE READERS) | PLATE READERS |  | Molecular Devices | Spectramax id3 | 373705643 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | BSL-2 Ground floor | 2000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Dynamic Light Scattering Unit |  |  | Nabitech | SpectroSize 300 | CL500 011109 003 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | X-Ray Crystallography Lab | 1500000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
MULTIMODE READERS (PLATE READERS) | PLATE READERS |  | Biotek Instruments, USA | Synergy H1M | 14050610 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | CRF - 1st floor | 2000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Dynamic Light Scattering system (DLS) | DLS |  | Horiba | SZ-100 | HGS NO XPT49RUU | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | Spectroscopy I | 2000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
High sensitive spectral Confocal Microscope | CONFOCAL |  | Leica | TCS-SP-8 | 374311 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | C-105 | 8000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Picosec Lifetime Fluorescence Spectrophotometer |  |  | Jobin Yvon, USA | Ultrafast DELTA D TCSPC | 13284 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | spectroscopy II - C206 | 40000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
High resolution Ultra sound Imaging system |  |  | Visual Sonics, Canada | Vevo 2100 | 0484XP | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | New R & D 3rd floor | 5000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
ISOTHERMAL TITRATION CALORIMETER (VP ITC) | ITC |  | MicroCal | VP-ITC | 11 04 627 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | East wing training lab | 5000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Differential Scanning Calorimeter (DSC) | DSC |  | Micro Cal, LLC | VPDSC | 05 06 477 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | Spectroscopy - I | 1500000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
NGC Quest 10 chromatography system, | Chromotography system |  | M/s BioRad Pacific Limited | NGC Quest 10 | 840BR011182 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | E-010 | 2141000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
B D FACS ARIA FUSION - 4 Laser Multi Colour Bench Top High Speed Sorter Flow Cytometer System | Cell sorter |  | M/s BD iosciences, USA | FACS ARIA Fusion | R656700G5014 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | FACS | 24716000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Olympus High Senstive Spectral Confocal Microscope System | Confocal |  | M/s. Olympus Corporation, Japan. | FV3000 | 8D88615 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | C-105 | 17453000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
NOVASEQ6000 Sequencing System | NGS |  | M/s. Illumina Singapore Pte Ltd., Singapore | Novaseq 6000 | A00573 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | C-208 | 84339000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Amersham TYPHOON IP Phosphor Imaging System | Phospohor imager |  | M/s. GE Healthcare PTE. Ltd. Singapore | Phosphor Imaging System:Amersham Typhoon | 86910431 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | C-308 | 3500000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Protein Purification System | Protein Purification System |  | M/s. GE Health Care Ltd., Singapore | AKTA PURE 150 M3 | 2478506 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | CRF - III floor | 4725000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Light Sheet Microscope for Fixed & Live Biological Samples | SPIM |  | M/s. Intelligent Imaging Innovation inc., USA | DiSPIM | 1649 PC DAQ | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | ……… | 26299000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Jeol Ultra High Mass Resolution MALDI TOF MS System | MS |  | M/s. Jeol Asia PTE. Ltd., Singapore | JMS-S3000 -Mass Spec | MS1092000530053 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | Proteomics | 26600000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Ultra High Performance Liquid Chromatography System, | UHPLC |  | M/s. Thermo Fisher Scientific India Pvt. Ltd., Mumbai | Vanquish | 8170227 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | Proteomics | 5019000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
EXTRACELLULAR FLUX ANALYZER | Flux analyser |  | Agilent - Seahorse Bioscience Inc., USA | XFp | US431224 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | S-311 | 5492000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
PyroMark Q48 Autoprep system for automated Pyrosequencing | Pyrosequencer |  | M/s. QIAGEN India Pvt. Ltd., Haryana | Pyro Mark Q48 Autoprep | 1911016 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | E-409 | 2868000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
King Fisher Flex Purification System | Flex Purification System |  | Thermo Scintific, USA | King Fisher Flex | 711 80971 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | CRF 2nd floor Room SF16 | 3745000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Super Resolution Microscope System | STED |  | M/s. Leica Mikrosysteme Vertrieb GmbH, Germany | TCSSP8 STED 3X | 8110002811 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | C-105 | 44200000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Green or Red Microscale Thermophoresis System | Thermophoresis |  | M/s. Nano Temper Technologies GmbH, Germany | MST System: Monolith NT.115 | 202002 GR N001 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | Spectroscopy I | 7395000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Automated Liquid Handling System | Liquid Hanldling |  | M/s. Tecan Sales Austria GmbH, AUSTRIA | Freedom EVO-2 150 base | 2007007271 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | Spectroscopy II | 9678000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Isothermal Titration calorimeter system | Calorimeter |  | M/s. Malvern Panalytical Limited, United Kingdom | PEAQ - ITC cell | MAL1249713 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | Spectroscopy I | 6803000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Hypoxia Chamber | Hypoxia cahmber |  | M/s Bioxia, H-7, Rajalaxmi Commercial , Thane | BIOXIA H800 | 144 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | Animal House | 1553000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Mini Trans-Blot Electrophoretic Transfer Cell | Mini trans blot |  | Bio- Rad Laboratories (India) Pvt Ltd, Chennai | Mini Trans-Blot Cell | 153BR116409 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | New R & D 1st floor | 1077000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
NGC QUEST 10 Chromatography system (2 Nos.) |  |  | Bio-Rad Laboratories (india) Pvt. Ltd. | NGC Quest 10 | 840BR011182 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | E-010 | 4312000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Cryo Transmission Electron Microscope | Cryo TEM |  | M/s. Thermo | Talos Arctica G2 | 9953575 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | Cryo TEM | 150000000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Transmission Electron Microscope | TEM |  | M/s. Thermo | Talos 120C | 9953555 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | Cryo TEM | 34500000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Helios CyTOF Mass cytometer system | Mass cytometer |  | M/s. Fluidigm Corporation, USA | HELIOS_CYTOF | 1070011412C | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | C-308 | 1532000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Chemiluminescence and Fluorescence Imaging System | chemidoc |  | M/s. Vilber Bio Imaging, France | FUSION-SOLO.6S.EDGE V0.70 | 21 2332 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | N-313 | 44250000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
High Performance Bench Top Orbitrap With HESI Mass Spectrometer System | MS |  | M/s. Thermo Fisher Scientific Pte. Ltd., Singapore | Orbitrap Exploris 240 | MM10220C | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | C-409 | 1795000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Bio-Rad Chemidoc MP Imaging System | Chemidoc |  | M/s. Bio-Rad. USA | Chemidoc MP | 734BR5051 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | W-212 | 1650 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Protein Purification System | Protein Purification System |  | M/s. Global Life Sciences Solutions Solutions Singapore Pte. Ltd., | AKTA PURE 25 M | 2875711 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | W-311 | 17506479 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Automated Capillary DNA Sequencer 96 Capillary with Lasers Model : 3730xl DNA Analyzer | DNA sequencer |  | M/s. Praxa Bio Solutions | 3730XL (DNA Analyser) | 35229 002 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | C-410 | 3886000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Forced Oscillation Technique based portable Oscillometry Device | Oscillometry Device |  | M/s. Biotronics Equipments Pvt. Ltd., | RESMON PRO FULL | 23000099 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | S-2nd floor | 29500000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Automated Electrophoresis System | Electrophoresis System |  | M/s. Clone Biotech, | QIAxcel Connect | 50248 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | E-309 | 1118000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Small Animal Behavioral Monitoring tracking and analysis System | small Animal behaviour |  | M/s. Noldus information Technologies | Raytec IR Source: Vario 02 | FRGJS04 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | N-105, Animal House | 1989000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Portable Fluorescence Microscope | Fluorescence Microscope |  | M/s. CURIOSIS Korea. | Celloger Pro (CRLG-P01) | CP02406 F1015 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | ……….. | 1864000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
High End Operating Microscope Mode No. - Axio Zoom V16 | Stereo Microscope |  | M/s Carl Zeiss | Axio Zoom V16 | 3957003550 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | ……….. | 4307000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Electroporator | Electroporator |  | Bio-Rad Laboratories Inc. | Gene Pulser Xcell | 617BR16267 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | East wing II floor | 3970700 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Single Beam microvolume/ cuvette Spectrophotometer and Fluorometer | Spectrophotometer |  | M/s. Labindia Analytical Instruments Private Limited, | DS-11 FX+ | S 12459 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | Spectroscopy - I | 1440000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Automated Electrophoresis System |  |  | Agilent Technologies Hewlett-Packard- | 4150 TapeStation | DEDAB04634 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | LACONES 1st Floor | 2770000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Multichannel High Speed Super Resolution Imaging System | Super resolution MIcroscope |  | M/s. Carl Zeiss Microscopy GmbH, | Elyra 7 | 3870001110 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | C-105 | 44486000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Ultra High Reolution Field Emission Biological Scanning Electron Microscope | FE-SEM |  | M/s. Hitachi High-Tech (Singapore_ - Pte. Ltd | SU8600 | Part No 459 0091 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | ……….. | 34650000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in
Multimode Microplate Reader and Fluorimeter | Cell Metabolic Analyser |  | M/s. Medispec India Ltd. | XFe24 | US00422223 | Internal Funding | CSIR, MoST, Govt. of India |  | No departments at CCMB | C-308 | 18975000 | https://www.ccmb.res.in/ |  | Characterisation/Analytical/Testing Equipment | bdg@ccmb.res.in

## Worksheet 1 (hidden)
NEHU Internal Funds
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Internal Resource Generation
SRIC Development Fund
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Vinayaka Missions Research Foundation
NITTTR Bhopal
ICAR-CMFRI
Ministry of Textiles
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
DBT, Govt. of India
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
Minister of Labour and Employment
Central Water Commission CWC
National Mineral Exploration and Development Trust
CSIR, Govt. of India
DST, Govt. of India
ICFRE