## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
OPAL RT Real-Time Simulator | OP1400 | Center for Electric Mobility, Main Campus, SRMIST | OPAL RT Real-Time Simulator | OP1400 | OPT904610 | DST, Government of India | DST, GoI and SRMIST | DST-PURSE | This real-time simulator is designed to accurately reproduce the behavior of complex systems in real-time, allowing one to validate control algorithms and designs before deploying them in the field | Centre for Electric Mobility | Department of Science and Technology - Promotion of University Research and Scientific Excellence (DST-PURSE) | 10544953.2 | https://www.opal-rt.com/op1400-4-quadrant-power-amplifier/ | Up | Equipment - Non recurring | NA | NA | NA | OPAL-RT Technologies, Bangaluru | india@opat-rt.com | OPAL-RT Technologies India Private Limited | india@opat-rt.com | srmpurseproject@srmist.edu.in
Tektronix MSO | MSO058B 5-BW-350 | Center for Electric Mobility, Main Campus, SRMIST | Tektronix | MSO058B 5-BW-350 | MSO58BB027813 | DST, Government of India | DST, GoI and SRMIST | DST-PURSE | Mixed Signal Capability, High Bandwidth and Sample Rate, Advanced Triggerin, Analysis and Measurement Tool, Connectivity and Integration | Centre for Electric Mobility | Department of Science and Technology - Promotion of University Research and Scientific Excellence (DST-PURSE) | 4631500 | https://www.tek.com/en | Up | Equipment - Non recurring | NA | NA | NA | Advantech Instruments and Services | adtechins@yahoo.com | Tektronix | india.mktg@tek.com | srmpurseproject@srmist.edu.in
Battery Tester | CE-6001n-500V300AIG415V | Center for Electric Mobility, Main Campus, SRMIST | Newware | CE-6001n-500V300AIG415V | E2303-373718 | DST, Government of India | DST, GoI and SRMIST | DST-PURSE | It is a high-precision charge-discharge machine developed for high-power battery module&pack testing. It has the characteristics of high dynamic response speed, high stability accuracy, flexible configuration of multiple channels, and it supports pulse test, cycle life test, and driving simulation tests, etc. | Centre for Electric Mobility | Department of Science and Technology - Promotion of University Research and Scientific Excellence (DST-PURSE) | 4015304 | https://www.tek.com/en | Up | Equipment - Non recurring | NA | NA | NA | Advantech Instruments and Services | adtechins@yahoo.com | Tektronix | india.mktg@tek.com | srmpurseproject@srmist.edu.in
Regenerative AC Emulator (30kVA DC, 40kW) | SL1201A | Center for Electric Mobility, Main Campus, SRMIST | KEYSIGHT TECHNOLOGIES | SL1201A | DE62120128 | DST, Government of India | DST, GoI and SRMIST | DST-PURSE | The Keysight DC Dual Power Supply provides two independent channels, each with a maximum output of 60 V, 10 A, and a total power output of 400 watts | Centre for Electric Mobility | Department of Science and Technology - Promotion of University Research and Scientific Excellence (DST-PURSE) | 5102820.84 | https://www.keysight.com/us/en/products/hev-ev-grid-emulators-and-test-systems/sl1040a-series-scienlab-charging-discovery-system.html | Up | Equipment - Non recurring | NA | NA | NA | Keysight Technologies India Pvt. Ltd. | india.ar@keysight.com | Keysight Technologies India Pvt. Ltd. | india.ar@keysight.com | srmpurseproject@srmist.edu.in
Cell tester | CT-4008-5V200A- NTA | Center for Electric Mobility, Main Campus, SRMIST | NEWWARE | CT-4008-5V200A- NTA | CT-4008-5V200A- NTA | DST, Government of India | DST, GoI and SRMIST | DST-PURSE | It has many kinds of working mode, such as CVC, CCC, CCD. It also own multiple safety protection functions, such as battery reverse connection alarm, overcurrent shutdown, protection function during operation, etc. Providing supporting professional analysis software. It provides impulse charge and discharge test, DCIR test, cycle life test and multiple charge and discharge test. | Centre for Electric Mobility | Department of Science and Technology - Promotion of University Research and Scientific Excellence (DST-PURSE) | 2854383.42 | https://en.neware.com.cn/BTS4000 | Up | Equipment - Non recurring | NA | NA | NA | Advantech Instruments and Services | adtechins@yahoo.com | TIRAME TECHNOLOGY PVT LTD | support@newarebattery.com | srmpurseproject@srmist.edu.in
Universal Testing Machine | AGX-50kNV | Center for Electric Mobility, Main Campus, SRMIST | SHIMADZU | AGX-50kNV | 1334260 | DST, Government of India | DST, GoI and SRMIST | DST-PURSE | It is used to test the tensile stress and compressive strength of materials. | Centre for Electric Mobility | Department of Science and Technology - Promotion of University Research and Scientific Excellence (DST-PURSE) | 3562025 | https://www.shimadzu.com/an/products/materials-testing/uni-ttm/autograph-precision-universal-tester/index.html | Up | Equipment - Non recurring | NA | 1041742 | NA | Shimadzu Analytical (India) Pvt Ltd | surya@shimadzu.in | Shimadzu Analytical (India) Pvt Ltd | surya@shimadzu.in | srmpurseproject@srmist.edu.in
Bidirectional DC Source and Load (18kW) | IT6018B-500-120 | Center for Electric Mobility, Main Campus, SRMIST | ITech | IT6018B-500-120 | 804018023777640001 | DST, Government of India | DST, GoI and SRMIST | DST-PURSE | A bi-directional DC power supply, with a power rating of 18 kW, is a device capable of delivering and absorbing electrical power in both directions. It can supply power to a load or absorb power from it, allowing for bidirectional energy flow. | Centre for Electric Mobility | Department of Science and Technology - Promotion of University Research and Scientific Excellence (DST-PURSE) | 1498600 | https://www.itechate.com/en/ | Up | Equipment - Non recurring | NA | NA | NA | Aarjay International Pvt. Ltd. | aarjay_tmi@aarjay.com | ITECH Electronics | info@itechate.com | srmpurseproject@srmist.edu.in
Bidirectional DC Source and Load (18kW ) | IT6018B-500-120 | Center for Electric Mobility, Main Campus, SRMIST | ITech | IT6018B-500-120 | 804018023777640002 | DST, Government of India | DST, GoI and SRMIST | DST-PURSE | A bi-directional DC power supply, with a power rating of 18 kW, is a device capable of delivering and absorbing electrical power in both directions. It can supply power to a load or absorb power from it, allowing for bidirectional energy flow. | Centre for Electric Mobility | Department of Science and Technology - Promotion of University Research and Scientific Excellence (DST-PURSE) | 1498600 | https://www.itechate.com/en/ | Up | Equipment - Non recurring | NA | NA | NA | Aarjay International Pvt. Ltd. | aarjay_tmi@aarjay.com | ITECH Electronics | info@itechate.com | srmpurseproject@srmist.edu.in
Bidirectional DC Power Supply (15kW) | IT6015C-80-450 | Center for Electric Mobility, Main Campus, SRMIST | ITECH | IT6015C-80-450 | 804050011777440023 | DST, Government of India | DST, GoI and SRMIST | DST-PURSE | A bi-directional DC power supply, with a power rating of 15 kW, is a device capable of delivering and absorbing electrical power in both directions. It can supply power to a load or absorb power from it, allowing for bidirectional energy flow. | Centre for Electric Mobility | Department of Science and Technology - Promotion of University Research and Scientific Excellence (DST-PURSE) | 1375579.1 | https://www.itechate.com/en/ | Up | Equipment - Non recurring | NA | NA | NA | OPAL-RT Technologies, Bangaluru | india@opat-rt.com | ITECH Electronics | info@itechate.com | srmpurseproject@srmist.edu.in
Bidirectional DC Power Supply (15kW) | IT6015C-80-450 | Center for Electric Mobility, Main Campus, SRMIST | ITECH | IT6015C-80-450 | 804050011777440017 | DST, Government of India | DST, GoI and SRMIST | DST-PURSE | A bi-directional DC power supply, with a power rating of 15 kW, is a device capable of delivering and absorbing electrical power in both directions. It can supply power to a load or absorb power from it, allowing for bidirectional energy flow. | Centre for Electric Mobility | Department of Science and Technology - Promotion of University Research and Scientific Excellence (DST-PURSE) | 1375579.1 | https://www.itechate.com/en/ | Up | Equipment - Non recurring | NA | NA | NA | OPAL-RT Technologies, Bangaluru | india@opat-rt.com | ITECH Electronics | info@itechate.com | srmpurseproject@srmist.edu.in
Battery Spot Welding Machine | SI MWN - 5000A | Center for Electric Mobility, Main Campus, SRMIST | SEMCO | SI MWN - 5000A | P215939 | DST, Government of India | DST, GoI and SRMIST | DST-PURSE | battery tab welder or battery pack welder, is a device used for joining metal tabs to battery cells or battery packs. It is commonly used in the assembly of lithium-ion battery packs for various applications, such as electric vehicles, consumer electronics, and energy storage systems. | Centre for Electric Mobility | Department of Science and Technology - Promotion of University Research and Scientific Excellence (DST-PURSE) | 401200 | https://www.semcoinfratech.com/lithium-ion-battery-spot-welder | Up | Equipment - Non recurring | NA | NA | NA | SEMCO Infratech Private Ltd. | semco@semcoindia.com | SEMCO Infratech Private Ltd. | semco@semcoindia.com | srmpurseproject@srmist.edu.in
5 kW Fuel Cell | MT22S346-5000 | Center for Electric Mobility, Main Campus, SRMIST | Horizon | MT22S346-5000 | CEMFC00001 | DST, Government of India | DST, GoI and SRMIST | DST-PURSE | It is used for testing and validating the performance of fuel cell on the various platforms. | Centre for Electric Mobility | Department of Science and Technology - Promotion of University Research and Scientific Excellence (DST-PURSE) | 2993070 | https://www.ecosenseworld.com/fuel-cell-lab | Up | Equipment - Non recurring | NA | NA | NA | Ecosense Sustainable Solutions Pvt. Ltd. | ecosense@ecosenseworld.com | Ecosense Sustainable Solutions Pvt. Ltd. | ecosense@ecosenseworld.com | srmpurseproject@srmist.edu.in
Power Analyzer | WT5000-B-HE/MTR2 | Center for Electric Mobility, Main Campus, SRMIST | Yokogawa | WT5000-B-HE/MTR2 | C2YL29004V | DST, Government of India | DST, GoI and SRMIST | DST-PURSE | It is a high-precision instrument designed for accurately measuring and analyzing electrical power and energy consumption in various applications. | Centre for Electric Mobility | Department of Science and Technology - Promotion of University Research and Scientific Excellence (DST-PURSE) | 4224400 | https://tmi.yokogawa.com/in/solutions/products/power-analyzers/wt5000/ | Up | Equipment - Non recurring | NA | NA | NA | YOKOGAWA | india.ar@keysight.com | YOKOGAWA | india.ar@keysight.com | srmpurseproject@srmist.edu.in
Power Analyzer | DL950-B-HE/G05/VCE | Center for Electric Mobility, Main Campus, SRMIST | Yokogawa | DL950-B-HE/G05/VCE | 90Y614795 | DST, Government of India | DST, GoI and SRMIST | DST-PURSE | It is a high-precision instrument designed for accurately measuring and analyzing electrical power and energy consumption in various applications. | Centre for Electric Mobility | Department of Science and Technology - Promotion of University Research and Scientific Excellence (DST-PURSE) | 2698500 | https://tmi.yokogawa.com/in/solutions/products/power-analyzers/wt5000/ | Up | Equipment - Non recurring | NA | NA | NA | YOKOGAWA | india.ar@keysight.com | YOKOGAWA | india.ar@keysight.com | srmpurseproject@srmist.edu.in
Wavect Controller | WCU300 | Center for Electric Mobility, Main Campus, SRMIST | Entuple | WCU300 | NIL | DST, Government of India | DST, GoI and SRMIST | DST-PURSE | The WCU300 is a versatile and advanced controller used for managing and controlling various building systems and devices. | Centre for Electric Mobility | Department of Science and Technology - Promotion of University Research and Scientific Excellence (DST-PURSE) | 830932 | https://www.entuple.com/wavect/ | Up | Equipment - Non recurring | NA | NA | NA | Entuple | wavect.support@entuple.com | Entuple Technologies | wavect.support@entuple.com | srmpurseproject@srmist.edu.in
Thermal Imager | Fluke TiS20 | Center for Electric Mobility, Main Campus, SRMIST | Fluke | Fluke TiS20 | CEMTI00002 | DST, Government of India | DST, GoI and SRMIST | DST-PURSE | It is commonly used in various fields for applications such as maintenance, troubleshooting, monitoring, and inspection. | Centre for Electric Mobility | Department of Science and Technology - Promotion of University Research and Scientific Excellence (DST-PURSE) | 421850 | https://www.fluke.com/en-in/product/thermal-cameras/tis20plus | Up | Equipment - Non recurring | NA | NA | NA | Fluke | info.india@fluke.com | FLUKE TECHNOLOGIES PVT. LTD. | info.india@fluke.com | srmpurseproject@srmist.edu.in
Xenon Light Source | 66984-300XF-R1 | Center for Electric Mobility, Main Campus, SRMIST | Newport corporation | 66984-300XF-R1 | 50067 | DST, Government of India | DST, GoI and SRMIST | DST-PURSE | The xenon arc lamp source is used for photocatalytic and photo electrocatalytic water splitting reactions. The 66984-300XF-R1 Xenon Light Source is a complete plug and play light source system that includes a 300 W short-arc Xe lamp with a UV blocking coating to prevent ozone generation, light source housing, lamp power supply, as well as all the necessary interconnection cables for operation | Centre for Electric Mobility | Department of Science and Technology - Promotion of University Research and Scientific Excellence (DST-PURSE) | 981949 | https://www.newport.com/p/66984-300XF-R1 | Up | Equipment - Non recurring | NA | 320995 | NA | Newport corporation | admin@laser-spectra.com | Newport corporation | admin@laser-spectra.com | srmpurseproject@srmist.edu.in
Gas Chromatography System | 8860 GC System | Center for Electric Mobility, Main Campus, SRMIST | Agilent Technologies | 8860 GC System | CN2243C005 | DST, Government of India | DST, GoI and SRMIST | DST-PURSE | Advanced instrument intelligence functionality for GC diagnostics and maintenance helps lab managers better avoid unplanned downtime, minimizing costly operational surprises | Centre for Electric Mobility | Department of Science and Technology - Promotion of University Research and Scientific Excellence (DST-PURSE) | 1697555 | https://www.agilent.com/en/product/gas-chromatography/gc-systems/8860-gc-system | Up | Equipment - Non recurring | NA | NA | NA | Agilent Technologies | customercare.india@agilent.com | Agilent Technologies | customercare.india@agilent.com | srmpurseproject@srmist.edu.in