## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Equipment Description | Department Name* | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Alert to be sent (Email id)*
High-Speed Confocal Laser Scanning Microscope with Incubator Facility | CLSM | 204/CIF | NIKON LASER SCANNING CONFOCAL MICROSCOPE MODEL AXR | AXR with inverted microscope having live cell facility | OPT_365-405 | Internal Funding | Institution | Applications: To analyze the 3D image reconstruction of a sample, In the field of biological studies, Multi-colour imaging, Tile scanning to image different parts of the sample automatically over long durations. Sample:Solid, Liquid, Bio-Sample | Central Instrumentation Facility | Central Instrumentation Facility | 25645622 | https://www.iitbhilai.ac.in/index.php?pid=cif_facilities |  | Characterisation | cifexternal@iitbhilai.ac.in
X-ray Photoelectron Spectroscopy | XPS | 205/CIF | PHI GENESIS | 500 Multi-tech Scanning XPS | 167 | Internal Funding | Institution | "X-ray Photoelectron Spectroscopy (XPS)—also called ESCA (Electron Spectroscopy for Chemical Analysis)—is a surface-analysis technique used to find out what elements are present on a material’s surface and their chemical states. XPS is used to understand the chemistry of surfaces and interfaces in a large range of applications. Application: High-throughput assessments to complex, multi-technique experimental setup." | Central Instrumentation Facility | Central Instrumentation Facility | 55110000 | https://www.iitbhilai.ac.in/index.php?pid=cif_facilities |  | Characterisation | cifexternal@iitbhilai.ac.in
Electron Backscatter Diffraction (EBSD) for FESEM | EBSD | 104/CIF | CARL ZIESS (EDAX AMETEK) | EDAX EBSD & Analyzer Z2-i9 Struers Lactoplol5 | EDS : Octane ElectSuper/30747 EBSE: Digiview 5/D5-S2-2021-44-2364 | Internal Funding | Institution | In a Field Emission Scanning Electron Microscope (FESEM), Electron Backscatter Diffraction (EBSD) is a high-resolution technique used to analyze the crystallography, phase, and orientation of crystalline materials. Core Functionality Microstructure Mapping. Crystal Orientation. Strain & Defects. | Central Instrumentation Facility | Central Instrumentation Facility | 8840000 | https://www.iitbhilai.ac.in/index.php?pid=cif_facilities |  | Characterisation | cifexternal@iitbhilai.ac.in
Four Port Glove Box | GB | 305/CIF | M/s Vacuum Techniqes Pvt. Ltd. , Bangalore | LABPRO1800 | - | Internal Funding | Institution | A four-port glove box is a large-scale laboratory containment system designed to allow two operators to work simultaneously or to provide one operator with a wider range of movement. | Central Instrumentation Facility | Central Instrumentation Facility | 3084480 | https://www.iitbhilai.ac.in/index.php?pid=cif_facilities |  | Fabrication | cifexternal@iitbhilai.ac.in

## Worksheet 1 (hidden)
NEHU Internal Funds
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Internal Resource Generation
SRIC Development Fund
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Vinayaka Missions Research Foundation
NITTTR Bhopal
ICAR-CMFRI
Ministry of Textiles
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
DBT, Govt. of India
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
Minister of Labour and Employment
Central Water Commission CWC
National Mineral Exploration and Development Trust
Anusandhan National Research Foundation ANRF DST
CSIR, Govt. of India
DST, Govt. of India
ICFRE