## Sheet2
S.N | Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
1 | Differential Scanning Calorimeter | DSC | CIF, Ground Floor, Admin Block | HITACHI | DSCModel 7020 | 2011106929-01 | Institution Fund |  |  | A differential scanning calorimeter (DSC) is a scientific instrument that measures how a sample's physical properties change as it's heated or cooled. DSCs are used in research, quality control, and production to measure the amount of heat a sample absorbs or releases, and to analyze thermal effects like melting, crystallization, etc. | Central Instrumentation Facilities (CIF) | Central Instrumentation Facilities (CIF) | 3575848 | https://rgipt.ac.in/en/page/home-cif | Active | Thermal Analyses | 3575848 | 3575848 | _ | M/s Hitachi High-Tech science corporation |  | Central Instrumentation Facilities (CIF) | nodalofficer_cif@rgipt.ac.in | nodalofficer_cif@rgipt.ac.in
2 | Pulse chemi Sorption/de-sorption measurment system | Pulse chemi Sorption/de-sorption system | CIF, Ground Floor, Admin Block | Altamira Instruments | AMI 300 | 503-220929013 | Institution Fund |  |  | Pulse chemisorption is a technique that measures the amount of adsorbate a metal surface absorbs. It can be used to determine the acidity or basicity of a catalyst. | Central Instrumentation Facilities (CIF) | Central Instrumentation Facilities (CIF) | 3944307 | https://rgipt.ac.in/en/page/home-cif | Active | Surface/Image Analyses | 3944307 | 3944307 | _ | Altamira Instruments | pankajkadam@partech.in | Central Instrumentation Facilities (CIF) | nodalofficer_cif@rgipt.ac.in | nodalofficer_cif@rgipt.ac.in
3 | X-ray Fluorescence | XRF | AB1 | Malvern Panalytical | EPSIOLON 3XFUSION BEAD LEHED | DY9302 | Institution Fund |  |  | X-ray fluorescence (XRF) is a non-destructive analytical technique that determines the chemical composition of a sample by measuring the X-rays . | Central Instrumentation Facilities (CIF) | Central Instrumentation Facilities (CIF) | 7561388 | https://rgipt.ac.in/en/page/home-cif | Active | Spectroscopic Analyses | 7561388 | 7561388 | _ | M/S Spectris Pte Ltd Singapur | naresh.vyas@malvernpanalytical.com | Central Instrumentation Facilities (CIF) | nodalofficer_cif@rgipt.ac.in | nodalofficer_cif@rgipt.ac.in
4 | CHNS Analyser | CHNS Analyser | CIF, Ground Floor, Admin Block | Elementar | UNICUBE | 400.2011 | Institution Fund |  |  | A CHNSO analyzer, also known as an elemental analyzer, measures the percentage of carbon, hydrogen, nitrogen, sulfur, and oxygen in organic compounds. | Central Instrumentation Facilities (CIF) | Central Instrumentation Facilities (CIF) | 3214676 | https://rgipt.ac.in/en/page/home-cif | Active | Physicochemical Analyses | 3214676 | 3214676 | _ | M/s Elementar Analysen systeme | support-india@elementar.com | Central Instrumentation Facilities (CIF) | nodalofficer_cif@rgipt.ac.in | nodalofficer_cif@rgipt.ac.in
5 | Fluorescence Spectrometer | Fluorescence Spectrometer | CIF, Ground Floor, Admin Block | Agilent Technologies | G9800A | MY20070004 | Institution Fund |  |  | A fluorescence spectrometer, also known as a fluorometer, spectrofluorometer, or photoluminescence spectrometer, is an analytical instrument that measures the fluorescence of a sample. It's used in many fields, including biochemistry, photochemistry, medical diagnostics, environmental analysis, and materials science. | Central Instrumentation Facilities (CIF) | Central Instrumentation Facilities (CIF) | 1339099 | https://rgipt.ac.in/en/page/home-cif | Active | Spectroscopic Analyses | 1339099 | 1339099 | _ | M/s Agilent Technologies India Pvt Ltd. | customercare.india@agilent.com | Central Instrumentation Facilities (CIF) | nodalofficer_cif@rgipt.ac.in | nodalofficer_cif@rgipt.ac.in
6 | UV-VIS-NIR Spectrophotometer | UV-VIS-NIR Spectrophotometer | CIF, Ground Floor, Admin Block | Agilent Technologies | Agilent cary 5000UV-VIS |  | Institution Fund |  |  | A UV-Vis-NIR spectrophotometer is a non-contact optical instrument that measures the absorption, reflectance, and transmittance of solids and liquids. It uses a wide range of wavelengths to analyze samples, and can be used in transmission or reflectance modes | Central Instrumentation Facilities (CIF) | Central Instrumentation Facilities (CIF) | 3072923 | https://rgipt.ac.in/en/page/home-cif | Active | Spectroscopic Analyses | 3072923 | 3072923 |  | M/s Agilent Technologies India Pvt Ltd. | customercare.india@agilent.com | Central Instrumentation Facilities (CIF) | nodalofficer_cif@rgipt.ac.in | nodalofficer_cif@rgipt.ac.in
7 | G-C Detailed Hydrocarbon Analyzer (DHA) | GC-FID-TCD-DHA | CIF, Ground Floor, Admin Block | SHIMADZU | NEXIS GC 2030 | C122560.81041 | Institution Fund |  |  | A Detailed Hydrocarbon Analyzer (DHA) is a gas chromatography (GC) technique that measures the composition of hydrocarbons in fuels and other samples: | Central Instrumentation Facilities (CIF) | Central Instrumentation Facilities (CIF) | 5498800 | https://rgipt.ac.in/en/page/home-cif | Active | Chromatographic Analyses | 5498800 | 5498800 |  | M/S Toshvin Analytical Pvt.Ltd | vbudhiraja@toshvin.com | Central Instrumentation Facilities (CIF) | nodalofficer_cif@rgipt.ac.in | nodalofficer_cif@rgipt.ac.in
8 | Fourier Transform Infrared Spectrometer | FTIR | CIF, Ground Floor, Admin Block | Thermo Fisher Scientific | Nicolet iS20 | IEC/EN60825-1:2014 | Institution Fund |  |  | A Fourier Transform Infrared (FTIR) spectrometer is a tool that measures the vibration of molecules to identify chemical bonds and provide information about a sample's surface structure: | Central Instrumentation Facilities (CIF) | Central Instrumentation Facilities (CIF) | 2223088 | https://rgipt.ac.in/en/page/home-cif | Active | Spectroscopic Analyses | 2223088 | 2223088 |  | M/S Thermo Electron Scinetific Instrumnets LLC | Order.Management@thermo | Central Instrumentation Facilities (CIF) | nodalofficer_cif@rgipt.ac.in | nodalofficer_cif@rgipt.ac.in
9 | Nuclear Magnetic Resonance Specrometer | NMR | AB2 NMR lab | JEOL | ECZS SERIES 400 MH2 NMR SPECROMETER |  | Institution Fund |  |  | A nuclear magnetic resonance (NMR) spectrometer is an analytical instrument that uses radio waves and a strong magnet to study the structure and properties of matter: | Central Instrumentation Facilities (CIF) | Central Instrumentation Facilities (CIF) | 21027500 (?) | https://rgipt.ac.in/en/page/home-cif | Active | Spectroscopic Analyses | 21027500 (?) | 21027500 (?) |  | M/S Joel India Pvt Ltd | rs@jeolindia.com | Central Instrumentation Facilities (CIF) | nodalofficer_cif@rgipt.ac.in | nodalofficer_cif@rgipt.ac.in
10 | Confocal Raman Spectrophotometer | Raman Spectrophotometer | CIF, 1st Floor, Admin Block | JASCO | NRS-500 | 109R0624H401 | Institution Fund |  |  | A confocal Raman spectrophotometer, also known as a confocal Raman microscope, is a technique that uses laser light to analyze a sample's chemical composition. It combines Raman spectroscopy with confocal optical microscopy to produce high-resolution images of samples | Central Instrumentation Facilities (CIF) | Central Instrumentation Facilities (CIF) | 11470305 | https://rgipt.ac.in/en/page/home-cif | Active | a technique that uses a laser to visualize chemical information from cells. | 11470305 | 11470305 |  | M/S Jasco International Co.Ltd Japan | sundeepkumar@anatekservices.com | Central Instrumentation Facilities (CIF) | nodalofficer_cif@rgipt.ac.in | nodalofficer_cif@rgipt.ac.in
11 | X-Ray Photoelectron Spectrometer | XPS | CIF, Ground Floor, Admin Block | Thermo Fisher Scientific | K-Alpha + | 9951699 | Institution Fund |  |  | X-ray photoelectron spectroscopy (XPS) is a surface analysis technique that measures the chemical and electronic state of a material's surface. It works by irradiating a solid material with X-rays and measuring the kinetic energy of the emitted electrons. | Central Instrumentation Facilities (CIF) | Central Instrumentation Facilities (CIF) | 27624089 | https://rgipt.ac.in/en/page/home-cif | Active | Spectroscopic Analyses | 27624089 | 27624089 |  | M/S Thermo Fisher Scientific United kingdam | Order.Management@thermo | Central Instrumentation Facilities (CIF) | nodalofficer_cif@rgipt.ac.in | nodalofficer_cif@rgipt.ac.in
12 | Small and Wide angle X-ray Scattering | SAXS/WAXS | CIF, Ground Floor, Admin Block | Xenocs | XEUSS3.0Hight Resolution |  | Institution Fund |  |  | Small Angle X-ray Scattering (SAXS) is capable of delivering structural information of macromolecules between 1 and 200 nm, whereas Wide Angle X-ray Scattering (WAXS) can resolve even smaller Bragg spacing of samples between 0.33 nm and 0.49 nm based on the specific system setup and detector. | Central Instrumentation Facilities (CIF) | Central Instrumentation Facilities (CIF) | 32978987 | https://rgipt.ac.in/en/page/home-cif | Active | Spectroscopic Analyses | 32978987 | 32978987 |  | M/s Xenocs, SA: France | Ravindra.rawat@xenocs.com | Central Instrumentation Facilities (CIF) | nodalofficer_cif@rgipt.ac.in | nodalofficer_cif@rgipt.ac.in
13 | Atomic Force Microscope | AFM | CIF, Ground Floor, Admin Block | BRUKER | DMFASTSCAN-3-SYS |  | Institution Fund |  |  | Atomic Force Microscopy, or AFM, is a high resolution form of scanning probe microscopy that employs a sharp tip in a raster motion to measure and visualize materials at the atomic and nano scales. This overview will serve as an introduction to atomic force microscopy. | Central Instrumentation Facilities (CIF) | Central Instrumentation Facilities (CIF) | 15756148 | https://rgipt.ac.in/en/page/home-cif | Active | Surface/Image Analyses | 15756148 | 15756148 |  | M/S Brucker Singapore Pte Ltd Singapure | ramal@forevision.in |  | nodalofficer_cif@rgipt.ac.in | nodalofficer_cif@rgipt.ac.in
14 | Thermogravimetric Analyzer | TGA | AB2 | LINSEIS | TGA 1000 | AB7156/11570/18 | Institution Fund |  |  | Thermogravimetric analyzers (TGA) measure weight change (loss or gain) and the rate of weight change as a function of temperature, time, and atmosphere. Thermogravimetric data is critical to setting proper temperature limits for Differential Scanning Calorimetry method development. | Central Instrumentation Facilities (CIF) | Central Instrumentation Facilities (CIF) | 2902320 | https://rgipt.ac.in/en/page/home-cif | Active | Thermal Analyses | 2902320 | 2902320 |  | M/s Linseis GmbH | sales@linseis.in | Central Instrumentation Facilities (CIF) | nodalofficer_cif@rgipt.ac.in | nodalofficer_cif@rgipt.ac.in
15 | Hight-Resolution Scanning Electron Microscope | FE-SEM | CIF, Ground Floor, Admin Block | JEOL | JSM-7900F | SM1882002160216 | Institution Fund |  |  | high-resolution scanning electron microscope (HRSEM) is a scientific instrument that uses a focused beam of electrons to examine the surface and structure of a specimen. It can produce high-resolution images with a resolution of 1–2 nanometers | Central Instrumentation Facilities (CIF) | Central Instrumentation Facilities (CIF) | 23187092 | https://rgipt.ac.in/en/page/home-cif | Active | Surface/Image Analyses | 23187092 | 23187092 |  | M/s Jeol Asia Pte ltd | rs@jeolindia.com | Central Instrumentation Facilities (CIF) | nodalofficer_cif@rgipt.ac.in | nodalofficer_cif@rgipt.ac.in
16 | Hight-Resolution Transmission Electron Microscope | HR-TEM | CIF, Ground Floor, Admin Block | JEOL | JEMARM200F NEOOROM | EMI1710002580258 | Institution Fund |  |  | High resolution transmission electron microscopy is a TEM imaging mode that allows the imaging of the crystallographic structure of a sample at an atomic level. In contrast with conventional microscopy, this does not use absorption for creating images; instead, images are created from interference in the image plane. | Central Instrumentation Facilities (CIF) | Central Instrumentation Facilities (CIF) | 109934400 | https://rgipt.ac.in/en/page/home-cif | Active | Surface/Image Analyses | 109934400 | 109934400 |  | M/s Jeol Asia Pte ltd | rs@jeolindia.com | Central Instrumentation Facilities (CIF) | nodalofficer_cif@rgipt.ac.in | nodalofficer_cif@rgipt.ac.in
17 | X-ray Diffractometer | XRD | CIF, Ground Floor, Admin Block | Malvern Panalytical | EMPEREAN | DY2577 |  |  |  | An X-ray diffractometer, or XRD machine, is a device for analyzing and measuring the structure of materials. X-rays have high energy and short wavelength when compared to visible light making them ideal for probing the interplanar distances in crystalline materials | Central Instrumentation Facilities (CIF) | Central Instrumentation Facilities (CIF) | 11207227 | https://rgipt.ac.in/en/page/home-cif | Active | Spectroscopic Analyses | 11207227 | 11207227 |  | M/s Malvern Panalytical | naresh.vyas@malvernpanalytical.com | Central Instrumentation Facilities (CIF) | nodalofficer_cif@rgipt.ac.in | nodalofficer_cif@rgipt.ac.in
18 | Surface Area Analyser | BET | CIF, 1st Floor, Admin Block | MicrotracBEL | BELSORP MAX II | :0178 | Institution Fund |  |  | surface area analysis is the multi-point measurement of an analyte's specific surface area (m2/g) through gas adsorption analysis, where an inert gas such as nitrogen is continuously flowed over a solid sample, or the solid sample is suspended in a defined gaseous volume. | Central Instrumentation Facilities (CIF) | Central Instrumentation Facilities (CIF) | 6065234 | https://rgipt.ac.in/en/page/home-cif | Active | Surface/Image Analyses | 6065234 | 6065234 |  | M/s MicrotracBEL corp |  | Central Instrumentation Facilities (CIF) | nodalofficer_cif@rgipt.ac.in | nodalofficer_cif@rgipt.ac.in
19 | Inductive Coupled Plasma Optical Emission Spectrophotometer | ICP-OES | CIF, Ground Floor, Admin Block | Thermo Fisher Scientific | ICAP PRO X DUO | ICAPPRO010685Y.O.M 2021 | Institution Fund |  |  | an analytical technique used to determine how much of certain elements are in a sample | Central Instrumentation Facilities (CIF) | Central Instrumentation Facilities (CIF) | 5975129 | https://rgipt.ac.in/en/page/home-cif | Active | Physicochemical Analyses | 5975129 | 5975129 |  | M/S Thermo Fisher Scientific Pte Ltd. | Order.Management@thermo | Central Instrumentation Facilities (CIF) | nodalofficer_cif@rgipt.ac.in | nodalofficer_cif@rgipt.ac.in
20 | Universal Testing Machine | UTM | AB2 4th Floor | Tinius Olsen | H25KS | 534 | Institution Fund |  |  | This machine is very useful to test any material which is subjected to tension and compression such as aluminum sheets, thin wire, rubber (neoprene seal). The Extensometer is used to measure the elongation of different type of the materials. | Central Instrumentation Facilities (CIF) | Central Instrumentation Facilities (CIF) | 699300 | https://rgipt.ac.in/en/page/home-cif | Active | Physicochemical Analyses | 699300 | 699300 |  | M/S Aimil Ltd |  | Central Instrumentation Facilities (CIF) | nodalofficer_cif@rgipt.ac.in | nodalofficer_cif@rgipt.ac.in
21 | Dynamic Light Scattering Particle Size Analyzer | Particle Size Analyzer | AB1 2nd Floor | Malvern Panalytical | ZEN3600 | MAL1196730 | Institution Fund |  |  | Dynamic light scattering particle size analyzers are used to measure the size of very small particles (0.6 nm to 6 um) in solution. This class of particle size analyzer interprets particles' sizes from the fluctuations in scattered laser light created by the particles' Brownian motion. | Central Instrumentation Facilities (CIF) | Central Instrumentation Facilities (CIF) |  | https://rgipt.ac.in/en/page/home-cif | Active | Surface/Image Analyses | [5 empty] | Central Instrumentation Facilities (CIF) | nodalofficer_cif@rgipt.ac.in | nodalofficer_cif@rgipt.ac.in