## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
X Ray Diffractometer Powder | XRD | CIL | Malvern Panaytical | Empyrean | DY1947 | University Funds | University Funds | NA | X ray platform for analysis of powders, thin films,nanomaterial, solid objects | CIL | Analytical | 242200 EURO | Facilities in the Laboratory ¦ Central Instrumentation Laboratory, CUPB | Functional | Analytical | NA | 244700 EURO | NA | SPECTRIS PTE LTD | info@spectris.com | SPECTRIS PTE LTD | harpreet.singh@malvernpanalytical.com | NA
Flow Cytometer | Flow Cytometer | CIL | BD Diagnostics USA | BD C6 ACCURI | AC6531180427 | University Funds | University Funds | NA | Blue (488nm), Red (640nm) laser, 04 filters around flow cell.Used for cell counting, biomarket detection e.t.c | CIL | Bio-Analytical | 62700 USD | Facilities in the Laboratory ¦ Central Instrumentation Laboratory, CUPB | Functional | Bio-Analytical | NA | 62700 USD | NA | BD Holdings PTE LTD | bdb_cts@bd.com | BD Holdings PTE LTD | Rahul.Dhiman@bd.com | NA
High Pressure Liquid Chromatography | HPLC | CIL | Thermo Fisher Scientific | Ultimate 3000 | 8041863 | University Funds | University Funds | NA | Equipped with an autosampler, temperature controlled column compartment, UV-Vis DAD Detector, FLD detector and chromelon® software. | CIL | Analytical | 40482 USD | Facilities in the Laboratory ¦ Central Instrumentation Laboratory, CUPB | Functional | Analytical | NA | 40482 USD | NA | DIONEX Softron GmbH | mukul.gaur@thermofisher.com | Thermo Fisher Scientific | dilip.tripathi@thermofisher.com | NA
Fluorescence Microscope with Live cell imaging | EVOS M7000 | CIL | Invitrogen | AMF7000HCA3D | D0324-244H-0086 | DST | DST | NA | DAPI,• GFP, RFP, Texas Red light cubes, Fluorescence, brightfield, phase contrast Imaging modes | CIL | Bio-Analytical | 8000000 INR | Facilities in the Laboratory ¦ Central Instrumentation Laboratory, CUPB | Functional | Bio-Analytical | NA | NA | NA | JC Trading company | jc.trading08@gmail.com | Invitrogen | jc.trading08@gmail.com | NA
Confocal Laser Scanning Microscope | CLSM | CIL | Olympus India pvt ltd | FV 1200 | 3L44008 | University Funds | University Funds | NA | 405, 458, 488,515,559,635 nm lasers, Fluorescent and DIC imaging, 10X, 20X, 40X, 60X, 100X objectives | CIL | Bio-Analytical | 25910780 JPY | Facilities in the Laboratory ¦ Central Instrumentation Laboratory, CUPB | Functional | Bio-Analytical | NA | 26030780 JPY | NA | DSS Imagetech pvt Ltd | enquiry@dssimage.com | DSS Imagetech pvt Ltd | manojkumar@dssimage.com | NA
Gas chromatograph Mass Spectrometer System | GCMS | CIL | Shimadzu Asia Pacific Pte Ltd | QP-2010 Ultra EI | O20525075512 | University Funds | University Funds | NA | PTV Injector, MS detector, EI/CI, ECD, FID, Headspace sample, capillary column(DB-5, DB-1, Carbowax) | CIL | Bio-Analytical | 10384650 JPY | Facilities in the Laboratory ¦ Central Instrumentation Laboratory, CUPB | Functional | Analytical | NA | 10484650 JPY | NA | Shimadzu Asia Pacific Pte Ltd | CTS@shimadzu.com.sg | Toshvin analytical pvt ltd | service@toshvin.com | NA
Gas Chromatography FID TCD Systems | GC-FID/TCD | CIL | Nucon | NUCON5765 | 2R13-122 | University Funds | University Funds | NA | Data workstations, two channel thermal conductivity detector (TCD), Flame Ionization detector (FID), Gas collection devices | CIL | Analytical | 352611.84 INR | Facilities in the Laboratory ¦ Central Instrumentation Laboratory, CUPB | Functional | Analytical | NA | 352611.84 INR | NA | Centurion Scientific | nuconindia@gmail.com | Nucon Chromatograph | nuconindia@gmail.com | NA
Inductive Coupled Plasma-Mass Spectrometer | ICP-MS | CIL | Thermo Fisher Scientific | ICAP-Qc | SNO3690R | University Funds | University Funds | NA | Metal analysis of concentrations from 2.5 ppq to 10 ppm. Fractured collision cell technique for interference free analysis. | CIL | Analytical | 87456 EURO | Facilities in the Laboratory ¦ Central Instrumentation Laboratory, CUPB | Functional | Analytical | NA | 88456 EURO | NA | Thermo Fisher Scientific | ininfo@thermofisher.com | Thermo Fisher Scientific | ininfo@thermofisher.com | NA
Aria Fusion Flowcytometer | Aria Fusion | CIL | Becton Dickinson | BD Aria Fusion | R656700B40026 | DST | University Funds | NA | Flow cytometer with cell sorter.Fixed optical alignment of all Class 3b lasers upon the cuvette flow cell. The 488 nm and 633-nm lasers | CIL | Bio-Analytical | 22500000 INR | Facilities in the Laboratory ¦ Central Instrumentation Laboratory, CUPB | Functional | Bio-Analytical | NA | 22500000 INR | NA | Becton Dickinson | bdb_cts@bd.com | BD India Pvt Ltd | Rahul.Dhiman@bd.com | NA