## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Hardness Tester |  | Mechanical lab | HDNS Kelly Instruments | WD112 | NA | External Funding | Ministry of Chemicals & Fertilizers, Department of Chemicals & Petrocheimicals (DCPC) |  |  | Testing |  | 653624 |  | Up | Characterization |  |  | M/s. R V Testing Machine, Chennai |  | apddrl@cipet.gov.in testing-apddrl@cipet.gov.in
Comparative Tracking Index Tester |  | Electrical lab | Arcom Enterprises | Arcom | NA | External Funding | Ministry of Chemicals & Fertilizers, Department of Chemicals & Petrocheimicals (DCPC) |  |  | Testing |  | 1015980 |  | Up | Characterization |  |  | M/s. Arcom Enterprises, Delhi |  | apddrl@cipet.gov.in testing-apddrl@cipet.gov.in
Carbon Black content Apparatus |  |  | PSI Sales Pvt Ltd | PLC18 | NA | External Funding | Ministry of Chemicals & Fertilizers, Department of Chemicals & Petrocheimicals (DCPC) |  |  | Testing |  | 88146 |  | Up | Characterization |  |  | M/s. P.S.I. Sales Private Limited, New Delhi |  | apddrl@cipet.gov.in testing-apddrl@cipet.gov.in
Falling Weight Impact Tester for Pipes |  |  | PSI Sales Pvt Ltd | PLC27 | NA | External Funding | Ministry of Chemicals & Fertilizers, Department of Chemicals & Petrocheimicals (DCPC) |  |  | Testing |  | 113599 |  | Up | Characterization |  |  | M/s. P.S.I. Sales Private Limited, New Delhi |  | apddrl@cipet.gov.in testing-apddrl@cipet.gov.in
Environmental Stress cracking Resistance ESCR Tester |  |  | PSI Sales Pvt Ltd | PLC30 | NA | External Funding | Ministry of Chemicals & Fertilizers, Department of Chemicals & Petrocheimicals (DCPC) |  |  | Testing |  | 94046 |  | Up | Characterization |  |  | M/s. P.S.I. Sales Private Limited, New Delhi |  | apddrl@cipet.gov.in testing-apddrl@cipet.gov.in
Transmittance and Haze Meter |  | Analytical lab | Elmech Pneumatic Industries Pvt Ltd | NA | NA | External Funding | Ministry of Chemicals & Fertilizers, Department of Chemicals & Petrocheimicals (DCPC) |  |  | Testing |  | 410357 |  | Up | Characterization |  |  | M/s. Elmech Pneumatic industries Pvt. Ltd, New Delhi |  | apddrl@cipet.gov.in testing-apddrl@cipet.gov.in
Particle Size Analyzer |  | Analytical lab | Malvern | Mastersizer 3000 | NA | External Funding | Ministry of Chemicals & Fertilizers, Department of Chemicals & Petrocheimicals (DCPC) |  |  | Testing |  | 3344574 |  | Up | Characterization |  |  | M/s. Aimil Ltd, New Delhi |  | apddrl@cipet.gov.in testing-apddrl@cipet.gov.in
Ansys Academic Research Multi physics solutions |  |  | NA | NA | NA | External Funding | Ministry of Chemicals & Fertilizers, Department of Chemicals & Petrocheimicals (DCPC) |  |  | Testing |  | 3056200 |  | Up | Characterization |  |  | M/s. ARK Infosolutions Pvt. Ltd, Chennai |  | apddrl@cipet.gov.in testing-apddrl@cipet.gov.in
Rotary Evaporator |  |  | Aditya Scientific | RE 2A | NA | External Funding | Ministry of Chemicals & Fertilizers, Department of Chemicals & Petrocheimicals (DCPC) |  |  | Testing |  | 149100 |  | Up | Characterization |  |  | M/s.Adilab Technologies, Pvt. Ltd, Bangalore |  | apddrl@cipet.gov.in testing-apddrl@cipet.gov.in
Sieve Shaker with Sieve Analyser |  |  | Aimil Limited | AIM0541 | NA | External Funding | Ministry of Chemicals & Fertilizers, Department of Chemicals & Petrocheimicals (DCPC) |  |  | Testing |  | 64030 |  | Up | Characterization |  |  | M/s.Aimil Limited, New Delhi |  | apddrl@cipet.gov.in testing-apddrl@cipet.gov.in
Electrical Heated Press |  |  | Elmech Pneumatic Industries Pvt Ltd | EPICMP01CB | NA | External Funding | Ministry of Chemicals & Fertilizers, Department of Chemicals & Petrocheimicals (DCPC) |  |  | Testing |  | 294840 |  | Up | Characterization |  |  | M/s.Elmech Pneumatic Industries Pvt. Ltd, New Delhi |  | apddrl@cipet.gov.in testing-apddrl@cipet.gov.in
Opacity Meter |  | Analytical lab | Elmech Pneumatic Industries Pvt Ltd | EPIOT2S | NA | External Funding | Ministry of Chemicals & Fertilizers, Department of Chemicals & Petrocheimicals (DCPC) |  |  | Testing |  | 73875 |  | Up | Characterization |  |  | M/s.Elmech Pneumatic Industries Pvt. Ltd, New Delhi |  | apddrl@cipet.gov.in testing-apddrl@cipet.gov.in
Drop Tester |  | Mechanical lab | Technico | Specially Designed | NA | External Funding | Ministry of Chemicals & Fertilizers, Department of Chemicals & Petrocheimicals (DCPC) |  |  | Testing |  | 71820 |  | Up | Characterization |  |  | M/s.Technico Laboratory Products Pvt Ltd, Chennai |  | apddrl@cipet.gov.in testing-apddrl@cipet.gov.in
Automatic KARL Fischer Titrator |  |  | SI Analytics Xylem | TL7500KF Trace | NA | External Funding | Ministry of Chemicals & Fertilizers, Department of Chemicals & Petrocheimicals (DCPC) |  |  | Testing |  | 431800 |  | Up | Characterization |  |  | M/s.Skytech systems India Pvt. Ltd, Thane (W) |  | apddrl@cipet.gov.in testing-apddrl@cipet.gov.in
Gloss Meter |  |  | Konica Minolta | MG268A | NA | External Funding | Ministry of Chemicals & Fertilizers, Department of Chemicals & Petrocheimicals (DCPC) |  |  | Testing |  | 245000 |  | Up | Characterization |  |  | M/s.Jay Instruments & Systems Pvt Ltd, Mumbai |  | apddrl@cipet.gov.in testing-apddrl@cipet.gov.in
Bulk Density Apparatus |  | Mechanical lab | Custom Scientific Instruments | CSI128A CSI128B | NA | External Funding | Ministry of Chemicals & Fertilizers, Department of Chemicals & Petrocheimicals (DCPC) |  |  | Testing |  | 480500 |  | Up | Characterization |  |  | M/s. Multiflo Instruments Pvt Ltd, Navi Mumbai |  | apddrl@cipet.gov.in testing-apddrl@cipet.gov.in
Burst Tester |  | Mechanical lab | Universal Engineering Corporation | UEC1010 | NA | External Funding | Ministry of Chemicals & Fertilizers, Department of Chemicals & Petrocheimicals (DCPC) |  |  | Testing |  | 135218 |  | Up | Characterization |  |  | M/s. Universal Engineering Corporation, Saharanpur |  | apddrl@cipet.gov.in testing-apddrl@cipet.gov.in
Elmendorf Tear Tester |  | Mechanical lab | Universal Engineering Corporation | UEC1008 | NA | External Funding | Ministry of Chemicals & Fertilizers, Department of Chemicals & Petrocheimicals (DCPC) |  |  | Testing |  | 345138 |  | Up | Characterization |  |  | M/s. Universal Engineering Corporation, Saharanpur |  | apddrl@cipet.gov.in testing-apddrl@cipet.gov.in
Automatic Melt Flow Index Tester with PC and Software |  |  | Dynisco USA | LMI5000 | NA | External Funding | Ministry of Chemicals & Fertilizers, Department of Chemicals & Petrocheimicals (DCPC) |  |  | Testing |  | 2113000 |  | Up | Characterization |  |  | M/s. Federal India Trading Company |  | apddrl@cipet.gov.in testing-apddrl@cipet.gov.in
Abrasion Tester |  | Mechanical lab | PSI Sales Pvt Ltd | PAT01 | NA | External Funding | Ministry of Chemicals & Fertilizers, Department of Chemicals & Petrocheimicals (DCPC) |  |  | Testing |  | 561750 |  | Up | Characterization |  |  | M/s. P S I Sales Private Limited, New Delhi |  | apddrl@cipet.gov.in testing-apddrl@cipet.gov.in
Glow Wire Tester |  |  | Elmech Pneumatic Pvt Ltd | ELGWT13 | NA | External Funding | Ministry of Chemicals & Fertilizers, Department of Chemicals & Petrocheimicals (DCPC) |  |  | Testing |  | 376308 |  | Up | Characterization |  |  | M/s. Elmech Pneumatic Industries Pvt. Ltd, New Delhi |  | apddrl@cipet.gov.in testing-apddrl@cipet.gov.in
Raman Spectroscopy FT Raman Spectrometer |  | Analytical lab | Thermo Scientific | Nicolet iS50 | NA | External Funding | Ministry of Chemicals & Fertilizers, Department of Chemicals & Petrocheimicals (DCPC) |  |  | Testing |  | 6405000 |  | Up | Characterization |  |  | M/s. Thermo Fisher Scientific India Private Limited, Mumbai |  | apddrl@cipet.gov.in testing-apddrl@cipet.gov.in
Programmable Muffle Furnace |  |  | Technico | TLPPL | NA | External Funding | Ministry of Chemicals & Fertilizers, Department of Chemicals & Petrocheimicals (DCPC) |  |  | Testing |  | 170940 |  | Up | Characterization |  |  | M/s. Dinesh Scientific, Ambala Cantt |  | apddrl@cipet.gov.in testing-apddrl@cipet.gov.in
UV Weather O Meter |  | Analytical lab | Sanwood Industrial Co Ltd | SMUV600C | NA | External Funding | Ministry of Chemicals & Fertilizers, Department of Chemicals & Petrocheimicals (DCPC) |  |  | Testing |  | 1182195 |  | Up | Characterization |  |  | M/s. Venture Instrumentation Technologies Pvt. Ltd, Bangalore |  | apddrl@cipet.gov.in testing-apddrl@cipet.gov.in
Smoke Visibility Tester |  | Pyro-poly lab | Asian Test Equipment | 50Hz Smoke Visibility Tester 220 V | NA | External Funding | Ministry of Chemicals & Fertilizers, Department of Chemicals & Petrocheimicals (DCPC) |  |  | Testing |  | 320199 |  | Up | Characterization |  |  | M/s D N Enterprises, Mumbai |  | apddrl@cipet.gov.in testing-apddrl@cipet.gov.in
Limiting Oxygen Index Tester |  | Pyro-poly lab | Sensors India | SILOI | NA | External Funding | Ministry of Chemicals & Fertilizers, Department of Chemicals & Petrocheimicals (DCPC) |  |  | Testing |  | 902419 |  | Up | Characterization |  |  | M/s Sensors India, Delhi |  | apddrl@cipet.gov.in testing-apddrl@cipet.gov.in
Salt Spray Chamber |  |  | S R Lab Instruments | SRLSC54 | NA | External Funding | Ministry of Chemicals & Fertilizers, Department of Chemicals & Petrocheimicals (DCPC) |  |  | Testing |  | 412410 |  | Up | Characterization |  |  | M/s S R Lab Instruments, Mumbai |  | apddrl@cipet.gov.in testing-apddrl@cipet.gov.in
Universal Testing Machine 100kN |  | Mechanical lab | Tinius Olsen | 100ST | NA | External Funding | Ministry of Chemicals & Fertilizers, Department of Chemicals & Petrocheimicals (DCPC) |  |  | Testing |  | 15683499.7 |  | Up | Characterization |  |  | M/s. Aimil Limited, Delhi |  | apddrl@cipet.gov.in testing-apddrl@cipet.gov.in
Biodegradation set up Incubator Type |  |  | Labtherm Scientific Products | LSPBO101 | NA | External Funding | Ministry of Chemicals & Fertilizers, Department of Chemicals & Petrocheimicals (DCPC) |  |  | Testing |  | 1835475 |  | Up | Characterization |  |  | M/s. Labtherm Scientific Products, Chennai |  | apddrl@cipet.gov.in testing-apddrl@cipet.gov.in

## Sheet1
1 | Flammability Tester | PSI Sales Private Limited New Delhi | 1 | M16 | 626
2 | Melt Flow Index Tester | PSI Sales Private Limited New Delhi | 2 | MFI422 | 16
3 | Free Falling Dart Impact Tester | PSI Sales Private Limited New Delhi | 3 | DI412 | DI41216
4 | ESCR Apparatus | PSI Sales Private Limited New Delhi | 4 | ESCR407 | ESCR40716
5 | Falling Weight Impact Tester for PIPE | PSI Sales Private Limited New Delhi | 5 | IMPACT1617 | IMPACT1617
6 | Digital Weighing Balance | Elmech Pneumatic Industries Pvt Ltd New Delhi | 6 | AGN220 | 104
7 | HDT VSP Apparatus | Elmech Pneumatic Industries Pvt Ltd New Delhi | 7 | 4007 | 4007
8 | Muffle Furnace | Elmech Pneumatic Industries Pvt Ltd New Delhi | 8 | 4006 | 4006
9 | Carbon Black Content Tester | Elmech Pneumatic Industries Pvt Ltd New Delhi | 9 | 4005 | 4005
10 | Hardness Tester Shore A Shore D | RV Testing Machine Chennai | 10 | MRD600TS | D2101
11 | Comparative Tracking Index | Arcom Enterprises New Delhi | 11 | AE TTA | AETTA201632
12 | Opacity Tester | Elmech Pneumatic Industries Pvt Ltd New Delhi | 12 | NA | NA
13 | Opacity Tester | Samaya Extrusiontech Hyderabad | 13 | NA | NA
14 | Electronic Controller Compression Moulding Machine | PSI Sales Private Limited New Delhi | 14 | NA | CMM1609
15 | Universal Testing Machine 50kN | Hydraulic and Engineering Instrument New Delhi | 15 | HLC69335 | H201629
16 | Universal Testing Machine 50kN | Hydraulic and Engineering Instrument New Delhi | 16 | HLC69335 | H201630
17 | Haze and Clarity Meter | Elmech Pneumatic Industries Pvt Ltd New Delhi | 17 | NA | NA
18 | Water Bath for Acceptance Test | Samaya Extrusiontech Hyderabad | 18 | NA | NA
19 | Oil Bath for Reversion Test | Samaya Extrusiontech Hyderabad | 19 | NA | NA
20 | Carbon Black Dispersion Tester | Samaya Extrusiontech Hyderabad | 20 | NA | M1829
21 | Slip Coefficient of Friction Tester | Elmech Pneumatic Industries Pvt Ltd New Delhi | 21 | NA | 4040
22 | Tear Tester | Elmech Pneumatic Industries Pvt Ltd New Delhi | 22 | NA | 82570D
23 | Izod and Charpy Impact Tester | Presto Stantest Pvt Ltd Faridabad | 23 | NA | 704178883
24 | Notch Cutter for Impact Tester | Presto Stantest Pvt Ltd Faridabad | 24 | NA | 80417889
25 | Gloss Meter | Khushboo Scientific Pvt Ltd Mumbai | 25 | NOVO GLOSS 206045 | 3004927
26 | Contour Cutter | Elmech Pneumatic Industries Pvt Ltd New Delhi | 26 | NA | 4181
27 | Differential Scanning Calorimetry | Perkin Elmer India Pvt Ltd Bangalore | 27 | DSC8000 | 534L1901161
28 | Fourier Transform Infrared Spectroscopy | Thermo Fisher Scientific India Pvt Ltd Chennai | 28 | NICOLET iS5 | ASB11919610
29 | Bulk Density Apparatus | Arcom Enterprises New Delhi | 29 | NA | BDA206
30 | Climatic Chamber | San Engg Company Aurangabad | 30 | ARC5280ECH | 211020

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
Test Funding Agency
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
INODE FAG
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
Testing Funding Agency
GIA
TestName12
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
TestFundingAgencySS
DME Government of Karnataka
I-STEM Funding at IISc
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE