## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Equipment Description | Department Name* | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Alert to be sent (Email id)*
Universal Test Rig with power pack (UTR) | UTR | Aerospace lab (NC Centre) | Hydac | 1 | HYDC/CBE/00451 | Internal Funding | Institution Funding (Self Supported) | 95lpm, 210bar test setup to test valves, pumps and actuators for endurance and other similar test | Aerospace Lab | Universal Test Rig with power pack (UTR) | 20000000 | https://cmti.res.in/surface-engineering-laser-processing/ | Working | Research infrastructure | labservices@cmti.res.in
Subzero Treatment Chamber-1 |  | Aerospace lab (NC Centre) | Comet Environs | 2 | 245 | Internal Funding | Institution Funding (Self Supported) | Range: ambient to -70°C ; chamber size: | Aerospace Lab | Subzero Treatment Chamber-1 | 6000000 | https://cmti.res.in/surface-engineering-laser-processing/ | Working | Research infrastructure | labservices@cmti.res.in
Subzero Treatment Chamber-2 |  | Aerospace lab (NC Centre) | Comet Environs | 3 | 227 | Internal Funding | Institution Funding (Self Supported) | Range: ambient to -70°C ; chamber size: | Aerospace Lab | Subzero Treatment Chamber-2 | 6000000 | https://cmti.res.in/surface-engineering-laser-processing/ | Working | Research infrastructure | labservices@cmti.res.in
High Temperature Performance Test Rig (hot chamber) |  | Aerospace lab (NC Centre) | Heat Process Instruments | 4 | CMTI/ASMP/HC/01 | Internal Funding | Institution Funding (Self Supported) | Range: ambient to 200°C ; chamber size: | Aerospace Lab | High Temperature Performance Test Rig (hot chamber) | 1500000 | https://cmti.res.in/surface-engineering-laser-processing/ | Working | Research infrastructure | labservices@cmti.res.in
Filter Performance Test Rig (Multipass)-High Flow |  | Aerospace lab (HYDRAULIC Lab) | CMTI | 5 | CMTI-ASL-FPTR-01 | Internal Funding | Institution Funding (Self Supported) | 15lpm to 200lpm; filter test as per ISO 16889, ISO 19438, ISO 4548-12; flow vs pressure drop as per ISO3968; collapse pressure test as per ISO 2941 | Aerospace Lab | Filter Performance Test Rig (Multipass)-High Flow | 20000000 | https://cmti.res.in/surface-engineering-laser-processing/ | Working | Research infrastructure | labservices@cmti.res.in
Filter Performance Test Rig (Multipass)-Low Flow |  | Aerospace lab (HYDRAULIC Lab) | CMTI | 6 | CMTI-ASL-FPTR-02 | Internal Funding | Institution Funding (Self Supported) | 3lpm to 15lpm; filter test as per ISO 16889, ISO 19438, ISO 4548-12; flow vs pressure drop as per ISO3968; collapse pressure test as per ISO 2941 | Aerospace Lab | Filter Performance Test Rig (Multipass)-Low Flow | 20000000 | https://cmti.res.in/surface-engineering-laser-processing/ | Working | Research infrastructure | labservices@cmti.res.in
Bubble Point Test Set Up |  | Aerospace lab (HYDRAULIC Lab) | CMTI | 7 | CMTI-ASL-BPTS-02 | Internal Funding | Institution Funding (Self Supported) | as per ISO 2942 | Aerospace Lab | Bubble Point Test Set Up | 200000 | https://cmti.res.in/surface-engineering-laser-processing/ | Working | Research infrastructure | labservices@cmti.res.in
Hydraulic Pulse Durability Test Set Up |  | Aerospace lab (HYDRAULIC Lab) | CMTI | 8 | CMTI-ASL-HPDT-03 | Internal Funding | Institution Funding (Self Supported) | upto 25bar; as per ISO 4548-5 | Aerospace Lab | Hydraulic Pulse Durability Test Set Up | 2000000 | https://cmti.res.in/surface-engineering-laser-processing/ | Working | Research infrastructure | labservices@cmti.res.in
Hydrostatic Pressure Test Setup (Hydraulic Power Unit) |  | Aerospace lab (HYDRAULIC Lab) | CMTI | 9 | CMTI-ASL-HSPTS-04 | Internal Funding | Institution Funding (Self Supported) | for proof/burst pressure test with hydraulic oil at 5lpm, 1000bar | Aerospace Lab | Hydrostatic Pressure Test Setup (Hydraulic Power Unit) | 1500000 | https://cmti.res.in/surface-engineering-laser-processing/ | Working | Research infrastructure | labservices@cmti.res.in
Pressure Impulse Test Rig |  | Aerospace lab (HYDRAULIC Lab) | CMTI | 10 | CMTI-ASL-PMTR-06 | Internal Funding | Institution Funding (Self Supported) | as per SAE ARP 1383; SAE AS 603B; upto 400bar | Aerospace Lab | Pressure Impulse Test Rig | 18000000 | https://cmti.res.in/surface-engineering-laser-processing/ | Working | Research infrastructure | labservices@cmti.res.in
Filter Collapse Pressure Test Rig |  | Aerospace lab (HYDRAULIC Lab) | CMTI | 11 | CMTI-ASL-FCPTR-07 | Internal Funding | Institution Funding (Self Supported) | collapse pressures upto 100bar; 30lpm as per ISO 2941 | Aerospace Lab | Filter Collapse Pressure Test Rig | 5500000 | https://cmti.res.in/surface-engineering-laser-processing/ | Working | Research infrastructure | labservices@cmti.res.in
Hydrostatic Pressure Test Rig (Manual Operated) |  | Aerospace lab (HYDRAULIC Lab) | CMTI | 12 | CMTI-ASL-HSPTS-08 | Internal Funding | Institution Funding (Self Supported) | for proof/burst pressure test with hydraulic oil upto 900bar | Aerospace Lab | Hydrostatic Pressure Test Rig (Manual Operated) | 800000 | https://cmti.res.in/surface-engineering-laser-processing/ | Working | Research infrastructure | labservices@cmti.res.in
Millipore Test Setup |  | Aerospace lab (HYDRAULIC Lab) | CMTI | 13 | CMTI/ASL-MTS-09 | Internal Funding | Institution Funding (Self Supported) | Gravimetric contamination analysis - with 0.8 to 5 micron patches | Aerospace Lab | Millipore Test Setup | 400000 | https://cmti.res.in/surface-engineering-laser-processing/ | Working | Research infrastructure | labservices@cmti.res.in
Ultra-precision 5 Axes Micro Machining Centre |  | CMTI | M/s. KERN Micromatic, Germany | KERN EVO | 1 | External Funding | MHI | 2 µm positional accuracy Working Range: X 300, Y+J2:J36 280, Z 250 mm; B -10° to 110°, C: 360⁰ Min Drilling Capability : Ø 30 µm Min Drilling Capability : Ø 30 µm Min Milling Capability : Ø 50 µm Maximum Spindle speed : 50000 Rpm Resolution : 0.1 µm | MNTM | MNM Workshop | 35000000 | https://cmti.res.in/surface-engineering-laser-processing/ | Working | Machining | labservices@cmti.res.in
Micro Wire Electro Discharge Machine (µ-WEDM) |  | CMTI | M/s AGIE Charmilles International, Switzerland | AGIE EXCELLENCE 2F | 2 | External Funding | MHI | 0.1 µm surface finish; 4 µm profile accuracy Minimum wire diameter : 30 µm Work capacity: 750 × 550 × 250 mm Axis travel: 250/350/256 mm | MNTM | MNM Workshop | 15000000 | https://cmti.res.in/surface-engineering-laser-processing/ | Working | Machining, Grinding | labservices@cmti.res.in
Hard Turn Mill-Center |  | CMTI | M/s, Hardinge, US | QUEST 8/ 51 SP | 3 | External Funding | MHI | Maximum turning diameter : 308 mm Surface finish ( Ra ):0.2µm Roundness : 0.5 µm Position Accuracies : 5 µm Repeatability: 2 µm Maximum turning length : 610 mm | MNTM | MNM Workshop | 20000000 | https://cmti.res.in/surface-engineering-laser-processing/ | Working | Milling | labservices@cmti.res.in
Gauge Block Interferometer |  | CMTI | Brown & Sharpe | GBI 300 | 4 | External Funding | MHI | Range: up to 300mm Resolution: 1 nm Repeatability : 5 nm | MNTM | PM Lab | 38500000 | https://cmti.res.in/surface-engineering-laser-processing/ | Working | Measuring Equipment | labservices@cmti.res.in
Gauge Block Comparator |  | CMTI | Mahr Federal, Germany | 130B-24 | 5 | External Funding | MHI | Range : 100 mm Resolution: 10 nm | MNTM | PM Lab | 3500000 | https://cmti.res.in/surface-engineering-laser-processing/ | Working | Measuring Equipment | labservices@cmti.res.in
Flatness Interferometer |  | CMTI | Zygo, USA | Verifire | 6 | External Funding | MHI | Sample size :100 mm Resolution : λ/8000 mm Laser wavelength: λ = 632.8 nm Sample reflectivity: 0.1-100% | MNTM | PM Lab | 10000000 | https://cmti.res.in/surface-engineering-laser-processing/ | Working | Measuring Equipment | labservices@cmti.res.in
Form Tester |  | CMTI | Taylor Hobson,UK | Talyrond 585H | 7 | External Funding | MHI | Modernization of Precisiom Metrology Laboratory : Measuring Range-Length : 500 mm, Diameter : 400 mm Resolution : 0.3 nm Spindle rotational accuracy : 10 nm Straightness of arm: 0.3 mm | MNTM | PM Lab | 9700000 | https://cmti.res.in/surface-engineering-laser-processing/ | Working | Measuring Equipment | labservices@cmti.res.in
Roughness Tester |  | CMTI | Taylor Hobson,UK | Form Talysurf, PGI Series 1500 S | 8 | External Funding | MHI | Modernization of Precisiom Metrology Laboratory : Pickup Range- 15 mm Traverse Length: 200mm Resolution: 0.3 nm | MNTM | PM Lab | 9100000 | https://cmti.res.in/surface-engineering-laser-processing/ | Working | Measuring Equipment | labservices@cmti.res.in
CNC Gear Testing Machine |  | CMTI | Kapp Niles, Germany | KNM 6X | 9 | External Funding | MHI | Augmentation of testing facilities at CMTI : Measurement Range- Internal Diameter: 650mm External Diameter:750 mm Resolution : 0.05 µm Module: 0.3 to 35 mm No. of Axes: 4 Helix angle: 0-90° | MNTM | PM Lab | 34520200 | https://cmti.res.in/surface-engineering-laser-processing/ | Working | Measuring Equipment | labservices@cmti.res.in
Portable Arm CMM |  | CMTI | Romer | Romer Abolute Arm 8525-7 | 10 | External Funding | MHI | Modernization of Precisiom Metrology Laboratory : Resolution : 0.1µm No. of Axes: 6 + 1 Maximum Permissible Error EUni, MPE : 0.031 µm | MNTM | PM Lab | 4861404 | https://cmti.res.in/surface-engineering-laser-processing/ | Working | Measuring Equipment | labservices@cmti.res.in
Profile Projector |  | CMTI | Nikon | V-24B | 11 | Others | NA | Range: X: 200mm, Y:100mm and Screen Size: 600mm Resolution: linear:0.1µm , angular: 1 min Magnification: 5X ,10X , 20X , 50X , 100X | MNTM | PM Lab | 2500000 | https://cmti.res.in/surface-engineering-laser-processing/ | Working | Measuring Equipment | labservices@cmti.res.in
Vision Measuring System |  | CMTI | Hexagon Metrology (I) Pvt. Ltd. | Optive Lite | 12 | External Funding | MHI | Modernization of Precisiom Metrology Laboratory : Measuring Volume: 300 X 200 X2 00 XY Stage resolition: 0.05µm Machine Accuracy:Exy: (2.5+L/250 )µm | MNTM | PM Lab | 2600000 | https://cmti.res.in/surface-engineering-laser-processing/ | Working | Measuring Equipment | labservices@cmti.res.in
Ultra Precision Coordinate Measuring Machine |  | CMTI | Carl Zeiss, Germany | PRISMO ULTRA | 13 | External Funding | MHI | Modernization of Precisiom Metrology Laboratory : Range: X: 900 mm, Y: 1300 mm, Z: 650 mm Resolution: 0.02 µm Size Measuring uncertainty MPEE : (0.5+ L/500) µm | MNTM | PM Lab | 27282250 | https://cmti.res.in/surface-engineering-laser-processing/ | Working | Measuring Equipment | labservices@cmti.res.in
Universal Length Measuring Machine with Laser Measurement System |  | CMTI | Octagon Precision India Private Limited, Pune | LMM Gold Plus-1600 | 14 | External Funding | MHI | Augmentation of testing facilities at CMTI : Measuring Range: 80 m Resolution: 1 nm Accuracy : ± 1 ppm | MNTM | PM Lab | 8591412 | https://cmti.res.in/surface-engineering-laser-processing/ | Working | Measuring Equipment | labservices@cmti.res.in
Laser Tracker |  | CMTI | Hexagon Metrology | Leica AT 401 | 15 | External Funding | MHI | Working Volume (ø): 320 m Resolution: 1µm Accuracy : ± (15 µm + 6 µm/m) | MNTM | PM Lab | 10000000 | https://cmti.res.in/surface-engineering-laser-processing/ | Working | Measuring Equipment | labservices@cmti.res.in
Laser Interferometer system |  | CMTI | Renishaw, UK | XL-80/ ML-10 | 16 | External Funding | MHI | Measurement Range: 80 m Resolution : 1nm Accuracy : ± 1 ppm | MNTM | PM Lab | 2500000 | https://cmti.res.in/surface-engineering-laser-processing/ | Working | Measuring Equipment | labservices@cmti.res.in
High Precision Autocollimator |  | CMTI | Moller Wedel Germany | Elcomat 3000 | 17 | External Funding | MHI | Modernization of Precisiom Metrology Laboratory : Range: ±1080 arc sec (Horizontal & Vertical) Resolution : 0.001 arc sec Repeatability : ± 0.03 sec accuracy over any 20 sec | MNTM | PM Lab | 6039750 | https://cmti.res.in/surface-engineering-laser-processing/ | Working | Measuring Equipment | labservices@cmti.res.in
Co-ordinate Measuring Machine (CMM) |  | Regional Centre, CMTI | Mitutoyo, Japan | Beyond Crysta, 7106 | 18 | Others | NA | Size (X/Y/Z Axis) : 700 / 1000 / 600 mm Resolution : 0.1µm Accuracy :(1.9+0.3L/1000) | MNTM | Regional Centre Rajkot | 12500000 | https://cmti.res.in/surface-engineering-laser-processing/ | Working | Measuring Equipment | labservices@cmti.res.in
Universal Length Measuring Machine |  | Regional Centre, CMTI | Aditya Engineering Company | Lab MicroCal 600T | 19 | Internal Funding | CMTI | Stroke size : 100 mm absolute / 600 mm diffrential Resolution : 0.1µm Accuracy :(0.5+L/1000) | MNTM | Regional Centre Rajkot | 2500000 | https://cmti.res.in/surface-engineering-laser-processing/ | Working | Measuring Equipment | labservices@cmti.res.in
Video Measuring System |  | Regional Centre, CMTI | Customized Technologies | Rapid-I V2015 | 20 | Internal Funding | CMTI | Size (X/Y/Z Axis) : 200 / 140 / 140 mm Resolution : 0.1µm Accuracy :(3+L/100) | MNTM | Regional Centre Rajkot | 1200000 | https://cmti.res.in/surface-engineering-laser-processing/ | Working | Measuring Equipment | labservices@cmti.res.in
Atomic Force Microscope |  | NMTC | Veeco | Dimension V SPM | NA | External Funding | MHI | Specifications: Resolution: 2 X 2 X 0.05 nm Open-Loop head: X-Y scan range: 100 µm; Z scan range: 5.5 µm Closed Loop Scanner: X-Y scan range: ~ 90µm ; Z scan range: ~15 µm Sample Size: 150 X 12 mm,150 X 9 mm Microscope optics:150 µm to 675 µm viewing area. Applications: Nanoscale 3D surface topography and texture analysis, Analysis of micron and nanoscale phase distribution and imaging, Mechanical and physical property measurements, Defect imaging in MEMS and IC failure analysis. | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Advanced Material Characterization | 275000 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
Optical Profiler |  | NMTC | Veeco | NT9100 | NA | External Funding | MHI | Max Sample Size:150 X 150 X 80 mm Field of view (X, Y): 0.3mm @ 50x & 0.17mm @ 100x XY Optical Resolution: 0.55 μm @ 50x 0.36μm @ 100x Z Resolution: 0.1 nm, Step Height Accuracy 1% Applications: Topography, Surface Finish, Critical Dimensions, Radius of Curvature, MEMS, Semiconductors & ICs, Dynamic MEMS Technology. | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Advanced Material Characterization | 10563750 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
Raman spectroscopy |  | NMTC | SEKI Technotron Corp | STR-300. | NA | External Funding | MHI | Laser Source: 532 nm (Diode laser), 785 nm (Diode laser) Monochromator: Triple grating with 600, 1200 and 2400 blz Spectral Resolution: 0.75 cm-1 with 2400 blz Confocal microscope depth of resolution: 2 μm Applications: Composition of material, crystal symmetry & orientation, quality of crystal, stress/strain, and amount of material. | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Advanced Material Characterization | 1090000 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in
Spectroscopic Ellipsometry |  | NMTC | J.A. Woollam | M2000X | NA | External Funding | MHI | Measuring area & height of the sample: 200mm diameter, and 19 mm height, Measuring Angle: 45 to 90° Spectral Range: 250 - 1000 nm Spectral Resolution: 1.6 nm Applications: Layer thickness, Optical constants, Composition / Crystallinity / Doping, Surface and Interfacial Roughness, Grading / Uniformity Anisotropy, any physical effect which induces changes in a material's optical properties | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Advanced Material Characterization | 5945500 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
Nanoindenter |  | NMTC | Agilent technologies | G200 | NA | External Funding | MHI | Load resolution: 1nN Displacement Resolution: 0.0002 nm Maximum Load: 500 mN Maximum depth: 500 μm Insitu imaging: 100 x 100 μm LFM: > 250 mN Applications: Hardness and Modulus measurement, Fracture Analysis, Paints and coatings, Metals and Ceramics, Bio-materials, Metal-Matrix Composites, Polymers, Thin Films. | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Advanced Material Characterization | 25583545 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
Particle size Analyzer |  | NMTC | Microtrac | Blue Wave | NA | External Funding | MHI | Lasers: Blue 405 nm and Red 780 nm Measuring range: 0.02 to 2800 μm Data handling: Volume, Number and Area distributions Analysis: Dry powder and liquid suspension. Applications: Particle size identification and its distribution in Cosmetics, Pharmaceutical, Food, Metal industry, Paints, Pigments and Dyes, Cements and Chemical Industry Applications: Particle size identification and its distribution in Cosmetics, Pharmaceutical, Food, Metal industry, Paints, Pigments and Dyes, Cements and Chemical Industry. | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Advanced Material Characterization | 6219640 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
Fourier Transform Infrared Spectroscopy |  | NMTC | Thermo Scientific | Nicolet Summit X | NA | External Funding | MHI | Spectral measurement range: 8000-400 cm-1(MIR), Spectral resolution: <0.6 cm-1 Wavenumber resolution: 0.001 cm-1 @ 2000 cm-1 Signal to noise ratio: 40000:1 peak to peak for 1 min @ 4 cm-1 spectral resolution, Measurement mode: Transmission, Absorption and ATR (Diamond crystal), Samples: Liquid, thin films coated over silicon or germanium substrate, standalone films, KBr pellet preparation Applications: A compositional analysis of material, functional group analysis, and bonding signature in the material | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Advanced Material Characterization | 2150000 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
Surface Area Analyzer |  | NMTC | Quantachrome | Autosorb-iQ-MP-XR & ChemBET PULSAR | NA | External Funding | MHI | Surface area range: From 0.01 m2/g Pore size range: 3.5 to >4000 Å BET/Mesopore Capable: (P/Po > 1 x 10-3) Micropore capable: (P/Po < 10-4) Applications: Micropore & Mesopore measurements, Specific surface area of phases, Types of active sites, Number of active sites, Reactivity of active sites and Stability of active sites. Features: Built-in Degasser Stations & Degas Cold Trap | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Advanced Material Characterization | 5692500 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
Transmission Electron Microscope |  | NMTC | FEI | Titan G2 60 300 TEM | NA | External Funding | MHI | Resolution: TEM: 0.2 nm @ 300 kV, STEM : 0.136 nm @ 300 kV EDX Resolution: 136 eV Accelerating Voltages: 60 to 300 KeV Stage: 5 axis , Range: X, Y : ± 1 mm, Z : ± 0.375 mm, α : ± 40° , β : ± 30° Imaging modes: TEM, STEM-HAADF, BF, DF, EDS, Selected area diffraction, 3D Tomography Applications: Atomic Scale Imaging, Crystallographic studies, Plastic Deformations, Study of multi-layers and structures, Phase transformations, Defect inspection in semiconductor fabrication process, Elemental analysis | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Advanced Material Characterization | 138528000 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
Field Emission Scanning Electron Microscope and Energy Dispersive X-ray Spectroscopy |  | NMTC | Carl Ziess and Oxford Instruments | GeminiSEM 360 and UltimMax 100 | NA | External Funding | MHI | SEM Specification: FESEM Features : Technology: Field Emission Beam Current: upto 100 nA Beam Stability: < 0.2 % /h Accelerating Voltage: 0.02 - 30 kV, Step - 10 V Resolution: 0.7 ± 0.1 nm @ 15 kV (ISO 24597) Magnification: 8 x to 2000 kx (ISO 16700) Stage: 5 Axes Eucentric, Travel Range: 130 mm X 130 mm X 45 mm Detector/Imaging: Secondary Electron imaging’s (SE2, Inlense) & Backscattered Electron (BSE) Special Features: 3DSM, Large Area Mapping (wafer scale), Scan Speed: 25 ns, Surface Texture Filters (ISO 25178), Roughness/Waviness Filters (ISO 16610) EDS Features: Technology: LN2 free, UltimMax 100, SDD Sensor Area: 100 mm2 Resolution: 122 eV on Mn, 42 eV on C (ISO 15632) Peak shift – Resolution: < 1 eV Count per Seconds: ≥ 1,30,000 Detection Sensitivity Range: Be (4) to Cf (98) Detection Limit: ≤ 0.1 wt % on fluorine Analytical Accuracy: ± 2 % Special Features: Large Area Acquisition (Wafer Scale), Multiple Samples, Live Chemical Mapping, Line Scan Applications: Research and Development, quality control, failure analysis, etc of various materials - conducting, non-conducting, magnetic and non-magnetic - including and not limited to Metal-Alloys-Composites, Insulators, Semiconductor Electronics, Sensors, MEMS & NEMS, 3D Printed Parts, Batteries, Pharmaceuticals, Automobiles, Biomedical, Coatings & Thinfilms, Ceramics, Casting & Forging, FMCG, Powders, Polymers & PMCs, Hard Biological Tissues, etc. | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Advanced Material Characterization | 36330800 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
X-Ray Diffraction |  | NMTC | Bruker | D8 Advance | NA | External Funding | MHI | Configuration: Vertical Theta/2 Theta Max. usable angular range: 4.5° < 2 Theta ≤ 110° Smallest addressable increment: 0.0001° Anodes: Cu (λ = 1.5405 Å), Cr (λ = 2.2897 Å) & Co (λ = 1.7886 Å) Detectors: Scintillation & Lynxeye Application software: EVA, LEPTOS & TOPAS Applications: Identification of crystalline materials, Sample purity measurement, Determination of Unit cell dimensions, Residual stress measurement and Determination of Degree of Crystallinity | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Advanced Material Characterization | 5022000 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
Noise Dosimeter |  | NMTC | Larson Davis | 703 IS | NA | External Funding | MHI | Measurement of Worker/Operator Noise Exposure in Working Environment Frequency Range: 20 Hz to 20 KHz Frequency weightings: A,C ,Z Measurement Parameters: SPL, Dose%, TWA, Lpeak, Lmax, Lmin, Lavg Dynamic range: 90dB Standards: IEC 61252 & ANSI S1.25:1991 Applications: Mining, Process plants, Earth Moving Machinery, etc. | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Advanced Material Characterization | 137200 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
Sound Level Meter (Noise Partner & Product Noise) |  | NMTC | B&K | 2250 | NA | External Funding | MHI | Measuring Range: 16 to 140 dB(A) Frequency Range: 6 Hz – 20 KHz Dynamic Range: 140 dBA Frequency Weighting: A, B, C, Z Standards: IEC 61672-1:2002-05 class 1, IEC 61672-1(2013)class 1, IEC 60651 (2000-10), Type 1, IEC 60804 (2000-10), Type 1 etc., Measurements parameters: Leq, Lpeak, Lmax, Lmin, LAeq Applications: Sound pressure level measurement, Environment noise measurement, Sound Power Measurements as per ISO 3744 & ISO 3746 | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Noise and Vibrtion Lab | 425375 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
Human Vibration Meter (HVM) |  | NMTC | SVANTEK | 106A | NA | External Funding | MHI | Features: Hand-Arm Vibration Measurement (ISO 5349) • Whole-Body Vibration Measurement ISO (2631) • Low-Frequency Whole-Body Vibration Measurement ISO (2631) Applications: Mining, Process Plants, Earth Moving Machinery’s etc. | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Noise and Vibrtion Lab | 428000 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
Machinery Health Analyser |  | NMTC | CSI | 2130 & 2140 | NA | External Funding | MHI | Frequency Range: DC to 80 kHz. No. of Channels: 2 & 4. A/D Converter: 24 Bit. Dynamic Range: 120 dB. Resolution: 12800 lines. Input Voltage: 0–20V. Application: Noise and Vibration Measurement. Frequency Response Function Measurement, Dynamic Balancing, Route-Based Data Collection and Condition Monitoring, Time Domain Analysis, Advanced Cross Channel Analysis, Run-Up & Run-Down Measurement, Transient Analysis, ODS, Order Tracking, Waterfall Diagrams, etc., | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Noise and Vibrtion Lab | 3000000 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
OROS Data Acquisition System |  | NMTC | OROS | OR-34, OR-10 & OR-36 | NA | External Funding | MHI | Frequency Range: 0 to 40 kHz, No. of Channel: 4, 8 & 16 channels, Dynamic Range: 140 dB, Sampling Frequency: 102.4 kS/s, Resolution: 25001 lines, Input Voltage: 0–10V & 0–40V, Features: Noise and Vibration Measurements, Time Domain and FFT Analysis, FRF Measurement, Octave Analysis, Data Recording, Multi-Channel Multi-Analysis, Order Analysis, Waterfall Diagrams, Run-Up and Run-Down Measurement, Trend Analysis, 3D Waterfall Analysis and Frequency v/s Time map FFT Diagnostic Module, Turbo Machinery Vibration Analysis | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Noise and Vibrtion Lab | 2520000 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
Schenk Dynamic Balancing Machine |  | NMTC | Schenck | NA | NA | External Funding | MHI | Display: CAB 690, Weight Rotor: 60 kg, Bearing Support Diameter: 60 mm, Applications: Dynamic balancing of Armatures, Precision Spindles, Rotors, Propellers to balance quality grade of G0.4 as per ISO 1940. | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Noise and Vibrtion Lab | 730000 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
Sound Intensity System |  | NMTC | GRAS | NA | NA | External Funding | MHI | Frequency Range: 0–20 kHz, Dynamic Range: 25 dB to 152 dB Applications: Sound-intensity measurements, Sound-source location, Sound-power measurements, Sound-intensity mapping, | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Noise and Vibrtion Lab | 842172 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
FLIR Thermal Camera T335 |  | NMTC | FLIR | T335 | NA | External Funding | MHI | Object Temperature Range: -20°C to 650°C Application: Thermal Imaging of Electrical Cabinets, Furnaces, Machine Tools, Heat Leakages. | Centre for Smart Manufacturer Precision Machine Tools and Aggregates |  | 1341900 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
Confocal Microscope |  | NMTC | Olympus | OLS4000 | NA | External Funding | MHI | Laser Confocal Microscope, Objectives: 5x, 10x, 20x, 50x, 100x, Colour image mode: White light LED, Laser image mode: 405 nm laser Minimum Z Resolution: 10nm, Minimum XY Resolution:120nm XY-stage: 100mmx100mm (Motorized stage) | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Advanced Material Characterization | 5540770.125 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
Micro Hardness Tester |  | NMTC |  | NA | NA | External Funding | MHI |  | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Advanced Material Characterization | 1997100 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
Planetary ball mill |  | NMTC | NA | NA | NA | External Funding | MHI |  | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Advanced Material Characterization | 376154 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
Rheometer |  | NMTC | NA | NA | NA | External Funding | MHI |  | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Advanced Material Characterization | 3227391.888 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
Electron Microscope (TEM, SEM) Sample Preparation | Sputter Coater (per 5nm shot) | NMTC | Quorum | NA | NA | External Funding | MHI |  | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Advanced Material Characterization | 2021250 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
Electron Microscope (TEM, SEM) Sample Preparation | Low Spoeed Diamond Saw | NMTC | Struers | Minitom | NA | External Funding | MHI |  | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Advanced Material Characterization | 412940 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
Electron Microscope (TEM, SEM) Sample Preparation | Well Diamond Saw | NMTC | WELL | 3242 | NA | External Funding | MHI |  | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Advanced Material Characterization | 1398824 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
Electron Microscope (TEM, SEM) Sample Preparation | Disc Grinder | NMTC | Gatan | 623 | NA | External Funding | MHI |  | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Advanced Material Characterization | 126885 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
Electron Microscope (TEM, SEM) Sample Preparation | Disc Punch | NMTC | Gatan | 659 | NA | External Funding | MHI |  | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Advanced Material Characterization | 209825 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
Electron Microscope (TEM, SEM) Sample Preparation | Twin Jet Electro Polisher | NMTC | NA | NA | NA | External Funding | MHI |  | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Advanced Material Characterization | 1188000 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
Electron Microscope (TEM, SEM) Sample Preparation | PIPS | NMTC | NA | NA | NA | External Funding | MHI |  | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Advanced Material Characterization | 168740 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
Electron Microscope (TEM, SEM) Sample Preparation | Dimple Grinder | NMTC | Gatan | 656 | NA | External Funding | MHI |  | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Advanced Material Characterization | 1119360 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
Electron Microscope (TEM, SEM) Sample Preparation | Ultra Sonic Disc Cutter | NMTC | Gatan | 601 | NA | External Funding | MHI |  | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Advanced Material Characterization | 875655 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
Electron Microscope (TEM, SEM) Sample Preparation | Advanced Plasma Cleaner | NMTC | NA | NA | NA | External Funding | MHI |  | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Advanced Material Characterization | 4434760 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
Electron Microscope (TEM, SEM) Sample Preparation | Cross Section Kit | NMTC | NA | NA | NA | External Funding | MHI |  | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Advanced Material Characterization | 108625 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
Electron Microscope (TEM, SEM) Sample Preparation | Hot Plate | NMTC | NA | NA | NA | External Funding | MHI |  | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Advanced Material Characterization | 63250 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
Electron Microscope (TEM, SEM) Sample Preparation | LaboPol 5(grinding poloshing machine) | NMTC | NA | NA | NA | External Funding | MHI |  | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Advanced Material Characterization | 449900 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
Electron Microscope (TEM, SEM) Sample Preparation | LaboForce 3 | NMTC | NA | NA | NA | External Funding | MHI |  | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Advanced Material Characterization | 389400 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
Electron Microscope (TEM, SEM) Sample Preparation | Ultra Microtome | NMTC | NA | NA | NA | External Funding | MHI |  | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Advanced Material Characterization | 3973760 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
Stereo Microscope | Stereo Microscope | NMTC | Carl Zeiss | Discovery V20 | NA | External Funding | MHI |  | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Advanced Material Characterization | 1854200 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
Light Microscope | Light Microscope | NMTC | Carl Zeiss | m2m | NA | External Funding | MHI |  | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Advanced Material Characterization | 4178666 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
Vacuum Furnance | Vacuum Furnance | NMTC | NA | NA | NA | External Funding | MHI |  | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Advanced Material Characterization | 795572.36 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
TEM Sample Preparation | Hard Material (Bulk) | NMTC | NA | NA | NA | External Funding | MHI |  | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Advanced Material Characterization | 795572.36 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
TEM Sample Preparation | Soft Material (Bulk) | NMTC | NA | NA | NA | External Funding | MHI |  | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Advanced Material Characterization | 795572.36 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
TEM Sample Preparation | Any Matirial (≤ 100 µm Thickness) | NMTC | NA | NA | NA | External Funding | MHI |  | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Advanced Material Characterization | 795572.36 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
TEM Sample Preparation | Plasma Cleaner | NMTC | Gatan | 950 | NA | External Funding | MHI |  | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Advanced Material Characterization | 4434760 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
TEM Sample Preparation | Polymer Sample | NMTC | NA | NA | NA | External Funding | MHI |  | Centre for Smart Manufacturer Precision Machine Tools and Aggregates | Advanced Material Characterization | 2500000 | https://cmti.res.in/nano-material-characterization/ | Working Condition | MATERIAL | labservices@cmti.res.in,
Direct Metal Deposition (DMD) Additive Manufacturing Machine |  | MNTM Workshop | M/s. Precision Optic Manufacturing, USA | DMD 105D | NA | Others | NA | Laser : Diode | ASMP (AM) |  | 2500000 |  | Active | Additive Manufacuring | labservices@cmti.res.in,
SPARK EMISSION SPECTROMETER |  | Na | BAIRD | DV6S | 3187a | CMTI | CMTI ,Bengaluru | METAL & METAL ALLOYS ANALYSIS(Fe,Cu,Al Base) | Materials& Metallurgy |  | 3053678 |  |  | Chemical | labservices@cmti.res.in,
SPARK EMISSION SPECTROMETER |  | Na | THERMOFISCHER SCIENTIFIC | ARL 3460 | 6760 | CMTI | CMTI ,Bengaluru | METAL & METAL ALLOYS ANALYSIS(Fe,Cu,Al Base) | Materials& Metallurgy |  | 7324600 |  |  | Chemical | labservices@cmti.res.in,
PORTABLE OPTICAL EMISSION SPECTROMETER |  | Na | AMATEK GMBH | TXC25 | 30110 | CMTI | CMTI ,Bengaluru | METAL & METAL ALLOYS ANALYSIS(Fe,Cu,Al ,Ni,Zn,Ti,Co Base) | Materials& Metallurgy |  | 3713276 |  |  | Chemical | labservices@cmti.res.in,
XRF-COATING THICKNESS |  | Na | FISHER GMBH | XDL B | SN070001727 | CMTI | CMTI ,Bengaluru | Metalic Coating thickness Measurment(0.01 Micron To 30 Micron) | Materials& Metallurgy |  | 1614240 |  |  | Chemical | labservices@cmti.res.in,
DUAL SCOPE-COATING THICKNESS |  | Na | FISHER GMBH | MP40E-S | SN070001728 | CMTI | CMTI ,Bengaluru | Metalic& Non Metallic Coating thickness Measurment(1.0 Micron to 1000 Micron) | Materials& Metallurgy |  | 212610 |  |  | Chemical | labservices@cmti.res.in,
ELECTRONIC ANALYTICAL BALANCE |  | Na | SARTORIUS | MC 210 S | 12009736 | CMTI | GAP1901401,ARDB,CMTI ,Bengaluru | 0.001 g to 250 gr | Materials& Metallurgy |  | 188790 |  |  | Chemical | labservices@cmti.res.in,
ELECTRONIC ANALYTICAL BALANCE WITH DENSITY KIT |  | Na | SHIMADZU | UW220D | 450042006 | CMTI | CMTI ,Bengaluru | 0.001 g to 250 gr | Materials& Metallurgy |  | 180000 |  |  | Chemical | labservices@cmti.res.in,
ELECTROLYTIC ANALYSER-COPPER ESTIMATION |  | Na | TOSHNIVAL | E-30 | 42 | CMTI | CMTI ,Bengaluru | Elrctro Gravimetric Analyser | Materials& Metallurgy |  | 67200 |  |  | Chemical | labservices@cmti.res.in,
BROOK FIELD DIGITAL VISCOMETER |  | Na | BROOKFEILD | LVDV-11 +PRO | RTP80054 | CMTI | CMTI ,Bengaluru | Hydraulic Oil Viscosity Cheking | Materials& Metallurgy |  | 444933 |  |  | Chemical | labservices@cmti.res.in,
OAKTON PC2700 BENCHTOP PH METER |  | Na | OAKTON | PC2700 | 2910296 | CMTI | GAP1901401,ARDB,CMTI ,Bengaluru | Solution Ph Level Checking | Materials& Metallurgy |  | 123637 |  |  | Chemical | labservices@cmti.res.in,
CERAMIC FIBER MUFFLE FURNACE |  | Na | SIP LAB | SL-MF-7L-MS | 2019072-67106 | CMTI | GAP1901401,ARDB,CMTI ,Bengaluru | Muffel Furnace for heattreatment Process | Materials& Metallurgy |  | 141750 |  |  | Chemical | labservices@cmti.res.in,
ROTARY VACUUM PUMP 4 BAR 220V |  | Na | MERCK | XI0422050 | BM9EA4364K | CMTI | GAP1901401,ARDB,CMTI ,Bengaluru | Solution filtration | Materials& Metallurgy |  | 66228 |  |  | Chemical | labservices@cmti.res.in,
CARBON& SULFUR ANALYSER |  | Na | HORIBA | EMIA 20E | YLY57W20 | CMTI | DPP2204001,8/C3,CMTI,BENGALORE | Measures carbon and sulfur content in Steel, Cast iron, Non-ferrous alloys, Ceramics, Minerals, Metal bearing ores and Refractory materials | Materials& Metallurgy |  | 9732184 |  |  | Chemical | labservices@cmti.res.in,
OXYGEN,NITROGEN& HYDROGEN ANALYSER |  | Na | HORIBA | EMGA 30E | XBTM6W00 | CMTI | DPP2204001/C3,CMTI,BENGALORE | The concentration of Oxygen, Nitrogen and Hydrogen in ferrous based metals (cast iron and steels) and non-ferrous alloys (titanium and copper) other inorganic materials and ceramics | Materials& Metallurgy |  | 12000000 |  |  | Chemical | labservices@cmti.res.in,
WAVELENGTH DISPERSIVE XRF SPECTROMETER (WDXRF) |  | Na | THERMOFISCHER SCIENTIFIC | ARL PERFORM'X | 9961734 | CMTI | DPP2204001,C3,CMTI,BENGALORE | Be to Am Element Quantitative Analysis, Solid, Liquid & Powder analysis, X-ray tube power 4.2 kW, Gearless goniometer, Crystals 8 nos., Complete characterization of unknown materials science samples, Small spot analysis and elemental mapping using WD-XRF for failure analysis or defect detection Equipped with Flow Proportional Counter 3300 kcps & Scintillation detector 2300 kcps | Materials& Metallurgy |  | 35000000 |  |  | Chemical | labservices@cmti.res.in,
OPTICAL EMISSION SPECTROMETER (OES) |  | Na | THERMOFISCHER SCIENTIFIC | ARL i-SPARK 8860 | 9963187 | CMTI | DPP2204001,C3,CMTI,BENGALORE | Metal & Metal Alloys (Ferrous and non- ferrous ) analysis, Failure analysis, identification of trace metals | Materials& Metallurgy |  | 16300000 |  |  | Chemical | labservices@cmti.res.in,
X-RAY DIFFRACTION (XRD) Operando |  | Na | ANTON PAAR | XRDynamic-500 | 84833723 | CMTI | DPP2204001,C3,CMTI,BENGALORE | High resolution XRD for crystalline phase detection, Grazing incidence XRD (GI-XRD), Small Angle X-Ray scattering (SAXS), X-ray Reflectivity (XRR), operando application i.e., phase analysis during electrochemical analysis i.e., charge-discharge and cyclic voltammetry for energy storage devices (battery, supercapacitor, solar cell etc) testing application, mapping through microdiffraction, pair distribution function study, in-situ non-ambient XRD, phase quantification, residual stress analysis of small component (non-ferrous) | Materials& Metallurgy |  | 22000000 |  |  | Chemical | labservices@cmti.res.in,
Particle Count Analysis Microscope |  | Na | PIXLER | Nikon ECLIPSE 1000NDA |  | CMTI | DPP2204001,C3,CMTI,BENGALORE | Particle size/count analysis full scan Maximum Particle size (Metallic, non-metallic and fibre) as per ISO 16232, ISO 4406/07 Microstructure analysis, Inclusion Rating, Micro etching, Grain size measurement, Case depth measurement, Plating Thickness & Nodularity | Materials& Metallurgy |  | 436600 |  |  | METALLURGY | labservices@cmti.res.in,
Subzero |  | Na | Southern Scientific Lab Instruments | SSLI-SZ | 43/01/24 | CMTI | DPP2204001,8/CAPEX,CMTI,BENGALORE |  | Materials& Metallurgy |  | 631890 |  |  | Heat Treatment | labservices@cmti.res.in,
Phased Array Ultrasonic Testing Equipment (PAUT) |  | Na | OLYMPUS | OMNISCANX3 16:64PR TFM |  | CMTI | DPP2204001,C3,CMTI,BENGALORE | Weld Inspection: Detects discontinuities (porosity, slag inclusions, lack of fusion) in welds with high precision. Corrosion Mapping: Maps corrosion and erosion over large areas, revealing hidden damage under supports or insulation. Thickness Measurement: Accurately measures material thickness to monitor degradation over time. Flaw Detection: Identifies cracks (SCC, HIC), voids, pits, and other internal defects in various components. Component Quality Assessment: Determines overall structural integrity, including inspecting rivets, bonds, and interfaces. Complex Geometry Inspection: Scans difficult shapes like elbows, nozzles, and rolling stock wheels without moving the probe. | Materials& Metallurgy |  | 4902660 |  |  | NDT | labservices@cmti.res.in,
Cutting machine - Abrasive cutting machine |  | Na | CHENNAI METCO | BAINCUT |  | CMTI | GSP2005201,R5,CMTI,BENGALORE | Cutting samples | Materials& Metallurgy |  | 95380 |  |  | METALLURGY | labservices@cmti.res.in,
Mounting Press - Hydraulic Specimen Mounting Press |  | Na | CHENNAI METCO | BAINMOUNT-PQUTO |  | CMTI | GSP2005201,R5,CMTI,BENGALORE | Mounting Samples | Materials& Metallurgy |  | 66120 |  |  | METALLURGY | labservices@cmti.res.in,
Grinding and Polishing Machine |  | Na | CHENNAI METCO | BAINPOLI |  | CMTI | DPP2204001,CMTI,BENGALORE | Grinding: The initial stage involves using coarser abrasive media (like silicon carbide paper) to remove significant surface defects, scratches, and other imperfections from the material or specimen. Honing/Pre-Grinding: This function refines the surface after the initial rough grinding, often to eliminate deeper scratches and stains and achieve a more uniform, flat surface before the final polish. Polishing: Using progressively finer abrasives and softer pads or cloths, the machine refines the surface to enhance gloss, clarity, and achieve a smooth, scratch-free, mirror-like appearance | Materials& Metallurgy |  | 307390 |  |  | METALLURGY | labservices@cmti.res.in,
Universal Hardness Testing Machine |  | Na | QNESS | Q250MS |  | CMTI | DPP2204001,CMTI,BENGALORE | Hardness Measurerment | Materials& Metallurgy |  | 2438400 |  |  | Mechanical | labservices@cmti.res.in,
Universal Testing Machine |  | Na | NA | NA |  | CMTI | DPP2204001,CMTI,BENGALORE | Universal Testing Machine (UTM): Provides mechanical testing capabilities (tension, compression, bend, strain, etc.) at controlled loading rates. Environmental Chamber (Climatic Chamber): An enclosure designed to control and maintain specific environmental conditions around the test specimen. For your requirement, this involves a broad temperature range from sub-zero to high heat. Refrigeration and Heating System: The chamber uses a compressor/refrigeration unit for cooling cycles and electric heating elements for heating cycles to achieve the desired temperatures. Integrated Controls: Modern systems often feature a computer interface or a separate controller to manage and record both mechanical and environmental data in real-time. Specialized Accessories: High/low-temperature grips and extensometers are required to operate effectively within the extreme temperature range. | Materials& Metallurgy |  | 175000 |  |  | Mechanical | labservices@cmti.res.in,
Wire bonder |  | Na | F&S Delvotec | 56xx | 1234 | MHI | NA |  | Centre for Sensors Vision Technology and Information Technology |  | 13800000 |  |  | Packaging | labservices@cmti.res.in,
Bond tester |  | Na | XYZTEC | Condor Sigma | 1234 | MHI | NA |  | Centre for Sensors Vision Technology and Information Technology |  | 6484000 |  |  | Characterization | labservices@cmti.res.in,
Optical microscope |  | Na | Leica | DM8000M | 1234 | MHI | NA |  | Centre for Sensors Vision Technology and Information Technology |  | 3770000 |  |  | Characterization | labservices@cmti.res.in,
Mask aligner |  | Na | Suss Microtec | MA6/BA6 | 1234 | MHI | NA |  | Centre for Sensors Vision Technology and Information Technology |  | 30000000 |  |  | Fabrication | labservices@cmti.res.in,
Wet chemical benches |  | Na | Four-C-Tron | NA | 1234 | MHI | NA |  | Centre for Sensors Vision Technology and Information Technology |  | 1140000 |  |  | Fabrication | labservices@cmti.res.in,
Spin coater |  | Na | Laurel | WS-650MZ-23Npp | 1234 | MHI | NA |  | Centre for Sensors Vision Technology and Information Technology |  | 482000 |  |  | Fabrication | labservices@cmti.res.in,
Spin coater for polymer |  | Na | SPIN150i | NPP | 1234 | MHI | NA |  | Centre for Sensors Vision Technology and Information Technology |  | 1094000 |  |  | Fabrication | labservices@cmti.res.in,
Flip chip bonder |  | Na | SET | FC150 | 1234 | MHI | NA |  | Centre for Sensors Vision Technology and Information Technology |  | 63800000 |  |  | Packaging | labservices@cmti.res.in,
Electroplating system |  | Na | Fibrototools-Electro Chemical Systems | LF Station | 1234 | MHI | NA |  | Centre for Sensors Vision Technology and Information Technology |  | 9028000 |  |  | Fabrication | labservices@cmti.res.in,
UV Nano Imprint lithography |  | Na | EVG610 | 501HE | 1234 | MHI | NA |  | Centre for Sensors Vision Technology and Information Technology |  | 30000000 |  |  | Fabrication | labservices@cmti.res.in,
Wafer bonder |  | Na | Suss Microtec | SB6GEN2 | 1234 | MHI | NA |  | Centre for Sensors Vision Technology and Information Technology |  | 26900000 |  |  | Fabrication/Packaging | labservices@cmti.res.in,
Wafer Dicer |  | Na | Disco Corporation | DAD3240 | 1234 | MHI | NA |  | Centre for Sensors Vision Technology and Information Technology |  | 13000000 |  |  | Packaging | labservices@cmti.res.in,
Critical point dryer |  | Na | Touismis | 915B-Series C | 1234 | MHI | NA |  | Centre for Sensors Vision Technology and Information Technology |  | 7430000 |  |  | Fabrication | labservices@cmti.res.in,
Plasma Cleaner |  | Na | Plasma Etch | PE50 XL | 1234 | MHI | NA |  | Centre for Sensors Vision Technology and Information Technology |  | 2280000 |  |  | Fabrication | labservices@cmti.res.in,
Probe station |  | Na | Everbeing | EB-6 | 1234 | MHI | NA |  | Centre for Sensors Vision Technology and Information Technology |  | 990000 |  |  | Characterization | labservices@cmti.res.in,
Impedance analyzer |  | Na | Wayne Kerr | 1234 | 1234 | MHI | NA |  | Centre for Sensors Vision Technology and Information Technology |  | 1200000 |  |  | Characterization | labservices@cmti.res.in,
X-ray inspection system |  | Na | GE Xaminer | 1234 | 1234 | MHI | NA |  | Centre for Sensors Vision Technology and Information Technology |  | 11900000 |  |  | Packaging/ Characterization | labservices@cmti.res.in,
Electron beam welding |  | Na | Evobeam | Evobeam Cube 200 | 1234 | MHI | NA |  | Centre for Sensors Vision Technology and Information Technology |  | 37200000 |  |  | Packaging | labservices@cmti.res.in,
Seam sealer |  | Na | Nippon Avionics | NAWD-1150D | 1234 | MHI | NA |  | Centre for Sensors Vision Technology and Information Technology |  | 12200000 |  |  | Packaging | labservices@cmti.res.in,
Helium leak detector |  | Na | Pfeiffer Vacuum | Adixen ASM340 | 1234 | MHI | NA |  | Centre for Sensors Vision Technology and Information Technology |  | 1414000 |  |  | Characterization | labservices@cmti.res.in,
Electron beam evoporation system |  | Na | Kenosistec | KE500EL | 1234 | MHI | NA |  | Centre for Sensors Vision Technology and Information Technology |  | 29600000 |  |  | Fabrication | labservices@cmti.res.in,
Mask writer |  | Na | Microtec | 1234 | 1234 | MHI | NA |  | Centre for Sensors Vision Technology and Information Technology |  | 19500000 |  |  | Fabrication | labservices@cmti.res.in,
Plasma enhanced chemical vapor deposition |  | Na | Electtrorava | 1234 | 1234 | MHI | NA |  | Centre for Sensors Vision Technology and Information Technology |  | 27000000 |  |  | Fabrication/Packaging | labservices@cmti.res.in,
Deep reactive ion etching |  | Na | Samco | RIE-800iPB | 1234 | MHI | NA |  | Centre for Sensors Vision Technology and Information Technology |  | 55900000 |  |  | Fabrication/Packaging | labservices@cmti.res.in,
Thermal cycling chamber |  | Na | XB-0TS-49 | 1234 | 1234 | MHI | NA |  | Centre for Sensors Vision Technology and Information Technology |  | 883000 |  |  | Characterization | labservices@cmti.res.in,
Wet bench for polymer device fabrication |  | Na | Four-C-Tron | 1234 | 1234 | MHI | NA |  | Centre for Sensors Vision Technology and Information Technology |  | 350000 |  |  | Fabrication | labservices@cmti.res.in,
Hot embossing system |  | Na | EVG | 1234 | 1234 | MHI | NA |  | Centre for Sensors Vision Technology and Information Technology |  | 18000000 |  |  | Fabrication | labservices@cmti.res.in,

## Worksheet 1 (hidden)
NEHU Internal Funds
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Internal Resource Generation
SRIC Development Fund
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Vinayaka Missions Research Foundation
NITTTR Bhopal
ICAR-CMFRI
Ministry of Textiles
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
DBT, Govt. of India
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
Minister of Labour and Employment
Central Water Commission CWC
National Mineral Exploration and Development Trust
CSIR, Govt. of India
DST, Govt. of India
ICFRE