## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
High Performance Computing workstation |  |  | Boston | 4U GPU | NA | External Funding | CSIR |  | High Performance Computing Workstation - 4U GPU Super Workstation |  |  | 1288341 |  |  | Data Monitoring |  |  |  |  | n.sathish@ampri.res.in
Thermal Property Analyser |  |  | Netzsch | LFA 467 Hyperflash | NA | External Funding | CSIR |  | Thermal Property Analyser LFA 467 Hyperflash Sample Holder 6.256.4-92.7.00 (PEEK) LFA 46700A90.021.-00 Reference sample Pyroceram 9606, Ø25.4X2.5mm, NIB008774 Reference sample , stainless steel, Ø25.4X2.5mm, 6.256.4-96.1.04 |  |  | 2884229 |  |  | Characterization |  |  |  |  | nikhilgorhe@ampri.res.in
Planetary Ball mill |  |  | Retsch GmbH | PM400MA | 1218200325F | External Funding | DST |  | Planetary Ball Mill Model- “PM 400 MA” Make-Retsch GmbH, Germany |  |  | 2298982.4 |  |  | Fabrication |  |  |  |  | mkgupta@ampri.res.in
Raman Spectrometer |  |  | Airix | STR500 | R02122a | External Funding | CSIR |  | Raman Spectrometer Model STR 500, including Vibration Isolation table and spare OFC |  |  | 8323520 |  |  | Analytical Measurement |  |  |  |  | shafeeq.ptni@ampri.res.in
Weathrometer |  |  | Q LAB | NA | NA | External Funding | CSIR |  | Supply Installation and Commissioning of Xenon Arc Lamp Based weatherometer and UV Fluorescent Lamps Based Weatherometer systems |  |  | 4863826 |  |  | Testing Equipment |  |  |  |  | alkamishra@ampri.res.in
Benchtop SEM with EDS |  |  | JEOL | JCM 6000 plus | NA | External Funding | CSIR |  | Benchtop SEM with EDS facility Model: JCM- 6000 Plus Make: Jeol |  |  | 5381145 |  |  | Characterization |  |  |  |  | gaurav.ampri@csir.res.in
Fourier transform infrared spectrometer |  |  | Thermo Fisher | Nicolet iS50 | AUP1810149 | External Funding | CSIR |  | Fourier Transform Infra-Red Spectrometer , Model: Nicolet iS50 |  |  | 2276004 |  |  | Characterization |  |  |  |  | alkamishra@ampri.res.in
Fully Automated sequential wavelength Dispensive X ray Fluorescence spectrometer |  |  | Bruker | XRF/Bruker ASX, S8 TIGER Series 2, 3kW | 213248 | External Funding | DST |  | Fully Automated Sequential Wavelength Dispersive X-Ray Fluorescence Spectrometer Model :Bruker AXS, S8 TIGER Series 2, 3kW |  |  | 7554874 |  |  | Characterization |  |  |  |  | mkgupta@ampri.res.in
KEM QUICK Thermal Conductivity Meter |  |  | KEM QUICK | QTM710 | 22670026 | External Funding | CSIR |  | KEM Quick Thermal Conductivity Meter, Model QTM-710, Main Unit 01 set, P/N 1206477 PD-11N Box type prob reference plate 1206753 reference plate/Clear Quartz 120675301 reference plate/Silicon Rubber 120675302 reference plate/Polyethylene Foam Thin film measurement in program |  |  | 1318165 |  |  | Characterization |  |  |  |  | mkgupta@ampri.res.in
Field Emission Transmission Electron Microscope |  |  | Jeol | JEM-F200 | EM1730001110111 | External Funding | CSIR |  | Field Emission Transmission Electron Microscope. Make- JEOL, Model: JEM-F200 |  |  | 72860895 |  |  | Characterization |  |  |  |  | ashiq@ampri.res.in
Transmission Electron microscope sample preparation facility |  |  | Gatan | 695.CSSS | 19032501W0695 | External Funding | CSIR |  | Ion Beam Milling Systems PIPS II COOL Auto Terminator Dimple Grinder Disc Punch Hot Plate for Sample Mounting ( FOC Disc Grinder and specimen lapping kit TEM Cross Section Kit Ultrasonic Disc Cutter Specimen Lapping Kit Lapping Disc |  |  | 12389309 |  |  | Characterization |  |  |  |  | surender.ampri@csir.res.in
High speed camera |  |  | Photron | AX200 type 900K | 10442447134 | External Funding | CSIR |  | High Speed Camera Fastcam Mini AX200 540k M-16GB |  |  | 1974488 |  |  | Other |  |  |  |  | gaurav.ampri@csir.res.in
Grinding cum Ball mill |  |  | Retsch GmbH | TCM 300 | 1219110619C | External Funding | DST |  | Drum mill model, “TM 300 XL” make RETSCH GmbH, Germany incl. base frame, collecting unit with set of separating screens for 20 mm balls, 230 V, 50 Hz Drum 21.7 l for grinding balls steel 1.0037 Ball filling, 20 mm Ø for dry grinding steel 1.3505 |  |  | 1377618 |  |  | Lab Equipment |  |  |  |  | mkgupta@ampri.res.in
Electro Chemical Workstation |  |  | CH Instruments | CHI660E | I1408 | External Funding | DST |  | Electrochemical Workstation with Potentiostat / Galvanostat with Windows based acquisition software, power supply etc. Model: CHI660E (as per specification enclosed at annexure A) Computer: Branded HP/Lenovo/ Dell, 7th Gen Intel Core i3-7100/4GB/1TB/Windows 10 Prof., 19.5 inch Monitor UPS: APC UPS, Model: BR1000G-IN 1KVA |  |  | 1254244 |  |  | Characterization |  |  |  |  | surender.ampri@csir.res.in
Tubelar furnace with hydrogen |  |  | Nabortherm GmbH | RHS/120/500/13 | RHS/120/500/13 | External Funding | CSIR |  | Tubular furnace with hydrogen and nitrogen gas purging : NABERTHERM TUBE Furnace Model “ RSH 120 / 500 / 13 ” - 3 Zone Vacuum / Gas Supply System - 2 Vacuum pump, for Vacuum with Vacuum Connection Kit |  |  | 1113778 |  |  | Fabrication |  |  |  |  | tilak@ampri.res.in
Cryomill alongwith spares and accessories |  |  | Retsch GmbH | NA | 122023042I | External Funding | CSIR |  | CryoMill 100–240 V, 50/60 Hz, alongwith spares and accessories |  |  | 1237429 |  |  | Fabrication |  |  |  |  | medha.mili@ampri.res.in
UV Visible spectrophotometer |  |  | Thermo Scientific | Evolution 220 | NA | External Funding | CSIR |  | Evolution 220 Bio UV-Visible Spectrophotometer with accessories , Make Thermo Scientific, Model : Evolution 220 Branded PC, Online UPS, 10mm Quartz Cuvette and 100 Microliter (01 pair each) Rectangular Quartz Cell Lidded 10 mm, 3mm, 100 Microliter quartz Cuvette (Will be supplied Locally ) |  |  | 1448009 |  |  | Characterization |  |  |  |  | chetna.dhand@ampri.res.in
High Resolution Atomic Force Microscopy |  |  | Nanosurf AG | CoreAFM | 7924168, 9723130 | External Funding | CSIR |  | High-Resolution Atomic Force Microscopy. Model: CoreAFM Branded PC with Windows 10 O.S., 1TB HDD, 8GB RAM, i5/i7 Processor, mouse key board, Duel 23 inch Monitor and licensed software |  |  | 4800000 |  |  | Characterization |  |  |  |  | neeraj.dwivedi@ampri.res.in
Electrochemical workstation |  |  | Prio-logic | SP50e | #5162 | External Funding | CSIR |  | Electrochemical Workstation, Make - BIO-LOGIC, Model: SP-50e instruments with soft. EIS-Trop (Part no. 092-050ez-T) Single Channel potentiostate with communication board and cables provided with EC-Lab Software (Win-32/64bits) and a dummy cell DC-3 Branded PC with Windows 10 O.S., 1TB HDD, 8GB RAM, i5/i7 Processor, mouse key board, Duel 23 inch Monitor and licensed software |  |  | 1025432 |  |  | Testing Equipment |  |  |  |  | archanasingh@ampri.res.in
Bench Top XRD |  |  | Rigaku | Mini Flex | BD74000201-01 | External Funding | CSIR |  | Bench Top XRD, Make: Rigaku Model:Mini Flex 600-C |  |  | 5595918 |  |  | Characterization |  |  |  |  | manishmudgal@ampri.res.in
X Ray Diffractometer |  |  | Rigaku | SmartLab SE | BD74000200-01 | External Funding | CSIR |  | Supply, Installation & Commissioning of X-Ray Diffraction System Smart Lab SE With Smart Lab SE Goniometer |  |  | 9342320 |  |  | Characterization |  |  |  |  | nprashant@ampri.res.in
Thermogravimetric Analysis Differential Scanning Colorimetry |  |  | Netzsch | STA 449F5 | STA449F5-0784-M | External Funding | CSIR |  | “Thermogravimetric Analysis –Differential Scanning Calorimetry (TGA-DSC) with Cp (Specific Heat Capacity) sensor”. Make-Netzsch, Model STA 449 F5 Jupiter |  |  | 4726663 |  |  | Testing Equipment |  |  |  |  | tsshabi@ampri.res.in
Double Action Hydraulic press |  |  | NA | NA | NA | External Funding | DST |  | Double Action Hydraulic Press Cap. 50 Ton (30+20 ton) Down strock Digital PLC Controlled with motor , power pack, Oil incl. punch , Die set & accessories and Data acquisition systems |  |  | 1414418 |  |  | Fabrication |  |  |  |  | sanjaypanthi@ampri.res.in
Hot press for spark plasma Sintering facility |  |  | AVAC | NA | NA | External Funding | CSIR |  | Hot Press for Spark Plasma Sintering Facility |  |  | 1648800 |  |  | Other |  |  |  |  | gaurav.ampri@csir.res.in
Wire Drawing machine |  |  | Nagpur Krishna | NA | NA | External Funding | CSIR |  | WET WIRE DRAWING MACHINE COMPLETE DRY WIRE DRAWING MACHINE COMPLETE BULL BLOCK WIRE DRAWING MACHINE 24"DOUBLE DIE FOR CU/AL WITH 30HP AC INDUCTION MOTOR AND 5HP TOURQUE MOTOR FOR TAKE UP UNIT WITH AUTO SATAE OF THE ART CONTROL PANEL POINTING MACHINE TROLLEY TYPE DIE POLISHING MACHINE TC DIES SET 12 DIES MEDIUM WIRE DRAWING MACHINE 13 DIES WITH 20HP AC INDUCTION MOTOR WITH AC VARIABLE DRIVE &5HP MOTOR FOR TAKE UPUNIT WITH AC FVD & STATAE OF ART CONTROL PANEL THREADING MACHINE POINTING MACHINE WITH 1 HP MOTOR PCD DIES SET 13 DIES |  |  | 3228500 |  |  | Fabrication |  |  |  |  | sanjaypanthi@ampri.res.in
Powder roll Compactor |  |  | NA | NA | NA | External Funding | CSIR |  | POWDER ROLL COMPACTER |  |  | 1785000 |  |  | Other |  |  |  |  | gaurav.ampri@csir.res.in
3D Scanner |  |  | 3D Systems | NA | NA | External Funding | CSIR |  | GeoMagic capture scanner with propack DesignX Reverse engineering software |  |  | 3055750 |  |  | Data Monitoring |  |  |  |  | n.sathish@ampri.res.in
Electromagnetic Manufacturing Forming Machine |  |  | NA | NA | NA | External Funding | CSIR |  | Electromagnetic Manufacturing / Forming Machine-40 KJ |  |  | 12996750 |  |  | Fabrication |  |  |  |  | merajahmed@ampri.res.in
Digital Compression Molding Machine |  |  | NA | NA | NA | External Funding | CSIR |  | NA |  |  | 6756450 |  |  | Fabrication |  |  |  |  | edwardpeters@ampri.res.in
LCR Mector Dielectric Constant and Dissipation Factor Mearsurment Setup |  |  | Keysight | E4980A | MY46516341 | External Funding | CSIR |  | Dielectric Constant and Dissipation factor measurement setup - Make: Keysight HSN Code: 90308400 1. E4980A-2MHz Precision LCR Meter 2. R-51B-001-3C- Warranty assurance Plan-Return to Keysight- 3 years 3. E4980A-ABA – U.S. – English localization 4. E4980A-1A7-Calibration+Uncertainities+ Guardbanding(Not Accredited) 5. 16451B – Dielectric material test fixture 6. 16451B-ABA – U.S. English localization 7. 16048D – Test leads (BNC)2m 8. Laptop - Laptop |  |  | 1937737 |  |  | Characterization |  |  |  |  | mkgupta@ampri.res.in
Programmable horizontal three zone tabular furnace |  |  | Bionics Nanotec | Tube furnace BST/TF-1500 | NA | External Funding | CSIR |  | Programmable Horizontal three Zone Tubular Furnace, Model – Tube furnace BST/TF-1500 |  |  | 1052882 |  |  | Lab Equipment |  |  |  |  | tsshabi@ampri.res.in
Multi Channel Electrochemical work Station |  |  | Bio Logic SAS | VSP300 | NA | External Funding | CSIR |  | Multi-channel Electrochemical Work Station Make-Bio Logic SAS-France Model :VSP-300 With accessories i. Platinum Counter Electrode ii. Glassy Carbon Working Electroe iii. Calomel Reference Electrode iv. Ag/AgCl Reference Electrode v. Pouch cell holder vi. Battery holder for cylindrical cell vii. Corrosion cell kit viii. Oxygen free volu. Cell kit Computer |  |  | 2416837 |  |  | Analytical Measurement |  |  |  |  | sriram@ampri.res.in
flurolized bed spray Coating System |  |  | ACG | QUEST-FB | QF23 | External Funding | CSIR |  | Fluidized Bed Spray Coating System Model: QUEST-FB Make : ACG |  |  | 1966567 |  |  | Fabrication |  |  |  |  | tilak@ampri.res.in
Low Tonnage Compression Testing Machine |  |  | Universal Hydraulic | WDW-50 | 21229 | External Funding | CSIR |  | Low Tonnage Compression Testing Machine |  |  | 1665862 |  |  | Fabrication |  |  |  |  | tilak@ampri.res.in
Clossed cell alfoam with system with Automation |  |  | NA | NA | NA | External Funding | CSIR |  | Clossed cell alfoam with system with Automation |  |  | 4410000 |  |  | Lab Equipment |  |  |  |  | venkatanch@ampri.res.in
Split Hopkingson Bar Setup for Tensile Testing |  |  | Artis Tech. | NA | NA | External Funding | CSIR |  | Split Hopkingson Bar Setup for Tensile Testing |  |  | 1932000 |  |  | Characterization |  |  |  |  | gaurav.ampri@csir.res.in
3D Printer with Electrode position Facility |  |  | Mcube | NA | NA | External Funding | DST |  | 3D Printer with Electrode position Facility |  |  | 1165500 |  |  | Fabrication |  |  |  |  | surender.ampri@csir.res.in
Electrochemical workstation |  |  | Metrohm | 204 | AUT52216 | External Funding | DST |  | Electrochemical Workstation AUTOLAB 204 Compact Modular Potentiostat Galvanostat with internal dummy cell |  |  | 1200000 |  |  | Characterization |  |  |  |  | khan.raju@ampri.res.in
Computer Controlled Servo Hydraulic Compression and Flexure Testing Machine |  |  | Controls, Italy | NA | 50-C8422/M | External Funding | DST |  | Computer Controlled Servo Hydraulic Compression and Flexure Testing Machine |  |  | 5670000 |  |  | Testing Equipment |  |  |  |  | manishmudgal@ampri.res.in
Computer Controlled Magnetron Sputter |  |  | APT | APT | NA | External Funding | CSIR |  | Sputtering Chamber: (a) Geometry: spherical chamber with appropriate diameter having good access inside the chamber through door and easy loading of the samples, provision to connect and accessibility with load lock. Sputter up configuration. (b) Material: Electro-polished SS304 grade non-magnetic, non-corrosive stainless steel (c) Base Vacuum rating (Base pressure): The system would be able to achieve a vacuum of better than 1x10-7 torr in a clean and dry atmosphere. Provision will be made to integrate additional TMP in future to reach 1 X 10-8 torr or lower pressure in future (d) Complete sputtering unit would be helium leak tested for leak rate better than 1 X 10-9 torr lit/sec by using Helium, certificated will be provided (e) Flanges/ports: All flanges will be CF and all rotary feedthrough bellow sealed or magnetically coupled. (f) View port: Optical view port for plasma viewing will be provided with shutter to avoid material deposition on the view port. (g) Chamber will accommodate magnetron sources in confocal configuration 2. Load Lock chamber: SS 304 make compact load lock chamber will be provided with magnetic transfer arm for loading and unloading of sample in process chamber without breaking vacuum. Separate rotary pump with integrated gas ballast having 5 m3/hr displacement capacities will be provided for load lock pumping with high vacuum safety valve magnetically coupled. 3. High Vacuum Pumping System: High Vacuum Pump Make : Edwards make turbo molecular pump Model: nEXT 400 Inlet Pumping speed: 400 lit/sec for N2 Backed by Double stage rotary vane pump having displacement capacity 8 m3/hr with integrated gas ballast and high vacuum safety valve Pressure gauge: Type: Penning Cold Cathode gauge: Make: Inficon Ins • Wide measurement range from 1 x 10-9 to 1 x 10-2 mbar (7.5 x 10-10 to 7.5 x 10-3 Torr) • All-metal cold cathode sensor (Penning) with ceramic feedthrough • Innovative electrode geometry provides excellent ignition properties • The anode ring and the titanium cathode can be cleaned |  |  | 4404750 |  |  | Fabrication |  |  |  |  | neeraj.dwivedi@ampri.res.in
Computer Controlled Pie20 based Benchtop Tribometer |  |  | DUCON | NA | NA | External Funding | CSIR |  | Supply Installation and Commissioning of Computer Controlled Piezo-based Benchtop Tribometer , Computer preinstalled copy of the software to run the tribological measurements. Windows 10, i5, HDD 1 Tb,,RAM: 4 GB, Monitor: 19inch, MS office |  |  | 3179999 |  |  | Characterization |  |  |  |  | neeraj.dwivedi@ampri.res.in
Strain Measurement system |  |  | FMTI System | 200U | 1013 | External Funding | DST |  | Supply Installation and Commissioning of “Strain Measurement System” Make: FMTI SYSTEMS Model : 200 U with Laptop (HP/DELL) |  |  | 1984500 |  |  | Testing Equipment |  |  |  |  | sanjaypanthi@ampri.res.in
Plasma based hybrid thin film deposition tool |  |  | Onion | OSEC | NA | External Funding | CSIR |  | Plasma-based hybrid thin film deposition tool (PECVD+ sputtering) |  |  | 2048393 |  |  | Fabrication |  |  |  |  | neeraj.dwivedi@ampri.res.in
High Temperature Vacuum |  |  | Anjali | Anjali | NA | External Funding | CSIR |  | High Temperature Vacuum rated 1400 degree C |  |  | 1945125 |  |  | Lab Equipment |  |  |  |  | tsshabi@ampri.res.in
Hydrualic Press |  |  | Shree Hydraulics | H-Frame | 03/2021/36 | External Funding | CSIR |  | 150 Ton Hydraulic Press |  |  | 2149000 |  |  | Lab Equipment |  |  |  |  | venkatanch@ampri.res.in
Multi Auto Lab Multichannel Potentiostat |  |  | Metrohm | M204 | MAC90679 | External Funding | CSIR |  | Metrohm Multi Autolab Multichannel Potentiostat Galvanostat Model : M204 |  |  | 2194500 |  |  | Characterization |  |  |  |  | chetna.dhand@ampri.res.in
Semi Automatic Screen Printer |  |  | PTM | NA | TLKSC4044 | External Funding | DST |  | . Bed size-22”x30”. 2. Max Frame Size – 28”x40”. 3. E. power load-1.5KW. 4. Power required-415V AC. 5. Print area – 18x24”. 6. Compressor 2Hp or 6bar. 7. Speed (imp)- 800 pcs per hrs. 8. XY registration-±10mm. 9. Job adjustment up to 15mm. 10. Auto cut-off cum vacuum advantage. 11. All body MS pipe 50x50x2mm. 12. All body cover by MS sheet 18gauge with powder coating. |  |  | 1155000 |  |  | Fabrication |  |  |  |  | archanasingh@ampri.res.in
Automated Electrosppinging Machine |  |  | Nanospin | Super ES2 | SE524122421 | External Funding | DST |  | Automated Electrospinning Machine SUPER E-S2 HSNCode-84198110 |  |  | 1070950 |  |  | Fabrication |  |  |  |  | chetna.dhand@ampri.res.in
FTIR Spectrometer with universal quicksnap sampling machine |  |  | Bruker | alpha2 | 13092411 | External Funding | CSIR |  | Automated Electrospinning Machine SUPER E-S2, Spectral range-8000 cm-1 to 350 cm-1,Wave number accuracy-<0.05cm-1 @ 2000cm-1, Resolution-0.75 cm-1,resolution freely adjustable from 0.75 cm-1 to256 cm-1.,Optical components-KBr beam splitter and KBr windows to cover the full MIR range from 8,000 – 350 cm-1 |  |  | 1699992 |  |  | Characterization |  |  |  |  | archanasingh@ampri.res.in
Multichannel electrochemical workstation |  |  | Metrohm | Autolab PGSTAT204 | AUT MAC 204.5 | External Funding | CSIR |  | Multichannel Electrochemical Workstation.• Number of Channels: 1 (Minimum expandability is required up to 10 more channels.) • Compliance voltage: Standard ± 18 V or better at ± 350 mA current Note: Adjustable compliance voltage configurations should be mentioned separately • Maximum Output Current: ± 350 mA or better at ± 18 V. • Current boosting option: Expandable anytime to ±10A measured current or better with Current Booster at unchanging compliance voltage of ± 18 V and 0.0003% measured current resolution • Output Voltage Range: ± 10 V or better Make Metrohm, Model- Autolab PGSTAT204 |  |  | 1799700 |  |  | Characterization |  |  |  |  | sshiv.singh@ampri.res.in
Spectrometer with Gratings and Acessories |  |  | NA | Teledyne (SP2156)/Andor (iVac 316)/Spectroscopy Integrated Optics (0785l-21A) | NA | External Funding | CSIR |  | a. Spectrometer with Gratings and accessorires b. CCD Detector c. 785nm, 100m2 Excitation source for Raman Spectroscopy |  |  | 3029250 |  |  | Characterization |  |  |  |  | n.sathish@ampri.res.in
Source Measurement unit |  |  | Keithley | 2635B | 4570001 | External Funding | DST |  | Keithley make source measurement unit Model: 2635B,Keithley KICKSTARTFL-BASE Software ,Two TRX micro positioner with TRX male connector , |  |  | 1378240 |  |  | Characterization |  |  |  |  | neeraj.dwivedi@ampri.res.in
3D Printer with workstation |  |  | Monotech systems limited | Markforged Mark tWO" Desktop Series" | FPR2027012202007168 | External Funding | DST |  | 3D Printer with workstation |  |  | 2413100 |  |  | Fabrication |  |  |  |  | surender.ampri@csir.res.in
Semi automated Hot Press |  |  | NA | NA | NA | External Funding | CSIR |  | Design, Fabrication, Supply, Installation & Commissioning of Semi-automated Hot Press for Making Joint Free Gamma and Neutron Shielding Blocks ,(190 x 90 x 90mm3), a. Zone1: Brick curing zone, Operating temperature: 1400˚C Furnace Internal Dimension Length: 100 cm Height: 45 cm Width: 45 cm b. Zone 2: Brick pressing zone, Operating temperature: 1350˚C Furnace Internal Dimension Length: 100 cm Height: 45 cm Width: 45 cm ,a. Pressure applicable: 0 – 200 Tone b. Minimum readable pressure: 100 kg c. Cylinder: Dual action d. Pressure to be hold for minimum 30 minutes e. Pressure to be applied at ≈1250˚C |  |  | 7670000 |  |  | Fabrication |  |  |  |  | tsshabi@ampri.res.in
Thermal Conductivity System |  |  | Hot Disk AB | TPS 2200 | 20222200259 | External Funding | DST |  | Supply, Installation & Commissioning of Thermal Conductivity System , Make Hot-Disk AB, Model: TPS 2200, |  |  | 2891000 |  |  | Characterization |  |  |  |  | sarikaverma@ampri.res.in
Fluorescence Spectrometer |  |  | Hitachi | F-4700 | 2356003 | External Funding | CSIR |  | 1) Supply, Installation & Commissioning of Fluorescence Spectrometer Make: Hitachi Japan, Model F-4700 (HSN- 9027 3090) |  |  | 1947000 |  |  | Characterization |  |  |  |  | snmishra07@gmail.com
Atmoshpheric CVD Tubelar Split Furnace with Liquid Precursor assembly |  |  | NorthenTherm | NA | NA | External Funding | CSIR |  | Automated computer-controlled atmospheric chemical vapour deposition tubular split furnace with liquid precursor assembly” including: i. Air conditioner 1.5 ton ii. PC - windows 11(i7), 500 GB SSD, 8 GB RAM, 29-inch TFT/LCD screen |  |  | 1498600 |  |  | Research Infrastructure |  |  |  |  | sshiv.singh@ampri.res.in
Polishing units |  |  | METATECH | Eletropol-TEM | 130324,MTI/484/101 | External Funding | CSIR |  | “Polishing Units”. 1. Twin-jet electropolisher. Model: ELETROPOL-TEM (HSN CODE-84609010) 2. 8” Double disc variable Speed Grinder/polisher individual drive. Model: DC-II (HSN CODE-84609010) 3. Double Disc Automatic Polishing Machine. Model: Autopol II IP (Dual) |  |  | 2478000 |  |  | Testing Equipment |  |  |  |  | ashiq@ampri.res.in
Source Measure Unit |  |  | Keithley | SMU2470 | 4627321 | External Funding | CSIR |  | Keithley Make 1 KV Graphical Source Meter, Model # SMU2470 |  |  | 1398300 |  |  | Characterization |  |  |  |  | neeraj.dwivedi@ampri.res.in
Glove Box |  |  | BioStag (indegeniuos) | BST-1200 | NA | External Funding | CSIR |  | Dimensions Material: Stainless steel 1.4301 (304); Thickness 3 mm; Dimensions: 1200mm x 850mm x 900mm L x W x H, Brushed finish roughness Front window 10 mm Front panel is Sapphire Coated Polycarbonate/acrylic material/toughen glass Glove port Two glove ports of POM Material, Glove port diameter: 220 mm (8"); O-ring seal Gloves Pairs of butyl gloves, Material: Butyl rubber; Thickness: 0.8 mm Filter Outlet and inlet filters, filter rate<0.3μm Illumination LED lighting is located on the top Shelves Three shelves for storage Leak rate leakage rate <0.005 vol % / h Feed Through Multiple feed through with KF connectors Dimensions of anti chamber (mm) Large one: L x D: 500 x 300 mm Mini antechamber: L x D: 200 x 100 mm Material of construction: Stainless steel, Thickness: 3 mm, Door sealing mechanism: Spindle lock/ Gas piston type Vacuum Better than 0.4-0.6 mbar or flow volume 10-15 m3/hr Controlling Automatic controlling for both mini and large antichamber Power back up Suitable branded computer (1 no) , printer with Suitable UPS ( 5 KVA, 60 min back up) to run the system and any other recommended items or support system Measurement range 0 – 500 ppm, Accuracy: ± 2 ⁰C DP Measurement range 0-1000 ppm, with accuracy : +/- 1 ppm, Accuracy: ± 3 ppm in full range, Resolution: ± 0.5 % in full range Warranty A complete set of recommended spares and consumable for one year operation should be offered Purification System Automatic removal of H2O and O2; Two purification column system, automatic regeneration; closed gas circulation line Additional Specification Installation, commissioning and training at site. All expenditures to be borne by the vendor for installation and training at no additional cost. Installation of dehumidifier with split A/C |  |  | 1262600 |  |  | Lab Equipment |  |  |  |  | archanasingh@ampri.res.in
Design for additive manufacturing reverse engineering metrology simulation software suits etc |  |  | DASSAULT SYSTEMS, etc | NA | 90000511371023004JNN7C26 | External Funding | CSIR |  | Scanning technology Blue LED projection/ Laser triangulation/Structured light Point to Point Spacing (mm) In minimum FOV: 0.070, they should also mention the resolution in different FOV Sensors Should have two cameras of 5.0 Megapixel or better resolution Object dimension / field of view Should be 200 mm (L) x 125 mm (W) x 120 mm (H) or higher Scanning Software Should have Calibration Should have Camera Live View Capture in Point Cloud or Mesh Geometry, Select, Fine, or Marker Alignment Smooth / Precise Finalize Should have Mesh Editor with Clean up, Decimation, Smooth, Erosion capability Heavy duty rotating table Compatible with Automatic Rotary Table for 360° 3D scanning Capture color and texture of an object when used with color machine vision cameras Should have 3D Inspection Tools with Deviation Analysis & Measurement Tools capabilities Positioning 3D scan data into the world coordinate system Define a background plane and eliminate it automatically in all subsequent scans, capturing only scans with the target object Ballbar Tuning Geometry Formats PLY, OBJ, STL, ASC, FBX, 3D8 Compatibility with motorized Rotary Table Yes Color option availability Yes Packaging The 3D scanner’s system must be easy to disassemble for storage or traveling to an off-site location. Adjustable to scan objects of different shapes and sizes Life of source: Should have minimum 10,000 hours Warranty 3 Year comprehensive warranty should be included |  |  | 7891840 |  |  | Fabrication |  |  |  |  | abhishekpandey@ampri.res.in
Optical Microscope |  |  | Leica | DM2700M | 548033 | External Funding | CSIR |  | Microscope type and requirement overview Upright light-illuminated optical metallurgical microscope with facility to view the samples using an eyepiece as well as with a camera connected to a computer for live-imaging, image-capture, digital analysis through software, and data storage. Details of each module are given below. The microscope should have following contrast modes: oBright-field mode in reflected and transmitted light oDark-field mode in reflected light oPolarized-light mode in reflected light oPhase contrast in transmitted light oDIC - Differential Interference Contrast in reflected light Microscope Stand and essential features Upright form factor Frame must be built for reflected light microscopy & transmitted light microscopy Manual field stop and aperture stop Facility for filter and polarizer sliders Observation Technique / Contrast mechanism Bright-field contrast in reflected and transmitted light Dark-field contrast in reflected light Capable of easy switchover between Bright field & Dark field observation 180˚ or higher rotatable analyzer assembly in reflected light with polarizer for Polarized light contrast Phase contrast in transmitted light DIC - Differential Interference Contrast in reflected light Facility to easily switch between above-mentioned contrast mechanisms Illumination system Illumination system should use visible light and must be LED based LED source should have a long life with guaranteed lifetime of ≥20,000 hrs. Color temperature of LED illumination source should be at-least 4500 K or more. Power supply unit for LED should be built in Conversion filter with slider, 3 positions for reflected light with shutter function for adapting the LED light to the color impression of halogen light (if required) Objective Nosepiece Rotatable multi-position revolving nosepiece for Bright-field, Dark-field, Polarization, High contrast DIC should be supported Objective lens All objectives should be Plan-Achromatic type objectives suitable for all the above-mentioned microscope techniques (Bright-field, Dark-field, Polarization, and support for DIC) in reflected light observations. The required objectives are as follows: Objective Magnification Numerical Aperture 5x 0.12 or better 10x 0.25 or better 20x 0.40 or better 50x 0.75 or better 100x 0.85 or better 20x phase contrast 0.40 or better for phase contrast Eyepieces A pair of focusable eyepieces of 10x with FOV of 22mm or more with diopter correction for spectacle wearers. One eyepiece should have the reticule/graticule for grain size comparison and measurement as per ASTM standard |  |  | 2714000 |  |  | Characterization |  |  |  |  | nikhilgorhe@ampri.res.in
Plasma Enhanced CVD |  |  | Omicron Scientific | PECVD-0SEC-04-24 | NA | External Funding | DST |  | SS Chamber-12ʺ± 0.5 diameter and 10ʺ± 0.5 height (316 type) ❖ Front door opening for sample loading ❖ Ports for Pumping, view, gauge, Gas inlet ❖ Vacuum Pumping System having o Single Sensor: Measuring range 0.99 x 10-3 mbar to 4 ± 0.2 x 10-3 mbar. o Vacuum Valve-1” Dia Quarter swing valve ( it can rotate by 90 degrees and thus control the pumping speed.) o SS Lines(316 type), SS Bellows(316 type), and vacuum fittings ❖ Substrate Size: 6” Dia (Aluminium bed) ❖ Substrate Heating Temperature: 24℃ to 350℃ ± 5℃ ❖ Mass Flow Controllers: 02 Nos. o Argon: 01 No.; 0 to 100 sccm o Nitrogen: 01 No. ; 0 to 100 sccm Acetylene: 01 No. ; 0 to 100 sccm ❖ Pressure Controller: 01No. (10-1 mbar to 10-3 mbar pressure) ❖ RF Power Supply 300 Watts with auto matching network: 01 No. Water Chiller: Approx. 1kw ❖ Mounting Frame, Ancillary Items etc. |  |  | 1711000 |  |  | Characterization |  |  |  |  | sarikaverma@ampri.res.in
Laser Powder Bed Fusion Processing additive manufacturing machine with electric discharge machine |  |  | DMP | Flex 350 | 5350D27422333 | External Funding | CSIR |  | Technology Laser powder bed fusion as per ISO/ASTM-52900/2015 with open system architecture for materials R&D. The product should also have CE certification to meet high safety, health and environmental protection requirements. Building volume Length- 245-350 mm Width- 245-350 mm Height- 325-400 mm For cylindrical- diameter 245-350 mm Layer thickness Variable 20 μm – 120 μm (or better) User controllable layer thickness for all materials to be standard, there should be no restriction Min wall thickness / scanning line As per ISO 2768-1/DIN or equivalent standard Dimensional accuracy of part As per ISO 2768-1/DIN or equivalent standard Platform heating module Suitable Platform heating module with operating temperature up to 200oC or better Recoating Recoating system with suitable Recoating elements for various materials Re-Coater Suitable re-coater or equivalent for manufacturing of very delicate structures. |  |  | 49987135 |  |  | Fabrication |  |  |  |  | abhishekpandey@ampri.res.in
Electro Mechanical UTM |  |  | Swastik | UTES-60 | 2024/3 | External Funding | CSIR |  | Load cell 1 capacity: 600 KN Maximum daylight span – Approx. 700-800 mm Digital Indication for elongation and Peak Load. Auto stop at break point. Operation for test from Machine with For, Rev and Stop switch on machine and also from PC software. Piston Speed range: Approx. (0-100) mm/min Microprocessor based load indicator: Accuracy of +/- 1% of load indicated Power: 440 V AC, 3 phase Over load excess elongation protection provided Over Voltage protection. Versatile software with Repeat test and comparison of test results, average result display WINDOW based software must be provided to conduct test and keep record of data Software along with key Heavy duty frame structure must be provided Computer System Along with standard accessories Grips for round and flat specimens for tension test, plates for compression test Attachment for 3-Point Flexural Test |  |  | 1091500 |  |  | Characterization |  |  |  |  | sarikaverma@ampri.res.in
E Beam powder bed fusion additive manufacturing facility |  |  | GE, Additive Acram | EBM A2X | 1472 | External Funding | CSIR |  | Build Chamber 1.1 Maximum Build Size (W x D x H) : 200 x 200 x 380 mm or more 1.2 Maximum Beam Power : 3000W or more 1.3 Cathode Type : Tungsten filament or better 1.4 Minimum Beam Diameter: 250μm or lower 1.5 Maximum EB Translation Speed: 8000 m/s or more 1.6 Vacuum Technology: Pumping should be done by rotary pump followed by turbo pump 1.7 Vacuum Pressure: i. Column Pressure: 1x10-7 mbar or better ii. Chamber Pressure: 10-5 mbar or better iii. Build Atmosphere: 5 x 10-3 mbar or better 1.8 He Consumption during Build process: 1 liter/h or less 1.9 He Consumption during Build cool down: 75 liters/build cycle or lower 1.10 Maximum processing temperature: Bed Temperature 1100°C or above 1.11 Open software for process development for new materials is must 1.11 The system should be capable of processing all the standard materials listed. Process parameters, Process data and process theme for these standard materials should be provided Standard Build materials: i. Titanium Ti6Al4V ii. Nickel Alloy 718 1.12 Supplier has to submit reference literatures that assure that machine is suitable and has been used for processing other third party materials below i. TiNi / TiAl ii. Cobalt-Chrome, ASTM F75 iii. Pure Cu iv. Pure W v. Stainless steel vi. Aluminium Alloys 1.13 CSIR-AMPRI is planning to use the EBM system for Graphene reinforced metal/ alloys composites. The EBM system should be able to process non-standard alloy powders without affecting the warranty. Required training to create process data or process theme for all the non-standard alloys should be provided. Any criteria to check suitability of the powder for EBM system should be included in the Bid. Any restriction on types of powder should be described with the bid. 1.14 Build Properties for standard Ti-6Al-4V and IN718 a. Porosity: 0.2% or lower b. Surface Roughness: Sa value 35μm or lower c. Typical Geometrical Accuracy: +/- 0.2mm or better d. Min. Resolution in Hole diameter: min 0.5mm or better e. Min. Resolution in Feature thickness: min 0.3mm or better 1.15 Quality of Build : Quality of the build should be same at entire build area 2.0 Powder Recovery System Suitable Powder recovery systems should be included for standard materials quoted above. Un-melted powder should be removed from the built components by blasting in a closed chamber. Recovered powder should be usable after sieving. The powder recovery system should have all the operational provisions mentioned above for efficient recovery of powders. |  |  | 62562479 |  |  | Fabrication |  |  |  |  | n.sathish@ampri.res.in
RTP CVD Tools |  |  | Venture Scientific | RTP-CVD | NT0040-2425 | External Funding | DST |  | Parameter Properties/Remark Furnace Single zone RTP-CVD furnace Maximum operation temperature) (oC) 1100 oC Working temperature (oC) 1100 oC Heating zone 12-inch length with 140mm constant temperature zone within +/-5ºC uniformity upto 180mm to 200mm. Body Table top tool with suitable metallic frames and wheels for movement Insulation Suitable insulation Heating elements 12 pcs 1.5 kW Halogen light tube, (Dia. =10mm, L=300mm, Heated Length =200mm) Standard working life: 2000 hrs. (depends on heating rate) Heating rate 200-400 oC/min Thermocouple K type or other special grade thermocouple to reach required temperature Temperature controller Proportional–integral–derivative control (PID control) and auto-tune function 8 segments programmed with ramping, cooling and dwelling steps Built-in over-temperature alarm and thermocouple failure alarm +/- 5 ºC temperature control accuracy Default PC communication port Operation Both PC operated as well as manually operated. In case, we want to operate without switching on the computer, the CVD tool should be operated too. Work Tube (Quartz Tube High quality 99.9% fused quartz tube capable of working up to about 1100 oC. OD: 150 mm, ID: 140 mm and Length: 1500 mm. Flanges KF-25 High Vacuum Flange made of stainless steel with double hi-temp. silicone O-rings, needle valves, and a water-cooling jacket. It only requires water cooling in long-running times at temperatures > 600 oC. Circulating water rate: 0.5 m3 /hr. The slide-out flange provides an easier way of loading, unloading the samples and other specific processes needed. Vacuum pump and gauges Rotary pump with capacity 315 Lit/min Pirani gauge to measure pressure. The system should be able to achieve pressure in the range of 10-3 Torr Gas Manifold 4/1 gas manifold Gas piping SS316 piping with necessary valves and other necessary items. Gas detector A hydrogen gas detector Leak detector Fixed Type Hydrogen Gas Detector - With LED Indication MFCs Alborg/Eureka/Alicat make digital mass flow controllers to be provided for following gases 1) Methane 0.5-500 sccm 2) Hydrogen (H2) 0.5-500 sccm 3) Argon 0.5-500 sccm Chiller Suitable chiller Radiation block Radiation Blocks Other items Quartz Rod for Sample loading and Unloading -1 Nos Quartz Boat-30ml- 5Nos High Temp. Gloves: 1 Pair up to 500 Degrees C. 12 pcs 1.5 kW Halogen light tube, (Dia. =10mm, L=300mm, Heated Length =200mm) Stabilizer 10KVA-1No 1 UPS for computer Plumbing, electrical lines All the plumbing lines All the electrical lines with MCBs All the required clamps and flanges Other items, if any missing, required to operate the system 1 PC 1TB hard disk, 8GB RAM, Window 10, i5 processor, 23-inch screen) Software Suitable software for computerized operation Shipping and installation Door shipping and installation of the tool. Demonstration of working of RTP-CVD tool |  |  | 1299999 |  |  | Fabrication |  |  |  |  | neeraj.dwivedi@ampri.res.in
HPLC |  |  | Thermo Fisher | Vanquish core | 8372738 | External Funding | DST |  | Solvent delivery System Pump Quaternary system with 4 solvent options or more Operating pressure 9500 psi or higher Flow Rate The flow rate should cover the range of 0.001 to 10 ml/min or better Flow rate accuracy ± 1% of the set flow rate or better Flow rate precision ± 0.075% RSD or better Solvent Compatibility System should be compatible with reverse phase (e.g. ACN, methanol, etc.) and normal phase solvents (e.g. hexane, ethyl acetate and chloroform.) The system should also be capable of working in pH range from 1-12 or better Degasser 4 Channel degasser or more. It should be compatible with both normal phase and reverse-phase chromatography. Solvent Reservoir Tray To be provided by the vendor System Controller Monitor System should be controlled by Software. Touch Panel is optional. Injector Autosampler with cooler Vials capacity/Sample capacity Sample capacity should be more than 100 sample of 1-2 ml vials. Pressure Range 9500 psi Sample injection range 0.1 to 100 μL or better with necessary accessories Auto sampler carryover/ cross contamination ≤ 0.0025% at higher concentration min 200 PPM Precision/Reproducibility/Repeatability RSD 0.25% at injection volume 5 µL or better Injection Volume Accuracy ± 1% or better Linearity ≥ 0.999 Sample cooler temperature 4 °C to 40 °C or better Column oven Temperature setting range Should cover 4 °C to 85°C temperature range or better with Peltier technology/Air circulation Temperature control precision ± 0.5 °C or better Column Capacity It should be able to hold up 2 or more column of 10/25/30 cm or better with suitable guard column. Detectors Photodiode array detector/PDA Wavelength Range 190-800 nm or better No. of Diode array element 1024 Light Source Deuterium (D2) lamp Optical/spectral Resolution 1.4 nm or better Wavelength accuracy ± 1 nm or better Noise level ≤ 0.7 X10-5 AU Drift ≤ 0.6 X 10-3 AU/hr Flow cell volume Capacity 13 microliter or lower, optical path length 10 mm Flow cell pressure compatibility Flow cell pressure should be up to 12Mpa or better Detector linearity 2 AU / 0.999 or better Differential refractive index detector Refractive Index Range 1 -1.75 RIU Range A mode: 0.01 to 500 μRIU , P and L modes: 1 to 5000 μRIU Noise Level < 2.5x10-9 RIU Drift <2x10-7 RIU/hr Temperature control of cell unit 30 to 55C Operating flow rate 0.1 to 10.0 mL/min or better Cell capacity 10 μL or less Stabilization Time and Baseline Stability: 30-60 min. after power on. Operating Software Software Single software quoted should be able to control, acquire and process the machine and its data. Software quoted should be original and licensed version, license key to be provided. As and when any upgraded version available, it is to be provided to us free of cost. Software and data processing Software capable of drawing calibration curve with internal and external standard. Software should be capable of system suitability parameter estimation, accuracy and precision estimation. Software should comply with regulatory conformity with 21 CFR part 11 compliance. Full-frame high-resolution image processing unit with AF-S lenses 70-200 mm and 24-70 mm with F/2.8E ED 1 unit for recording interfacial electrochemical reactions |  |  | 5450000 |  |  | Characterization |  |  |  |  | sshiv.singh@ampri.res.in
Advanced UV Vis Spectrophotometer ND ONEC W |  |  | Thermo Fisher | Nanodrop OneC | AZY2437016 | External Funding | DST |  | 1.Instrument Name: NanoDrop™ OneC Microvolume UV-Vis Spectrophotometer 2.Model: Nanodrop ND-ONEC-W, Make: Thermo Fisher Scientific 3.Stand-alone instrument with local control and Built-in touch screen 4.Auto-blank and auto-measure option, Lower limit of Detection dsDNA 5.Pedestal: 2 ng/μL, Maximum Concentration dsDNA: 27,500 ng/μL 6.Measurement and Data Processing Time: 8 seconds 7.Measurement Repeatability 0.002 A/cm or 1% CV, whichever is greater 8.Wavelength Range 190–850 nm, Wavelength Accuracy ±1 nm 9.Photometric Range (10 mm equivalent) 10.Pedestal: 0–550 A, Cuvette: 0–1.5 A |  |  | 1200000 |  |  | Characterization |  |  |  |  | khan.raju@ampri.res.in
High Velocity Oxygen fuel Spray coating unit |  |  | Parat | PT HV2700 | PT/16238 | External Funding | CSIR |  | Air cooled HVOF gun operated with LPG gas or kerosene Control panel Powder feeder along with trolly; Canister Capacity: 3300 CC or higher Oxygen, Nitrogen and LPG gas regulators Oxygen and nitrogen gas cylinders with filled gases (each 47-liter cylinder) 4N purity. Screw type compressor with maximum working pressure of 10 Kg/ C㎡ or above, free air delivery of 130 cfm or above, tank capacity of 500 liter or above, and motor power of 20 kW or above Safety items: Ear muff, industrial goggles, mask, helmet Tool kit Other accessories items such as piping, pluming, connectors, etc., required to operate the system Warranty: 2 years |  |  | 1560933 |  |  | Fabrication |  |  |  |  | neeraj.dwivedi@ampri.res.in
Multijet and Thermal Jet Extrusion based 3D Printer |  |  | Cell Link | Bio X6 | X-6-21-1040 | External Funding | CSIR |  | 1.The 3D bioprinter shall consist of a minimum three printheads. 2.UV curing capability between the range of 365 nm to 405 nm or higher 3.Enclosed in a Class-II, Type-A Biosafety Cabinet with laminar flow. Workstation access from the front of BSC with enclosure safeties 4.Pneumatic Control Printhead with size 3/5/10 mL or larger 5.Pneumatic Control Printhead with temperature range 30 0C - 60 0C or higher 6.Temperature Control Printhead with Temperature Range 4 0C to 60 0C at least 7.High Temperature Printhead for Thermoplastics with Room Temperature to 250 0C or higher 8.Syringe pump printhead with temperature up to 600C or higher 9.Piston Pressure Driven Extrusion Printhead with heating capacity Up to 65 0C or better 10.System should have an inbuilt compressor to provide a pressure range up to 200 KPa and system can withstand a pressure range between 5 to 700 KPa 11.Build volume minimum of 12.5 cm (length) x 9 cm (width) x 9 cm (height) or higher 12.Minimum of 5 Tool storage bays 13.The bioprinter should have an XYZ accuracy of 20 microns or better. 14.The bioprinter should be compatible with varying nozzle sizes ranging from 0.2mm to 0.8mm 15.The bioprinter should allow printing of complex structures and microfluidic channels to allow printing with or without cells. 16.Tip detection sensor for accurate location of the tip of the needle of the dispenser 17.Distance sensing and calibration system 18.Calibration options should be manual and automatic 19.The bioprinter should be compatible with standard 3D model formats 20.Pneumatic Tool with large volume vertical dispenses; 10 mL barrel – (10 Numbers). 21.Pick & Place Tool for well plates 22.The printer should be compatible to in-house prepared bioinks/materials as well as commercial bioinks/ materials, including bone matrix, hyaluronan, silicone, chitosan, alginate, collagen, PCL, Decellularized ECM, PEG/PEGDA, Gelatin, Pluronic and, nanocellulose. 23.The bioprinter must allow automation such as moving multi-well plates to and from the printing platform, ideally with an interchangeable attachment for liquid aspiration and dispense. 24.List of tools/ dispensers compatible with the equipment Syringe - Hot, Heat upto 150 deg C, Syringe and Dual Syringe Mix – Coaxial 25.3D Pipette compatible with standard pipette tips including clear with different volume capacities (1000 tips set) 26.Laser Scanning device to seamlessly scan any 3D object to design 3D model files 27.Pick & Place: To pick and place standard well plates, Petri dishes and test tubes 28.Consumable items should be supplied as Silk fibroin, collagen solution, Gelatin methacrylate, Sodium alginate, Hyaluronic Acid, Polycaprolactone, Coll 1 Lyophilizate Kit, HAMA Lyophilizate Kit, GelMA Lyophilizate Kit. 29.3D Bioprinter compatible data acquisition, data visualization and, data storage system should be provided. The system should have Windows 10/11, Intel (R) Core™ i5/i7 processor, ≥1TB, HDD, ≥16GB RAM, ≥26” LCD monitor or more, and other necessary features to ensure smooth operation of the system. 30.A Stabilizer/ UPS suitable to protect the instrument from power fluctuations 31.One standard anti vibration table with electric sockets and drawers and one executive chair should be supplied for the equipment. 32.Warranty for 2 years from the date of installation is recommended. 33.AMC for 3 years, AMC terms & conditions after the expiry of warranty period to be indicated. 34.Licensed perpetual software with multi-user capabilities should be provided. 35.Conduct of periodic training programs for the staff/users. 36.The manufacturer of the quoted equipment should be in existence for a period of minimum of 3 years and should have supplied same/similar machine in India/globally documentary proof to be attached. |  |  | 10375000 |  |  | Fabrication |  |  |  |  | khan.raju@ampri.res.in
microwave chemical vapour deposition system |  |  | OSEC | OSEC-02-2025 | NA | External Funding | CSIR |  | Vacuum System and Microwave Reactor Cavity Operating pressure range 20 -140 Torr. Vacuum pump: Rotary pump: 220 lit/min or above (make: Edwards / Pfeiffer / Leybold) Turbo pump: (make: Edwards / Pfeiffer / Leybold) Maximum gas load: 1100 SCCM or above Vacuum leak integrality better than 1x10-6 Torr Lit./sec Pressure Control: throttle valve and other methods Water cooled microwave reactor cavity matching with TM01/TM02 mode (dominant) for 2.45 GHz frequency. Single block cylindrical cavity made of Aluminum (Neck cylinder (~ 120 mm inner diameter, ~ 165 mm outer diameter, ~ 45 mm inner height) and body cylinder (~380 mm inner diameter, ~ 425 mm outer diameter, ~ 70 mm inner height). Finish of the inner surface (diamond polish) and outer surface powder coated. Vacuum seal: Elastomeric O ring Diagnostic Ports: Ten ports of approximately 0.5-inch diameter Substrate stage and holder Substrate Stage: Water-cooled Copper-based substrate holder stage of 215 mm diameter or above: Substrate holder stage must have water in and out through tube facility as well as thermocouple connection in the bottom of the stage. Substrate holder: Molybdenum; diameter 45 mm or above with provision for variation and control of substrate temperature, using gas flow / pressure Access to substrate stage Via opening of chamber lid Microwave power supply Frequency: 2.45GHz Microwave power: 3.0 kW or higher Magnetron Isolator (3.0 kW or higher and 2.45 MHz), Microwave detector, wave guide Manual stub-tuners Microwave Leak Tester: Frequency response 2.45 GHz Range-2, 0-10, 1-100 mW/cm2 and accuracy ± 1.0 dB (0-2, 0-10 range) Chiller 3 Ton with 200-liter tank |  |  | 5310000 |  |  | Fabrication |  |  |  |  | neeraj.dwivedi@ampri.res.in
Procurement of Thermogravimetric analysis TGA DTA system |  |  | Hitachi | NEXTA STA 200 | 25112058D1-01 | External Funding | CSIR |  | TGA (Thermogravimetric Analysis)/DTA (Differential Thermal Analysis) Equipment to measure the thermal property of the polymer composites samples and inorganic waste S. No. Parameters Value 1. Temperature Range Ambient to 1000 oC or better 2. Scanning/Heating Rates Minimum of 0.1 oC/min 3. The Cooling time/rate The Cooling time of the system from 1000 oC to 50 oC within 20 minutes or better 4. Gas flow controls Built in mass flow controller to control through software for gas flow setting. 5. Sample Weighing range/ TG analytical dynamic range ± 400 mg or better 6. Balance/TG Resolution 0.2 µg or better 7. Balance/TG Precision ≤ ± 0.05 % 8. DSC Calorimetric Precision/ Calorimetric Accuracy Enthalpy Accuracy ≤ ( ± 3% or 2.5 µW or better) 9. Temp accuracy ± 0.5 ˚C or better 10. Gas Purging The system should have the facility to purge inert gases or active gases with automatic gas purging 11. Number of Samples position Minimum 5 numbers each Ceramic Pans and Platinum Pans 12. Software Software: User friendly analysis software for different application purposes., Licenced version Windows 10-based or later model Thermal Analysis software for data collection and further analysis in Thermal Analysis. Multitasking and multi-module software with licensed version and working under Windows O/S for data acquisition and storage should be supplied. All possible parameters like DTA, TGA/DSC, are measured and displayed on the screen for calculations. The software should be flexibility to measure data with respect to temp and/ or time. The software should have the capability to export data in excel or other suitable format. It should be supplied with calibration routines for temperature, enthalpy, mass calibration for regular calibration purpose. 13. Operating Manual Two sets of operating manual for the equipment and control system should be provided in hard copies A soft copy of the above manuals should also be provided in a CD/DVD 14. Warranty Must have warranty for at least ONE years 15. After-sales Service The supplier should provide a prompt after-sales service such as regular instrument maintenance, troubleshooting and fixing. The list of service centres in India should be included. All the requisite accessories should be quoted with their applications 16. PC/Computer Branded and latest configuration high end PC (Intel Core 4th generation i7- Processor, 3.6 GHZ, 8MBCache, 16 GB DDR3 RAM, 1 TB Hard disk and DVD RW drives) with latest licensed windows operating system (10 system or later) and high-end version of the licensed latest anti-virus software with one minimum 21” LED Monitor or better. 17. Installations, Commissioning and Training The delivery of the system would be considered complete only after successful commissioning of the instrument. The pre-installation requirements should be communicated to CSIR-AMPRI well in advance of the installation and training should be provided. |  |  | 2883265 |  |  | Characterization |  |  |  |  | mkgupta@ampri.res.in
Fume Hood Setups for the Graphene Centre |  |  | BVSE | BVSE/FH-05 | NA | External Funding | CSIR |  | Technical Specifications for the Fume hood specialized tailored Set-ups with following Scientific and Technical components: (Drawing and Design enclosed) 1. Number of Components requirements with following specifications: 06 Nos. I) Fume Hood with Size- Inner Dimensions with base cabinet should be in the range: 1800±300 mm W X 900±300 mm D X 2400± 300 mm H. II) Base Cabinet dimensions should be in the range: 860±300 mm W X 600±300 mm D X 655±300 mm H with Castors. III) Products Compliance Quality standard, Compliance certificate of (electronic/light part), CE with four-digit code (for electrical and electronic). IV) Airflow type in side fume hood-Low Constant Volume. V) Powder coating Complete metallic parts are processed with multi tank pre- treatment and finished with highly corrosion resistant paint, with epoxy powder coating. VI) MOC-Galvanized Iron, 1.0-1.25 mm thickness for all sheet metal, 1.2-1.5 mm for back pillars, 1.2-1.5 mm for front corner post. VII) Front top panel Easily openable hinged Top Panel. VIII) Inside liner-Chemical & heat resistant, fire retardant, smooth finish, easily cleanable panels made out of durable thickness. IX) Active kinetics exhaust system (5-7) with mild to rapid exhaust of fumes. X) Exhaust motor – 3 phase Direct current type auto electricity load adjustment facility which is interlink with sash opening. XI) Fume hood must be support in AC room without any extra/unnecessary power load. XII) Worktop- ‘Jet Black Granite’ worktop with 18 ±5 mm thickness. XIII) Sink with Water tap and drain arrangement. XIV) Glass sash (minimum 5 mm thickness, Toughened) with Vertical rising sash counter with a Clear openable height of minimum 750 mm. XV) Wet and dry service valves total 6 nos. Colour coded Brass Needle valves with PU plumbing with 6 mm internal diameter (2 for Raw water (PU), 2 for Nitrogen (PU), 2 for Vacuum (Teflon)). XVI) Maintenance ports with openable top panel and Rectangular Service panel. XVII) Internal Nozels with Brass powder coated fittings. XVIII) Lighting LED light with vapour-proof fitting. XIX) Electrical utilities with MCB -Anchor/reputed brand- 6 nos. electrical sockets (230 V, 6/16 A, 50 Hz). XX) Built-in Starter: The electrical wiring will have built-in starter suitable to blower motor capacity. XXI) Cable entering port both side of fume hood to electrical sockets. XXII) Chemical storage base cabinets with Highly corrosion resistant epoxy powder coating,60-80 microns thickness with Special chemical & heat resistant, smooth finish, easily cleanable panels made from durable PRL sheets. At least one exhaust ports connected to the fume hood exhaust system internally. XXIII) Apparatus holding grid made up of Duralumin Powder coated rod to hold the apparatus in the entire length of the fume hood in fume hood backside. XXIV) Air Flow monito Digital - This device is an accessory for Fume hood to indicate the approximate face velocity of airflow. XXV) Ducting: Chemical resistant PP + FRP (3mm) rigid ductwork from Fume hood to exhaust stack point with weatherproof canopy. 2 Number of Components requirements with following specifications 01 No. Acid storage hood cabinet (size in the range: 6±2 x 4 ±2 x 1.5±2 ft) with duct, it must have acid proof, coated fume arrester controlled by door opening activity, If door open exhaust system starts automatically. 3. Number of Components requirements with following specifications 01 No. Solvent storage hood cabinet-(Size in the range: 5±2 x 4 ±2 x 1.5±2 ft) with duct, hood cabinet must have acid proof, coated fume arrester controlled by door opening activity, If door open exhaust system starts automatically. 4. Number of Components requirements with following specifications 02 Nos. Powder storage cabinet-( size in the range: 6±2 x 4 ±2 x 1.5±2 ft) with duct, hood cabinet must have acid proof coated fume arrester controlled by door opening activity. If door open exhaust system starts automatically. 5. Number of Components requirements with following specifications 04 Nos. Full body shower – powder coated with safety indicator/sign +Eye washer with particle filter. 6. Number of Components requirements with following specifications 12 Nos. Spot extractor with suction duct: Joint: high grade PP, to be 360° swiveled, dismantled & assembled easily for cleaning Joint seal ring: High-density anti-aging rubber, Support spring/center bolt: stainless steel, Adjustable joint knob: high grade PP with a molded in brass nut locking with center bolt, Air flow control valve: adjust the external valve knob manually to control the entering of the gas flow. Dome/cup hood: D375mm/200mm, high grade PP red, grey & transparent available Rigid Flexible Duct: D75mm PVC/PP., Bracket: high grade PP (ceiling/wall mounted) Acid proof coated Suction duct near platform for corrosive gas, with controlled suction system 7. Number of Components requirements with following specifications 09 Nos. Analytical and wet analysis work top open chamber with attached suction duct hood with Working area size-(DxHxL) 3±0.5 ft.x3.5±0.5 ft.x10±0.5 ft (approx.) capable of keeping analytical accessories cabinets (6 drawers on both sides, must be with SS-304, 1.2mm thickness (for compatible for heavy equipment) and finished with highly corrosion resistant antibacterial coating paint, epoxy powder coating). Worktop- ‘Jet Black Granite’ worktop with 18 ±1 mm thickness. Warranty for 5 years On-site Free Installation and demonstration Response time for any breakdown must be within 24 hrs. via email or messaging, attend it within 2 days and repair within 5 days. Option of manufacturing facility visit if required Minor modifications can be done in the specification up to pre-bid stage. |  |  | 4248000 |  |  | Fabrication |  |  |  |  | ram.kumar@ampri.res.in
3D Printer |  |  | Ultimaker | S-5 | 058864-205251 | External Funding | CSIR |  | Specifications 1 Fabrication Technology Fused Filament fabrication (FFF) 2 Build Volume XYZ:200 x 200 x 200 mm to 450 x 450 x 450 mm 3 Filament Diameter 2.85 mm ± 0.5mm 4 Layer resolution/height 50 microns or better 5 XYZ resolution XYZ: 10,10,5 microns or better 6 Build Platform temperature 120 oC or higher 7 Nozzle/Extruder temperature 270 oC or higher 8 Build Platform levelling Automatic and active bed levelling 9 Compatible materials PLA, ABS, Nylon, CPE, CPE+, PP, TPU, Tough PLA, PVA, Carbon fiber polymer etc. 10 Third-party filaments Support 11 Reinforced carbon fiber polymer printing capabilities Support 12 1-year warranty |  |  | 1285846 |  |  | Fabrication |  |  |  |  | h.sharma@ampri.res.in
Extruder for making granules of Paddy straw and PLA Polymer |  |  | Parin | PE-30/30 | PELV-08224-25 | External Funding | CSIR |  | Extruder for making granules of paddy straw and PLA polymer Sl. No. Specification Range / Value 1 SINGLE SCREW EXTRUDER Construction Must have robust Construction and fabricated from Heavy Ms Box Pipe Prime and Painting to Provide Hardwearing Oil and Heatc Resistance Finish or better configurations Capacity 6 Kg/hr or better Barrel Material Gas En-41 B, toughened (35 to 37HRC), Stress Relieved and Nitride Hardened Screw Material EN-41 B Polished or better Screw Dia 30 mm Screw Design Single Screw Design to Process Virgin Material with paddy straw and other agro-residue. Screw of Design should be Barrier type with Special Mixing Zone for Homologised Melt Barrel Cooling System Jacked Water-Cooling System on feed Zone Barrel Zones Cooling by 90W Blower on 2 Zone Heater Ceramic band Heater (RT-400 0C) or better Hopper Fab Fabricated Hopper with Screw Feeder Barrel Heating Zone 03 Nos Main Drive DTC 3.7 Kw Ac Heavy Duty Motor with A.C Drive with inbuilt Controller Reduction Gearbox Helical Type Heavy- Duty with Thrust bearing Gearbox 2 Cord Die 01 No Material En-8 or En-9 Flow path Surface Hard chrome Plated with 45 HRC Dori Hole Size 05mm Dori Nos 05 Nos 3 Air Cooled Conveyor System 01 No Conveyor Width 250 mm or better Conveyor Material S. S Wire Mesh Powder Coated Bott Conveyor Length 3 meter or better Air Cooled Fan 4 No. Fan or better 4 Rotary Cutter 01No 5 Unit Structure Heavy Ms Fabricated structure Motor 2 Hp Motor Control VFD Control Drive 6 1. ELECTRICAL PANEL Integral Control cabinet mounted on floor it must includes 1.Power on Indicator 2. 7” HMI Display or better for controlling various parameters including Heating Control (Barrel Heating - 03,Spare-1), Drive Control Main Extruder, Conveyor & Cutter c. Master Speed Control, Motor current (Ampere), Motor Rpm , All Heating Zone Temperature & Ampere and Pressure Transducer Display Meter 3. Remote Control: a. ON/OFF Switch b. One Emergency Stop Button for All Drives c. Temperature Controller 4..Drive Control: Drive should be fitted inside the panel cabinet and drive keypad should be provided on panel Remote, Which Shows motor current (Ampere), frequency, Motor Rpm 5 .Emergency Stop Butter for Main motor, Dana Cutter 6.Electrical Accessories 7 2.W Warrantee: 2 Year |  |  | 1403008 |  |  | Fabrication |  |  |  |  | mkgupta@ampri.res.in
FDM High Temp Filament extruder |  |  | 3Devo | Composer 450 | FMV1C166547 | External Funding | CSIR |  | Temperature range: up to 4000C or higher. (2) Number of heating zone at least 4. (3) Screw type: Single screw extruder for making composites, Mixing zone within screw mandatory. (4) Screw Length: At least 280 mm or better. (5) Output Per Hour: At least 400g. (6) Screw Speed: 2-15 RPM or better. (7) Filament Diameter Range: Any diameter between 1 to 3mm, user definable. (8) Speed Tuning of puller and spooler: Automatic/Manual Over ride option available. (9) Filament Diameter Sensing: Optical or Mechanical. (10) Data Logging: Data Logging such as diameter, tensioner speed, temperature over time must be available using appropriate software. (11) Screw/Barrel Material: Appropriate High Strength Steel. (12) Filament Cooling: Air Cooled. (13) Filament Extrusion Direction: Vertical/horizontal. (14) Compatible Materials: PLA, ABS, PC, PETG, Any type PE, PEEK, PC, PS, etc. (15) Hopper Capacity: 1 Litres or higher. (16) Spool size and Type: at least one spool holder and should accommodate spool having diameter in the range of 200-250 mm. (17) Power Requirement: Single Phase, 220/230/240V and 50 to 60Hz AC. (18) Dimensions: Extruder Machine should be table top, compact, within 120cmx120cmx120cm footprint (19) Spool Holder: Screw Type Spool Holder with Wing Nut. (20) Spare Consumables: Worth consumables like nozzles, pullers must be provided. (21) Materials: Kit with specifications for purging and trials must be provided. (22) Minimum 3 years warranty. (23) on site free installation and demonstration. |  |  | 1486800 |  |  | Characterization |  |  |  |  | tchatterjee@ampri.res.in
CHEMICAL Vapor Deposition system |  |  | Custom | E99144 | CN-0X074K | External Funding | CSIR |  | a)Maximum working temperature 1100 oC with ± 1 Deg C b)Length of the uniform temperature region should be minimum 100 mm : Quartz tube of size of 500 mm length x 150 mm dai should be provided for the purpose c)The temperature variations in the uniform region should be less than ± 1 Deg C supported by temperature curve as function of length for three temperatures (500, 800, 1100 oC) in steps of < 1 cm d)Furnace able to mount samples of min 4 inch diameter. Quartz substrate holder with sliding mechanism should be provided. e)Rotary pump for achieving 10-3 Torr vacuum or below should be provided f)Bronkorst/MKS Ins. make imported three digital Mass Flow Controllers (MFCs) calibrated for CH4,Ar and H2 with range : 0-200 , ± 1% sccm for CH4 , 0-200 ± 1%sccm for H2 and 50-1000 ± 1% sccm for Ar respectively should be provided g)Readout and programmable digital controller should also be supplied with MFCs h)Pressure controller : Closed-Loop Electronic Pressure Controllers and throttle valves for range of 10 mTorr - 100 Torr with accuracy ± 0.5 % should be provided i)SS Gas lines and Gas mixing chambers should be provided j)The whole system should be compact with easy access to load samples (sliding bars) k)Including 3 year comprehensive warranty and additional spares for one year, including installation of the system, operational training at AMPRI, Bhopal |  |  | 1299375 |  |  | Fabrication |  |  |  |  | n.sathish@ampri.res.in

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE
Ministry of Textiles
SRIC Development Fund