## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Non Refrigerated Centrifuge |  |  | Eppendorf | 5702 | 5702NL062388 | External Funding | CSIR |  |  |  |  | 349999 | [7 empty] | bdg@ccmb.res.in
Electroporator |  |  | Bio-Rad | Gene Pulser Xcell, PC Module, CE Module | 617BR16267, 619BR114250, 618BR012340 | External Funding | CSIR |  |  |  |  | 1108680.79 | [7 empty] | bdg@ccmb.res.in
Real Time PCR Machine |  |  | Thermo Scientific | QuantStudio5, 1008a(Laser Printer) | 272534194, CNC1SDQ1M7 | External Funding | CSIR |  |  |  |  | 1894490 | [7 empty] | bdg@ccmb.res.in
Olympus Mild Steel Optical Inverted Research Microscopes |  |  | Olympus | CKX53SF | 1)4D42613 2)4D42616 | External Funding | CSIR |  |  |  |  | 792000 | [7 empty] | bdg@ccmb.res.in
Orbital Shaker Incubator |  |  | Diligent Trading | ORBITEK LE-D | ..202412001046 | External Funding | CSIR |  |  |  |  | 480997.98 | [7 empty] | bdg@ccmb.res.in
Refrigerated Centrifuge |  |  | Eppendorf | 5425R | 5406NK626369 | External Funding | CSIR |  |  |  |  | 459999.99 | [7 empty] | bdg@ccmb.res.in
High End Operating Microscope |  |  | Carl Zeiss | Axio Zoom V16 | 3957003550 | External Funding | CSIR |  |  |  |  | 3970700 | [7 empty] | bdg@ccmb.res.in
Portable Fluorescence Microscope |  |  | Thermo Scientific. | EVOS M5000 | E0924-225F-0291 | External Funding | CSIR |  |  |  |  | 2140155 | [7 empty] | bdg@ccmb.res.in
Horizontal Rectangular High Pressure Steam Sterilizer |  |  | Reliance Instruments | HR223 | RIC/41/24-25 | External Funding | CSIR |  |  |  |  | 1044300 | [7 empty] | bdg@ccmb.res.in
Biomeriuex Immuno Assay Analyzer |  |  | Healthcare | VIDAS KUBE | VK003646 | External Funding | CSIR |  |  |  |  | 1203600 | [7 empty] | bdg@ccmb.res.in
QuantStudio 5 Real Time PCR System |  |  | Labosys Instruments | QuantStudio5 (RT-PCR) | 272534144 (RT-PCR)HQ089S3 (Laptop) | External Funding | CSIR |  |  |  |  | 1674199.94 | [7 empty] | bdg@ccmb.res.in
Multimode Microplate Reader |  |  | NA | NA | NA | External Funding | CSIR |  |  |  |  | 1705100 | [7 empty] | bdg@ccmb.res.in
120 KVA UPS System |  |  | Agilent Technologies | SH1M(Multimode Mircoplate Reader), HP Pro Twr 280 G9 PCI i512500(CPU), HP P24v G5 FHD(Monitor) | 2403140, 1N14050HN0, CNC4042F33 | External Funding | CSIR |  |  |  |  | 1091500 | [7 empty] | bdg@ccmb.res.in
Small Animal Behavioral Monitoring tracking and analysis System |  |  | Riello Power | MHT120 | 2403PMHT0003170 | External Funding | CSIR |  |  |  |  | 1854082 | [7 empty] | bdg@ccmb.res.in
DBS Dry Blood Spot Puncher |  |  | Noldus information | Dell Workstation CPU: Dell precision 3660, Dell Monitor: 7ZR6HZ3, Basler Camera Monochrome+IR: 106588, Basler Camera Colour: 106201, Raytec IR Source: Vario | Dell Workstation CPU Service Tag: FRGJS04, Dell Monitor: CN-013V6P-FCC00-3B1-C1HX, Basler Camera Monochrome+IR: 24374101, Basler Camera Colour: 24337780, Raytec IR Source: VI23441336098 | External Funding | CSIR |  |  |  |  | 1214004 | [7 empty] | bdg@ccmb.res.in
Automated Electrophoresis System |  |  | AIMS, | DBS Puncher 1296-071 | 2965623 | External Funding | CSIR |  |  |  |  | 1989480 | [7 empty] | bdg@ccmb.res.in
Forced Oscillation Technique based portable Oscillometry Device |  |  | Clone Biotech | QIAxcel Connect (Electrophoresis) | 50248 (Electrophoresis) | External Funding | CSIR |  |  |  |  | 1118880 | [7 empty] | bdg@ccmb.res.in
Triple Quadrupole Mass Spectrometer |  |  | RESTECH | RESMON PRO FULL(Main Unit), HP smart Tank 585(printer), Vostro 3420(laptop) | 23000099, TH3C92T0C2, 2Q8SN04 | External Funding | CSIR |  |  |  |  | 29101921 | [7 empty] | bdg@ccmb.res.in
Individually Ventilated Animal Caging Systems |  |  | SCIEX | QTRAP 6500+ | DY265272401 | External Funding | CSIR |  |  |  |  | 5531977.94 | [7 empty] | bdg@ccmb.res.in
Automated Capillary DNA Sequencer 96 Capillary with Lasers |  |  | Orchid Scientific | 1) AHUs: US-Y 2) RACKs: R-US5-D-96 | 1) AHUs: IVC/AHU/2023-2024/46, 47, 48 & 49 2) RACKs: R-US5-D-96/18, 19, 20, 21, 22, & 23. | External Funding | CSIR |  |  |  |  | 29500000 | [7 empty] | bdg@ccmb.res.in
Real Time PCR Machine |  |  | Praxa Bio Solutions | 3730XL (DNA Analyser)Optiplex XE3 (CPU)P2319H (Monitor) | 35229-002 (DNA Analyser)B5V86S3 (CPU)CN-OMJX6J-TV200-234-5GRB-A15 (Monitor) | External Funding | CSIR |  |  |  |  | 1357000 | [7 empty] | bdg@ccmb.res.in
Cell Counter with Bright field and fluorescence |  |  | Applied Biosystems | QuantStudio 3 (RT PCR),Pricision 3551 (Laptop) | 272327471 (RT PCR)9MTL4D3 (Laptop) | External Funding | CSIR |  |  |  |  | 1475000 | [7 empty] | bdg@ccmb.res.in
CO2 Incubator shaker |  |  | DENOVIX | Cell Drop FL | S-10432 | External Funding | CSIR |  |  |  |  | 2548800 | [7 empty] | bdg@ccmb.res.in
Portable Fluorescence Microscope |  |  | Eppendorf | S41i | S41IMG802436 | External Funding | CSIR |  |  |  |  | 2709008.59 | [7 empty] | bdg@ccmb.res.in
Portable Fluorescence Microscope |  |  | Evident Scientific | Microscope: SZX 16 (SZX2-ILLTQ) Camers:DP74 | Microscope:3E41644 ZOOM Body:3C12887 Camera:2L97037 | External Funding | CSIR |  |  |  |  | 3854455.56 | [7 empty] | bdg@ccmb.res.in
Real Time PCR System |  |  | Biolabtech Solutions | QuantStudio5 384, Precision 3551 (Laptop), HP LaserJet MFP 2606dn (Printer) | NA | External Funding | CSIR |  |  |  |  | 2419000 | [7 empty] | bdg@ccmb.res.in
Cell Imaging System |  |  | Biolabtech Solutions, | NA | NA | External Funding | CSIR |  |  |  |  | 1900000.2 | [7 empty] | bdg@ccmb.res.in
Protein Purification system |  |  | Global Life Sciences | AKTA PURE M25, Sample Pump S9, | M/s Global Life Sciences Solutions Singapore Pte. Ltd., 1, Maritime Square, # 11-01, Harbour Front Centre, Singapore - 099253 | External Funding | CSIR |  |  |  |  | 4130882 | [7 empty] | bdg@ccmb.res.in
PDS Hepta System Biolistic Transformation system |  |  | Bio-Rad | PDS-1000/He Biolistic System | 901BR 03164 | External Funding | CSIR |  |  |  |  | 2800000 | [7 empty] | bdg@ccmb.res.in
Invitrogen Single Beam Visible Spectrophotometer |  |  | Bioapps, | Qubit Flex | ..2332622030550 | External Funding | CSIR |  |  |  |  | 3147000 | [7 empty] | bdg@ccmb.res.in
Bionano Access Server |  |  | Bionano Genomics | Saphyr | G-147(Saphyr); 70N0VH3 (Saphyr Controller); 121VNF3 (Bionano access server); H7TQNK3(Saphyr Compute); HBZ6NF3(Bionano Compute); D9H5923 (Monitor) | External Funding | CSIR |  |  |  |  | 17400000 | [7 empty] | bdg@ccmb.res.in
Gel Imaging System |  |  | Bio-Rad | Main system: ChemiDoc Imaging System | M/s Biorad Laboratories (India) Pvt.Ltd. | External Funding | CSIR |  |  |  |  | 1360000 | [7 empty] | bdg@ccmb.res.in
Protein Purification System |  |  | Global Life Sciences | NA | NA | External Funding | CSIR |  |  |  |  | 3936000 | [7 empty] | bdg@ccmb.res.in
Mosquito HV 5 Deck and DFD 6 Genomics System |  |  | SPT Labtech | NA | NA | External Funding | CSIR |  |  |  |  | 17728080 | [7 empty] | bdg@ccmb.res.in
CRYO TRANSMISSION ELECTRON MICROSCOPE |  |  | FEI Company | Talos Arctica G2 (200KV), Talos L120C G2, 655(Turbo Pumping Station), K975X(Carbon Coater), Q150T+(Sputtert Coater), Gloqube+( glow Discharge), Vitroboat mark IV | 9953575, 9953555, 19101503W0655, K975X-108, 20027, 20013, 200100838, 4CE1151S86,4CE1151S85 | External Funding | CSIR |  |  |  |  | 162800000 | [7 empty] | bdg@ccmb.res.in
HeliosCyTOF Mass cytometer system |  |  | Fluidigm Corporation | HELIOS_CYTOF | 1070011412C | External Funding | CSIR |  |  |  |  | 460000 | [7 empty] | bdg@ccmb.res.in
Chemiluminescence and Fluorescence Imaging Systems |  |  | Vilber Bio Imaging, | Main System: FUSION-SOLO.6S.EDGE V0.70 Auto IR/NIR, Desktop PC: Optiplex 7070, Monitor:E2219HN, | Main Systems:21-2332, 21-2333 & 21-2334, Desktop PCs: 685BM63, 855BM63, HCPF873, Monitors:CN-00P74F-BOZ00-14L-2U2B-A12, CN-00P74F-BOZ00-14L-1KGB-A12, CN-00P74F-BOZ00-14L-0N1B-A12 | External Funding | CSIR |  |  |  |  | 4596000 | [7 empty] | bdg@ccmb.res.in
Biological Safety Cabinet |  |  | iGene Labserve, | IG-CIIA2422 | NA | External Funding | CSIR |  |  |  |  | 1396100 | [7 empty] | bdg@ccmb.res.in
Quant Studio 5 Real Time PCR System |  |  | QuantStudio 5 | QuantStudio 5 Dell Monitor Model P1917S Dell PC Model OptiPlex XE3 | RTPCR S.No 272528186, 272528829 Monitor S.No CN-02PWVC-TV100-04N-0VPB-A14 CN-02PWVC-TV100-04N-0W1B-A14 Dell PC S.No HQT9S33, HR6H243 | External Funding | CSIR |  |  |  |  | 2362500 | [7 empty] | bdg@ccmb.res.in
High Performance Bench Top Orbitrap With HESI Mass Spectrometer System |  |  | Thermo Fisher Scientific | Orbitrap Exploris 240 EASY - nLC 1200 Genius XE35 230V Vanquish | MM10220C 042144A280(Fraction collector), 8326238(Quaternary pump), 8327251(Split sampler FT), 6508118(Column compartment), 8326274(Variable wavelength detector) | External Funding | CSIR |  |  |  |  | 44250000 | [7 empty] | bdg@ccmb.res.in
Real Time PCR System |  |  | Bio-Rad | CFX96 DX ORM(Optics Reaction Module) C1000DX (PCR) E1916HV(DellMonitor) Vostro(Dell CPU), MF1103B8( BPE UPS) | 787BR16309, BR208236 CN-0223YY-FCC00-158-A38D-A15 BLST9D3 M12L21F00642 | External Funding | CSIR |  |  |  |  | 1500000 | [7 empty] | bdg@ccmb.res.in
Real Time PCR System |  |  | Bio-Rad | CFX96 DX ORM(Optics Reaction Module ) C1000 DX (Thermal Cycler),MF1103B8( BPE UPS), | 787BR16328, BR208250, M12L21F00085, MMLXKSS009116191AB4260, UXVTJSI292L1932274, 787BR16332, BR208243, M12L21F00573 MMLXKSS00911618D804260, UXVTJSI492L3046531 | External Funding | CSIR |  |  |  |  | 3000000 | [7 empty] | bdg@ccmb.res.in
NMR System |  |  | Bruker | Z168380 | ..0013 | External Funding | CSIR |  |  |  |  | 10350000 | [7 empty] | bdg@ccmb.res.in
CRYO Transmission Electron Microscope |  |  | FEI Company | Talos Arctica G2 (200KV), Talos L120C G2, 655(Turbo Pumping Station), K975X(Carbon Coater), Q150T+(Sputtert Coater), Gloqube+( glow Discharge), Vitroboat mark IV | 9953575, 9953555, 19101503W0655, K975X-108, 20027, 20013, 200100838, 4CE1151S86,4CE1151S85 | External Funding | CSIR |  |  |  |  | 162800000 | [7 empty] | bdg@ccmb.res.in
Mosquito HV 5 Deck and DFD 6 Genomics System |  |  | SPT Labtech | NA | 1) Mosquito HV System: MHV-2114 (Old Unit), New Replacement Unit: MHV-2148.2) Draganfly System: DFD349 | External Funding | CSIR |  |  |  |  | 17506479 | [7 empty] | bdg@ccmb.res.in
AKTA PURE 25 M Protein Purification System |  |  | Global Life Sciences Solutions | NA | NA | External Funding | CSIR |  |  |  |  | 3886800 | [7 empty] | bdg@ccmb.res.in
PyroMark Q48 Autoprep system for automated Pyrosequencing |  |  | QIAGEN | Pyro Mark Q48 Autoprep | 1911016 | External Funding | CSIR |  |  |  |  | 2868000 | [7 empty] | bdg@ccmb.res.in
King Fisher Flex Purification System |  |  | Thermo Scintific, | King Fisher Flex | 711-80971 | External Funding | CSIR |  |  |  |  | 3745000 | [7 empty] | bdg@ccmb.res.in
Motorized Micro manipulator System |  |  | Eppendorf | 1)INJECTMAN4 (5192 000.019) 2)FEMTOJET4X(5253000.017) | 1)INJECTMAN4(5192IQ100659 ) 2)FEMTOJET4X (5253JH900385) | External Funding | CSIR |  |  |  |  | 1633000 | [7 empty] | bdg@ccmb.res.in
Floor Model Ultra Centrifuge |  |  | . Beckman Coulter | OPTIMA XPN-100 | XPN20C020 | External Funding | CSIR |  |  |  |  | 6600000 | [7 empty] | bdg@ccmb.res.in
Inverted Fluorescence Microscope Research Grade |  |  | Olympus | Microsocpe : IX 73 P2F | Microscope:9M48183 201912 | External Funding | CSIR |  |  |  |  | 2357000 | [7 empty] | bdg@ccmb.res.in
Water Purification Systems |  |  | Evoqua Water Technologies | Ultra Clear RO EDI system -1 No. | 9103013 (PMB) | External Funding | CSIR |  |  |  |  | 1553000 | [7 empty] | bdg@ccmb.res.in
Olympus SZX 16 Trinocular stereo microscope |  |  | Olympus | Microscope:SZX16 | Microscope: OFO9585 | External Funding | CSIR |  |  |  |  | 1286000 | [7 empty] | bdg@ccmb.res.in
Super Resolution Microscope System |  |  | Leica Mikrosysteme | TCSSP8 STED 3X | 8110002811 | External Funding | CSIR |  |  |  |  | 44200000 | [7 empty] | bdg@ccmb.res.in
Green Red Microscale Thermophoresis System |  |  | Nano Temper T | 1. MST System: Monolith NT.115 | 1. 202002-GR-N001 | External Funding | CSIR |  |  |  |  | 7395000 | [7 empty] | bdg@ccmb.res.in
Automated Liquid Handling System |  |  | Tecan Sales Austria | Freedom EVO-2 150 base | 2007007271 | External Funding | CSIR |  |  |  |  | 9678000 | [7 empty] | bdg@ccmb.res.in
Isothermal Titration calorimeter system |  |  | Malvern Panalytical | PEAQ - ITC cell | MAL1249713 | External Funding | CSIR |  |  |  |  | 6203000 | [7 empty] | bdg@ccmb.res.in
Hypoxia Chamber |  |  | Bioxia, | BIOXIA H800 | 144 | External Funding | CSIR |  |  |  |  | 1553000 | [7 empty] | bdg@ccmb.res.in
Mini Trans Blot Electrophoretic Transfer Cell |  |  | Bio-Rad | 1) Mini Trans-Blot Cell - 4 No's 2) Mini Protean tetra cell - 4 No's | 1) a)153BR116409 b)153BR115457 c)153BR115435d)153BR115440 2)a)552BR240455b)552BR217527c)552BR217535d)552BR217534 | External Funding | CSIR |  |  |  |  | 1077000 | [7 empty] | bdg@ccmb.res.in
Existing Leica EM UC7 Ultramicrotome system |  |  | Leica Mikrosysteme | FC7 | M/s DHR Holding India Pvt Ltd. Leica Microsystems Division, 471, 3rd floor, Suite No. 18 &19, Vatika Business Centre, Prestige Polygon, Anna Salai, Chennai 600035. | External Funding | CSIR |  |  |  |  | 4812000 | [7 empty] | bdg@ccmb.res.in
NGC QUEST 10 Chromatography system |  |  | Bio-Rad | NGC Quest 10 - 2 Nos | I. 840BR011182, II. 840BR011253 | External Funding | CSIR |  |  |  |  | 4812000 | [7 empty] | bdg@ccmb.res.in
Innova 44R Stackable Incubator Shaker with Refrigeration |  |  | Eppendorf | Innova 44R | SI44HQ504918 | External Funding | CSIR |  |  |  |  | 1185000 | [7 empty] | bdg@ccmb.res.in
Protein Purification System |  |  | GEHealth care | NA | NA | External Funding | CSIR |  |  |  |  | 4725000 | [7 empty] | bdg@ccmb.res.in
High end Motorised Upright research grade Fluorescence Microscope |  |  | Carla Zeiss, | Microscope: Axio Imager. Z2 | Microscope: 3523001532 | External Funding | CSIR |  |  |  |  | 6140000 | [7 empty] | bdg@ccmb.res.in
Upgradation of Ethovision System |  |  | Noldus Information | Dell PC: Precision 3630, | Dell PC: C7JYKV2, | External Funding | CSIR |  |  |  |  | 2188000 | [7 empty] | bdg@ccmb.res.in
Micro Array Equipment |  |  | Illumina | NA | NA | External Funding | CSIR |  |  |  |  | 4347000 | [7 empty] | bdg@ccmb.res.in
High Speed Floor Model Centrifuge |  |  | Beckman Coulter | Avanti JXN 26, JLA 8x1000, JA25.50, JA14 | JXN 19E10, 19U5119, 19U7996, 19U10811 | External Funding | CSIR |  |  |  |  | 1700000 | [7 empty] | bdg@ccmb.res.in
Pressure Pump for Microfludic Device Applications |  |  | Syrris | MITOS P-PUMP & H P LAPTOP | 4907045, 4907044 & CND0100D9H | External Funding | CSIR |  |  |  |  | 1135000 | [7 empty] | bdg@ccmb.res.in
COMPUTER ASSISTED SEMEN ANALYSIS SYSTEM FOR VETERINARY PURPOSE SCA PACK VET EDITION |  |  | MICROPTIC | Microscope: Nikon Eclips E200 LED MVR | Microscope: 626848 | External Funding | CSIR |  |  |  |  | 3317000 | [7 empty] | bdg@ccmb.res.in
Olympus Model IX 73 Inverted Fluorescence Microscope |  |  | Olympus | Microscope--IX 73 | Microscope--9D51571 | External Funding | CSIR |  |  |  |  | 2253000 | [7 empty] | bdg@ccmb.res.in
Light Sheet Microscope for Fixed and Live Biological Samples |  |  | Intelligent Imaging Innovation | NA | NA | External Funding | CSIR |  |  |  |  | 26299000 | [7 empty] | bdg@ccmb.res.in
Jeol Ultra High Mass Resolution MALDI TOF MS System |  |  | Jeol | (1).JMS-S3000 -Mass Spec, (2). Precision 5820 - Dell PC , (3).P2319H -Dell Monitor, (4).Z2- HP PC, (5).HP 24y -HP Monitor, (6).Color Laser Jet Pro M154a, | (1).MS1092000530053, (2).38343460898 | External Funding | CSIR |  |  |  |  | 26600000 | [7 empty] | bdg@ccmb.res.in
Ultra High Performance Liquid Chromatography System |  |  | Thermo Fisher | RSLC System | NA | External Funding | CSIR |  |  |  |  | 5019000 | [7 empty] | bdg@ccmb.res.in
Microprocessor Based Semi Automatic Horizontal Front Loading Rectangular High Pressure Single Door Steam Sterilizer |  |  | Reliance Instruments | HR-405L | RIC/29/19-20 | External Funding | CSIR |  |  |  |  | 1423000 | [7 empty] | bdg@ccmb.res.in
Carl Zeiss Steromicroscope Stemi 508 with Axiocam 305 Color Camera |  |  | Carla Zeiss, | Microscope:Stemi 508 | Microscope: 3944015085, | External Funding | CSIR |  |  |  |  | 1150000 | [7 empty] | bdg@ccmb.res.in
n Vitra and In Vivo Electroporator |  |  | NEPA | NEPA21 | 1716 | External Funding | CSIR |  |  |  |  | 1105000 | [7 empty] | bdg@ccmb.res.in
Centrifuge 5810R |  |  | Eppendorf | 5810R | 5811IO889325, 5811IO789346, 5811IO989365 | External Funding | CSIR |  |  |  |  | 2010000 | [7 empty] | bdg@ccmb.res.in
EXTRACELLULAR FLUX ANALYZER |  |  | Agilent | XFp | US431224 | External Funding | CSIR |  |  |  |  | 5492000 | [7 empty] | bdg@ccmb.res.in
NGC Quest 10 chromatography system |  |  | Bio - Rad | a.NGC Quest 10 b. Biologic Biofrac Fraction collector c. NGC 3rd tier expansion frame d. DELL CPU e. DELL Monitor f. Laserjet Printer | a. 840BR010845 b. 496BR07788 c. 852BR001119 d. B8KB9F2 e. CN-035GD2-FCC00-81Q-AU9I-A04 f. E73793J7N985003 | External Funding | CSIR |  |  |  |  | 2141000 | [7 empty] | bdg@ccmb.res.in
Eppendorf Refrigerated Console Incubator Shaker Model Innova 43R |  |  | Eppendorf | Innova 43R | SI43GP900754 | External Funding | CSIR |  |  |  |  | 1099000 | [7 empty] | bdg@ccmb.res.in
C 1000 touch Thermal Cycler |  |  | Bio - Rad | C 1000 Touch | CT030177, CT030562, CT030655, CT030657, | External Funding | CSIR |  |  |  |  | 1293000 | [7 empty] | bdg@ccmb.res.in
Gentlemacs Octo Dissociator with Heaters |  |  | Miltenyi Biotech | gentleMACS Octo Dissociator with heaters | 1602 | External Funding | CSIR |  |  |  |  | 1933000 | [7 empty] | bdg@ccmb.res.in
Innova 44R Stackable Incubator Shaker with refrigeration |  |  | Eppendorf | Innova 44R | SI44HI804544 | External Funding | CSIR |  |  |  |  | 1171000 | [7 empty] | bdg@ccmb.res.in
Percellys Evolution Super Homogenizer |  |  | Bertin technologies | Precellys Evolution Cryolys | 300-0736 | External Funding | CSIR |  |  |  |  | 1515000 | [7 empty] | bdg@ccmb.res.in
Implen Nanophotometer UV Vis Spectrophotometer for Nano Volume |  |  | IMPLEN | N60 | 1. T61123 ( Dr. Kumaraswamy) | External Funding | CSIR |  |  |  |  | 1461000 | [7 empty] | bdg@ccmb.res.in
MSM System 400 Yeast Tetrad Dissection Microscope |  |  | Singer Instruments | MSM-400 | Sl.No: 000000592 | External Funding | CSIR |  |  |  |  | 2614000 | [7 empty] | bdg@ccmb.res.in
B D FACS ARIA FUSION 4 Laser Multi Colour Bench Top High Speed Sorter Flow Cytometer System |  |  | BD iosciences | 1. FACS ARIA Fusion | 1. R656700G5014. | External Funding | CSIR |  |  |  |  | 24716000 | [7 empty] | bdg@ccmb.res.in
Infrared Western Blot Imaging Scanner |  |  | Azure Biosystems, | Main instrument: SAPPHIRE NIR | Main Instrument: SPB00-0101 | External Funding | CSIR |  |  |  |  | 4000000 | [7 empty] | bdg@ccmb.res.in
Fragment Analyzer TM Automated CE System |  |  | Advanced Analytical Technologies | NA | 3954 (Fragment Analyser) | External Funding | CSIR |  |  |  |  | 3897000 | [7 empty] | bdg@ccmb.res.in
Leica VT12005 Configuration |  |  | Leica Mikrosysteme | VT1200 S | 11026/02-2018 | External Funding | CSIR |  |  |  |  | 1694000 | [7 empty] | bdg@ccmb.res.in
Olympus Research Grade Fully Motorized Inverted Microscope |  |  | Olympus | IX83 | 8E85118 | External Funding | CSIR |  |  |  |  | 3099000 | [7 empty] | bdg@ccmb.res.in
Olympus High Senstive Spectral Confocal Microscope System |  |  | Olympus | Scanner:FV3000 | Scanner: 8D88615 | External Funding | CSIR |  |  |  |  | 17453000 | [7 empty] | bdg@ccmb.res.in
Avance NEO 600MHz Console High Performance Digital NMR Spectrometer |  |  | NA | NA | NA | External Funding | CSIR |  |  |  |  | 35000000 | [7 empty] | bdg@ccmb.res.in
High end Motorized Binocular Inverted Microscope |  |  | Bruket Biospin | 1)AVANCE NEO - Console | 1)H03128OB | External Funding | CSIR |  |  |  |  | 2859000 | [7 empty] | bdg@ccmb.res.in
Mouse Myocyte Isolation Apparatus |  |  | NA | NA | NA | External Funding | CSIR |  |  |  |  | 1417000 | [7 empty] | bdg@ccmb.res.in
Plant Growth Chamber Model AR 100L3 System |  |  | Carla Zeiss, | Axio Observer 7 | 3858000822 | External Funding | CSIR |  |  |  |  | 4035000 | [7 empty] | bdg@ccmb.res.in
Plant Growth Chamber |  |  | AD Instruments | NA | NA | External Funding | CSIR |  |  |  |  | 1272000 | [7 empty] | bdg@ccmb.res.in
Upgradation of existing Carl Zeiss Metafer system for Karyotyping |  |  | Labo Gene ApSBJarkesveJ | coolsafe pro 110-4 | 7180756 | External Funding | CSIR |  |  |  |  | 2025000 | [7 empty] | bdg@ccmb.res.in
Nikon Binocular Inverted Phase Contrast Microscope |  |  | Percival Scientific | AR-100L3 | 24395.01.17H | External Funding | CSIR |  |  |  |  | 1112000 | [7 empty] | bdg@ccmb.res.in
Little Lunatic Platform |  |  | Percival Scientific | AR-41L3 | 25765.01.18F | External Funding | CSIR |  |  |  |  | 1816000 | [7 empty] | bdg@ccmb.res.in
|  |  | Meta Systems Hard & Software | Camera: Cool cube | Camera: 008301 | External Funding | CSIR |  |  |  |  | 84339000 | [7 empty] | bdg@ccmb.res.in
NOVASEQ6000 Sequencing System |  |  | Nikon | TS-2 | 137091, 137117, 137121. | External Funding | CSIR |  |  |  |  | 3500000 | [7 empty] | bdg@ccmb.res.in
Amersham TYPHOON IP Phosphor Imaging System |  |  | Unchained Labs | NA | 100578 | External Funding | CSIR |  |  |  |  | 1120000 | [7 empty] | bdg@ccmb.res.in
Raster Ploter FPM 25000 |  |  | Illumina Singapore | Novaseq 6000 | A00573 | External Funding | CSIR |  |  |  |  | 1780000 | [7 empty] | bdg@ccmb.res.in
Fluorescence Spectrophotometer |  |  | Polar Instruments | Photo Plotter Model:FPM25000 (Type: Film Star - Plus) | Photo Plotter: 840 -18 | External Funding | CSIR |  |  |  |  | 1400000 | [7 empty] | bdg@ccmb.res.in
QuantStudio5 384 QPCR System, with Tower Desktop |  |  | Millipore | ELIX 35- F6SA49861A9(R&D) & F6SA49860D(Lacones) MILLI Q REFERENCE F7CA80526D(R&D) & F7CA80526C (Lacones) | ELIX 35- F6SA49861A & F6SA49860D AND MILLI Q F7CA80526D & F7CA805126C | External Funding | CSIR |  |  |  |  | 1100000 | [7 empty] | bdg@ccmb.res.in
Q Exactive HF High Performance Bench Top Orbitrap Mass Spectrometer System with integrated Easy nLC 1200 |  |  | Thermo Fisher Scientific | 1.Q-Exactive HF - Mass Spectrometer | 1.05389L | External Funding | CSIR |  |  |  |  | 2100000 | [7 empty] | bdg@ccmb.res.in
M1320 0006 Eppendorf Refrigerated Console Incubator shaker Model Innova 43R |  |  | Eppendorf | Innova 43R | SI43GJ500709 | External Funding | CSIR |  |  |  |  | 2650000 | [7 empty] | bdg@ccmb.res.in
SpectraMax Microplate Multimode Reader |  |  | Molecular Devices | 1). Spectramax iD3 | 1) .37370-3036, 37370-3034 | External Funding | CSIR |  |  |  |  | 1150000 | [7 empty] | bdg@ccmb.res.in
Video Conferencing System |  |  | Unicorn Infotel | Polycom Group | NA | External Funding | CSIR |  |  |  |  | 1156000 | [7 empty] | bdg@ccmb.res.in
Hidex 300SL Liquid Scintillation Counter |  |  | Hidex Oy | Main Instrument: Hidex 300SL (Part No.425-201) | Main Instrument: 2170636 | External Funding | CSIR |  |  |  |  | 1238000 | [7 empty] | bdg@ccmb.res.in
Gel Documentation Systems |  |  | Life Biotech | Gel Docs: GELSTAN 4X Advanced | Gel Docs: I-12710135-030, I-22710545-033 | External Funding | CSIR |  |  |  |  | 1680000 | [7 empty] | bdg@ccmb.res.in
Imaging and Analysis system |  |  | Bio-Rad | 1708280 | NA | External Funding | CSIR |  |  |  |  | 22500000 | [7 empty] | bdg@ccmb.res.in
Spectral Confocal Laser Scanning Microscope |  |  | Carl Zeiss | 1. Confocal: LSM880 AIRYSCAN | 1. Microscope:3869000127 | External Funding | CSIR |  |  |  |  | 7040000 | [7 empty] | bdg@ccmb.res.in
Optical Tomography system |  |  | Carl Zeiss | Stereo Microscope: Axio Zoom V 16 | Stereo Microscope:3941000756 | External Funding | CSIR |  |  |  |  | 4850000 | [7 empty] | bdg@ccmb.res.in
Micro Ultrasound Imaging System |  |  | Visual Sonics | Vevo 2100 (Imaging System) | 0484XP (Imaging System) | External Funding | CSIR |  |  |  |  | 26000000 | [7 empty] | bdg@ccmb.res.in
Bench Top Multicolor Flow Cytometer |  |  | Becton Dickinson | 1. BD LSR FORTESSA | 1. BD LSR fortessa---H647788L5006 | External Funding | CSIR |  |  |  |  | 7454000 | [7 empty] | bdg@ccmb.res.in
Upright Biomedical Freezer |  |  | Scimed Asia | MDF U334 | 16060227 | External Funding | CSIR |  |  |  |  | 1100000 | [7 empty] | bdg@ccmb.res.in
Upgradation of existing AVANCE 600MHz AQS II console with AVANCE III HD 600 MHz One bay Spectrometer |  |  | Bruker Biospin AG | AVANCE III HD | H03128OB / 05.00 / R / 6347 | External Funding | CSIR |  |  |  |  | 6270000 | [7 empty] | bdg@ccmb.res.in
Individually Ventilated Cage Systems |  |  | Techniplast | AHU: BOXUNEFUK | AHU: 17000736, 17000734 | External Funding | CSIR |  |  |  |  | 2078000 | [7 empty] | bdg@ccmb.res.in
Bench Top Fermenter system with all accessories and spares |  |  | Eppendorf | BioFlo 120 20 SLPM TYPE D | 1390GK600558 | External Funding | CSIR |  |  |  |  | 27950000 | [7 empty] | bdg@ccmb.res.in
Speed Vac Concentrator Kit |  |  | Thermo Fisher | SDP131DDA P1-230 - 2 Nos. | 1154431701170825 R&D II,1154431601170825 HPLC | External Funding | CSIR |  |  |  |  | 1100000 | [7 empty] | bdg@ccmb.res.in
Large Volume Refrigerated Thermo Centrifuges with rotors and accessories |  |  | Thermo Electron | ST 16R | 42153957,42153958,42153956,42152682, 42152679,42153949,42125956 | External Funding | CSIR |  |  |  |  | 1050000 | [7 empty] | bdg@ccmb.res.in
Small Angle X Ray Scattering system |  |  | Rigaku Americas | BioSAXS-2000 | A1762 | External Funding | CSIR |  |  |  |  | 1163000 | [7 empty] | bdg@ccmb.res.in
Robotic Workstation for Automatic DNA Extraction |  |  | QIAGEN Ltd | QIAxtractor (QIAcube HT Sysrtem); VS04(Vacuum pump); Pro Book (HP Laptop) | 011907 (QIAcube HT Sysrtem); 011750(Vacuum pump); | External Funding | CSIR |  |  |  |  | 1551000 | [7 empty] | bdg@ccmb.res.in
Chemiluminescence Gel Documentaton System |  |  | Syngene | Chemidoc: PXI 6 ACCESS | Chemidoc: PX63A/1010 | External Funding | CSIR |  |  |  |  | 4166000 | [7 empty] | bdg@ccmb.res.in
Mouse Rat Spinal Cord Impactor with Control cabinet and Serial to USB Adaptor |  |  | Precision Systems | IH-0400 | 375 | External Funding | CSIR |  |  |  |  | 5984000 | [7 empty] | bdg@ccmb.res.in
ULTRACENTRIAFUGE AND OPTIMA MAX BENCH TOP ULTRACENTRIFUGE WITH ROTORS |  |  | Beckman Coulter I | OPTIMA XPN 100 | XPN16D06 | External Funding | CSIR |  |  |  |  | 1745000 | [7 empty] | bdg@ccmb.res.in
AVANTI JXN 30 FLOOR MODEL REFRIGERATED CENTRIFUGES WITH ROTORS |  |  | Beckman Coulter | AVANTI JXN 30 (IIIE.GE.GS,IIS) | JXY16C10, JXY16D01, JXY16D02, JXY16D03 | External Funding | CSIR |  |  |  |  | 1607000 | [7 empty] | bdg@ccmb.res.in
Fluorescence Spectrophotometer |  |  | Techcomp ( | F7000 (Fluorimeter) | 2817-003 (Fluorimeter) | External Funding | CSIR |  |  |  |  | 2040000 | [7 empty] | bdg@ccmb.res.in
Shimadzu UV VIS Spectrophotometer |  |  | Shimadzu | 1. Spectrophotometer : UV 2600 | 1.Spectrophotomete: A11665302848, A11665402884 | External Funding | CSIR |  |  |  |  | 3116000 | [7 empty] | bdg@ccmb.res.in
Motic VM 6 Mot Scanner system |  |  | Motic | Microscope: BA600mot | Microscope:16012348 | External Funding | CSIR |  |  |  |  | 1881000 | [7 empty] | bdg@ccmb.res.in
Axiocam 503 High Performance Color camera with Axiovision Zen Platform |  |  | Carl Zeiss | 1. Camera : Axiocam 503 Color | 1. Camera : 217160643 & 217160646 | External Funding | CSIR |  |  |  |  | 1302000 | [7 empty] | bdg@ccmb.res.in
Wireless Data Acquisition system |  |  | Multi Channel Systems | W2100-RE (Receiver) | 80103 (Receiver) | External Funding | CSIR |  |  |  |  | 1447000 | [7 empty] | bdg@ccmb.res.in
MEA Workstation for Recording and Analysing Data from 60 electrodes Microelectrode arrays |  |  | Multi Channel Systems | MEA 2100- Lite-HS (Workstation) | 90040 (Workstation), 90040 (Interface board) | External Funding | CSIR |  |  |  |  | 6960000 | [7 empty] | bdg@ccmb.res.in
Olympus IX 73 Inverted fluorescence microscope |  |  | Olympus | 1. Microscope : IX 73 | 1. Microscope : 6E44509 | External Funding | CSIR |  |  |  |  | 1890000 | [7 empty] | bdg@ccmb.res.in
Painted 316 L Stainless Steel Stand Alone Rack |  |  | Techniplast SPA | ZB152550SAABSX2 | 16002618 | External Funding | CSIR |  |  |  |  | 1695000 | [7 empty] | bdg@ccmb.res.in
DELTA D TCSPC Fluorescence Life Time Spectrometer |  |  | HORIBA JOBIN YVON IBH | 1.Ultrafast 01 DD Modular TCSPC | 13284 LIST ENCLOSED | External Funding | CSIR |  |  |  |  | 1716000 | [7 empty] | bdg@ccmb.res.in
Precision Horizontal Rectangular High Pressure Steam Sterilizers Autoclaves |  |  | NA | NA | NA | External Funding | CSIR |  |  |  |  | 1725000 | [7 empty] | bdg@ccmb.res.in
Bottle and Cage Washer |  |  | NA | NA | NA | External Funding | CSIR |  |  |  |  | 1085000 | [7 empty] | bdg@ccmb.res.in
Fraction collector |  |  | NA | NA | NA | External Funding | CSIR |  |  |  |  | 1135000 | [7 empty] | bdg@ccmb.res.in
Biologic duoflow Quadtec 10 |  |  | Precision Electronics Instruments | PI-16 | 811, 812, 813 | External Funding | CSIR |  |  |  |  | 1500000 | [7 empty] | bdg@ccmb.res.in
Shimadzu UV VIS Spectrophotometer |  |  | IWT, Srl. | 9LAVR401EZ | 160527101 | External Funding | CSIR |  |  |  |  | 1300000 | [7 empty] | bdg@ccmb.res.in
Wireless Projectors |  |  | Bio-Rad | Biologic Duoflow Quadtec | NA | External Funding | CSIR |  |  |  |  | 2500000 | [7 empty] | bdg@ccmb.res.in
Multimode Reader |  |  | Bio-Rad | Biologic Duoflow Quadtec | NA | External Funding | CSIR |  |  |  |  | 2000000 | [7 empty] | bdg@ccmb.res.in
Sorvall LYNX 6000 Super speed centrifuge with rotors |  |  | Ved Information Systems | Casio XJ F210WN | NA | External Funding | CSIR |  |  |  |  | 5000000 | [7 empty] | bdg@ccmb.res.in
Microfluidic controller |  |  | Tecan Sales Astria GmbH | 1. Multimode Reader -- Infinite M 200 PRO | 1. Multimode Reader -- 1505000713 | External Funding | CSIR |  |  |  |  | 4400000 | [7 empty] | bdg@ccmb.res.in
Evos Floid Fluorescence imaging system |  |  | Graphtec C | Main System: FC2250-60, Laptop: Lenovo G50-30, Vacuum Pump: VB-0035-G2 | Main System: D50112236, Laptop: PF06WEPX, Vacuum Pump: F145225 | External Funding | CSIR |  |  |  |  | 16000000 | [7 empty] | bdg@ccmb.res.in
Photolithograohy station for photo resist processing |  |  | THERMO ELECTRON LED | LYNX 6000 | 41785692 | External Funding | CSIR |  |  |  |  | 5600000 | [7 empty] | bdg@ccmb.res.in
Agilent Infinity 1260 Bio inert quaternary LC System |  |  | .FLUIGENT | MFCS-EZ | NA | External Funding | CSIR |  |  |  |  | 9800000 | [7 empty] | bdg@ccmb.res.in
MO FLO XDP High speed Fluorescence Cell sorter |  |  | Incell Technologies | EVOS FLC | 10215-162G-046 | External Funding | CSIR |  |  |  |  | 1300000 | [7 empty] | bdg@ccmb.res.in
Bench top flow cytometer Gallios |  |  | BLACK Hole lab | 1a. Plasma clear-PDC002, 1b. Spin Coater- 1c. Agitator- , 1d. Hot plate, 1e. Air pump-Dekker, 1f. Compressor-JUN-AIR | 1a.PDC002060063, 1b.15429, 1e. 1504317-A, | External Funding | CSIR |  |  |  |  | 4100000 | [7 empty] | bdg@ccmb.res.in
ECOMRI system for Body composition analysis |  |  | Agilent Technologies | 1260 Bio Inert - Agilent | as per attached list | External Funding | CSIR |  |  |  |  | 10000000 | [7 empty] | bdg@ccmb.res.in
Rotor Gene Q 5plex HRM System Real Time PCR |  |  | Beckman Coulter | Flow Cytometer: MoFlo XDP | Flow Cytometer: A407004 | External Funding | CSIR |  |  |  |  | 1050000 | [7 empty] | bdg@ccmb.res.in
Pyromark Q24 Sequence detection system |  |  | Beckman Coulter | flowcytometer: Gallio | Flowcytometer: AY45629 | External Funding | CSIR |  |  |  |  | 6000000 | [7 empty] | bdg@ccmb.res.in
Octet Red 96 system |  |  | EchoMRI | EchoMRI 500 | E26-261-RMT | External Funding | CSIR |  |  |  |  | 1000000 | [7 empty] | bdg@ccmb.res.in
4D Nucleofector |  |  | Qiagen | Rotor-Gene Q | R1215127 | External Funding | CSIR |  |  |  |  | 1200000 | [7 empty] | bdg@ccmb.res.in
Nikon upright Fluorescence microscope |  |  | Qiagen | Pyromark Q24 | 2095 | External Funding | CSIR |  |  |  |  | 1800000 | [7 empty] | bdg@ccmb.res.in
Biorupter PICO |  |  | Pall filteration | 1.OCTET RED 96.2 Dell computer | 1. FB 50195 | External Funding | CSIR |  |  |  |  | 1200000 | [7 empty] | bdg@ccmb.res.in
Sorvall LYNX 6000 Super speed centrifuge |  |  | Lonza Cologne AG | 4D Nucleofector | 511B0401 (Core unit), 511X0404 (X unit) | External Funding | CSIR |  |  |  |  | 1600000 | [7 empty] | bdg@ccmb.res.in
Synergy H1 Monochromator based Multimode Reader |  |  | Nikon | 1. Microscope - ECLIPSE Ni U | 1. Microscope---- 930903, 930914 | External Funding | CSIR |  |  |  |  | 5000000 | [7 empty] | bdg@ccmb.res.in
Bioanalyzer with standard accessories |  |  | Diagenode s | 1.Bioruptor Pico | 1. P-140710 | External Funding | CSIR |  |  |  |  | 1830000 | [7 empty] | bdg@ccmb.res.in
M220 Focused ultrasonicator |  |  | THERMO ELECTRON | SORVALL LYNX 6000 | 41703465 | External Funding | CSIR |  |  |  |  | 2300000 | [7 empty] | bdg@ccmb.res.in
Leica EM UC7 and Ultra Microtome |  |  | Synergy | Synergy H1M (Plate Reader) | 14050610 (Plate Reader) | External Funding | CSIR |  |  |  |  | 21760000 | [7 empty] | bdg@ccmb.res.in
Water purification system Elix and Milli Q |  |  | Agilent | 1. Agilent 2100 Bioanalyzer | 1. Bio analyzer - DE13806028, | External Funding | CSIR |  |  |  |  | 2269215 | [7 empty] | bdg@ccmb.res.in
Real Time PCR System |  |  | Covaris, | Sonifier: M220 | Sonifier: SN003135 | External Funding | CSIR |  |  |  |  | 2329723 | [7 empty] | bdg@ccmb.res.in
Illumina Hiscan system |  |  | Leica Mikrosysteme Vertrieb | UC7 & touch sensitive control unit | 602218 and 601897 | External Funding | CSIR |  |  |  |  | 5270000 | [7 empty] | bdg@ccmb.res.in
High Pressure Cell Disruptor Homogenizer |  |  | MILLIPORE | ELIX 35 | F4JA726868D | External Funding | CSIR |  |  |  |  | 1322498 | [7 empty] | bdg@ccmb.res.in
Danio Vision Observation Complete System for Zebra fish larvae Tracking System |  |  | nvitrogen | Vii A 7 DX | (Spectroscopy II) RTPCR: 278990040 | External Funding | CSIR |  |  |  |  | 8029659 | [7 empty] | bdg@ccmb.res.in
Real Time PCR System |  |  | Illumina | HiScan | H0254 | External Funding | CSIR |  |  |  |  | 5531352 | [7 empty] | bdg@ccmb.res.in
Fluoroscence Spectrophotometer |  |  | Avestin Inc. | Avestin EF C-3, | C316742 | External Funding | CSIR |  |  |  |  | 7642800 | [7 empty] | bdg@ccmb.res.in
Floor Model Ultra Centrifuge |  |  | Noldus Information Technology | 1) Danio Vision, 2) Dell Precision T3600, | 1) 00130-000, 2) J6WD8X1, 3) CN-06RV5R-72872-298-AETS, 4) MCV-06133, 34 & 43 | External Funding | CSIR |  |  |  |  | 1405800 | [7 empty] | bdg@ccmb.res.in
Floor Model Ultra Centrifuge |  |  | Roche | LightCycler 480 II (RT PCRs) | 29289, 29290, 29291 | External Funding | CSIR |  |  |  |  | 5110000 | [7 empty] | bdg@ccmb.res.in
CD Spectropolarimeter |  |  | Techcomp | F7000 (Fluorimeter) | 2572-004 (Fluorimeter) | External Funding | CSIR |  |  |  |  | 3467500 | [7 empty] | bdg@ccmb.res.in
AQS SIGNAL GENERATOR UNIT |  |  | Beckman Coulter | OPTIMA XPN-100 | XPN13E06 | External Funding | CSIR |  |  |  |  | 4194936 | [7 empty] | bdg@ccmb.res.in
Fluorescence Microscope |  |  | Beckman Coulter | AVANTI J-30I | JKY13E07 (IS) AND JKY13E06 (IIW) | External Funding | CSIR |  |  |  |  | 1527012 | [7 empty] | bdg@ccmb.res.in
Leica M205FA Advanced Stereo Fluorescence Microsocpe |  |  | Applied Photophysics | Chirascan Plus | CSP 20034 (CD); SGH301P30Q (Computer); 6CM3151DV4 (Monitor); CNC1X24238 (Printer); CS30387604 (Water bath); 3468 & 3467 (Temperature Controller) | External Funding | CSIR |  |  |  |  | 178801875 | [7 empty] | bdg@ccmb.res.in
AKTAPurifier 10 Core Systems |  |  | BRUKER | Z003831-X (SGU) | 92287 | External Funding | CSIR |  |  |  |  | 3934980 | [7 empty] | bdg@ccmb.res.in
Ettan IPGPHOR 3 IEF |  |  | Carl Zeiss | Microscope: Axio Imager Z2 | NA | External Funding | CSIR |  |  |  |  | 1400000 | [7 empty] | bdg@ccmb.res.in
Nano DLS with Zeta Potential measuring system |  |  | Leica Microsystems | Microscope: M205FA | Microscope:5765546 | External Funding | CSIR |  |  |  |  | 3420000 | [7 empty] | bdg@ccmb.res.in
DIONEX ULTIMATE 3000 RSLC NANO SYSTEM |  |  | GE Healthcare | AKTAPurifier 10 Core System | Dr. TRK System S.No: 1607591 Dr.Suman Thakur System S.No : 1612316 | External Funding | CSIR |  |  |  |  | 4849794 | [7 empty] | bdg@ccmb.res.in
Agilent Offgel Fractionator |  |  | GE Healthcare | 1. Ettan IPGPHOR 3 IEF , 2. IPGPHOR Manifold, 3. SE600 Ruby vertical, 4. EPS 601 power supply, 5. TE77 PWR Semi dry transfer unit | 1. 1611961, 2. 11002580, 3. 20800170, 4. C1000071, 5. 11001342 | External Funding | CSIR |  |  |  |  | 1347142 | [7 empty] | bdg@ccmb.res.in
Leica M205FA Advanced Stereo Fluorescence Microscope |  |  | Horiba Instruments | SZ-100 | HGS-NO-XPT49RUU | External Funding | CSIR |  |  |  |  | 1375622 | [7 empty] | bdg@ccmb.res.in
Leica CM1950 Cryostat With Blade holders |  |  | Agilent Technologies | 1. G3100A - Agilent fractionator | 1. Agilet fractionator - DE01500756 | External Funding | CSIR |  |  |  |  | 3786900 | [7 empty] | bdg@ccmb.res.in
Nano DLS with Zeta potential and Molecular weight measuring system |  |  | Leica Microsystems | Stereo Microscope: M205FA | NA | External Funding | CSIR |  |  |  |  | 1078000 | [7 empty] | bdg@ccmb.res.in
Biological Safety Cabinets |  |  | GE HEALTHCARE BIO-SCIENCES | ITC 200 | 1. Cell: 04-12-634, 2. Wash Module: 03-12-334 | External Funding | CSIR |  |  |  |  | 2475000 | [7 empty] | bdg@ccmb.res.in
Microwave Fixation System |  |  | Leica Mikrosystems | CM 1950 | 2795 | External Funding | CSIR |  |  |  |  | 42240000 | [7 empty] | bdg@ccmb.res.in
Multimodal Animal Rotation System, Animal rotation and supporting software |  |  | Horiba Instrumets ( | SZ-100Z | Nano DLS: XPT49RUV | External Funding | CSIR |  |  |  |  | 4095000 | [7 empty] | bdg@ccmb.res.in
CTL ImmunoSpot S6 UV Entry Analyzer includes ImmunoSpot Professional upgrade software |  |  | Labconco Corporation | Purifier Logic Cat. No. 3460821 | 091016205A, 100120216A, 091218594A, 091016206A. | External Funding | CSIR |  |  |  |  | 1472996 | [7 empty] | bdg@ccmb.res.in
LTQ Orbitrap velos with ETD and HESI II Bundle configuration |  |  | Muromachi Kikai | MMW-05 Muromachi Microwave Fixation System | 12CT017 | External Funding | CSIR |  |  |  |  | 10080000 | [7 empty] | bdg@ccmb.res.in
NANO LC PUMP |  |  | NA | MARS | CO92015 | External Funding | CSIR |  |  |  |  | 1629792 | [7 empty] | bdg@ccmb.res.in
LC275 TABLE |  |  | M/s Cellular Technology Limited | 1.ImmunoSpot S6 UV Entry | 1.S6 Entry-00-1002 with built-in Computer & Monitor | External Funding | CSIR |  |  |  |  | 4068960 | [7 empty] | bdg@ccmb.res.in
SCANVAC SPEED VACUUM CONCENTRATION SYSTEM |  |  | M/s Thermo Fisher Scientific Wissenschaftliche | 1. LTQ-ORBITRAP-VELOS | 1. 03209B | External Funding | CSIR |  |  |  |  | 23424000 | [7 empty] | bdg@ccmb.res.in
Supercritical Fluid Spray System for Nano particle characterization using GAS PCA with accessories |  |  | BECKMAN COULTER INTERNATIONAL S.A. | AVANTI J-30I | JKY09H01, JKY09H04 AND JKY09H05 | External Funding | CSIR |  |  |  |  | 2196545 | [7 empty] | bdg@ccmb.res.in
SCANNING UV VISIBLE OPTICS AND INTEGRATED RAYLEIGH INTERFERENCE |  |  | Bio-Rad Pacific LTD. | Biologic Duoflow | 484BR3466 | External Funding | CSIR |  |  |  |  | 2405648 | [7 empty] | bdg@ccmb.res.in
Density Gradientfractionation system along with Tris peristaltic pump and UA 6 detector |  |  | Applied Separations Inc | 7401 | Sl.No.770000064290 | External Funding | CSIR |  |  |  |  | 1758457.8 | [7 empty] | bdg@ccmb.res.in
AVANTI J 30I MODEL BECKMAN HIGH SPEED FLOOR MODEL REFRIGERATED CENTRIFUGE WITH ROTORS AND ACCESSORIES |  |  | M/S.BECKMAN COULTER INTERNATIONAL S.A., 22., RUE JUSTE-OLIVIER, 1260 NYON, SWITZERLAND. | PROTEOME LAB XL-1 | PL110D02 | External Funding | CSIR |  |  |  |  | 2126280 | [7 empty] | bdg@ccmb.res.in
EPPENDORF REFRIGERATED CENTRIFUGE MODEL 5810R FOR 220V/50Hz WITH ROTORS - 4 NOS. |  |  | M/s Teledyne Isco Inc. | UA-6 detector | 211D20234 | External Funding | CSIR |  |  |  |  | 3392131 | [7 empty] | bdg@ccmb.res.in
BECKMAN COLTER OPTIMA MAX XP BECKMAN ULTRACENTRIFUGE |  |  | M/S/ BECKMAN COULTER INTERNATIONAL S.A. CASE POSTALE 1059, 22, RUE JUSTE-OLIVIER, 1260 NYON-1, SWITZERLAND. | AVANTI J 30 I | JKY11007 | External Funding | CSIR |  |  |  |  | 2576000 | [7 empty] | bdg@ccmb.res.in
F7000 Fluorescence Spectrophotometer |  |  | M/S.EPPENDORF A.G. | 5810R CENTRIFUGE | 5811YM944248 (FF17),5811YM144242 (FF21),5811YM544247 (SF 16),5811YM244213 | External Funding | CSIR |  |  |  |  | 1378125 | [7 empty] | bdg@ccmb.res.in
wavelength accuracy 1nm |  |  | GERMANY | 6X85 FIXED ANGLE ROTOR | 1.5269e+19 | External Funding | CSIR |  |  |  |  | 1647100 | [7 empty] | bdg@ccmb.res.in
Model OCA 40 Micro Automared Contact Angle Measuring System with high performance Video System with auto controlled stage |  |  | BECKMAN COULTER INTERNATIONAL S.A.CASE POSLATE 1059 22 RUE JUSTE-OLIVLER,K 1260 NEON-1, SWITZERLAND. | OPTIMA MAX-XP | CTZ 11 B12 | External Funding | CSIR |  |  |  |  | 1184904 | [7 empty] | bdg@ccmb.res.in
ELIX 35 AND MILLI Q BIOCEL WATER PURIFICATION SYSTEM WITH CONSUMABLES |  |  | Techcomp (Macao commercialOffshore) ltd | Hitachi F7000 Fluorimeter | Sl no of Fluorimeter -- 2351-005 | External Funding | CSIR |  |  |  |  | 1020600 | [7 empty] | bdg@ccmb.res.in
Roche High Throughput Light Cycler 480 Real Time PCR II System with 96 Well 1 No. |  |  | M/s DataPhysics Instruments GmbH | 1. OCA 40 Micro & POWER SUPPLY | 1. OCA system- 031B0709T-90E & 034B0509F947 | External Funding | CSIR |  |  |  |  | 2800000 | [7 empty] | bdg@ccmb.res.in
Nanofiber Electrospinning Unit with accessories and spares |  |  | Roche Diagnostics Asia Pacific ltd | Light Cycler 480 II | RTPCR S.No. 27838. | External Funding | CSIR |  |  |  |  | 17400000 | [7 empty] | bdg@ccmb.res.in
Protean IEF Cell |  |  | M/S BIO-RAD LABORATORIES (INDIA) PVT. LTD. | #1708640 | 603BR1249 | External Funding | CSIR |  |  |  |  | 17728080 | [7 empty] | bdg@ccmb.res.in

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE
Ministry of Textiles
SRIC Development Fund