## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Ratary Kiln |  |  | Nanotec | NT/RK/1400/3Z | NA | External Funding | CSIR | Titania slag production from ilmenite | Reaction Zone Length (1500-2000 mm),Feeder material:Stainless steel,Feed Rate:10-40 kg/hr,Microprocessor based (Graphical user interface touch screen) to control and indicate the instantaneous values of the parameters like rotational speed in RPM,inclination in degree, temperature at different positions. |  |  | 2721600 |  |  | Research Infrastructure |  |  |  |  | nigam.immt@csir.res.in
Coke Making Tunnel Furnace |  |  | NanoTec | NT/Coke-Making Tunnel Furnace | NA | External Funding | CSIR | Waste utilization | Operating Temperature: Maximum continuous operating temperature: 1350°C Maximum operating duration: Up to 40 hours Atmosphere: Furnace atmosphere: Inert gas environment (Argon/Nitrogen) Gas purging capability: Integrated at both entry and exit points to maintain an inert atmosphere. Design and Dimensions: Total length: Approximately 13 meters Hot zone length: 10 meters |  |  | 5900000 |  |  | Research Infrastructure |  |  |  |  | nigam.immt@csir.res.in
Ball mill |  |  | Sreema Engineering | SSLBM-2, SSLBM-5, SSLBM-10 | 559, 561 and 561 | External Funding | CSIR |  | Ball Mill of three capacities: 2, 5 and 10 kg Type: Batch Type Ball Mill. Material Input Size: 15-30 Mm Material Output Size:45 To 75 Micron 2Kg Specification: width 200mm x 300 mm dia, motor 2.0 HP, Speed 70 RPM 5Kg Specification: width 250mm x 300 mm dia, motor 3.0 HP, Speed 70 RPM 2Kg Specification: width 300mm x 400 mm dia, motor 5.0 HP, Speed 70 RPM Grinding media ball SS: 100kg |  |  | 1039222 |  |  | Research Infrastructure |  |  |  |  | dksahu@immt.res.in
LPG Fired Scada PLC Based Potgrate Induration System |  |  | Salvin Instruments Pvt. Ltd. Bangalore | SI_PSA_SCADA_IIOT_AUTO_23 | SI_PSA_SCADA_IIOT_Auto_23_211124 | External Funding | CSIR |  | Firing Burner: Single top-mounted burner Pot Grate Chamber: ID: 340 mm, H: 450mm Temperature Measurement: working temp. upto 1300 °C, R-Type Thermocouple-3 Nos. and K-Type TC-1 Nos. Suction Blower Motor-15 H.P. 3 Phase Induction Motor. Air Combustion Blower: Motor-2HP-3 Phase Suction Pressure Sensor: Range: 0-150 mbar Scada PLC Control Panel: Power 6KW,415 Volt. Data Acquisition System: Dell system, Processor: Ram: 16 GB, i7-8700 CPU, 3.2 GHz, 64 Bits |  |  | 4012000 |  |  | Research Infrastructure |  |  |  |  | dksahu@immt.res.in
Handheld XRF Metal Analyzer |  |  | M/s. Bruker Singapore Pte Ltd. | S1 Titan 800 | 800N11538 | External Funding | CSIR-IMMT, Bhubaneswar | Facility creation of Handheld XRF analyzer for onsite analysis of ores and materials | 1. Objective: For identification of ores and materials based on estimation of its chemical composition 2. X-Ray Tube voltage: 50 KV/4W or more 3. Anode target: Rhodium; air cooled 4. X-ray current range: 5 - 200 μA 5. Detector type: Silicon drift detector with graphene window and minimum active area of 25 mm2 6. Detector Resolution: <135eV FWHM @5.95 keV 7. Analytical range: Elements from Magnesium (Mg) to Uranium (U) in geological samples and alloys 8. Limit of detection: Need to comply with following limits of detection in pure SiO2 matrix: a. Cu, Pb, Zn, Zr, U, Th : > 5 ppm or better b. Mg: > 3000 ppm or better c. Al: > 400 ppm or better d. S: > 300 ppm or better e. P: > 300 ppm or better 9. Calibration: Instrument must be able to analyse Geological and Alloy samples. 10. Color CMOS Camera: In-line aiming camera for focusing collimation area (8mm) 11. Built-in or External GPS with provision for saving spectrum tagged with sample image and GPS location, height etc. 12. Detector Protection: Detector shield or shutter or similar technology 13. Fail-safe proximity sensor to ensure that the analyser is in contact with the sample before starting the measurement. 14. Windows 10 compatible PC software for offline data analysis and processing. |  |  | 1967148 |  |  | Analytical Measurement |  |  |  |  | tkundu@immt.res.in
Bench Scale fludidized bed gasification unit with syn gas analizer |  |  | Qualitas Techno Solutions Pvt. Ltd. Plot No 39, Sanuguruji Vasahat, Radhanagari Road,Kolhapur 416012 | Customized - QTS make | Customized - QTS make | External Funding | CSIR-IMMT | Development of a novel coal-gasification technology specific to high ash Indian coal with integrated CO2 capture | Custom-made bench-scale fluidized-bed gasification unit for basic research studies on coal, biomass, lignite and other carbonaceous substrates |  |  | 5568150 |  |  | Research Infrastructure |  |  |  |  | rakeshsaini@immt.res.in
Oxidation Furance |  |  | Carbolite | BLF 16/3 | 21-900788 | External Funding | CSIR | Thermodynamics and kinetics study of ferruginous ilmenite reduction and smelting for production of titania slag | 1. Temperature Settings: - Maximum Temperature: 1600°C - Operating Temperature: 1450-1500°C for 24 hours - Heating Rate: Minimum 15°C/min - Thermocouple Type: R - Heating Element: Kanthal Globar silicon carbide 2. Chamber Specifications: - Internal Dimensions: 190 mm (H) x 150 mm (Diameter) - Volume: Minimum 3 liters - Hearth: Electrically operated elevator for rapid heating and cooling, modified for gas/air introduction - Crucible: Inverted alumina crucible (3 litres) - Hearth Plug: Thermal insulation plug to minimize heat loss - Insulation: High-density ceramic boards made of polycrystalline alumina/mullite fibre 3. Gas Arrangement: - Inlet: Uniform gas supply via perforated refractory bricks - Outlet: Located at the top of the furnace - Flow Meter: Includes gas inlet and solenoid valve with automatic switch 4. Control Panel: - Control System: Digital programmable PID with indicators, MCB, ammeter, voltmeter, and power control - Temperature Controller: Honeywell, Fuji, or Eurotherm with 8-segment programming - Power Rating: Up to 6 kW - Safety: Electrically operated hearth with interlock for operator protection earth cage with safety interlock. |  |  | 1557779 |  |  | Research Infrastructure |  |  |  |  | deepak.immt@csir.res.in
DC ARC Furnace |  |  | NA | NA | NA | External Funding | CSIR | Thermodynamics and kinetics study of ferruginous ilmenite reduction and smelting for production of titania slag | 1) Power Source: - Power: 60 kW - IGBT switch - Max output current: 500-600 Amps - Max output voltage: 50-120 Volts - Power Factor: >0.9 - Cooling: Water-based with auto cut-off - Display: Instantaneous and cumulative data (Power, Power Factor, Energy consumption) - Fault Indications: Low/High Voltage, Temperature Issues, System Trip - Power Supply: 415V, 50Hz, 3 Phase 2) Reactor: - Dimensions: 100 cm (H) x 40 cm (D) - Casing: Stainless steel (SS 304/SS 316) with mirror finish; water-cooling to keep temp <50°C - Hearth: Refractory bricks/ramming mass, withstands 2000°C for 1 hour - Crucible: Graphite for smelting - Insulation: Alumina bubbles between crucible and lining - Cover: Water-cooled stainless steel with visibility - Temperature Measurement: High-temperature pyrometer - Electrode: Hollow graphite for arcing, easy replacement - Material Charging: Hopper for powder charging through electrode - Gas Purging: Inert gas (argon) for melt protection, with regulator and flow meter included |  |  | 3276000 |  |  | Research Infrastructure |  |  |  |  | deepak.immt@csir.res.in
Automatic Blaine Apparatus |  |  | Toni Perm | 6575 | 127 | External Funding | Vedanta | Process flowsheet development for the recovery of iron values from low-grade iron ore | Working Principle  The fineness of a powder sample is measured by calculating the time required for a specific volume of air to pass through the sample in a permeability cell. A negative pressure is generated using a U-tube manometer with photoelectric sensors, a solenoid valve, and a diaphragm pump, which is balanced by air flowing through the powder bed. Permeability Cell  Made of non-scaling metal with a 12-13 mm internal diameter.  A ledge (0.5-1.0 mm wide) should securely support the perforated disc, positioned 50-60 mm from the tube's upper end.  The lower external wall should have a standard-taper male coupling that aligns tightly with the manometer's female coupling.  Two permeability cells are required. Manometer  Should include a U-tube manometer with photoelectric sensors, a solenoid valve, and a diaphragm pump.  Automatic fluid movement control until the upper mark and sensing of upper and lower marks for consistent timing.  Height-adjustable optical sensors for varying material test times. Results Interface  Automated testing, recording, and reporting of results.  Database storage for approximately 300 measurement results, including density and porosity.  Touch screen display for user-friendly operation.  Temperature integration in specific surface area calculations with 0.1-second resolution.  USB interface for quick export and printer connection for raw data printing. Accessories  Certified Reference Material / Coarse Quartz Sand (approx. 2800 cm²/g).  Certified Reference Material / Fine Quartz Sand (approx. 4000 cm²/g).  Box of 41 mm round filters (min. 500 units).  13 mm dust filters (min. 100 pieces).  Manometer Fluid (Aeroshell 41) |  |  | 1888000 |  |  | Testing Equipment |  |  |  |  | deepak.immt@csir.res.in
Zeta Probe Zeta Potential Analyser |  |  | Colloidal Dynamics LLC | ZetaProbe | 1178 | External Funding | CSIR | Central caracterization Facilities for Analysis of Minerals and materials (Facility Creatoin for CSIR-IMMT) |  |  |  | 3310125 |  |  | Instrument |  |  |  |  | sdbarma@immt.res.in
Automatic Batch Leaching Reactor |  |  | Venture Scientific, New Delhi | ABLR/VS/01 | 1402425 | External Funding | CSIR | Battery to Battery: Recovery of Metal Values from Spent Lithium Ion Batteries and Fabrication of New Lithium Ion Batteries-A Circular Economy Approach’ |  |  |  | 4132360 |  |  | Equipment |  |  |  |  | sdbarma@immt.res.in
Carbon Sulphur elemental analyser |  |  | Leco | CS844 | ( PC Sl No.2UA4121P30) | External Funding | CSIR | --- |  |  |  | 4627696 |  |  | Characterization |  |  |  |  | bbpalei@immt.res.in
Inductively Coupled Plasma optical Emission Spectrometer |  |  | Perkin Elmer | 8300(ICPOES) | 7881407103 | External Funding | CSIR | --- |  |  |  | 3981572 |  |  | Characterization |  |  |  |  | bbpalei@immt.res.in
CHNS Analyser |  |  | LECO | TRUSPEC | 3510 | External Funding | CSIR | Bio mineral processing of ores, coal, concentrates and wastes |  |  |  | 2690136 |  |  | Characterization |  |  |  |  | dsatapathy.immt@csir.res.in
PE Hystersis Tracer |  |  | Marine India | PE-01 | NA | External Funding | CSIR-IMMT | Synthesis and characterization of new Multiferroic material for versatile application |  |  |  | 1343925 |  |  | Electrical Equipment |  |  |  |  | shahid@immt.res.in
Field Emission Transmission Electron Microscope |  |  | JEOL-Japan | TEM- F200 | EM1730001140114 | External Funding | CSIR (FCP) | Transmission Electron Microscope (TEM) research facility |  |  |  | 70458175 |  |  | Research Infrastructure |  |  |  |  | shahid@immt.res.in
Electro Strictrive Strain Measurement System |  |  | Marine India | 0.1SM100HZ18 | ESSM 0.1SM100HZ18 IMMT | External Funding | CSIR (AMM) | Flexible ceramic-polymer Piezoelectric composite for energy harvesting application |  |  |  | 1785000 |  |  | Electrical Equipment |  |  |  |  | shahid@immt.res.in
SOFC Single Cell Sample Testing System with following attachments |  |  | Sinsil International | H2 Bank | 20240703 | External Funding | CSIR-IMMT |  |  |  |  | 2749400 |  |  | Research Infrastructure |  |  |  |  | shahid@immt.res.in
Electrometer |  |  | Keithley-Tektronix | 6517B | 4660735 | External Funding | MoES |  |  |  |  | 1266000 |  |  | Electrical Equipment |  |  |  |  | shahid@immt.res.in
Water purification system |  |  | Merck Life science Ltd. | Milli-Q EQ7000 | F5AB21001I | External Funding | CSIR-IMMT | Lab Fund |  |  |  | 1168130 |  |  | Research Infrastructure |  |  |  |  | rrnayak.immt@csir.res.in
Zetasizer Advance Series Pro with accessories |  |  | Malvern PANalytical UK | ZSU3200 | ZSU3200160004/MAL1266208 | External Funding | CSIR, India | Development of anti-inflammatory nanogel for arthritis treatment |  |  |  | 3140000 |  |  | Research Infrastructure |  |  |  |  | ngoswami.immt@csir.res.in
Fluorescence and Absorbance Spectrophotometer with Fluorescence sample image analyzer |  |  | JASCO Internation co.ltd | FP-8350&V-750 | C 005062080/ D 124161799 | External Funding | CSIR-IMMT |  |  |  |  | 2205000 |  |  | Research Infrastructure |  |  |  |  | ngoswami.immt@csir.res.in
Mid Infrared FT IR Spectrometer |  |  | Thermo Electron Sclentific Instruments LLC, USA | Nicolet iS20 | BEP2110729 | External Funding | CSIR | Bimetallic Cluster Encapsulated Porous Hybrid Materials for Simultaneous Capture and Catalytic Conversion of Gaseous Pollutants |  |  |  | 2412326 |  |  | Analytical Measurement |  |  |  |  | sumitsaha.immt@csir.res.in
Vacuum Glovebox Work Station with accessories |  |  | NA | NA | NA | External Funding | CSIR |  |  |  |  | 1376107 |  |  | Research Infrastructure |  |  |  |  | bkpatra.immt@csir.res.in
BIO Atomic Force Microscopy with accessories |  |  | JPK Bruker | Nanowizard Sense+ | JPK02069 | External Funding | CSIR | “Development of Advanced Materials and Devices for Opto-electronic, Biomedical and Strategic Applications” |  |  |  | 16110050 |  |  | Research Infrastructure |  |  |  |  | bkpatra.immt@csir.res.in
Vacuum Glove Box with accessories |  |  | Mbraun India | Easy LabPro(i) | PRS2460 | External Funding | CSIR-IMMT | Capacitive, pseudocapacitive and hybrid energy storage materials: Development, device fabrication and insights of cell degradation mechanisms |  |  |  | 3320000 |  |  | Research Infrastructure |  |  |  |  | simantini.immt@csir.res.in
Modular Electrochemical Workstation |  |  | Metrohm Autolab | PGSTAT320N | AUT89137 | External Funding | DST-SERB & CSIR-IMMT | Two-dimensional nanostructured pH-universal catalysts for efficient and durable electrocatalytic hydrogen evolution |  |  |  | 2242000 |  |  | Testing Equipment |  |  |  |  | simantini.immt@csir.res.in
Muffle Furnace High Tempreture Carbolite |  |  | Cole-Parmer | 33859-03 | 21-003241 | External Funding | DST and CSIR | Graphene based nanoarchitectures for catalytic applications |  |  |  | 1517040 |  |  | Research Infrastructure |  |  |  |  | diptidas.immt@csir.res.in
High Speed Gas Chromatography Analyser |  |  | Shimadzu | GC-2010 | C11324305185 | External Funding | CSIR |  |  |  |  | 1179428 |  |  | Analytical measurement |  |  |  |  | diptidas.immt@csir.res.in
Automated Surface Area and Poresize Analyser |  |  | Micromeritics | ASAP2020 | 708 | External Funding | CSIR |  |  |  |  | 2530351 |  |  | Characterisation |  |  |  |  | diptidas.immt@csir.res.in
UV Visible Spectrophotometer with Accessories |  |  | Agilent (Previously Varian) | Cary 100 | EL08013244 | External Funding | CSIR |  |  |  |  | 1021126.4 |  |  | Characterisation |  |  |  |  | diptidas.immt@csir.res.in
Autochem 2920 Chemisorptiom Analyser Vapor Generator |  |  | Micromeritics | Autochem 2920 | 490 | External Funding | CSIR |  |  |  |  | 5140171 |  |  | Characterisation |  |  |  |  | diptidas.immt@csir.res.in
TG DTA System |  |  | Netzsch | STA449F3 | STA449F3A-0475-M | External Funding | CSIR |  |  |  |  | 1652714 |  |  | Characterisation |  |  |  |  | diptidas.immt@csir.res.in
Luminescence Spectrometer with accessiries |  |  | Perkin elmer | LS55 | 92256 | External Funding | CSIR | Anchored graphene nanocomposites for catalytic applications |  |  |  | 1171766 |  |  | Characterisation |  |  |  |  | diptidas.immt@csir.res.in
Advanced optical polarizing microscope |  |  | Leica | DM4P LED | 461319-DFC550-8974817-LAS-LAS29620 | External Funding | CSIR | Central Characterization facilities for analysis of Minerals and materials |  |  |  | 2698479 |  |  | Characterization |  |  |  |  | nilima@immt.res.in
Leica coal petrographic microscope |  |  | Leica | DM 4500P | 358160 | External Funding | CSIR |  |  |  |  | 7451256 |  |  | Characterization |  |  |  |  | nilima@immt.res.in
Scanning Electron Microscope |  |  | ZEISS | ZEISS EVO 18 Column | 8005012492 | External Funding | CSIR | Central Characterization facilities for analysis of Minerals and materials |  |  |  | 11852344 |  |  | Characterization |  |  |  |  | nilima@immt.res.in
Multiprep TM Precision Polishing Machine with Accessories |  |  | Allied High tech product | 15-2200: MultiPrep | TPTS-273A/H21/MTP-947B-F21 | External Funding | CSIR | Central Characterization Facilities for Analysis of Minerals and Materials |  |  |  | 2198759 |  |  | Research Infrastructure |  |  |  |  | ashutosh@immt.res.in
Advanced Plasma cleaner HPT 100 TEM Complete Plasma Treatment System with Pump |  |  | Henniker Plasama | Edward nxDs61 | WR1444 | External Funding | CSIR | Central Characterization Facilities for Analysis of Minerals and Materials |  |  |  | 2139210 |  |  | Research Infrastructure |  |  |  |  | ashutosh@immt.res.in
Twin jet Electro Polisher for TEM Sample Preparation Unit |  |  | Struers | TenuPol-5 | 53920047 | External Funding | CSIR | Central Characterization Facilities for Analysis of Minerals and Materials |  |  |  | 2503680 |  |  | Research Infrastructure |  |  |  |  | ashutosh@immt.res.in
Ion Beam Milling Equipment for TEM Sample Preparation Unit with accessories |  |  | Gatan | 6950PIPS-II Pro | 22021102W0695 | External Funding | CSIR | Central Characterization Facilities for Analysis of Minerals and Materials |  |  |  | 18174720 |  |  | Research Infrastructure |  |  |  |  | ashutosh@immt.res.in
Precission Vertical Diamond Wire Saw for TEM Sample Preparation Unit |  |  | Well | 3500 Preimum Diamond wire saw(3500-P) | 309 | External Funding | CSIR | Central Characterization Facilities for Analysis of Minerals and Materials |  |  |  | 3062806 |  |  | Research Infrastructure |  |  |  |  | ashutosh@immt.res.in
Automatic X Ray Diffractometer system |  |  | RIGAKU | RIGAKU ULTIMA IV | GD3832N | External Funding | NA | NA |  |  |  | 11418323 |  |  | Analytical Measurement |  |  |  |  | jsahu@immt.res.in
High Temperature Differential Scanning Calorimeter |  |  | NETZSCH | TG-DSC, STA449F3 Jupiter. | HTP40000A28-0690 | External Funding | NA | NA |  |  |  | 2956169 |  |  | Analytical Measurement |  |  |  |  | jsahu@immt.res.in
Transmission Electron Microscope |  |  | FEI | Tecnai G2 20 | D2044 | External Funding | CSIR | --- |  |  |  | 23475672 |  |  | Characterization |  |  |  |  | ajitdash@immt.res.in
High Resolution Digital CCD Based camera system |  |  | AMT | XR81L-B | NA | External Funding | CSIR | Central Characterization Facilities for Analysis of Minerals and Materials |  |  |  | 3385200 |  |  | Research Infrastructure |  |  |  |  | ajitdash@immt.res.in
PC Controlled Ultramicrotone |  |  | RMC | PT-PC 75840 | NA | External Funding | CSIR | --- |  |  |  | 4553165 |  |  | Research Infrastructure |  |  |  |  | ajitdash@immt.res.in
ICP OES |  |  | Perkin Elmer | Optima 2100 DV | 080N8031201 | External Funding | CSIR |  |  |  |  | 2282541 |  |  | Testing Equipment |  |  |  |  | subhendukabi.immt@csir.res.in
Atomic Absorption Spectrophotometer |  |  | SHIMADZU | AA-6300 | A30524501985 | External Funding | CSIR |  |  |  |  | 1742388.37 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
Atomic Absorption Spectrophotometer |  |  | Thermo fisher Scientific | iCE 3500 | AA05194706 | External Funding | CSIR (In-house) | NA |  |  |  | 3165243 |  |  | Characterization |  |  |  |  | jdas@immt.res.in
Ion Chromatography System with Accessories |  |  | Metrohm | 881 | 1881000116134 | External Funding | Not Avaible | Not Avaible |  |  |  | 3627258 |  |  | Characterization |  |  |  |  | arakshita@immt.res.in
Ethos One Microwave Digestion System |  |  | ETHOS | 260 | 13430010406005 | External Funding | Not Avaible | Not Avaible |  |  |  | 1300000 |  |  | Characterization |  |  |  |  | arakshita@immt.res.in
Portable Generator |  |  | Honda | EIS30IS | EED-1049617 | External Funding | Hindlco | EIA study of Red Mud |  |  |  | 1469010 |  |  | Electrical Equipment |  |  |  |  | arakshita@immt.res.in
Shimadzu HPLC System with Controller |  |  | SHIMADZU | VP series | C20973908271 | External Funding | MOES, Govt. opf India | Bioactive substances from marine organisms of Odisha-Andhra coast under national programme on potential development of potential drugs from the Ocean |  |  |  | 1540875 |  |  | Research Infrastructure |  |  |  |  | pravatmanjari.immt@csir.res.in
Gas Chromatograph Mass Spectrometer |  |  | SHIMADZU | GCMS-QP2020 NX with AOC-20 ITS | TCD-1983507217/01806-SA | External Funding | P-50 | CSIR |  |  |  | 5272500 |  |  | Research Infrastructure |  |  |  |  | pravatmanjari.immt@csir.res.in
Fluorescene Spectrometer with accessories |  |  | SHIMADZU | RF-6000 | A40245701589 | External Funding | DST, Govt. of India | Green synthesis of low-cost, reusable and eco-friendly bio-based magnetite |  |  |  | 1147000 |  |  | Research Infrastructure |  |  |  |  | pravatmanjari.immt@csir.res.in
Metal ION Analyzer |  |  | Metrohm | 884 Professional VA | 001000075639- 1884000009101 | External Funding | MoES | Polymetallic Nodules Processes Development |  |  |  | 1339346 |  |  | Research Infrastructure |  |  |  |  | sujana@immt.res.in
High Speed Centrifuge |  |  | Thermo Scientific | Sorvall LYNX 6000 | 42358458 | External Funding | DST WTI | Delevopment of Adsorption media for fluoride removal |  |  |  | 1884202 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
Organic Carbon Analyzer with accessories |  |  | Shimedzu, | Model TOC-Lcph, | Part no. 638-91112-58 | External Funding | CSIR | Center of excellence for water quality assessment |  |  |  | 2416435 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
CHNS Enalyzer |  |  | Elementar | UNICUBE | 0400201011 and 18201006 | External Funding | CSIR | Center of excellence for water quality assessment |  |  |  | 55300 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
Refrigerated Centrifuge |  |  | Sigma | 3.30k | 144139 | External Funding | Ministry of Steel |  |  |  |  | 1017473.96 |  |  | Research Infrastructure |  |  |  |  | usubudhi.immt@csir.res.in
Real time Thermal Cycler Real Plex 2630011649 |  |  | Eppendorf | Realplex 2 | 5345030563 | External Funding | Ministry of Steel |  |  |  |  | 1988219.95 |  |  | Research Infrastructure |  |  |  |  | uusubudhi.immt@csir.res.in
Upright Microscope |  |  | Leica | DM3000 | 347418 | External Funding | Ministry of Steel |  |  |  |  | 1931469 |  |  | Research Infrastructure |  |  |  |  | usubudhi.immt@csir.res.in
Freeeze Dryer Lyophilizer |  |  | Martin Christ | Alpha 1-2 DL | 18083 | External Funding | Ministry of Steel |  |  |  |  | 1165181 |  |  | Research Infrastructure |  |  |  |  | usubudhi.immt@csir.res.in
CD Chirascon |  |  | Applied Photophysics | Chirascsn | CS30046 | External Funding | CSIR |  |  |  |  | 6268429.91 |  |  | Research Infrastructure |  |  |  |  | usubudhi.immt@csir.res.in
Carry 100 UV Vis Spectrophotometer |  |  | Agilent | Cary-100 | UV1206M061 | External Funding | CSIR |  |  |  |  | 1037566 |  |  | Research Infrastructure |  |  |  |  | usubudhi.immt@csir.res.in
Particle Size and Zeta Potential Analyzer |  |  | Anton Paar | 155761/AT Litesizer | 82831677 | External Funding | CSIR |  |  |  |  | 1333244.55 |  |  | Research Infrastructure |  |  |  |  | usubudhi.immt@csir.res.in
Refrigerated Centrivap Vacuum Concentrator |  |  | Lab Conco | Cold-trap 50 | 130575429G | External Funding | CSIR |  |  |  |  | 1106965.49 |  |  | Research Infrastructure |  |  |  |  | usubudhi.immt@res.in
Iso Thermal Calorimetry System with accessories |  |  | Malvern | MicroCal PEAQ | MAL1298775 | External Funding | CSIR |  |  |  |  | 7373650 |  |  | Research Infrastructure |  |  |  |  | usubudhi.immt@csir.res.in
MilliQ R IQ 7000 Purification System |  |  | Merck | ZIQ7000TOC | F3NB78542 | External Funding | CSIR |  |  |  |  | 2242000 |  |  | Research Infrastructure |  |  |  |  | usubudhi.immt@csir.res.in
Shimadzu Atomic Absorption spectrophotometer |  |  | SHIMADZU | AAS-7000 | A30664801182, | External Funding | CSIR |  |  |  |  | 3798992 |  |  | Research Infrastructure |  |  |  |  | arakshita.immt@csir.res.in
Auto Potentiometric System with Accessories |  |  | M/s. Metrohm AG, Swizerland | 905 Titrando | 19107 | External Funding | NRSC, ISRO, Hyderabad | Study of Coastal Carbon Dynamics in Estuaries and Near shore waters of Mahanadi and Dhamra |  |  |  | 1906913 |  |  | Research Infrastructure |  |  |  |  | arakshita.immt@csir.res.in
Total Organic Carbon Analyser |  |  | M/s. Elementer Analysis System, GmbH,Germany | Vario TOC Cube | 38121011 | External Funding | Minstry of Earth Sciences | Seawater Quality Monitoring of Odisha and West Bengal |  |  |  | 2237500 |  |  | Research Infrastructure |  |  |  |  | arakshita.immt@csir.res.in
Carbon Monoxide Gas Analyzer |  |  | Thermofisher Scientific | 48i BZSAA | CM23177081 | External Funding | Paradip Port Authority | Ambient Air Quality Monitoring in and around Paradip Port |  |  |  | 1420130 |  |  | Research Infrastructure |  |  |  |  | arakshita.immt@csir.res.in
U V Photometic Ozone Analyzer |  |  | Themofishser | 49i-B3ZAB | 830433000 | External Funding | ISRO-GBP | Monitoring of ozone and its precursor |  |  |  | 1168643 |  |  | Data Monitoring |  |  |  |  | truptidas.immt@csir.res.in
Aethalometer |  |  | Magee Scientific | AE-42-7 | NA | External Funding | CSIR |  |  |  |  | 1256900 |  |  | Data Monitoring |  |  |  |  | truptidas.immt@csir.res.in
Auto Sampler |  |  | NA | 063104 AS | NA | External Funding | CSIR |  |  |  |  | 1552699.29 |  |  | Characterization |  |  |  |  | truptidas.immt@csir.res.in
Gas Chromotography System |  |  | PerkinElmer | CLAEUS480, | 480S13042304 | External Funding | ISRO-GBP | Monitoring of ozone and its precursor |  |  |  | 1689987 |  |  | Characterization |  |  |  |  | truptidas.immt@csir.res.in
ICP OES Duo |  |  | Themofishser | ICAP 7600 | IC76DC191407 | External Funding | CSIR | Facility creation project (FCP) mode of CSIR |  |  |  | 4737700 |  |  | Analytical Measurement |  |  |  |  | truptidas.immt@csir.res.in
FTIR Spectrometer |  |  | Bruker | Alpha-II | 410093 | External Funding | CSIR | Facility creation project (FCP) mode of CSIR |  |  |  | 1488949 |  |  | Characterization |  |  |  |  | boopathy.immt@csir.res.in
Atmospheric Plasma Spray Unit |  |  | MEC | (PS-50M) | NA | External Funding | CSIR |  |  |  |  | 14654380 |  |  | Fabrication |  |  |  |  | sbajpai.immt@csir.res.in
MEC accoustic chamber with |  |  | MECPL | NA | NA | External Funding | CSIR |  |  |  |  | 2248080 |  |  | Research Infrastructure |  |  |  |  | sbajpai.immt@csir.res.in
Dry and Slurry Abrasion Tester |  |  | Ducom | CM-9101 | NA | External Funding | CSIR |  |  |  |  | 1847664 |  |  | Testing Equipment |  |  |  |  | sbajpai.immt@csir.res.in
Spraywatch 2i Scientific System |  |  | Oseir | Spraywatch 2i | NA | External Funding | CSIR |  |  |  |  | 3646738 |  |  | Data Monitoring |  |  |  |  | sbajpai.immt@csir.res.in
Lab Scale Spray Drying Plant |  |  | Sachi Engnieering Pvt Ltd | LSDP-3 | NA | External Funding | CSIR |  |  |  |  | 1088975 |  |  | Fabrication |  |  |  |  | sbajpai.immt@csir.res.in
Laserflash thermal constant Analyser |  |  | Linseis | LFA 1000/1250 | NA | External Funding | CSIR |  |  |  |  | 5253194 |  |  | Analytical Measurement |  |  |  |  | sbajpai.immt@csir.res.in
X RAY MicroCT with accessories |  |  | Bruker | SKYSCAN 2211 | 14A13002 | External Funding | CSIR |  |  |  |  | 36020915.2 |  |  | Research Infrastructure |  |  |  |  | sbajpai.immt@csir.res.in
Field Emission Scanning Electron Microscope |  |  | JEOL, EDAX | JSM-IT8005HL | SM1040000210021 | External Funding | CSIR |  |  |  |  | 43318933 |  |  | Testing Equipment |  |  |  |  | sbajpai.immt@csir.res.in
Spray Dryer Unit |  |  | TSPS | PSD3-P | PSD3-P-22/23-02 | External Funding | CSIR |  |  |  |  | 1494045 |  |  | Fabrication |  |  |  |  | sbajpai.immt@csir.res.in
High Temperature Furnace |  |  | Nabertherm | HT16/17 | 357122 | External Funding | CSIR | Facility creation for up-scaling of gem processing technology |  |  |  | 1871953 |  |  | Research Infrastructure |  |  |  |  | pradyut.csir@immt.res.in
Planetary Ball mill |  |  | Retsch | PM100 | 127140902G | External Funding | INFRA | INFRA |  |  |  | 1241809.22 |  |  | Research Infrastructure |  |  |  |  | debidutta@immt.res.in
Planetary Micro Mill |  |  | Fritsch | pulverisette 7 | 07500/00437 | External Funding | INFRA | INFRA |  |  |  | 1204437.63 |  |  | Research Infrastructure |  |  |  |  | debidutta@immt.res.in
Impendance Analyzer |  |  | Wayne Kerr | 1J65120BD2 | 1297570 | External Funding | INFRA | INFRA |  |  |  | 2352051 |  |  | Analytical Measurement |  |  |  |  | debidutta@immt.res.in
Vacuum Furnace series VF2000 |  |  | VICO | II VF 2000 | VF 2000 | External Funding | INFRA | INFRA |  |  |  | 1703326 |  |  | Research Infrastructure |  |  |  |  | debidutta@immt.res.in
VPS V Channels Potentiostat Galvanostat |  |  | Biologic | VSP | 1274 | External Funding | INFRA | INFRA |  |  |  | 2302795 |  |  | Analytical Measurement |  |  |  |  | debidutta@immt.res.in
UV VIS Spectro Meter |  |  | Shimadzu | UV-2600 | A11665302390 | External Funding | INFRA | INFRA |  |  |  | 1313838 |  |  | Characterization |  |  |  |  | debidutta@immt.res.in
Plasma Reactor |  |  | Assembled | Assembled | NA | External Funding | INFRA | INFRA |  |  |  | 2678000 |  |  | Research Infrastructure |  |  |  |  | debidutta@immt.res.in
Plasma Reactor for Carbothermal |  |  | Assembled | Assembled | NA | External Funding | INFRA | INFRA |  |  |  | 5751200 |  |  | Research Infrastructure |  |  |  |  | debidutta@immt.res.in
Micro Raman Spectroscopy System |  |  | Renishaw | InViA Reflex | 875A47 | External Funding | INFRA | INFRA |  |  |  | 15777058 |  |  | Characterization |  |  |  |  | debidutta@immt.res.in
Cary Universal Measurement Accessory |  |  | Agilent | G6875AA | 90279090 | External Funding | CSIR | Development of Advanced Materials and Devices for Opto- electronic, Biomedical and Strategic Applications |  |  |  | 2100000 |  |  | Research Infrastructure |  |  |  |  | balaji@immt.res.in
High Frequency Pulsed DC Plasma |  |  | Zeonics | ZE/HV/DBD/40KV | G16522 | External Funding | DST | Technology Development for Advanced Plasma Processing of Indian Cultural heritage and Archaeological artefacts for Conservation and Feature enhancement |  |  |  | 2280551 |  |  | Research Infrastructure |  |  |  |  | balaji@immt.res.in
RF Generator and Matching network |  |  | AG | AG0613 RE | AIT-600-06R | External Funding | CSIR | Shelf life enhancement of seeds and grains by plasma treatment |  |  |  | 1170000 |  |  | Research Infrastructure |  |  |  |  | balaji@immt.res.in
Optical Emission Spectrophotometer |  |  | LECO corporation | 607-500 | 3214 | External Funding | CSIR-IMMT |  |  |  |  | 4151420 |  |  | Research Infrastructure |  |  |  |  | tapas@immt.res.in
Automated universal Testing Machine |  |  | Tinious Olsen, England | H50KS | H50KS-0562 | External Funding | CSIR-IMMT |  |  |  |  | 3740751 |  |  | Research Infrastructure |  |  |  |  | tapas@immt.res.in
High Temp Tribo Meter |  |  | CSM | THT-S-AE0000 | 01-05008 | External Funding | CSIR-IMMT |  |  |  |  | 7158266 |  |  | Research Infrastructure |  |  |  |  | tapas@immt.res.in
Motorised Pendulum Impact Testing Machine |  |  | Instron (ITW India) | 600MPX | R9511 | External Funding | CSIR-IMMT |  |  |  |  | 4485080 |  |  | Research Infrastructure |  |  |  |  | tapas@immt.res.in
Benchtop Optraemission Spectrometer Platinum |  |  | VAS spectrometers | Platinum Z Series | 23JB002P002 | External Funding | CSIR-IMMT |  |  |  |  | 2650280 |  |  | Research Infrastructure |  |  |  |  | tapas@immt.res.in
Microwave Power System |  |  | Seki | ASTeX AX5230S MPCVD | NA | External Funding | CSIR | Facility creation |  |  |  | 12471090 |  |  | Fabrication |  |  |  |  | skpradhan.immt@csir.res.in
Mbraun Glove Box |  |  | Mbraun | MB 200/MB10 | PRS087/6211 | External Funding | CSIR | Facility creation |  |  |  | 1200269 |  |  | Research Infrastructure |  |  |  |  | skpradhan.immt@csir.res.in
Sputtering System |  |  | AJA International | Orion-3-HV | NA | External Funding | CSIR | Facility creation |  |  |  | 6048909 |  |  | Fabrication |  |  |  |  | skpradhan.immt@csir.res.in
Table Top Sputtering System |  |  | Milman | Table-top sputtering system | NA | External Funding | DST | Growth of superhydrophilic-superhydrophobic TiO2 thin films by sputtering |  |  |  | 1103745 |  |  | Fabrication |  |  |  |  | skpradhan.immt@csir.res.in
Raman Spectometer system |  |  | Seki | STR 500 | NA | External Funding | CSIR | Facility Creation |  |  |  | 10804743 |  |  | Characterization |  |  |  |  | skpradhan.immt@csir.res.in
Spray gun Remote Cont |  |  | Pfeiffer | ASM310 | HLD1201570 | External Funding | CSIR | Facility Creation |  |  |  | 1261148 |  |  | Research Infrastructure |  |  |  |  | skpradhan.immt@csir.res.in
Air Cooled Tunable |  |  | NA | 35LAP431-230 | NA | External Funding | CSIR | Centre for Special Materials |  |  |  | 1654140 |  |  | Research Infrastructure |  |  |  |  | skpradhan.immt@csir.res.in
Ellipsometer |  |  | Horiba | UVISEL-2 | I-I-0913/32094371 | External Funding | CSIR | Centre for Special Materials |  |  |  | 10278520 |  |  | Characterization |  |  |  |  | skpradhan.immt@csir.res.in
Electrical Measurement System |  |  | NA | NA | NA | External Funding | CSIR |  |  |  |  | 2203700 |  |  | Characterization |  |  |  |  | bpbag@immt.res.in
Digital Phosphor oscilloscop |  |  | NA | NA | B065602 | External Funding | CSIR |  |  |  |  | 1083365 |  |  | Characterization |  |  |  |  | bpbag@immt.res.in
Split type High temp and high Vacuum Furnace |  |  | NA | OTF-1200X-5L | NA | External Funding | CSIR |  |  |  |  | 1912694 |  |  | Characterization |  |  |  |  | bpbag@immt.res.in
Pulse Laser Ablation System |  |  | NA | NA | NA | External Funding | CSIR |  |  |  |  | 8990923 |  |  | Characterization |  |  |  |  | bpbag@immt.res.in
Benchtop XRD with Accessories |  |  | Malvern Panalytical | DY 1546 | 81003057221 | External Funding | CSIR |  |  |  |  | 9998279 |  |  | Characterization |  |  |  |  | bpbag@immt.res.in
Three Zone Vertical Gradient Furnace |  |  | Ants Innovations | Ants Prosys 1500°C | Custom designed, Serial number not provided by the suplier | External Funding | CSIR-IMMT | Optimizing point defects and microstructures of InGaSb immiscible alloys for thermoelectric application |  |  |  | 1018500 |  |  | Research Infrastructure |  |  |  |  | nirmalvelu.immt@csir.res.in
Multi Component Gas Analyzer |  |  | Horiba | VA-3111 | XYU38A6M | External Funding | Ministry of Steel, New Delhi & NMDC Ltd., Hyderabad | Development of an Entrained Flow Gasification System Using Non-Coking Coal (F-grade) Blended with Dolochar for Thermal Applications |  |  |  | 2796765 |  |  | Analytical Measurement |  |  |  |  | dsingh@immt.res.in
Water Purification Plant RCC Structure |  |  | NA | NA | NA | External Funding | Ministry of Jal Shakti, New Delhi | Implementation of TERAFIL water filtration systems in Iron Contaminated areas of Jharkhand & Odisha and optimization of TERAFIL raw materials & its process for Eastern region of India |  |  |  | 1758811 |  |  | Pilot Plant |  |  |  |  | dsingh@immt.res.in
ABEL Hydraulic Membrane Pump |  |  | ABEL GmbH, Germany | HMD-G-80-1000 | 5100734-01 | External Funding | Ministry of Steel, New Delhi & NMDC Ltd. Hyderabad | Modeling & Optimization of High Concentration Iron Ore fines /concentrate slurry Pipelines for Indian Iron Ore Processing Industries |  |  |  | 58965000 |  |  | Pilot Plant |  |  |  |  | jkpothal.immt@csir.res.in
Low Concentration slurry test loop system with accessories |  |  | M/s. Fluid Mechanics, BBSR | Fabricated setup | Fabricated setup | External Funding | Ministry of Earth Sciences | Technology development in Extractive Metallurgy under Poly-Metallic Nodule |  |  |  | 1832000 |  |  | Pilot Plant |  |  |  |  | vprasad.immt@csir.res.in
Tube Viscometry System |  |  | M/s. Mechem Pvt. Ltd. BBSR | Fabricated setup | Fabricated setup | External Funding | CSIR-IMMT Bhubaneswar | Optimization of flow parameters/properties for high-concentration slurry system |  |  |  | 2323345 |  |  | Characterization |  |  |  |  | vprasad.immt@csir.res.in
Modular Compact Rheometer with accessories |  |  | Anton Paar India Pvt. Ltd. | MCR 302E | 84111449 | External Funding | DSIR & IMMT | Creation of DSIR Common Research and Technology Development Hub (CRTDH) in the area of New Materials/ Chemical Process |  |  |  | 6645146 |  |  | Characterization |  |  |  |  | vprasad.immt@csir.res.in
Pilot Slurry Pipe Loop Erosion Setup Centrifugal Slurry Pump |  |  | M/s. Perfect Research engineering, BBSR | Fabricated setup | Fabricated setup | External Funding | CSIR-IMMT Bhubaneswar | Studies on the influencing parameters of erosion wear in the slurry pipeline |  |  |  | 2440240 |  |  | Pilot Plant |  |  |  |  | vprasad.immt@csir.res.in
Pneumatic Conveying Pilot Plant |  |  | Kindly refer the specs for make of major equipment installed in the plant. | NA | NA | External Funding | CSIR-IMMT, Bhubaneswar | Studies on Dense Phase pneumatic conveying of bulk solids |  |  |  | 2019051 |  |  | Pilot Plant |  |  |  |  | anildubey.immt@csir.res.in
Kiloclave type 3E 250 bar 400 degree celcious |  |  | Buchi AG, Switzerland | Kiloclave 3E | 49.33030.0000 | External Funding | Ministry of Earth Sciences under GAP 301 | Technology Development (Extractive Metallurgy) for Polymetalic Nodules |  |  |  | 15856216 |  |  | Research Infrastructure |  |  |  |  | abdul@immt.res.in
High Speed Camera |  |  | Photron | Fastcam Mini UX100800 | 10201119369 | External Funding | DST-SERB | A Novel Multi-Helical Microfluidic System for effective and Integrated Extraction- Separation of Metal Ions |  |  |  | 1933914 |  |  | Research Infrastructure |  |  |  |  | samba@immt.res.in
Inverted Fluorescence Microscope |  |  | ZEISS | Axio Observer Z1 | 3851002559 | External Funding | CSIR | Internal support to the above project |  |  |  | 2084730 |  |  | Research Infrastructure |  |  |  |  | samba@immt.res.in
H1M Hybrid Multi made microplate Reader |  |  | Biotek | Synergy H1 Hybrid | 1903197 | External Funding | CSIR | Rapid and point care microfluidic kit for multiplex diagnosis of viral diseases in tomato and apple |  |  |  | 1472000 |  |  | Analytical Measurement |  |  |  |  | samba@immt.res.in
CNC Drilling EDM |  |  | Ocean Technology | River 300 | DR25710519 | External Funding | CSIR | Rapid and point care microfluidic kit for multiplex diagnosis of viral diseases in tomato and apple |  |  |  | 1855000 |  |  | Research Infrastructure |  |  |  |  | samba@immt.res.in
3D Printer |  |  | Ultimaker | Ultimaker S5 Pro Bundle | BPP-033000-106555 | External Funding | CSIR | Liquid - Liquid - Liquid Extraction and Stripping of Metal Ions in Multi-Helical Flow Reactor |  |  |  | 1264546 |  |  | Fabrication |  |  |  |  | samba@immt.res.in
20 ltr Jacketed Cylindrical Reaction Vessel assembly |  |  | M/S Shyam Enterprises | SEVZ020 | - | External Funding | CSIR |  |  |  |  | 1652070 |  |  | Research Infrastructure |  |  |  |  | aishvarya@immt.res.in
Thermogravimetric Analyzer with Differential Scanning Calorimetry |  |  | SETARAM (KEP Technologies) | SETSYS series HSN code 9027.80.90 | LC18178/01 | External Funding | CSIR |  |  |  |  | 5567363 |  |  | Characterization |  |  |  |  | aishvarya@immt.res.in
50 L Jacketed Glass Reactor with Hot and Cold closed loop |  |  | M/s Trident Labortek | - | TL116 | External Funding | CSIR |  |  |  |  | 1663000 |  |  | Pilot Plant |  |  |  |  | aishvarya@immt.res.in
Batch Leaching Reactor 100 Ltr |  |  | KVC process systems | NA | NA | External Funding | CSIR |  |  |  |  | 1850000 |  |  | Pilot Plant |  |  |  |  | aishvarya@immt.res.in
Laboratory Auto Clave |  |  | Amar Equipment Pvt ltd | HSN Code: 8419 | 4798 | External Funding | CSIR |  |  |  |  | 1859078 |  |  | Research Infrastructure |  |  |  |  | aishvarya@immt.res.in
High Pressure Reactor with Gas booster system |  |  | Amar Equipment Pvt ltd | Model: A2435 autoclave, Model: dLE-5-30-2-GG-C-SFP gas booster | - | External Funding | CSIR |  |  |  |  | 5404400 |  |  | Research Infrastructure |  |  |  |  | aishvarya@immt.res.in
Spray Dryer on wheels with Hastellay spray nozzle |  |  | Technosearch instruments | SPD-P-III | SPD-P-111-16/17-07 | External Funding | Ministry of Earth Sciences | ‘Technology Development of Extractive Metallurgy under PMN program’ |  |  |  | 1225000 |  |  | Research Infrastructure |  |  |  |  | barsham.immt@csir.res.in
SEM with EDS |  |  | Carl Zeiss- SEM, EDS- EDAX | SEM: EVO 18 Horizon, EDS: ELEMENT | SEM Serial no.EVO-18-21-80, EDAX serial no-9424.075.15040S293 | External Funding | Minstry of Earth Sciences | Technology development of Extractive Metallurgy under Polymetallic Nodules Program |  |  |  | 12214968 |  |  | Characterization |  |  |  |  | barshadash@immt.res.in
5000 UV Vis NIR Spectrometer |  |  | Agilent Technologies | Carry 5000 | MY16280011 | External Funding | Ministry of Earth Sciences | Technology development of Extractive Metallurgy under Polymetallic Nodules Program |  |  |  | 3100000 |  |  | Analytical Measurement |  |  |  |  | barshadash@immt.res.in
Electric Arc Furnace |  |  | Ion Arc Technologies | NA | NA | External Funding | Ministry of Earth Sceinces | Technology Development (Extractive Metallurgy) for Polymetallic Nodules (PMN) |  |  |  | 8365020 |  |  | Pilot Plant |  |  |  |  | bltudu@immt.res.in
250 KVA DG Set |  |  | CUMMINS India | CJGS16092511 | CJGS16092511 | External Funding | Ministry of Earth Sciences | Processening of Polymetallic Manganese Nodule |  |  |  | 1359463 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
Solvent Extraction Unit |  |  | NA | No, specific model assembled of different items. | No, specific model assembled of different items. | External Funding | Govt. Of India |  |  |  |  | 304000000 |  |  | Research Infrastructure |  |  |  |  | kpbiswal@immt.res.in
ICP OES |  |  | M/s Thermo Fisher Scientific | iCAP7600Duo | IC76DC170117 | External Funding | Ministry of Earth Sciences | Technology develoment in extractive metallugy under PMN Programme |  |  |  | 74055000 |  |  | Characterization |  |  |  |  | kpbiswal@immt.res.in
Particle Size Analyzer |  |  | NA | NA | U2555ZS | External Funding | CSIR | Multifun |  |  |  | 2154775 |  |  | Analytical Measurement |  |  |  |  | bpbag@immt.res.in
Autoclave |  |  | NA | NA | NA | External Funding | MoES | PMN |  |  |  | 1135125 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
FTIR Spectrometer |  |  | NA | NA | APW100182 | External Funding | CSIR | Multifun |  |  |  | 3515572 |  |  | Characterization |  |  |  |  | bpbag@immt.res.in
Automated Surface Area |  |  | NA | AUTOSORB-1MP | Model ASiQ | External Funding | CSIR | Multifun |  |  |  | 2059549 |  |  | Characterization |  |  |  |  | bpbag@immt.res.in
Empyream XRD with BBHD |  |  | NA | NA | DY1749 | External Funding | CSIR |  |  |  |  | 9284510 |  |  | Characterization |  |  |  |  | bpbag@immt.res.in
Electrochemical work station with Potentionstat Galvanostat |  |  | NA | CH1660E , CH1680C, 15X-3, | 11275X , 11275A | External Funding | MoM | Recyclability strategy or value-added utilization of iron/manganese ore tailing/ low grade ore: evaluation of energy storage capacities |  |  |  | 1854622 |  |  | Characterization |  |  |  |  | bpbag@immt.res.in
Vector Network Analyzer |  |  | NA | E5063A-285 | NA | External Funding | CSIR | "Development of ferrite –oxide hybrid microwave absorbing materials for stealth application |  |  |  | 2004947 |  |  | Characterization |  |  |  |  | bpbag@immt.res.in
Potentionstat Galvanostat |  |  | NA | BCS-810 | 503 | External Funding | MoES | Conversion of CO2 to chemical fuels |  |  |  | 2882550 |  |  | Characterization |  |  |  |  | bpbag@immt.res.in
Planetary Ball Mill |  |  | NA | NA | HEPBM-20- | External Funding | DST | Recycling of LiB |  |  |  | 1020176 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
Microwave distillation system |  |  | NA | NUWAV-MDSS | 12-21/MDSS-101 | External Funding | CSIR | Bulk Chemicals” |  |  |  | 1018500 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
Glove Box Vacuum Pump and 5KVA UPS |  |  | NA | Labpro 1250 | 104352754 | External Funding | CSIR | (Production of Lithium B: From used Li Batteries |  |  |  | 1815818 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
Incubator with 32 Channel battery testing unit |  |  | Matlabs | MHW-25 | M2304-386673 | External Funding | DST | development of high efficiency rechargeable magnesium battery mitigating the challenges associates |  |  |  | 1067900 |  |  | Testing Equipment |  |  |  |  | bpbag@immt.res.in
Redox battery flow test sysytem |  |  | RSI | RSI-RFB-100 | 202401 | External Funding | CSIR | RFB mission |  |  |  | 3899900 |  |  | Testing Equipment |  |  |  |  | bpbag@immt.res.in
Peristaltic Pump |  |  | Masterflex | 07522-20 | 124084990 | External Funding | CSIR |  |  |  |  | 1419704 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
Mixer Settler Equipment eight stages |  |  | NA | NA | NA | External Funding | CSIR |  |  |  |  | 2128138 |  |  | Research Infrastructure |  |  |  |  | binapani@immt.res.in
Atomic Absorption Spectrometer |  |  | Germany | ZEEnit 700P | 10150007062BA0112D | External Funding | Ministry of Earth Sciences (MoES), New Delhi | Technology development of Extractive Metallurgy under Polymetallic Nodules Program |  |  |  | 7174400 |  |  | Analytical Measurement |  |  |  |  | binapani@immt.res.in
Leaching Reactor system |  |  | KVC | NA | KVC-24-10052 | External Funding | CSIR | Rare Earth Recovery from Waste Magnet (NdFeB)– Waste Scrap to Metal/oxide/salt Product |  |  |  | 1522200 |  |  | Research Infrastructure |  |  |  |  | binapani@immt.res.in
Matlab Simulink image proc |  |  | Matlab | Matlab | NA | External Funding | CSIR |  |  |  |  | 3191120 |  |  | Research Infrastructure |  |  |  |  | satya.immt@csir.res.in
Alcatel Lucent L3 Coreswitch DC |  |  | Alcatel | NA | NA | External Funding | CSIR |  |  |  |  | 1589625 |  |  | Research Infrastructure |  |  |  |  | satya.immt@csir.res.in
SAN Storage of 20 TB Usable Capacity |  |  | Fujitsu | Fujitsu Etemus | CM:4441122002 | External Funding | CSIR |  |  |  |  | 5536696 |  |  | Research Infrastructure |  |  |  |  | satya.immt@csir.res.in
Wind Solar Hybrid Submersible Water Pump with Accessories |  |  | Wind Mill: KESTREL and Pump: Grundfos | NA | NA | External Funding | RKVY |  |  |  |  | 1300000 |  |  | Research Infrastructure |  |  |  |  | satya.immt@csir.res.in
Matlab DVD kit for Windows Software |  |  | Mathworks | 2008 | License no: 573384 | External Funding | CSIR-IMMT | signal processing and active noise control |  |  |  | 1176630 |  |  | Research Infrastructure |  |  |  |  | dpdas@immt.res.in
ECHELLE Spectrograph with ICCD camera system for plasma spectroscopy |  |  | Andor, UK | Model-SG-ME5000 ICCD-DH734-18V-C3, | Mch-0126 | External Funding | CSIR | Innovation center for plasma processing |  |  |  | 5315000 |  |  | Characterization |  |  |  |  | dpdas@immt.res.in
Multi Channel Czerny Turner Spectrograph with ICCD camera for plasma spectroscopy |  |  | Princeton Instruments, USA | Acton Standard Spectrograph ARC-SP-2750i (2756) with ICCD Camera PIMax3 104i-Unigen2-P43 | SG: 27560368 (11 10), ICCD: 0811100001 | External Funding | CSIR | Innovation center for plasma processing |  |  |  | 3931897 |  |  | Characterization |  |  |  |  | dpdas@immt.res.in
Transferred Arc Plasma having 30kw plasma power supply and Arc Generation setup |  |  | M/s. Ion Arc Technologies Pvt. Ltd., Mumbai | IATP30 | 2013 | External Funding | SERB, DST | Fault prediction of transferred arc thermal plasma by real-time monitoring of optical, acoustic and electrical signals to avoid extinction |  |  |  | 1858500 |  |  | Research Infrastructure |  |  |  |  | dpdas@immt.res.in
Fujitsu PYRX2530 Server |  |  | Fujitsu | PYRX2530 Server | YMB8015619, YMB8015620, YMB8015621 | External Funding | CSIR | In-house development and fabrication of stirred mills for energy-efficient processing of low-grade ores |  |  |  | 1107993 |  |  | Research Infrastructure |  |  |  |  | rahulsoni.immt@csir.res.in
High Pressure Autoclave |  |  | M/s. Amar Equipments Pvt. Ltd., Mumbai. | NA | Sl No.2868 | External Funding | CSIR |  |  |  |  | 1347750 |  |  | Research Infrastructure |  |  |  |  | pcbeuria.immt@csir.res.in
CSR CRI Determinator |  |  | M/s. R.B. Automizone, S.R.L Corso Europa, Itally. | NA | NA | External Funding | CSIR |  |  |  |  | 10739975 |  |  | Research Infrastructure |  |  |  |  | pcbeuria.immt@csir.res.in
Electrically Heated High Temperature Laboratory Furnace |  |  | Naberthenm, Germany | HT 16/17 SW | GB3/PF, O/C G22048(429987)337400,2016 | External Funding | CSIR |  |  |  |  | 2052201 |  |  | Research Infrastructure |  |  |  |  | pcbeuria.immt@csir.res.in
Nitrogen Generator Plant Pilot Scale |  |  | Air-N-Gas, India | ANG125M | NA | External Funding | CSIR |  |  |  |  | 4862144 |  |  | Research Infrastructure |  |  |  |  | pcbeuria.immt@csir.res.in
Wet High Intensity Magnetic Separator |  |  | M/s. MBE COAL & Minerals Technology GmbH, Germany | 753-3158 | Order No. M03.0202.1.002 | External Funding | CSIR |  |  |  |  | 8880792 |  |  | Research Infrastructure |  |  |  |  | pcbeuria.immt@csir.res.in
Laboratory Pressure Filter test Riging |  |  | Diemme Filteration | KE-500.740 | C312020 | External Funding | CSIR |  |  |  |  | 3386160 |  |  | Research Infrastructure |  |  |  |  | pcbeuria.immt@csir.res.in
Electro Magnetic wet drum separator |  |  | M/s.Insmart Systems,Hyderabad | NA | NA | External Funding | CSIR |  |  |  |  | 1140417 |  |  | Research Infrastructure |  |  |  |  | pcbeuria.immt@csir.res.in
Vertical Pulsating High Gradient Magnetic Separator |  |  | M/s. Longi Magnet Co.Ltd.,China | LGS-EX500 | NA | External Funding | CSIR |  |  |  |  | 2942888 |  |  | Research Infrastructure |  |  |  |  | pcbeuria.immt@csir.res.in
10 Ton Single Girder EOT Crane |  |  | NA | NA | NA | External Funding | CSIR |  |  |  |  | 1370325 |  |  | Research Infrastructure |  |  |  |  | pcbeuria.immt@csir.res.in
Rheometer |  |  | MALVERN | C-VOR200 | NA | External Funding | CSIR |  |  |  |  | 1549444 |  |  | Research Infrastructure |  |  |  |  | pcbeuria.immt@csir.res.in
Eirich Intensive Mixer |  |  | Eirich | R09 Conti | 500755 | External Funding | CSIR |  |  |  |  | 6540900 |  |  | Research Infrastructure |  |  |  |  | pcbeuria.immt@csir.res.in
Column Flotation System |  |  | NA | NA | NA | External Funding | CSIR |  |  |  |  | 1702854 |  |  | Research Infrastructure |  |  |  |  | pcbeuria.immt@csir.res.in
Conditioner Cum Airtater |  |  | Airtec | NA | NA | External Funding | CSIR |  |  |  |  | 1702854 |  |  | Research Infrastructure |  |  |  |  | pcbeuria.immt@csir.res.in
Falcon |  |  | C400 | C0400144 Auto Pac | 5777195 | External Funding | CSIR |  |  |  |  | 4866000 |  |  | Research Infrastructure |  |  |  |  | pcbeuria.immt@csir.res.in
Triflow with Testrig |  |  | NA | TS-100 | NA | External Funding | CSIR |  |  |  |  | 1900000 |  |  | Research Infrastructure |  |  |  |  | pcbeuria.immt@csir.res.in
KREBS |  |  | NA | Model- D-48-12-973, | Sl No. 52985 for Water injection Cyclone | External Funding | CSIR |  |  |  |  | 2703300 |  |  | Research Infrastructure |  |  |  |  | pcbeuria.immt@csir.res.in
Aplin Airjet Cyclone |  |  | NA | NA | NA | External Funding | CSIR |  |  |  |  | 1136520 |  |  | Research Infrastructure |  |  |  |  | pcbeuria.immt@csir.res.in
Laboratory Agitator Mill |  |  | NETZCH, Germany | PE5 | 2404580 | External Funding | SERB, New Delhi | Energy Efficient Advanced Comminution Processes to Treat Low Grade Indian Ores for Energy Conservation |  |  |  | 1596915 |  |  | Research Infrastructure |  |  |  |  | eswar@immt.res.in
High Intensity Disc Magnetic Separator |  |  | Insmart Systems | INS-HIDDMS | HISDTD/24-25/03/02/361 | External Funding | CSIR, New Delhi | Development of a dry beneficiation technique for the recovery iron values from low-grade ores |  |  |  | 2646681 |  |  | Research Infrastructure |  |  |  |  | eswar@immt.res.in
Vacuum Glovebox Work Station |  |  | NA | NA | NA | External Funding | CSIR |  |  |  |  | 1376107 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
Turbiscan Lab Expert |  |  | Formulaction Inc | NA | No.0919-TL-1420 | External Funding | CSIR |  |  |  |  | 2671113 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
Laser difraction based particle size analyser |  |  | MALVERN | Mastersizer-2000E | Sl No. MAL10851684 +MAL1085132 | External Funding | CSIR |  |  |  |  | 1718367 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
Sigma Force Tensiometer |  |  | Biolin Scientific | Model-70186 | NA | External Funding | CSIR |  |  |  |  | 1714444 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
Pneumatic Flotation Equipment |  |  | M/s. mbe Coal & Minerals Technology Gmbh | PNEUFLOT -R- M-FV 10012699 02K | NA | External Funding | CSIR |  |  |  |  | 3783265 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
FTIR Spectrometer |  |  | Bruker | Alpha | 111011 | External Funding | CSIR, New Delhi | Preparation of coke and ferro-coke from low ash non-coking coal. |  |  |  | 1306119 |  |  | Research Infrastructure |  |  |  |  | pkbaskey.immt@csir.res.in
Split Long tube furnace |  |  | MTI | OTF-1200X-L | 5-15620-220 | External Funding | CSIR-IMMT | Thermoelectric performance in Bi2Te3 /Sb2Te3 thin film and superlattice structures |  |  |  | 1446125 |  |  | Research Infrastructure |  |  |  |  | sharmisthabagchi@immt.res.in
Seebeck Coefficient Measurement System |  |  | ULVAC- RIKO, Inc | ZEM-3 | NA | External Funding | CSIR-IMMT | Thermoelectric performance in Bi2Te3 /Sb2Te3 thin film and superlattice structures |  |  |  | 3281318 |  |  | Testing Equipment |  |  |  |  | sharmisthabagchi@immt.res.in
Multi Technique Deposition System |  |  | Moorfield | ES60A | 961196 | External Funding | CSIR-India (ESC-401 project) | Centre for Special Material |  |  |  | 19193465 |  |  | Research Infrastructure |  |  |  |  | sharmisthabagchi@immt.res.in
Nano Indentation Unit |  |  | Bruker | Hysitron Ti Premier | 2413077 | External Funding | CSIR-IMMT | _ |  |  |  | 7673600 |  |  | Research Infrastructure |  |  |  |  | sharmisthabagchi@immt.res.in
Stylus Based thickness Profilometer |  |  | AEP Technologies | Nanomap- 500LS | 500270 | External Funding | CSIR-IMMT | Thermoelectric performance in Bi2Te3 /Sb2Te3 thin film and superlattice structures |  |  |  | 3414612 |  |  | Research Infrastructure |  |  |  |  | sharmisthabagchi@immt.res.in
RF Sputtering System excluding TMP |  |  | Excel instruments | EI-RF Sputtering 12302024 | EI-12302024 | External Funding | CSIR India (FIRST Project) | Development of Hard optically transparent anti-scratch AlGeN ternary films for enhancement of optical components |  |  |  | 2799550 |  |  | Research Infrastructure |  |  |  |  | sharmisthabagchi@immt.res.in
Phased array Ultrasonic System |  |  | Olympus | OmN12-P-PA1664, | OMN121010231 | External Funding | CSIR | NDT characterization of 12Cr-1Mo& 2.25Cr -1Mo steel and Mg based composite |  |  |  | 3085737 |  |  | Characterization |  |  |  |  | silanisahoo.immt@csir.res.in
Multiple Tribo Tester |  |  | Duc | ITR-25 | NA | External Funding | CSIR |  |  |  |  | 1000000 |  |  | Testing Equipment |  |  |  |  | silanisahoo.immt@csir.res.in
Simnetenous Thermal Analyser |  |  | Linseis | STA PT 1600/35 | NA | External Funding | CSIR | Development, evaluation & characterization of Mg based MMCs for automotive applications |  |  |  | 3530935 |  |  | Characterization |  |  |  |  | silanisahoo.immt@csir.res.in
Scanning Electron Microscope |  |  | Hitachi, Japan | S-3400N | NA | External Funding | CSIR |  |  |  |  | 7795913 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
Full electrochemical system consisting of electrochemical interface and frequency response analyser |  |  | Amel. Milano (Italy) | Amel 7050 & 7260 | NA | External Funding | CSIR |  |  |  |  | 1769298.81 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
Optical Dilatometer |  |  | Misura, Italy | Misura 30DLT | NA | External Funding | CSIR |  |  |  |  | 2718477.92 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
Fully Automatic SOFC Test Station |  |  | Fuelcon, Germany | Evaluator C1000-HT | NA | External Funding | CSIR |  |  |  |  | 17067354 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
Particle size analyser |  |  | Nanotrac, Germany | NPA 150 | NA | External Funding | CSIR |  |  |  |  | 1509876 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
Computer Controlled Scratch Tester |  |  | Ducom, Chennai | TR-101-IAS-LL-HK-AES | NA | External Funding | CSIR |  |  |  |  | 2255574 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
Spectrophoto Meter |  |  | Shimadzu Instruments | UV - 2450 | 206 - 24301 - 93 | External Funding | CSIR |  |  |  |  | 1454665 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
Vaccum Glove Box |  |  | Mbraun | Labstar | NA | External Funding | CSIR |  |  |  |  | 1328471.13 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
Rheometer |  |  | Anton Paar, Germany | Physica MCR 300 | NA | External Funding | CSIR |  |  |  |  | 2522820 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
Controlled Humidity Chamber |  |  | NA | KCL-2000W | NA | External Funding | CSIR |  |  |  |  | 1587893 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
Paticle Charge Detector |  |  | Mutek, Germany | Mutek PCD-04 | NA | External Funding | CSIR |  |  |  |  | 1341962 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
Titrator three for Change determinations |  |  | Mutek, Germany | Mutek PCD-T3 | NA | External Funding | CSIR |  |  |  |  | 1341962 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
Electrochemical workstation |  |  | CHI istruments, USA | CHI 660E | 11380 | External Funding | CSIR |  |  |  |  | 1116570 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
Cyclic Corosion Test Chamber |  |  | Ascott, UK | CC450IP | 3604 | External Funding | CSIR |  |  |  |  | 2178255 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
Windows 10 upgrade from windows |  |  | Hitachi, Japan | KAHIS2084-S 3400N | NA | External Funding | CSIR |  |  |  |  | 1404762 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
Fluorescence spectrophotometer |  |  | Horiba Jobin yvon Inc., USA | Fluoromax-4P | 0258C-4607 | External Funding | CSIR | Development and Optimization of Microbial Fuel Cell Performance and Biosensors |  |  |  | 1572533 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
Fluorescence optical mocroscope with EVF Camera |  |  | Nikon | model-Nikon Eclipse 80i | Microscope: 551278 Camera EVF: Q19373 Software: 47N6000- 1689 | External Funding | CSIR | Development and Optimization of Microbial Fuel Cell Performance and Biosensors |  |  |  | 1354129 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
Potentiostat Galvanostat |  |  | Princeton Applierd Research (PAR) | Versastat-3-400 | D8158608, PAR | External Funding | CSIR | Development and Optimization of Microbial Fuel Cell Performance and Biosensors |  |  |  | 1094913 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
UV VIS Spectrophotometer |  |  | Perkin-Elmer | Perkin Elmer Lambda-650 | 650N9040901 | External Funding | CSIR | Development and Optimization of Microbial Fuel Cell Performance and Biosensors |  |  |  | 1137020 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
Vollamety corrosion system |  |  | PAR USA | VERSASTAT 3-400 | 9036150 | External Funding | CSIR |  |  |  |  | 1188411 |  |  | Research Infrastructure |  |  |  |  | yschaudhary@gmail.com
Research Grade Light Source with monochromator |  |  | Newport USA | 66983 | Light source-200 - 500W | External Funding | CSIR |  |  |  |  | 1026092 |  |  | Research Infrastructure |  |  |  |  | yschaudhary@gmail.com
FTIR Spectrometer with Accessories |  |  | Perkin Elmer | Frontier FTIR | L1280044 | External Funding | CSIR |  |  |  |  | 2318153 |  |  | Research Infrastructure |  |  |  |  | yschaudhary@gmail.com
Solar Simulator |  |  | Newport USA | SP94023A-SR-3 | 208 | External Funding | CSIR |  |  |  |  | 1442618 |  |  | Research Infrastructure |  |  |  |  | yschaudhary@gmail.com
Electrochemical Workstation |  |  | M/s. IVIUM Technologies B.V | IVIASTAT | L93LM31 | External Funding | CSIR |  |  |  |  | 1618368 |  |  | Testing Equipment |  |  |  |  | yschaudhary@gmail.com
Solar Simulator |  |  | Sciencetech | SS150AAA | SS150888 | External Funding | MNRE |  |  |  |  | 1907111 |  |  | Research Infrastructure |  |  |  |  | yschaudhary@gmail.com
MCPMT Detector for Spectro Photometer |  |  | Edinburgh Instruments | FLS-980 | FL980 | External Funding | CSIR |  |  |  |  | 3110000 |  |  | Research Infrastructure |  |  |  |  | yschaudhary@gmail.com
Microwave Synthesis Unit |  |  | AntonPar | Monowave-400 | 83615832 | External Funding | DST |  |  |  |  | 1498885 |  |  | Research Infrastructure |  |  |  |  | yschaudhary@gmail.com
Inert Gas Workstation With Spin Coater and Deposition System With accessories |  |  | Jacomax | GP-T4 | 5561-5562 | External Funding | CSIR |  |  |  |  | 13615128 |  |  | Research Infrastructure |  |  |  |  | yschaudhary@gmail.com
Thermogravimetric Analyzer Differential Thermal Analyser |  |  | Netzsch Technologies India Pvt. Ltd. | STA-2500 | 2500 Regulus | External Funding | DSIR |  |  |  |  | 3309650 |  |  | Research Infrastructure |  |  |  |  | yschaudhary@gmail.com
Airjet Erosion Tester High Temperature |  |  | Ducom | TR471-1000 | 447 | External Funding | CSIR | Protective conducting materials coating of La0.6Sr0.4Co0.2Fe0.8O3 (LSCF), MnCo2O4 and Mn1.5Co1.5O4 on SOFC interconnect Crofer 22 APU by Electrophoretic deposition to mitigate high temperature oxidation and degradation |  |  |  | 1811250 |  |  | Testing Equipment |  |  |  |  | sisirmantry@immt.res.in
High Velocity Oxy Fuel |  |  | MECPL | Hipojet 2700 | AC-303029 | External Funding | CSIR | Development of advanced tribological coatings and environmental barrier coatings by electrophoretic deposition and thermal spraying for mining equipment, pipelines, industrial applications and processes |  |  |  | 3281250 |  |  | Research Infrastructure |  |  |  |  | sisirmantry@immt.res.in
Low Pressure Cold Spray |  |  | MECPL | Dymet 423 | 26403003 | External Funding | CSIR | Protective conducting materials coating of La0.6Sr0.4Co0.2Fe0.8O3 (LSCF), MnCo2O4 and Mn1.5Co1.5O4 on SOFC interconnect Crofer 22 APU by Electrophoretic deposition to mitigate high temperature oxidation and degradation |  |  |  | 2835000 |  |  | Research Infrastructure |  |  |  |  | sisirmantry@immt.res.in
High Temperature Dual Tribometer |  |  | Nanovea | T-2000 | T-20-0182 | External Funding | CSIR | Common Research and Technology Development Hub (CRTDH) in the area of New Materials/Chemical Process, funded by DSIR, New Delhi (2019 – 2023). |  |  |  | 7580183 |  |  | Testing Equipment |  |  |  |  | sisirmantry@immt.res.in
Floor model High Volume High Speed Regrigerated Centrifuge |  |  | Thermo | Sorevall Lynx 6000 | 43032879 | External Funding | CSIR | “Bulk utilization of textile industry wastewater containing sericin in preparing antimicrobial cement composite” |  |  |  | 2499995 |  |  | Research Infrastructure |  |  |  |  | sony.immt@csir.res.in
DNA RAM M1C Basic SP-Sequencing and data analysis system DNA Sequences |  |  | Oxford Nanopore | MINION MKIC | 116348 | External Funding | CSIR | Institute Budget |  |  |  | 1951720 |  |  | Analytical Measurement |  |  |  |  | sony.immt@csir.res.in
Zetium WD XRF Spectrometer |  |  | Malvern Panalytical | Zetium | DY2647. | External Funding | CSIR-IMMT | Central Characterization Facity for analysis of Minerals and Materials |  |  |  | 15831489 |  |  | Characterization |  |  |  |  | dsahoo@immt.res.in
Electron Probe Micro Analyzer |  |  | Jeol | JXA-ISP100 | XM1900000510051 | External Funding | CSIR-IMMT | Central Characterization Facity for analysis of Minerals and Materials |  |  |  | 64000000 |  |  | Characterization |  |  |  |  | dsahoo@immt.res.in
Horiba Multi Component Gas Analyser |  |  | Horiba | VA 3113, VA-3002 | Sl No. NUSGJSOK, LNGL7DEJ | External Funding | MNRE,New Delhi | Cook-stove Test Centre for Performance Evaluation of Biomass Cook-stoves and Development of Test protocols |  |  |  | 1123360 |  |  | Pilot Plant |  |  |  |  | sbehera@immt.res.in
Screw Air Compressor with inbult VFD |  |  | ELGI | EG110-IIV | 65472987 | External Funding | NMDC,Hyderabad | Study of Conveying characteristics and behaviour of Iron Ore In Pneumatic Conveying System |  |  |  | 2655000 |  |  | Pilot Plant |  |  |  |  | sbehera@immt.res.in
Laser Scattering Particle Size Distribution Analyser |  |  | Horiba | LA-960 | 9VK0YKT0 | External Funding | LRF | NA |  |  |  | 2783172 |  |  | Analytical Measurement |  |  |  |  | rbarik@immt.res.in
Progressive Cavity Pump |  |  | Netzsch | NM125SY02S12V | 916630 | External Funding | P-50 | Activity IV: Rheological studies and hydraulic transportation of seabed mineral resources |  |  |  | 2182175 |  |  | Research Infrastructure |  |  |  |  | rbarik@immt.res.in
High Concentration Iron Ore Slurry Trasportation Pilot Plant |  |  | NA | NA | NA | External Funding | MoS, New Delhi & NMDC Ltdd | Modelling & Optimization of High Concentration Iron ore fines/concentrate slurry Pipelines for Indian Iron Ore Processing Industries |  |  |  | 14311542 |  |  | Pilot Plant |  |  |  |  | rbarik@immt.res.in
High Pressure Triplex Plunger Pump |  |  | GOMA | TGP -140 | 105090592 | External Funding | P-50 |  |  |  |  | 2181147 |  |  | Research Infrastructure |  |  |  |  | rbarik@immt.res.in
Thermo HAAKE Rheostress 1 Rheometer with Accessories |  |  | Thermo Scientific | Thermo HAAKE | 110001203001 | External Funding | CSIR |  |  |  |  | 2213568 |  |  | Characterization |  |  |  |  | rbarik@immt.res.in
CNC Vertical Milling Centre |  |  | BFW | AGNI- BMV45TC20 | 11257/2012 | External Funding | LRF(Lab. Reserve Fund) | EQUIPMENT HEAD |  |  |  | 3531723 |  |  | Fabrication |  |  |  |  | rkmandal.immt@csir.res.in
Electrical Discharge Machine |  |  | ELECTRONICA INDIA LTD. | Ecocut- EL Plus-15 | 10E97214385264 | External Funding | LRF(Lab. Reserve Fund) | EQUIPMENT HEAD |  |  |  | 1698000 |  |  | Fabrication |  |  |  |  | akpradhan.immt@csir.res.in
CNC Lathe Machine |  |  | ACE Desinger Ltd. | Jobber-XL | 3921 | External Funding | LRF(Lab. Reserve Fund) | EQUIPMENT HEAD |  |  |  | 1350000 |  |  | Fabrication |  |  |  |  | akpradhan.immt@csir.res.in
Conventional Lathe Machine |  |  | Newman Engineers | NIL | NIL | External Funding | LRF(Lab. Reserve Fund) | EQUIPMENT HEAD |  |  |  | 1429009 |  |  | Fabrication |  |  |  |  | akpradhan.immt@csir.res.in
Center Lathe Machine all Geared type |  |  | Bhavya | HST51/1500 | 622060162 | External Funding | LRF(Lab. Reserve Fund) | EQUIPMENT HEAD |  |  |  | 1215900 |  |  | Fabrication |  |  |  |  | akpradhan.immt@csir.res.in
CNC Wire cut EDM Machine |  |  | ELECTRONICA INDIA LTD. | Sprinwt DLX Plus | 7 | External Funding | LRF(Lab. Reserve Fund) | EQUIPMENT HEAD |  |  |  | 3846704 |  |  | Fabrication |  |  |  |  | akpradhan.immt@csir.res.in
Plate Bending Machine |  |  | Devraj Engineering Company | DH3 25/08 | DEC-H3-02/2014 | External Funding | LRF(Lab. Reserve Fund) | EQUIPMENT HEAD |  |  |  | 1228000 |  |  | Fabrication |  |  |  |  | rnkisku.immt@csir.res.in
Surface Grinder Machine |  |  | HMT Tools Pvt. Ltd. Praga Division | 452AP | 5663 | External Funding | LRF(Lab. Reserve Fund) | EQUIPMENT HEAD |  |  |  | 1125884 |  |  | Fabrication |  |  |  |  | rnkisku.immt@csir.res.in
Hydraulic Shearing Machine |  |  | Energy Mission Machineries India Pvt. Ltd. | EMHVR1025 | E-2290 | External Funding | LRF(Lab. Reserve Fund) | EQUIPMENT HEAD |  |  |  | 1612500 |  |  | Fabrication |  |  |  |  | rnkisku.immt@csir.res.in
KNEE Type Universal Milling Machine |  |  | BFW | UF2 | UF2-675 | External Funding | LRF(Lab. Reserve Fund) | EQUIPMENT HEAD |  |  |  | 1575000 |  |  | Fabrication |  |  |  |  | rnkisku.immt@csir.res.in
Drum Type Wet Electro Magnetic Separator |  |  | M/s Instmart Systems, Hydrabad | NA | NA | External Funding | CSIR | Ni, Ce and Fe recovery from COB at 100 kg scale |  |  |  | 1180022 |  |  | Research Infrastructure |  |  |  |  | priyanka@immt.res.in
High Temperature Hydrogen furnace |  |  | M/s Therelek Furnace Pvt. Ltd. Thane | NA | NA | External Funding | CSIR |  |  |  |  | 2165625 |  |  | Research Infrastructure |  |  |  |  | priyanka@immt.res.in
Microwave Sintering Furnace |  |  | M/s G.N.Technologies, Bangalore | NA | NA | External Funding | CSIR |  |  |  |  | 3656250 |  |  | Research Infrastructure |  |  |  |  | priyanka@immt.res.in
30 KW Plasma Power |  |  | M/s Ion Arc Technologies Pvt. Ltd. | NA | NA | External Funding | CSIR |  |  |  |  | 1059125 |  |  | Research Infrastructure |  |  |  |  | priyanka@immt.res.in
Gas Cleaning System |  |  | M/s Fecon Engg Pvt. Ltd, Kolkata | Indigenously desgined and fabricated. | NA | External Funding | CSIR |  |  |  |  | 1128750 |  |  | Research Infrastructure |  |  |  |  | priyanka@immt.res.in
Compact High Temperature Tubing Vacuum Furnace |  |  | M/s Sandeep Traders, Cuttack | NA | NA | External Funding | CSIR |  |  |  |  | 1082175 |  |  | Research Infrastructure |  |  |  |  | priyanka@immt.res.in
Plasma Reactor |  |  | M/s Shree Raghabendra Technical Service Pvt. Ltd., Ahemadabad | Indigenously desgined and fabricated. | NA | External Funding | Ministry of Mines, Govt. of India | Thermal plasma dissociation of molybdenite for production of Mo metal |  |  |  | 2598319 |  |  | Research Infrastructure |  |  |  |  | priyanka@immt.res.in
RL Metallurical Upright Microscope |  |  | Leica | DM2700M | 386880 | External Funding | Ministry of Mines, Govt. of India | Development of Nickel containing steel from chromite overburden |  |  |  | 1415337 |  |  | Research Infrastructure |  |  |  |  | priyanka@immt.res.in
High Temp Contact Angle Measurement System |  |  | NA | DSA10HT | 20000204 | External Funding | CSIR |  |  |  |  | 2403965 |  |  | Research Infrastructure |  |  |  |  | priyanka@immt.res.in
Nano Particle Size analyzere |  |  | Malvern Zetasizer NANO ZS90 | Zetasizer | MAL1100334 | External Funding | CSIR |  |  |  |  | 2044372 |  |  | Research Infrastructure |  |  |  |  | priyanka@immt.res.in
X Ray Photoelectrom Spectrometer with Accessories |  |  | Prevac, Poland | Customised system | 70-0000-0000-00251 | External Funding | CSIR |  |  |  |  | 27548865 |  |  | Characterization |  |  |  |  | manju@immt.res.in
Chamber Furnace |  |  | Carbolite | HTF 18/8 | 21-600677 | External Funding | CSIR |  |  |  |  | 1326398 |  |  | Fabrication |  |  |  |  | manju@immt.res.in
Mini Arc Melling System |  |  | Edmund Buehler GmbH | MAM-1 | MFG No.24260257 | External Funding | CSIR |  |  |  |  | 2835440.64 |  |  | Fabrication |  |  |  |  | manju@immt.res.in
Turbo Molecular Pump with all accessories |  |  | Peiffer vacuum GmbH | HiPace 300H | NA | External Funding | CSIR |  |  |  |  | 1115086 |  |  | Research Infrastructure |  |  |  |  | manju@immt.res.in
Transport Measurment System |  |  | Netzsch | SBA458 Nemesis | SBA45800B50-0060 | External Funding | CSIR |  |  |  |  | 6013400 |  |  | Research Infrastructure |  |  |  |  | manju@immt.res.in
Ultrasonic Spin Spray coater with heating function and other accessories |  |  | MTI Corporation | 1G-3VC | 03040005-182 | External Funding | CSIR |  |  |  |  | 2772388 |  |  | Fabrication |  |  |  |  | manju@immt.res.in
Fretting Were Tester |  |  | Ducom | TR85 | 1526 | External Funding | CSIR and CSIR- IMMT | Light weight automotive component from indigenously developed 6063 aluminium alloy powder by additive manufacturing |  |  |  | 2210000 |  |  | Testing Equipment |  |  |  |  | manju@immt.res.in
Bioreactor Vessel Vol 20 lit |  |  | NA | Specialized for Acidic leaching condition | NA | External Funding | CSIR |  |  |  |  | 1395360 |  |  | Research Infrastructure |  |  |  |  | npradhan@immt.res.in
New Brunswick scientific Innova |  |  | New Brunswick | 44R | 10649442 | External Funding | DBT |  |  |  |  | 1726089 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
Freeser Dryer Shelffreeze Bath |  |  | Lyolab | Lyolab LT3S | 7539 | External Funding | CSIR |  |  |  |  | 1353695 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
Laser light Scattering Detector |  |  | WYATT | Dawn-Helios 8+ | 329-TREX | External Funding | CSIR |  |  |  |  | 5209104.29 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
ION Chromatography System with accessories |  |  | Metrohm | 881 | NA | External Funding | CSIR |  |  |  |  | 5434652 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
Refrigerated CentrifugeWith Acessories |  |  | SORVAL | SORVAL-RC-6 Plus | A4629 | External Funding | Ministry of Steel |  |  |  |  | 1457748 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
Incubator Shaker with Accessories |  |  | New Brunswick | INNOVA 43 R | SI43BJ600062 | External Funding | Ministry of Steel |  |  |  |  | 1296449 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
Anaerobic Incubator Fixed with Incubator |  |  | Thermo | EA10Z9 | 478550-697 | External Funding | Ministry of Steel |  |  |  |  | 1117361 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
Dome Shaped UV Stabilizd Poly film Chamber |  |  | NA | NA | NA | External Funding | CSIR |  |  |  |  | 1390557 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
Shimadzu High Perfermake Liquid Chromotography |  |  | SHIMADZU | LC20AR | l21805601119 | External Funding | CSIR |  |  |  |  | 3200000 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
Luminescence Spectrometer HIMD Synergy HI Multimedia Microplate Reader |  |  | BioTeck | H1MH1 Multimode reader | 19051327 | External Funding | CSIR |  |  |  |  | 1755626 |  |  | Research Infrastructure |  |  |  |  | bpbag@immt.res.in
Electrochemical Work Station Potentiastat Galvanostat |  |  | BioLogic Science instruments | SP-200 | 0856-0570 | External Funding | CSIR |  |  |  |  | 2322517 |  |  | Research Infrastructure |  |  |  |  | bankim.immt@csir.res.in
Double walled 10 Lit Glass Reactor |  |  | NA | NA | 115 | External Funding | CSIR |  |  |  |  | 1204665 |  |  | Research Infrastructure |  |  |  |  | bankim.immt@csir.res.in
Large Scale Coke Oven |  |  | SALVIN | SIPL/LSCO/VS/25 | SIPL/SVG/SCO-202504 | External Funding | HCP-54 |  |  |  |  | 5310000 |  |  | Analytical Measurement |  |  |  |  | atripathy@immt.res.in

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE
Ministry of Textiles
SRIC Development Fund