## Sheet1 (4)
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Rate/Hr | Refernce Website | Equipment Status | Category
Rotational Viscometer | R-VISCO | UG Laboratory- 3 426 | Anton Paar, Austria | C-LTD 180/QC |  |  |  | Nil | Rotational Viscometer with accessories- 01 Set | Chemical Engineering | UG Laboratory-1
TOC Analyzer | TOC | Research Lab- 1 409 | Elementar, Germany | Vario TOC Select |  |  |  | Nil | Vario TOC with accessories- 01 Set | Chemical Engineering | Research Lab-1
Gas Chromatograph | GC | Research Lab-5 425 | Thermofisher | Trace GC 700 |  |  |  | Nil | Supply & Installation of Totally Microporcessor Controlled PC Based Gas Chromatograph along with all accessories- 01 Set | Chemical Engineering | Research Lab-5
Dy-Noy Tensiometer | TENSIO | UG Laboratory-1 407 | Kruss. Germany | DSA 25S |  |  |  | Nil | Supply & Installation of Dy-Noy Tensiometer with accessories- 01 Set | Chemical Engineering | UG Laboratory-1
CHNS Analyzer | CHNS | Research Lab- 1 409 | Elementar, Germany | Vario MICRO Cube |  |  |  | Nil | Basic Instrument Vario MICRO Cube for C.H.N.S analysis with accessories- 01 Set | Chemical Engineering | Research Lab-1
Particle Size Analyzer | PSA | Research Lab-3 435 | Microtrac, USA | S3500 |  |  |  | Nil | Particle Size Analyzer with accessories | Chemical Engineering | Research Lab-3
Particle Size Analyzer Zeta Sizer | ZETASIZER | Research Lab-1 409 | Malvern, UK | Nano-S90 |  |  |  | Nil | Zetasizer Nano- S90- 01 No. Ultra-Micro Cell for Nano- 01 No. | Chemical Engineering | Research Lab-1
Modular Compact Rheometer | RHEOMETER | UG Laboratory-1 407 | Anton Paar, Austria | MCR102 |  |  |  | TEQIP | Modular Compact Rheometer with accessories- 01 Set | Chemical Engineering | UG Laboratory-1
Quaternary UHPLC System along with all accessories | UHPLC | Research Lab-5 425 | Agilent Technology | 1200 Infinity Series |  |  |  | Nil | Quaternary UHPLC System along with all accessories | Chemical Engineering | Research Lab-5
TGA, Thermostep | TGA THERMOSTEP | Fuel Analysis Lab 415 | Eltra Germany | Eltra Thermostep |  |  |  | Nil | Analyser TGA Thermostep with accessories- 01Set | Chemical Engineering | Fuel Analysis Lab
Spectrometer | SPECTROMETER | Research Lab-3 435 | Thermo Fisher, USA | Evolution 300 |  |  |  | Nil | Evoultion 300 Spectrometer with accessories- 01 Set | Chemical Engineering | Research Lab-3
Laboratory Density Meter DMA 5000 M | DENSITY M | UG Laboratory-1 407 | Anton Paar, Austria | DMA 5000M |  |  |  | Nil | Laboratory Density Meter DMA 5000 M with accessories | Chemical Engineering | UG Laboratory-01
Planetary Ball Mill | PBM | Mechanical Operation Lab 006 | EGOMA Technologies | EGOMA E1-100 |  |  |  | Nil | Supply & Installation of Planetary Ball Mill with accessories | Chemical Engineering | Mechanical Operations Lab
Microprocessor Based Vibra-Cell Ultraonic Probe | SONIC PROBE | UG Laboratory-2 431 | Sonics & Materials | VCX 500 |  |  |  | FRS Project of Prof. Paidinaidu Paluri | Supply & Installation of Micropocessor Base Vibra-Cell Ultrasonic Processor 500 watts 20 KHZ | Chemical Engineering | UG Laboratory-2
High Performacne, Bench Top Fourier Transform Infra-Red Spectrophotometer | FTIR | Research Lab-4 427 | Agilent Technology | Cary 660 |  |  |  | TEQIP | Supply & Installation of High Performance, Bench Top Fourier Tranform Infra-Red Spetrophotometer with accessories | Chemical Engineering | Research Lab- 4
Sensitive Accurate & Robust, Bench-Top Simulatneous DSC TGA with Data Acquisition and Data Analyser Software | TGA | Research Lab-4 427 | TA, Instrument, USA | SDT Q600 |  |  |  | Nil | Supply & Installation of Sensitive Accurate & Robust, Bench-Top Simultaneous DSC TGA with Data Acquisition and Data Analyser Software | Chemical Engineering | Research Lab-4
High Pressure Fixed Bed Reactor | Nil | Room No. -408 Research Lab- 2 | Chemito Technologies | Nil |  |  |  | DST YSS | High Pressure Fixed Bed Reactor | Chemical Engineering | Research Lab-2
Gas Chromatograph (NETEL) | GC | Room No.- 408 Research Lab- 2 | NETEL India Ltd. | MICHRO 9100 |  |  |  | FRS | Supply and Installation of NETEL Micrprocessor based Gas Chromatograph | Chemical Engineering | Research Lab-2
Micrprocessor Based Automated Catalyst Characterization System | Nil | Room No.- 408 Research Lab-2 | Microtrac Bel | Belcat-II |  |  |  | NA | Microprocessor Based Automated Catalyst Characterization System | Chemical Engineering | Research Lab-2