## Equipment (GTI, FPD, SFM)
S. No. | Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Category (Analytical/characterisation/fabrication) | Funding Agency Type | Funding Agency Details | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost (Rs) | Refernce Website | Equipment Status | FOV Cost (Rs) | CIF Cost (Rs) | Any Other Cost (Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id
1 | -20 Freezer, Remi, | M20F | R.No 28 | Remi | RVF340 | S/N ZHGD-229891 | Analytical | External | CAMPA | National Program for Conservation and Development of Forest Genetic Resources | Used to store biological samples, reagents and other perishable items at ultra-low temperatures. | Genetics and tree Improvement division |  | 119899 | NA | Working | NA | NA | NA | M/s Multitech Automation | NA | M/s Remi | NA
2 | -80 Freezer ULT490 Ultra | M80F | R.No 28 | Remi | ZGBD-05024 | S/N 190590024 | Analytical | Internal | ICFRE | Cloning and Characterization of salt tolerance conferring vacuolar Na+/H+ antiporter (nhx1) genes from Prosopis juliflora (SW.) DC. & Salvadora persica L. | Used to store biological samples, reagents and other perishable items at ultra-low temperatures. | Genetics and tree Improvement division |  | 523783 | NA | Working | NA | NA | NA | M/s Tomar Scientific Corporation,Ratanada, Jodhpur | NA | M/s Remi | NA
3 | Deep Fridger -20 | M20F | R.No 37 | Remi | RQFV-265(D) | S/N BDI1608 | Analytical | Internal | ICFRE | NA | Used to store biological samples, reagents and other perishable items at ultra-low temperatures. | Genetics and tree Improvement division |  | 80349 | NA | Working | NA | NA | NA | M/s Scientific Supplier | NA | M/s Scientific Supplier | NA
4 | Desktop Microcentrifuge | MC | R. No37 | Remi | RM03 Plus | NA | Analytical | Internal | ICFRE | Capital grant Equipment | A centrifuge separates substances in a liquid or solid medium by spinning them at high speeds to use centrifugal force | Genetics and tree Improvement division |  | 51072 | NA | Working | NA | NA | NA | M/s Tomer Scientific Corporation, Bhati bhawan, jodhpur | NA | M/s Tomer Scientific Corporation, Bhati bhawan, jodhpur | NA
5 | Dry Bath Incubator | DBI | R.No 37 | Tempstar | KBD-001 | S/N KBD/1001/2018/03/25/1 | Analytical | Internal | ICFRE | Capital grant Equipment | Used to heat samples prior to a variety of applications and are used widely in molecular, microbiological, and biochemistry labs | Genetics and tree Improvement division |  | 9975 | NA | Working | NA | NA | NA | M/s Electronics India sardarpura, Jodhpur | NA | M/s Electronics India sardarpura, Jodhpur | NA
6 | Electrophoresis unit (Horizontal) with power supply | HEU | R.No 37 | Cleaver Scientific | Cleaver MSSCREEN 32 | 211208004 | Characterisation | External | CAMPA | National Program for Conservation and Development of Forest Genetic Resources | Used to separate and analyze molecules like DNA, RNA, and proteins by size and charge | Genetics and tree Improvement division |  | 174300 | NA | Working | NA | NA | NA | M/s Genaxy Scientific Pvt Ltd | NA | M/s Genaxy Scientific Pvt Ltd | NA
7 | Electrophoresis unit wih Power supply unit, casting tray and combs | HEU | R.No 37 | Genetix | H815185 | Y05F2141200 | Characterisation | Internal | ICFRE | Study of salt tolerance through gene expression pattern analysis | Used to separate and analyze molecules like DNA, RNA, and proteins by size and charge | Genetics and tree Improvement division |  | 95828 | NA | Working | NA | NA | NA | M/s Chemical India, Hawa sadak,22-godam, Jaipur | NA | M/s Chemical India, Hawa sadak,22-godam, Jaipur | NA
8 | Electrophoresis unit, Midi Submarine type, casting tray,one power supply | HEU | R. No. 37 | Tarson | Maxi Model | NA | Characterisation | Internal | ICFRE | Capital grant Equipment | Used to separate and analyze molecules like DNA, RNA, and proteins by size and charge | Genetics and tree Improvement division |  | 40431 | NA | Working | NA | NA | NA | M/s General Scientific company, Tripolia Bazar, Jaipur | NA | M/s General Scientific company, Tripolia Bazar, Jaipur | NA
9 | Electrophoresis unit, Mini electrohoresis unit | HEU | R. No. 37 | Tarson | NA | 7080 | Characterisation | Internal | ICFRE | Capital grant Equipment | Used to separate and analyze molecules like DNA, RNA, and proteins by size and charge | Genetics and tree Improvement division |  | 14500 | NA | Working | NA | NA | NA | M/s Shivam Pharma distributor | NA | M/s Shivam Pharma distributor | NA
10 | Electrophoresis unit, with power supply | VEU | R. No. 37 | Cleaver Scientific | Clever CVS10DSYS | 210202009 | Characterisation | External | CAMPA | National Program for Conservation and Development of Forest Genetic Resources | Used to separate and analyze molecules like DNA, RNA, and proteins by size and charge | Genetics and tree Improvement division |  | 155000 | NA | Working | NA | NA | NA | M/s Genaxy Scientific Pvt Ltd | NA | M/s Genaxy Scientific Pvt Ltd | NA
11 | Gel Documentation Unit, (With laptop, Lenovo) | GDU | R. No. 37 | iGene lab serve, | IG-618GD | S/N IG42717122001 | Characterisation | External | CAMPA | National Program for Conservation and Development of Forest Genetic Resources | Used to record and analyze the results of gel electrophoresis | Genetics and tree Improvement division |  | 499972.5 | NA | Working | NA | NA | NA | M/s Multitech automation | NA | M/s Multitech automation | NA
12 | Laminar Air Flow Bench | LAF | R.No. 29 | Saveer | NA | 010352-00524-A | Analytical | Internal | ICFRE | Capital grant Equipment | Used to create a sterile atmosphere for activities like plant tissue culture. | Genetics and tree Improvement division |  | 100366 | NA | Working | NA | NA | NA | M/s Saveer Biotech Limited,New Delhi | NA | M/s Saveer Biotech Limited,New Delhi | NA
13 | Microscope trinocular | MS | R.No. 29 | Nikon | 16013514 | Sr. No. 1100600100631 | Characterisation | Internal | ICFRE | NA | Used to magnify small objects. | Genetics and tree Improvement division |  | 26178 | NA | Working | NA | NA | NA | M/s Towa optics(India) pvt ltd | NA | M/s Towa optics(India) pvt ltd | NA
14 | Microwave | MW | R. No. 37 | LG | MS2043DB | NA | Analytical | External | NMPB | Survey, inventorisation, documentation, propogation and conservation of rare, endangered, thretened medicinal plants of arid and semi arid region | Used for heating,melting and defrosting in laboratories. | Genetics and tree Improvement division |  | 8990 | NA | Working | NA | NA | NA | M/s Mansuk Enterprises, Jhalamand, Jodhpur | NA | M/s Mansuk Enterprises, Jhalamand, Jodhpur | NA
15 | Minus 80 Cryocube | M80F | R.No 28 | Eppendorf | F440N | S/N F440KN000287 | Analytical | External | CAMPA | National Program for Conservation and Development of Forest Genetic Resources | Used to store biological samples, reagents and other perishable items at ultra-low temperatures. | Genetics and tree Improvement division |  | 698250 | NA | Working | NA | NA | NA | M/s Eppendorf India Pvt Ltd | NA | M/s Eppendorf India Pvt Ltd | NA
16 | Motik dedicated scientific 3 megapixel digital camera | MS | R.No. 29 | Moticam | 3 plus | NA | Analytical | Internal | ICFRE | Screening of DNA markers to distinguish male and female Alianthus escelsa for higher biomass production/forest genetics, resource management and tree improvement | Used to capture images from microscope | Genetics and tree Improvement division |  | 108775 | NA | Working | NA | NA | NA | M/s Astronic Equipment Company, Malviya Nagar, Jaipur | NA | M/s Astronic Equipment Company, Malviya Nagar, Jaipur | NA
17 | PCR Plate Centrifuge | CF | R. No. 37 | Laby | Model PCR50 | S/N BA1411AC0168 | Analytical | Internal | ICFRE | Capital grant Equipment | Used to separate substances in a liquid or solid medium | Genetics and tree Improvement division |  | 47.250.00 | NA | Working | NA | NA | NA | M/s Electronics India, Sardarpura Jodhpur | NA | M/s Electronics India, Sardarpura Jodhpur | NA
18 | PCR sureCycler | PCR | R. No. 37 | Agilent | G8800A | S/N MY12230588 | Characterisation | Internal | ICFRE | Capital grant Equipment | Amplifies specific DNA segments for various applications | Genetics and tree Improvement division |  | 262500 | NA | Working | NA | NA | NA | M/s LCGC Chrom Conssumables LLP,Paigarh Colony, Hyderabad | NA | M/s LCGC Chrom Conssumables LLP,Paigarh Colony, Hyderabad | NA
19 | pH Meter | PhM | R. No. 37 | Eutech Instruments | ECPH TUTOR DS model | S/N2828999 | Analytical | Internal | ICFRE | Plan capital assest | Used to measure the acidity or alkalinity of a solution | Genetics and tree Improvement division |  | 29471 | NA | Working | NA | NA | NA | M/s The Scientific and General Agencies, Mansarovar, Jaipur | NA | M/s The Scientific and General Agencies, Mansarovar, Jaipur | NA
20 | Real Time PCR System, , (With Laptop, Dell) | RTPCR | R. No. 37 | Applied Biosystem | NA | S/N 272008580 | Characterisation | Internal | ICFRE | Capital grant Equipment | Used to measure gene expression. | Genetics and tree Improvement division |  | 1013166 | NA | Working | NA | NA | NA | M/s Sujata Enterprises, Nirman Nagar, Jaipur | NA | M/s Sujata Enterprises, Nirman Nagar, Jaipur | NA
21 | Refrigerated Centrifuge | RC | R. No. 37 | Remi | Model CPR-24 | S/N BCDJ-4742 | Analytical | Internal | ICFRE | Capital grant Equipment | Used to separate substances in a liquid or solid medium | Genetics and tree Improvement division |  | 244345 | NA | Working | NA | NA | NA | M/s Vijay Laxmi Surgicals.MI road, Jaipur | NA | M/s Vijay Laxmi Surgicals.MI road, Jaipur | NA
22 | Refrigerator | P4F | R. No. 37 | Samsung | Model RA21FDLD2/XTL | NA | Analytical | Internal | ICFRE | NA | Used for keeping things cold. | Genetics and tree Improvement division |  | 13700 | NA | Working | NA | NA | NA | M/s Tarang Electronics | NA | M/s Tarang Electronics | NA
23 | Spectrophotometer | SP | R. No. 37 | Denovix | DS11Plus | S/N SHM606 | Analytical | Internal | ICFRE | Capital grant Equipment | Used to magnify small objects. | Genetics and tree Improvement division |  | 685946 | NA | Working | NA | NA | NA | M/s Imperial life Science(P) ltd, Pace City 2nd Sec-37, Gurgaon, Haryana | NA | M/s Imperial life Science(P) ltd, Pace City 2nd Sec-37, Gurgaon, Haryana | NA
24 | SpinWin, Microcentrifuge | SW | R. No. 37 | Tarson | Cat No 1030 | S/N 040396709BF021 | Analytical | Internal | ICFRE | Capital grant Equipment | Used to separate fluids, gases, or liquids based on density. | Genetics and tree Improvement division |  | 25445 | NA | Working | NA | NA | NA | M/s Metro Trading Corporation,Choura Rasta, Jaipur | NA | M/s Metro Trading Corporation,Choura Rasta, Jaipur | NA
25 | Stereoscopic Microscope | SM | R.No. 29 | Nikon | SMZ-U ZOOM1:10 | NA | Characterisation | Internal | ICFRE | NA | Used to examine the ultra structures. | Genetics and tree Improvement division |  | 29631 | NA | Working | NA | NA | NA | M/s Towa optics(India) pvt ltd | NA | M/s Towa optics(India) pvt ltd | NA
26 | Vortex gene 2, | VTX | R. No. 37 | Olympic Biotech | G560E | NA | Analytical | Internal | ICFRE | NA | Used for mixing laboratory samples in test tubes, well plates, or flasks. | Genetics and tree Improvement division |  | 11138 | NA | Working | NA | NA | NA | M/s Olympic Biotech , Shastri Nagar, Jodhpur | NA | M/s Olympic Biotech , Shastri Nagar, Jodhpur | NA
27 | Waterbath Dual Chamber | WAB | R. No. 37 | Chino Scientific Instrument | DWB-125 | NA | Analytical | Internal | ICFRE | Capital grant Equipment | Used to incubate samples at a constant temperature over a long period of time. | Genetics and tree Improvement division |  | 26049 | NA | Working | NA | NA | NA | M/s Chino Scientific Instruments Mfg., Panchsheel nagar, Ajmer | NA | M/s Chino Scientific Instruments Mfg., Panchsheel nagar, Ajmer | NA
28 | Weighing Balance | WB | R. No. 37 | Axsis | AGN 204-PO | 1000401 | Analytical | Internal | ICFRE | Capital grant Equipment | Used to determine the weight or mass of an object. | Genetics and tree Improvement division |  | 46540 | NA | Working | NA | NA | NA | M/s Unique wep retail pvt ltd, Gopalpura bye pass,Jaipur | NA | M/s Unique wep retail pvt ltd, Gopalpura bye pass,Jaipur | NA
29 | Weighing Balance | WB | R. No. 33 | ACZET | CY224C | 17308331 | Analytical | Internal | ICFRE | Plan General Capital | Used to determine the weight of an object | Genetics and tree Improvement division |  | 70080 | NA | Working | NA | NA | NA | M/s Indian Equipments Co., Jodhpur | NA | M/s Indian Equipments Co., Jodhpur | NA
30 | Microwave | MW | R. No. 33 | LG | MS2043DB | NA | Analytical | External | CAMPA | AICRP 02 | Heating laboratory samples, preparing solutions, drying, and heating samples or products | Genetics and tree Improvement division |  | 7100 | NA | Working | NA | NA | NA | M/s Akshin industries pvt ltd, Jodhpur | yashparihar208@gmail.com | M/s Akshin industries pvt ltd, Jodhpur | yashparihar208@gmail.com
31 | Microwave | MW | R. No. 33 | Samsung | M183DN | NA | Analytical | Internal | ICFRE | Capital grant Equipment | Heating laboratory samples, preparing solutions, drying, and heating samples or products | Genetics and tree Improvement division |  | 4500 | NA | Working | NA | NA | NA | M/s Shree Classic, Jodhpur | NA | M/s Shree Classic, Jodhpur | NA
32 | Hot Air Oven | HO | R. No. 33 | REMI | RDHO-50 | NA | Analytical | External | CAMPA | AICRP 02 | Destroy the microorganisms as well as bacterial spores with precise temperature control and for material drying applications | Genetics and tree Improvement division |  | 56943 | NA | Working | NA | NA | NA | M/s Multitech Automation Sardarpura | NA | M/s Multitech Automation Sardarpura | NA
33 | Distillation Unit | DW | R. No. 33 | Tempstar | KWD003 | NA | Analytical | Internal | ICFRE | Capital grant Equipment | Used to perform Distillation | Genetics and tree Improvement division |  | 24990 | NA | Working | NA | NA | NA | M/s Kay Pee Udyog (Tempstar), Haryana | inquiry.kaypeeudyog@gmail.com | M/s Kay Pee Udyog (Tempstar), Haryana | inquiry.kaypeeudyog@gmail.com
34 | Soxhlet | SA | R. No. 33 | Glassco | 2019/EU/03 | NA | Analytical | External | NMPB | "Non destructive in vitro production of pharamaceytically active natural extrcat containing guggalsterones-a potent cadioporotactive and wnticancer drug from commiphra wightii (Guggal) using bioreactor" | Used to extract bioactive compounds from solid samples through a process called Soxhlet extraction | Genetics and tree Improvement division |  | 16349 | NA | Working | NA | NA | NA | M/s Tomar Scientific, Jodhpur | NA | M/s Tomar Scientific, Jodhpur | NA
35 | Heating mantle | HM | R. No. 33 | Glassco | 2017/EU/172 | NA | Analytical | External | NMPB | "Non destructive in vitro production of pharamaceytically active natural extrcat containing guggalsterones-a potent cadioporotactive and wnticancer drug from commiphra wightii (Guggal) using bioreactor" | Used to heat or temper certain media in glass vessels. | Genetics and tree Improvement division |  | 5384 | NA | Working | NA | NA | NA | M/s Tomar Scientific, Jodhpur | NA | M/s Tomar Scientific, Jodhpur | NA
36 | Heating mantle | HM | R. No. 33 | Ambassabor | NA | NA | Analytical | NA | NA | NA | Used to heat or temper certain media in glass vessels. | Genetics and tree Improvement division |  | 1144 | NA | Working | NA | NA | NA | M/s General Scientific, Jaipur | NA | M/s General Scientific, Jaipur | NA
37 | Heating mantle | HM | R. No. 33 | Ambassabor | NA | NA | Analytical | NA | NA | NA | Used to heat or temper certain media in glass vessels. | Genetics and tree Improvement division |  | 1144 | NA | Working | NA | NA | NA | M/s General Scientific, Jaipur | NA | M/s General Scientific, Jaipur | NA
38 | Magnetic Stirrer | MS | R. No. 33 | REMI | NA | NA | Analytical | External | CAMPA | AICRP 02 | Consists of a rotating magnet or a stationary electromagnet that creates a rotating magnetic field and is used to mixing a solution | Genetics and tree Improvement division |  | 39996 | NA | Working | NA | NA | NA | M/s Multitech Automation, Sardarpura | NA | M/s Multitech Automation, Sardarpura | NA
39 | Refrigerator | P4F | R. No. 33 | LG | 352R0915 | 110052 | Analytical | Internal | ICFRE | One time grant | Specialized cooling unit designed for storing temperature-sensitive materials | Genetics and tree Improvement division |  | 25800 | NA | Working | NA | NA | NA | M/s Rudraksh Electronics, Jodhpur | NA | M/s Rudraksh Electronics, Jodhpur | NA
40 | Refrigerator | P4F | R. No. 33 | Samsung | 32NMB | 43CK 400675K | Analytical | Internal | ICFRE | NA | Specialized cooling unit designed for storing temperature-sensitive materials | Genetics and tree Improvement division |  | 28330 | NA | Working | NA | NA | NA | Received from store officer | NA | Received from store officer | NA
41 | Refrigerator | P4F | R. No. 33 | REMI | RLR200 | NA | Analytical | External | CAMPA | AICRP 02 | Specialized cooling unit designed for storing temperature-sensitive materials | Genetics and tree Improvement division |  | 73000 | NA | Working | NA | NA | NA | M/s Multitech Automation, Sardarpura | NA | M/s Multitech Automation, Sardarpura | NA
42 | ph Meter | PhM | R. No. 33 | Eutech | 2225776/174 | NA | Analytical | Internal | ICFRE | One time grant | Used to measure hydrogen ion activity in solutions | Genetics and tree Improvement division |  | 24624 | NA | Working | NA | NA | NA | M/s Arvind & Co, Jodhpur | NA | M/s Arvind & Co, Jodhpur | NA
43 | Laminar Air Flow | LAF | R. No. 35 | Rescholar | RH-58-14 | NA | Analytical | External | CAMPA | AICRP 02 | Used to create a sterile atmosphere for activities like plant tissue culture. | Genetics and tree Improvement division |  | 128900 | NA | Working | NA | NA | NA | M/s Tomar Scientific Corporation, Jodhpur | NA | M/s Tomar Scientific Corporation, Jodhpur | NA
44 | Laminar Air Flow | LAF | R. No. 35 | Saveer | 010352-00524-A | NA | Analytical | Internal | ICFRE | Capital grant Equipment | Used to create a sterile atmosphere for activities like plant tissue culture. | Genetics and tree Improvement division |  | 97467 | NA | Working | NA | NA | NA | M/s Saveer Biotech ltd, New Delhi | NA | M/s Saveer Biotech ltd, New Delhi | NA
45 | Laminar Air Flow | LAF | R. No. 35 | Tempstar Kay pee Udyog | KLF-09 | NA | Analytical | External | CAMPA | National Program for Conservation and Development of Forest Genetic Resources | Used to create a sterile atmosphere for activities like plant tissue culture. | Genetics and tree Improvement division |  | 248741.55 | NA | Working | NA | NA | NA | M/s Multitech Automation, Sardarpura | NA | M/s Multitech Automation, Sardarpura | NA
46 | Laminar Air Flow | LAF | R. No. 35 | Tempstar Kay pee Udyog | KLF-09 | NA | Analytical | External | CAMPA | National Program for Conservation and Development of Forest Genetic Resources | Used to create a sterile atmosphere for activities like plant tissue culture. | Genetics and tree Improvement division |  | 248741.55 | NA | Working | NA | NA | NA | M/s Multitech Automation, Sardarpura | NA | M/s Multitech Automation, Sardarpura | NA
47 | Shaker | SH | R. No. 35 | KuhnerSHAKER X | LS-X | NA | Analytical | Internal | ICFRE | One time grant | Used to mix, blend, or agitate substances in a tube by shaking them. | Genetics and tree Improvement division |  | 666337 | NA | Working | NA | NA | NA | M/S Biogenetic BG (I) Pvt. Ltd, Jainakpuri, New Delhi | NA | M/S Biogenetic BG (I) Pvt. Ltd, Jainakpuri, New Delhi | NA
48 | Bioreactor | BR | R. No. 35 | Zenith BioZen Laboratories | BioFERMA-01-03 | NA | Analytical | External | NMPB | "Non destructive in vitro production of pharamaceytically active natural extrcat containing guggalsterones-a potent cadioporotactive and wnticancer drug from commiphra wightii (Guggal) using bioreactor" | Devices that support a biologically active environment, allowing for the culture of live organisms. | Genetics and tree Improvement division |  | 890900 | NA | Working | NA | NA | NA | M/s Zenith Engineers, Agra | info@BioZen.co.in | M/s Zenith Engineers, Agra | info@BioZen.co.in
49 | Incubator Shaker | IS | R. No. 35 | Orbitek | 200140064 | NA | Analytical | Internal | ICFRE | NA | Used to incubate and shake samples at a predetermined temperature and shaking speed | Genetics and tree Improvement division |  | 175100 | NA | Working | NA | NA | NA | M/s Scigenics biotech pvt ltd, Chennai | NA | M/s Scigenics biotech pvt ltd, Chennai | NA
50 | Autoclave | AU | R. No. 31 | Equitron | 7440SLEFA | NA | Analytical | External | CAMPA | AICRP 02 | Uses steam under pressure to kill harmful bacteria, viruses, fungi, and spores on items that are placed inside the pressure vessel | Genetics and tree Improvement division |  | 194582 | NA | Working | NA | NA | NA | M/s Tomar Scientific, Kota | NA | M/s Tomar Scientific, Kota | NA
51 | Autoclave | AU | R. No. 31 | Tempstar | KPA-305 | NA | Analytical | External | NMPB | Survey, inventorisation, documentation, propogation and conservation of rare, endangered, thretened medicinal plants of arid and semi arid region | Uses steam under pressure to kill harmful bacteria, viruses, fungi, and spores on items that are placed inside the pressure vessel | Genetics and tree Improvement division |  | 70000 | NA | Working | NA | NA | NA | M/s Multitech Automation, Sardarpura | NA | M/s Multitech Automation, Sardarpura | NA
52 | Autoclave | AU | R. No. 31 | ChinoScientific | ACV-1824 | 12315 | Analytical | Internal | ICFRE | One time grant | Uses steam under pressure to kill harmful bacteria, viruses, fungi, and spores on items that are placed inside the pressure vessel | Genetics and tree Improvement division |  | 43719 | NA | Working | NA | NA | NA | M/s Chino Scientific, Ajmer | chinoajm@gmail.com | M/s Chino Scientific, Ajmer | chinoajm@gmail.com
53 | Oven | OV | R. No. 31 | Unitech | NA | NA | Analytical | Internal | ICFRE | NA | Destroy the microorganisms as well as bacterial spores with precise temperature control and for material drying applications | Genetics and tree Improvement division |  | 16223 | NA | Working | NA | NA | NA | M/S Unitech, New Delhi | NA |  | NA
54 | Electrophoresis Unit;Tarson 7090 | HEU | R. No. 67 | Tarson | 7090 | 1601112 | Analytical | Internal | ICFRE | Plan | Used to separate and analyze molecules like DNA, RNA, and proteins by size and charge | Forest Protection Division |  | 32856 | NA | Working |  |  |  | Shivam Pharma Distributers, 25/26, Iind B Road, Sardarpura, Jodhpur, Rajasthan | NA | Shivam Pharma Distributers, 25/26, Iind B Road, Sardarpura, Jodhpur, Rajasthan | NA
55 | Double Distillation Unit ;Borosil | DDU | R. No. 67 | Borosil | 3365041 | NA | Analytical | Internal | ICFRE | Plan | Used to produce double distilled water | Forest Protection Division |  | 107643 | NA | Working |  |  |  | Tomar Scientific Corporation, Bhati Bhawan opp. Police line ratanada, Jodhpur, Rajasthan | NA | Tomar Scientific Corporation, Bhati Bhawan opp. Police line ratanada, Jodhpur, Rajasthan | NA
56 | Microtome; Spencer 1010MT-018 | MT | R. No. 67 | Spencers | 1010-SMT-018 | RSC-1180140019 | Analytical | Internal | ICFRE | One time grant | Used to cut fine sections | Forest Protection Division |  | 6,04,800 | NA | Working |  |  |  | Rattan sales Corporation, 718, Jaina Tower-I,7th floor district centre, Janakpuri, New Delhi | NA | Rattan sales Corporation, 718, Jaina Tower-I,7th floor district centre, Janakpuri, New Delhi | NA
57 | Weighing Balance; Wensar HPB-201 | WB | R. No. 67 | Wensar | Wensar HPB 201 | 93524 | Analytical | Internal | ICFRE | Plan | Used to weigh samples | Forest Protection Division |  | 48988 | NA | Working |  |  |  | Shivam Pharma Distributers, 25/26, Iind B Road, Sardarpura, Jodhpur, Rajasthan | NA | Shivam Pharma Distributers, 25/26, Iind B Road, Sardarpura, Jodhpur, Rajasthan | NA
58 | Thermal Cycler (PCR);T100 | PCR | R. No. 67 | Bio Rad | T100 Thermal Cycler | 621BR38993 | Analytical | Internal | ICFRE | EVALUATION OF PLANT GROWTH PROMOTING (PGPR)…RAZOBIUM. | Used to amplifly specific DNA segments for various applications | Forest Protection Division |  | 2,83,200 | NA | Working |  |  |  | Genetix biotech Asia Pvt. Ltd. 71/1, Ist floor Shivaji Marg, New Delhi | NA | Genetix biotech Asia Pvt. Ltd. 71/1, Ist floor Shivaji Marg, New Delhi | NA
59 | Microscope; Leica Microsystem DM 1000 LED | MS | R. No. 67 |  |  |  | Characterisation | Internal | ICFRE | One time grant | Used to magnify small objects. | Forest Protection Division |  |  | NA | [5 empty] | NA |  | NA
60 | Incubator, Remi CI-19 Plus | IB | R. No. 67 | Remi | CI-19 Plus | ZHII-35201 | Analytical | External | CAMPA | AICRP-11 | Used for incubation | Forest Protection Division |  | 3,69,000 | NA | Working |  |  |  | Multitech Automation, 560-B, 8th C road, Sardarpura, Jodhpur, Rajasthan | NA | Multitech Automation, 560-B, 8th C road, Sardarpura, Jodhpur, Rajasthan | NA
61 | Centrifuge;Remi CPR-24 Plus | CF | R. No. 67 | Remi | CPR-24 PLUS | ZBBU-05517 | Analytical | Internal | ICFRE | One time grant | Used to separate substances in a liquid or solid medium | Forest Protection Division |  | 3,17,516 | NA | Working |  |  |  | Tomar Scientific Corporation,Bhati Bhawan opp.police Line Ratanada road Jodhpur 342011 | NA | Tomar Scientific Corporation,Bhati Bhawan opp.police Line Ratanada road Jodhpur 342011 | NA
62 | Nanospectrophotometer;Denovix DX-11+ | NSP | R. No. 67 | Denovix | DS-11 + | SX86K7 | Analytical | Internal | ICFRE | One time grant | Used to measure concntration of compounds | Forest Protection Division |  | 6,85,946 | NA | Working |  |  |  | Imperial life science Pvt. LTD. 463,Pace city IInd sector 37, Gurgoan, Haryana | NA | Imperial life science Pvt. LTD. 463,Pace city IInd sector 37, Gurgoan, Haryana | NA
63 | Quick Freezer/Deep Freezer;Remi RQF-170L | M20F | R. No. 67 | Remi | RQF-170 L Remi VSO 1 | BDI-3512 | Analytical | Internal | ICFRE | One time grant | Used to store biological samples, reagents and other perishable items at ultra-low temperatures. | Forest Protection Division |  | 72818 | NA | Working |  |  |  | Raizada Medical Agencies,328 Agarwal Towar,jodhpur | NA | Raizada Medical Agencies,328 Agarwal Towar,jodhpur | NA
64 | Rotary E-vaporator Make- Igene labserve Model- RE-100 PRO | RE | R. No. 75 | Igene Labserve | IG-62CB RE-100 PRO | 73202101 | Analytical | External | CAMPA | Development of bio-pesticide products/formulations from extracts of tree borne oil seeds and tissues of wild plants for management of insect pests | Used to remove solvent from a sample through evaporation under reduced pressure | Forest Protection Division |  | 4,67,973 | NA | Working |  |  |  | Multitech Automation, 560-B, 8th C road, Sardarpura, Jodhpur, Rajasthan | NA | Multitech Automation, 560-B, 8th C road, Sardarpura, Jodhpur, Rajasthan | NA
65 | “Nikon NFX-35 Optiphot-2 microscope with accessories | MS | R. No. 54 | NIKON | NFX-35 | 150952 | Analytical | Internal | ICFRE | Plan | Used to magnify small objects. | Forest Protection Division |  |  | NA | Working |  |  |  |  | NA |  | NA
66 | “Lieca” wild M 3 Z Kombi stereo microscope with accessories | MS | R. No. 54 | LEICA | WILD M3Z | 473849 | Analytical | External | UNDP | UNDP | Used to magnify small objects. | Forest Protection Division |  |  | NA | Working |  |  |  |  | NA |  | NA
67 | Laminar Air Flow | LAF | R. No. 54 | Kirloskar Electrodyne |  |  | Analytical | NA | NA | NA | Used to create a sterile atmosphere for activities like plant tissue culture. | Forest Protection Division |  |  | NA | Working |  |  |  |  | NA |  | NA
68 | Sony Alpha-58 camera DSLR | DSLR | R. No. 67 | Sony | ALFA-58-Y | 2050922 | Analytical | External | DST | Development of package for integrated management of insect pests & diseases (IPDM) and improvement of planting stock material of neem (Azadirachta indica) through biofertilizers. purchased in 2014-15 | Used to caputure images | Forest Protection Division |  | 38990 | NA | Working |  |  |  | Foto Xpress India, B.O.-shop no.26-27,Ashok Udhyan pal road, Jodhpur | NA | Foto Xpress India, B.O.-shop no.26-27,Ashok Udhyan pal road, Jodhpur | NA
69 | Laminar Air Flow Bench; ATLANT | LAF | R. No. 60 | Atlantis | C-42 | NA | Analytical | NA | NA | NA | Used to create a sterile atmosphere for activities like plant tissue culture. | Forest Protection Division |  | 46688 | NA | Working |  |  |  | Atlantis application engineering pvt.LTD.B-73,Mayapuri INDL.Area Phase-I New Delhi | NA | Atlantis application engineering pvt.LTD.B-73,Mayapuri INDL.Area Phase-I New Delhi | NA
70 | Elico Flame Photometer-CL378 | FPM | R. No. 60 | ELICO | CL-378 | 2896 | Analytical | Internal | ICFRE | One time grant | Used for determining mineral ions in sample | Forest Protection Division |  | 87497 | NA | Working |  |  |  | Tomar Scientific Corporation,Bhati Bhawan opp.police Line Ratanada road Jodhpur 342011 | NA | Tomar Scientific Corporation,Bhati Bhawan opp.police Line Ratanada road Jodhpur 342011 | NA
71 | Soxhlet apparatus make- GLASSCO | SA | R. No. 75 | Glassco | Glassco 2000.DNEU.06 | NA | Analytical | External | CAMPA | AICRP 20 (Development of bio-pesticide products/formulations from extracts of tree borne oil seeds and tissues of wild plants for management of insect pests) | Used to extract bioactive compounds from solid samples through a process called Soxhlet extraction | Forest Protection Division |  | 29990 | NA | Working |  |  |  | Tomar Scientific Corporation,Bhati Bhawan opp.police Line Ratanada road Jodhpur 342011 | NA | Tomar Scientific Corporation,Bhati Bhawan opp.police Line Ratanada road Jodhpur 342011 | NA
72 | Autoclave(vertical) chino made | AC | R. No. 70 | Chino CE & GMP | ACV1422 | NA | Analytical | Internal | ICFRE | Plan | Uses steam under pressure to kill harmful bacteria, viruses, fungi, and spores on items that are placed inside the pressure vessel | Forest Protection Division |  | 46725 | NA | Working |  |  |  | Chino Scientific Instrument Mfg 3/15, Panchsheel Nagar,Ajmer, Rajasthan | NA | Chino Scientific Instrument Mfg 3/15, Panchsheel Nagar,Ajmer, Rajasthan | NA
73 | Autoclave; Equatron | AC | R. No. 70 | Equatron | #7441FA | 7441FA.BBC.002983.CX | Analytical | External | CAMPA | AICRP 11 (All India Coordinated ResearchProject on Dalbergia sissoo) | Uses steam under pressure to kill harmful bacteria, viruses, fungi, and spores on items that are placed inside the pressure vessel | Forest Protection Division |  | 2,29,975 | NA | Working |  |  |  | Multitech Automation, 560-B, 8th C road, Sardarpura, Jodhpur, Rajasthan | NA | Multitech Automation, 560-B, 8th C road, Sardarpura, Jodhpur, Rajasthan | NA
74 | Hot air oven Make-TEMPO | HAO | R. No. 70 | Tempo | T1125B | SM1075 | Analytical | Internal | ICFRE | Plan | used for drying of material or make them moisture free | Forest Protection Division |  |  | NA | Working |  |  |  |  | NA |  | NA
75 | Water bath Make-Tempstar | WB | R. No. 75 | Tempstar | KWI-97 | 8419 | Analytical | External | CAMPA | AICRP 20 (Development of bio-pesticide products/formulations from extracts of tree borne oil seeds and tissues of wild plants for management of insect pests) | Used to heat samples | Forest Protection Division |  | 69998 | NA | Working |  |  |  | The Scientific Suppliers, 505,5th B road sardarpura, Jodhpur, Rajasthan | NA | The Scientific Suppliers, 505,5th B road sardarpura, Jodhpur, Rajasthan | NA
76 | Magnetic Stirrer | MS | R. No. 67 | Remi | 2MLH | JHMS-6150 | Analytical | Internal | ICFRE | Development of package for integrated management of insect pests & diseases (IPDM) and improvement of planting stock material of neem (Azadirachta indica) through biofertilizers. purchased in 2014-15 | Consists of a rotating magnet or a stationary electromagnet that creates a rotating magnetic field and is used to mixing a solution | Forest Protection Division |  | 6615 | NA | Working |  |  |  | Raizada Medical Agencies,328 Agarwal Towar,Jodhpur, Rajasthan | NA | Raizada Medical Agencies,328 Agarwal Towar,Jodhpur, Rajasthan | NA
77 | Analytical balance | WB | R. No. 75 | ACZET | CY 224C | 23231441 | Analytical |  |  | Development of bio-pesticide products/formulations from extracts of tree borne oil seeds and tissues of wild plants for management of insect pests | Used to weigh samples | Forest Protection Division |  | 64994 | NA | Working |  |  |  | Multitech Automation, 560-B, 8th C road, Sardarpura, Jodhpur, Rajasthan | NA | Multitech Automation, 560-B, 8th C road, Sardarpura, Jodhpur, Rajasthan | NA
78 | LEICA MICROSCOPE WITH ACCESSORIES | MS | R. No. 67 | Leica | DM 1000 LED(11888842) | 376920 | Analytical | Internal | ICFRE | One time grant | Used to magnify small objects. | Forest Protection Division |  | 5,23,950 | NA | Working |  |  |  | M/s Sujata Enterprises,110 Janpath, Parshvanath colony,Nirman nagar,Jaipur,Rajasthan | NA | M/s DHR holding india Ltd.,121,Udyog vihar,Phase-IV,Gurgaon,Haryana | NA
79 | High Performance Liquid Chromatography | HPLC | R. No. 87 | Waters corporation, 34 maple street Milford, USA | WAT207000 | M0751505TA | Analytical | ICFRE | ICFRE | One time grant | Used for analysis of non-volatile organic mixtures and compounds | Silvilculture and Forest Management Division |  | 11,83,580.32/- | www.waters.com | Working |  |  |  | M/S Waters (INDIA) pvt. Ltd., New Delhi. | priyanka_agarwal@gmail.com | M/S Waters (INDIA) pvt. Ltd., New Delhi. | priyanka_agarwal@gmail.com
80 | UV-Visible spectrophotometer | UV-VIS SP | R. No. 87 | ANALYTIK JENA AG GERMANY | SPEKOL 2000 | 243C103E | Characterization | ICFRE | ICFRE | One time grant | Used to measure concntration of compounds in UV visible region | Silvilculture and Forest Management Division |  | 3,47,000/- | NA | Not Working |  |  |  | AJ Instruments India PVT. LTD., Delhi | upendra.dixit@ajindia.com | AJ Instruments India PVT. LTD., Delhi | upendra.dixit@ajindia.com
81 | Fluoroscence Spectrophotometer | FLUS | R. No. 87 | Cary Eclipse Agilent Make | G9802AA | MY14400003 | Characterization | ICFRE | ICFRE | One time grant | Used for measurments for Fluorescence, phophorescence and bioluminescence for complete vitamin analysis in plant sample | Silvilculture and Forest Management Division |  | 12,38,761/- | www.chem.agilent.com | Not working |  | 68,131.85/- |  | Agilent Technologies India pvt. Ltd., New Delhi | cag_india@agilent.com | Agilent Technologies India pvt. Ltd., New Delhi | cag_india@agilent.com
82 | Pulse wave NMR | PW-NMR | R. No. 87 | OXFORD | MQA6005 | OT1150 | Characterization | ICFRE-DEHRADUN | ICFRE | One time grant | used for determination of moisture and oil content in oilseeds | Silvilculture and Forest Management Division |  | 15,13,363.5/- | NA | not working | 19156.5/- | 13932/- |  | ADVANCE SCIENTIFIC EQUIPMENTS PVT. LTD. MUMBAI | NA | Advance Scientific Equipments PVT. LTD. MUMBAI | delhi@advscientific.com
83 | Rotarory Vaccum Evaporotor | RVE | R. No. 87 | EYELA, TOKYO RIKAKIKAI.co. Ltd | N-1200-BV | 61517468 | Fabrication | DST | DST | Optimization of processing methods for Prosopis cineraria and Capparis decidua in Western Rajasthan | used to remove solvent from a sample through evaporation under reduced pressure | Silvilculture and Forest Management Division |  | 7,18,000/- | https://www.omegaipl.com/eyela/ | working | 5999.80/- | 4291.00/- | 1366.48/- | M/s Omega Intreument Kolkata | info@omegaipl.com | M/s Omega Intreument Kolkata | info@omegaipl.com
84 | Flash chromatography system | FCG | R. No. 87 | Tianjin Bonna-Agela Technologies Ltd., Tianjin | MP200 | CH15200-4T-A0001 | Analytical | ICFRE | ICFRE | One time grant | Used to purify chemical mixtures | Silvilculture and Forest Management Division |  | 11,95,787/- | http://www.agela.com | working |  | 46550/- |  | Bonna-AGELA India Pvt. Ltd, Noida | vikasdixit@bonnaagela.com | Bonna-AGELA India Pvt. Ltd, Noida | vikasdixit@bonnaagela.com
85 | Fourier Transform infrared spectroscopy | FTIR | R. No. 87 | BRUKER OPTIK | ALPHA-T | 200339 | Characterization | ICFRE | ICFRE | One time grant | Used for functional group analysis of organic and inorganic compounds both as solids or liquids | Silvilculture and Forest Management Division |  | 13,30,000/- | https://www.bruker.com | working |  | 66,500/- |  | M/s Labindia Analytical instrument pvt. Ltd. | sales.mfd@labindia.com | M/s Labindia Analytical instrument pvt. Ltd. | sales.mfd@labindia.com
86 | Seed Counter | SC | R. No. 55 | M/s Bhagwan Enterprises, Jodhpur | 9031 | NA | Analytical | CAMPA | CAMPA | FGR | Works on the pricnciples of electormagnatic vibrations and optoelectronics and count seeds with precision | Silvilculture and Forest Management Division |  | 76,271.19/- | NA | working |  |  | 13728.82/- | M/s Bhagwan Enterprises, Jodhpur | bhagwanenterprises08@gmail.com | M/s Bhagwan Enterprises, Jodhpur | bhagwanenterprises08@gmail.com
87 | Seed Storage Cabinet | SSC | R. No. 58 | Kay Pee Udyog Ambala, Haryana | Tempster KSG-001 | KSG/001/2022/03/23 | Characterization | CAMPA | CAMPA | FGR | Used to store seeds at desired air humidity and tempreture. | Silvilculture and Forest Management Division |  | 4,74,760.96/- | NA | working |  |  | 23738.04/- | The Scientific Suppliers | kotharicm_cm@rediffmail.com | The Scientific Suppliers | kotharicm_cm@rediffmail.com
88 | Water quality meter | WQM | R. No. 55 | Systronics | SYS 372 | NA | Analytical | CAMPA | CAMPA | FGR | Use to measure several parameters such as pH, dissolved oxygen, turbidity, salinity, conductivity, and temperature | Silvilculture and Forest Management Division |  | 58406/- | NA | working |  |  |  | MULTITECH AUTOMATION | NA | NA | NA
89 | Modular Cold Room | MCR | R. No. 58 | MECH Air Industries | MEC-120-07 | NA | Characterization | CAMPA | CAMPA | FGR | Used to preserve perishable goods such as seeds with low viablity. | Silvilculture and Forest Management Division |  | 15,25,424/- | NA | working |  |  | 2,74,576/- | MECH AIR INDUSTRIES | info@mechair.in | NA | NA
90 | Digital Grain/Seed Moisture Meter | SMM | R. No. 72 | MULTITECH AUTOMATION | GA-275 | 2201129 | Analytical | CAMPA | CAMPA | FGR | Used to measure water or moisture content of seeds | Silvilculture and Forest Management Division |  | 24,990/- | NA | working |  |  |  | MULTITECH AUTOMATION | NA | NA | NA
91 | Seed Germinator Equipment | SG | R. No. 58 | Kay Pee Udyog Ambala, Haryana | KSG-001 | KSG/001/2021/09/29 | Fabrication | CAMPA | CAMPA | FGR | Used for germination of different kinds of seeds under laboratory conditions | Silvilculture and Forest Management Division |  | 4,78,953.00/- | NA | working |  |  |  | The Scientific Suppliers | kotharicm_cm@rediffmail.com | The Scientific Suppliers | kotharicm_cm@rediffmail.com
92 | Laser Range Finder | LRF | R. No. 55 | Multitech Automation | Apreys POWELINE 660 | NA | Characterization | CAMPA | CAMPA | AICRP 4 | Used to measure precise distances | Silvilculture and Forest Management Division |  | 18,856/- | NA | working |  |  | 942.80/- | MULTITECH AUTOMATION | NA | NA | NA
93 | Garmin GPS | GPS | R. No. 55 | RS VENTURE | URE GOM 550 | NA | Analytical | CAMPA | CAMPA | AICRP 8 (Enhancing productivity of saline wastelands in Kachchh through improved tree planting techniques and silvipastoral study) | used for location, navigation and mapping | Silvilculture and Forest Management Division |  | 37,275/- | NA | WORKING |  |  |  | ASIM Navigation India PVT. LTD. | NA | NA | NA
94 | Microprocessor based pH meter | PHM | R. No. 74 | Century Instruments | CP 931 | NA | Analytical and Calibarative | ICFRE | ICFRE | Enhancing fodder productivity land of India | Used to measure the acidity or alkalinity of a solution | Silvilculture and Forest Management Division |  | 6300/- | NA | WORKING |  |  |  | M/s Shivam Pharma Distributors, Jodhpur | shivampharma20@rediffmail.com | M/s Shivam Pharma Distributors, Jodhpur | shivampharma20@rediffmail.com
95 | Microprocessor based Conductivity meter | ECM | R. No. 74 | Century Instruments | CC1631 AT | NA | Analytical and Calibarative | ICFRE | ICFRE | Enhancing fodder productivity land of India | Used for estimation of electrical conductivity of the soil | Silvilculture and Forest Management Division |  | 15900/- | NA | WORKING |  |  | 2305/- | M/s Shivam Pharma Distributors, Jodhpur | shivampharma20@rediffmail.com | M/s Shivam Pharma Distributors, Jodhpur | shivampharma20@rediffmail.com
96 | Horizontal rotary shaker | HS | R. No. 74 | P. L. TANDON & CO., New Delhi | PLT-200 | NA | Analytical | ICFRE | ICFRE |  | Used for mixing or blending two types liquids via a shaking function. | Silvilculture and Forest Management Division |  | 27,590/- | NA | WORKING |  | 1379/- |  | The Scientific Suppliers | kotharicm_cm@rediffmail.com | The Scientific Suppliers | kotharicm_cm@rediffmail.com
97 | Hot Air Oven | HAO | R. No. 74 | Surfix | DTC-941 | NA | Fabrication | ICFRE | ICFRE | Effect of fertilizer application on growth and yield of 10 yr old Salvadora persica and Acacia ampliceps plantation on arid salt affected soil. | used for drying of material or make them moisture free | Silvilculture and Forest Management Division |  | 32900/- | NA | WORKING |  | 4606/- |  | Surana Scientifics, Jodhpur | surfix@rediffmail.com | Surana Scientifics, Jodhpur | surfix@rediffmail.com
98 | Hot Air sterilizer (Oven) | HAS | R. No. 74 | YORCO Sales PVT. LTD. New Delhi | YSI-131 | 88217-G | Fabrication | ICFRE | ICFRE | Effect of fertilizer application on growth and yield of 10 yr old Salvadora persica and Acacia ampliceps plantation on arid salt affected soil. | used for drying of material or make them moisture free | Silvilculture and Forest Management Division |  | 29990/- | NA | WORKING |  | 1199.6/- |  | M/s Indian Equipment Company, Jodhpur | NA | NA | NA
99 | Uv- Chromatography Inspection cabinet | CC | R. No. 81 | JSGW | DZ-300 | 201501006 | Fabrication | ICFRE | ICFRE |  | Used for Chromatographic analysis by Ultraviolet fluorescence and viewing Chromatogram combines both long and short wave Ultraviolet Lights and also White Light in a compact table-top unit | Silvilculture and Forest Management Division |  |  | NA | WORKING |  |  |  |  | NA | NA | NA
100 | Freeze Dryer | FD | R. No. 80 | Allied Frost | NA | NA | Analytical | External | DST |  | Used to cool the material below its triple point to ensure that sublimation, rather than melting, will occur. This preserves the material's physical form. A freeze dryer most easily freeze dries large ice crystals. | Silvilculture and Forest Management Division |  | 5,54,400/- | NA | WORKING |  |  |  | MACFLOW ENGINEERING PVT. LTD., New Delhi | macflow@macflow.net | MACFLOW ENGINEERING PVT. LTD., New Delhi | macflow@macflow.net
101 | High Voltage Gel Electrophoresis | HVGE | R. No. 82 | WIPRO-BIOMED | NA | NA | Characterization | External | UNDP |  | Used to separate nucleic acids of different sizes. | Silvilculture and Forest Management Division |  | 2,73,955.62/- | NA | WORKING |  | 20,481.54/- | 7204.34/- | Bio-Red Pacific Limited, Hongkong | NA | Bio-Red Private (India) Limited | biored.delhi@sm4.sprintrpg.ems.vsnl.net.in
102 | Digital pH Meter | PHM | R. No. 74 | EI Products, Parwanoo | 101E Delxue | NA | Characterization | Internal | ICFRE | Enhancing fodder productivity land of India | Used to measure the acidity or alkalinity of a solution | Silvilculture and Forest Management Division |  | 6400/- | NA | WORKING |  | 896/- |  | Surana Scientifics, Jodhpur | surfix@rediffmail.com | NA | NA
103 | Deep Freezer | DF | R. No. 81 | REMI ELEKTROTECHNIK LIMITED, Mumbai | RVF- 245 | NA | Analytical | External | DST | Optimization of processing methods for Prosopis cineraria and Capparis decidua in Western Rajasthan | Used to store biological samples, reagents and other perishable items at ultra-low temperatures. | Silvilculture and Forest Management Division |  | 52915/- | NA | working |  | 7408/- |  | M/s Tomar Scientific Corporation, Jodhpur | tomarjodhpur@gmail.com | M/s Tomar Scientific Corporation, Jodhpur | tomarjodhpur@gmail.com
104 | Muffle Furnace | MF | R. No. 81 | CHINO | MF-1200 | NA | Characterization |  |  |  | Used for high-temperature heating, recovery and cooling of a material in an insulated cabinet | Silvilculture and Forest Management Division |  | 1,04,900/- | NA | working |  | 14,686/- |  | Chino Scientific Instruments Mfg. | chinoagm@gmail.com | Chino Scientific Instruments Mfg. | chinoagm@gmail.com