## Sheet1
0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
S. No. | Equipment Name | Approved Abbreviation | Location (Central Instrument Room) | Make (Manufacturer) | Model | Serial No. | Funding Agency Type | Funding Agency Details (Use Common if multiple)
1 | Probe Sonicator |  | CIR | PCI | PCI 750F | PCI/15/04/01
2 | Flash Chromatography |  | CIR | Buchi | Pump manager C615 C601 | 10001 94828 | CCOST
3 | Zetasizer |  | CIR | Anton Paar | Litesizer 500
4 | FTIR |  | CIR | Shimadzu | IR affinity 1 | A2137 4902 131
5 | HPLC |  | CIR | Shimadzu | i-series LC-2050 C30 | L22985 900188
6 | Brookfield Viscometer |  | CIR | Brookfield | Model-RVT
7 | Fluorescence Microscope |  | CIR | COSLAB | HL-22 |  | CCOST
8 | Hematology Analyzer |  | CIR | ACCUHEM -100 | ACCUHEM -100 | 860983-M2420 1270005
9 | Auto Chemistry Analyzer |  | CIR | ACCUHEM -100 | ACCUHEM -100 | E51032 403PT 236P
10 | UV -1900i |  | CIR | Shimadzu | UV -1900i | A125 362 84478
S. No. | Equipment Name | Approved Abbreviation | Location (Central Instrument Room) | Make (Manufacturer) | Model | Serial No. | Funding Agency Type | Funding Agency Details (Use Common if multiple)
11 | UV-1800 |  | CIR | Shimadzu | UV-1800 | A114549 07830
12 | Digital Microscope |  | CIR | Lobamed | LX400 eFL
13 | Lyophilizer |  | CIR | Multitech Scientific Instruments | Temperature-40̊ C
14 | Digital Potentiometer |  | CIR | Electronic India (EI) | 118 | 0809157
15 | Digital Turbidity Meter |  | CIR | EI | 331 | 0811103
16 | Conductivity Meter |  | CIR | EI | 611 | 0808071
17 | Digital pH Meter |  | CIR | EI | 111 | 0903082
18 | Digital Balance |  | CIR | EI | KEA-210 | 8090
19 | Zero Maze for Rat Radial Arm Maze for Rat |  | P’cology | Keroy
20 | Super Critical Fluid Extractor |  | Machine room | AmAR | TSA-0.42B-15M | 118 | DST-FIST
S. No. | Equipment Name | Approved Abbreviation | Location (Central Instrument Room) | Make (Manufacturer) | Model | Serial No. | Funding Agency Type | Funding Agency Details (Use Common if multiple)
21 | Spray Dryer |  | Machine room | VARCO |  |  | DST-FIST
22 | Mini Fluid Bed Dryer |  | Machine room | SHAKTI | 2014 | 21 | CCOST
23 | Tablet Punching Machine |  | Machine room | SHAKTI | 2010 | 31
24 | Tablet dissolution Apparatus |  | Machine room | VEEGO
25 | Deep Freezer |  | Machine room | Multitech Scientific Instrument
26 | Stability Chamber |  | Machine room | Multitech Scientific Instrument
27 | Orbital Shaker Machine |  | Machine room
28 | Inverted Microscope |  | Machine room | OLYMPUS | CKX41 |  | AICTE
29 | Co2 Incubator |  | Machine room | New Brunswick | C0170S-230-1000 | 42274 | AICTE
30 | Bio Safety Cabinet |  | Machine room
S. No. | Equipment Name | Approved Abbreviation | Location (Central Instrument Room) | Make (Manufacturer) | Model | Serial No. | Funding Agency Type | Funding Agency Details (Use Common if multiple)
31 | Rota Evaporator |  | Machine Room | BUCHI
32 | Deep Freezer ULT-360 |  | Machine Room | REMI | ULT-360 | ZECD-10195
33 | Autoclave Machine |  | Machine Room | EQUIT RON |  | NC1164-1662
34 | All Purpose Equment |  | Machine Room
35 | Try Drier |  | Machine Room | Gautam Lab Equipment
36 | Sieve Shaker with Sieve set |  | Machine Room | LABTECH Instruments
37
38
39
40