## Sheet1
Equipment Name | Name of Equipment Technologist/Operator | Email id of Equipment Technologist/Operator | Contact No. (Mobile No.) of Equipment Technologist/Operator | Approved Abbreviation | Landmark/Location (Room No.) | Make (Manufacturer of Equipment) | Model No. | Funding Agency Type (External/Instituion) | Funding Agency Details (Use Comma if multiple) Such as DST, CSIR, ICMR etc. | Equipment Description | Cost of Instrument Sanctioned in the Project | Year of Installation | Present status of Equipment (Up/Down/Under Maintenance) | % of total time to be made available to the external users | Category | Lab/Facility Name | Department Name | Name of Head of the Department | Email id of Head of the Department | Phone No. (Office) of Head of the Department | Name of Department Representative | Contact No. of Department Representative | Email id of Department Representative | Name of Faculty Incharge of Facility | Email id of Faculty Incharge of Facility | Contact No. of Faculty Incharge of Facility | Name of Departments (in case Faculty Incharge belongs to multiple departments) | Name of Departments (in case Equipment Technologist/Operator belongs to multiple departments) | Name of the Project | Duration (From Year - To Year)
X-Ray Diffraction | Suresh Dua | dua_bros@yahoo.com | 9826116414 |  | X-Ray Diffraction Laboratory | PANalytical | PANalytical 3 kW X’pert Powder | Institute Funded | NA | X-Ray Diffraction | 132513 Euro | 2014 | Up |  |  | XRD Laboratory | Metallurgical Engineering | Dr. M. K. Tripathi | hod.met@nitrr.ac.in | 8103766514 | Dr, Manoj Kumar Chopkar | 8109939981 | mchopkar.met@nitrr.ac.in | Dr, Manoj Kumar Chopkar | mchopkar.met@nitrr.ac.in | 8109939981 | NA | NA
Scanning Electron Microscope | Vinod Kumar Ingole | vinodingolemet.net@gmail.com | 9039211565 |  | SEM Lab | Zeiss | Zeiss EVO 18 | Institute Funded | NA | Scanning Electron Microscope | 9073366 Rs.+ 465372 Custom Charges | 2014 | Up |  |  | SEM Laboratory | Metallurgical Engineering | Dr. M. K. Tripathi | hod.met@nitrr.ac.in | 8103766514 | Dr, Manoj Kumar Chopkar | 8109939981 | mchopkar.met@nitrr.ac.in | Dr, Manoj Kumar Chopkar | mchopkar.met@nitrr.ac.in | 8109939981 | NA | NA
Analytical Balance | Chidarapu Rishikesh Babu | chidarapurishikeshbabu@gmail.com | 90000 23821 |  | Material Testing Laboratory | Shimadzu | AUX Series AUX220 | Institute Funded | NA | Analytical Balance | 183750 Rs. | 2018 | Up |  |  | Material Testing Laboratory | Metallurgical Engineering | Dr. M. K. Tripathi | hod.met@nitrr.ac.in | 8103766514 | Dr. Sudip K Sinha | 9830076244 | sksinha.met@nitrr.ac.in | Dr. Sudip Kumar Sinha | sksinha.met@nitrr.ac.in | 9830076244 | NA | NA
Universal Testing Machine 100 kN | Chidarapu Rishikesh Babu | chidarapurishikeshbabu@gmail.com | 90000 23821 |  | Material Testing Laboratory | Instron | INSTRON 5982 | Institute Funded | NA | Universal Testing Machine | 109969 | 2015 | Up |  |  | Material Testing Lab | Metallurgical Engineering | Dr. M. K. Tripathi | hod.met@nitrr.ac.in | 8103766514 | Dr. Sudip K Sinha | 9830076244 | sksinha.met@nitrr.ac.in | Dr. Sudip Kumar Sinha | sksinha.met@nitrr.ac.in | 9830076244 | NA | NA
Wear Testing Machine | Chidarapu Rishikesh Babu | chidarapurishikeshbabu@gmail.com | 90000 23821 |  | Material Testing Laboratory | Ducom | TR-20-PHM-400 | Institute Funded | NA | Wear Testing Machine | 593950 Rs. | 2016 | Up |  |  | Material Testing Lab | Metallurgical Engineering | Dr. M. K. Tripathi | hod.met@nitrr.ac.in | 8103766514 | Dr. Sudip K Sinha | 9830076244 | sksinha.met@nitrr.ac.in | Dr. Sudip Kumar Sinha | sksinha.met@nitrr.ac.in | 9830076244 | NA | NA
Inverted Microscope | Chidarapu Rishikesh Babu | chidarapurishikeshbabu@gmail.com | 90000 23821 |  | Material Testing Laboratory | Carl Zeiss | ZEISS Axio Vert.A1 | Institute Funded | NA | Inverted Microscope | EUR 57109 | 2013 | Up |  |  | Material Testing Lab | Metallurgical Engineering | Dr. M. K. Tripathi | hod.met@nitrr.ac.in | 8103766514 | Dr. Sanjeev Das | 9436735328 | sdas,met@nitrr.ac.in | Dr. Sanjeev Das | sdas,met@nitrr.ac.in | 9436735328 | NA | NA
Micro Hardness Tester | Chidarapu Rishikesh Babu | chidarapurishikeshbabu@gmail.com | 90000 23821 |  | Material Testing Laboratory | Shimadzu | HMV-2T | Institute Funded | NA | Micro Hardness Tester | 2025000 | 2013 | Up |  |  | Material Testing Lab | Metallurgical Engineering | Dr. M. K. Tripathi | hod.met@nitrr.ac.in | 8103766514 | Dr. Sudip K Sinha | 9830076244 | sksinha.met@nitrr.ac.in | Dr. Sudip Kumar Sinha | sksinha.met@nitrr.ac.in | 9830076244 | NA | NA
Turbular Powder Mixer | Chidarapu Rishikesh Babu | chidarapurishikeshbabu@gmail.com | 90000 23821 |  | Material Testing Laboratory | Hexagon Product Devolopment Pvt. Ltd. | ALPHIE-3 | Institute Funded | NA | Turbular Powder Mixer | 260873 Rs. | 2018 | Up |  |  | Material Testing Lab | Metallurgical Engineering | Dr. M. K. Tripathi | hod.met@nitrr.ac.in | 8103766514 | Dr. Sudip K Sinha | 9830076244 | sksinha.met@nitrr.ac.in | Dr. Sudip Kumar Sinha | sksinha.met@nitrr.ac.in | 9830076244 | NA | NA
High Energy Ball Mill | K. Raja Rao/Anil Kumar | krajarao218@gmail.com | 8871597261 |  | Material Testing Laboratory | Retsch | PM 400 | Institute Funded | NA | Planetary Boll Mill | 2499398 Rs. | 2013 | Up |  |  | Material Testing Lab | Metallurgical Engineering | Dr. M. K. Tripathi | hod.met@nitrr.ac.in | 8103766514 | Dr. Sudip K Sinha | 9830076244 | sksinha.met@nitrr.ac.in | Dr. Sudip Kumar Sinha | sksinha.met@nitrr.ac.in | 9830076244 | NA | NA
Abrasive cut off machine | Santosh Nagvanshi | nagwanshi.santosh@gmail.com | 8889302664 |  | Melting and Casting Lab | Banbros Engineering | ACO-100 | Institute Funded | NA | Abrasive cut off machine | 205125.30 Rs. | 2018 | Down |  |  | Project Lab | Metallurgical Engineering | Dr. M. K. Tripathi | hod.met@nitrr.ac.in | 8103766514 | Dr. M. K. Manoj | 9303407651 | mkmanoj.met@nitrr.ac.in | Dr. M. K. Manoj | mkmanoj.met@nitrr.ac.in | 9303407651 | NA | NA
Jominy End Quench test setup | Santosh Nagvanshi | nagwanshi.santosh@gmail.com | 8889302664 |  | Melting and Casting Lab | Contation Technology | CJT-1 | Institute Funded | NA | Jominy End Quench test setup |  | 2014 | Up |  |  | Project Lab | Metallurgical Engineering | Dr. M. K. Tripathi | hod.met@nitrr.ac.in | 8103766514 | Dr. M. K. Manoj | 9303407651 | mkmanoj.met@nitrr.ac.in | Dr. M. K. Manoj | mkmanoj.met@nitrr.ac.in | 9303407651 | NA | NA
Tubular Furnace | Santosh Nagvanshi | nagwanshi.santosh@gmail.com | 8889302664 |  | Melting and Casting Lab | VB Ceramics |  | Institute Funded | NA | Tubular Furnace |  | 2017 | Up |  |  | Project Lab | Metallurgical Engineering | Dr. M. K. Tripathi | hod.met@nitrr.ac.in | 8103766514 | Dr. M. K. Manoj | 9303407651 | mkmanoj.met@nitrr.ac.in | Dr. M. K. Manoj | mkmanoj.met@nitrr.ac.in | 9303407651 | NA | NA
Muffle Furnace | Santosh Nagvanshi | nagwanshi.santosh@gmail.com | 8889302664 |  | Melting and Casting Lab | Therelek |  | Institute Funded | NA | Muffle Furnace | 12600 | 2010 | Up |  |  | Project Lab | Metallurgical Engineering | Dr. M. K. Tripathi | hod.met@nitrr.ac.in | 8103766514 | Dr. M. K. Manoj | 9303407651 | mkmanoj.met@nitrr.ac.in | Dr. M. K. Manoj | mkmanoj.met@nitrr.ac.in | 9303407651 | NA | NA
Power Drill | Santosh Nagvanshi | nagwanshi.santosh@gmail.com | 8889302664 |  | Project Lab | Praga | 250 | Institute Funded | NA | Power Drill |  | ??1973 | Up |  |  | Project Lab | Metallurgical Engineering | Dr. M. K. Tripathi | hod.met@nitrr.ac.in | 8103766514 | Dr. M. K. Manoj | 9303407651 | mkmanoj.met@nitrr.ac.in | Dr. M. K. Manoj | mkmanoj.met@nitrr.ac.in | 9303407651 | NA | NA
Arc Welding machine | Santosh Nagvanshi | nagwanshi.santosh@gmail.com | 8889302664 |  | Project Lab | Sanjay | SEEW/50 | Institute Funded | NA | Arc Welding machine |  | ??2008 | Up |  |  | Project Lab | Metallurgical Engineering | Dr. M. K. Tripathi | hod.met@nitrr.ac.in | 8103766514 | Dr. M. K. Manoj | 9303407651 | mkmanoj.met@nitrr.ac.in | Dr. M. K. Manoj | mkmanoj.met@nitrr.ac.in | 9303407651 | NA | NA
TIG + Arc Welding machine | Santosh Nagvanshi | nagwanshi.santosh@gmail.com | 8889302664 |  | Project Lab | Jagdeesh | TIG/MMA-200A | Institute Funded | NA | TIG + Arc Welding machine | 14927 | 2017 | Up |  |  | Project Lab | Metallurgical Engineering | Dr. M. K. Tripathi | hod.met@nitrr.ac.in | 8103766514 | Dr. M. K. Manoj | 9303407651 | mkmanoj.met@nitrr.ac.in | Dr. M. K. Manoj | mkmanoj.met@nitrr.ac.in | 9303407651 | NA | NA
Lathe machine | Santosh Nagvanshi | nagwanshi.santosh@gmail.com | 8889302664 |  | Project Lab | MK Ltd. | MBD I | Institute Funded | NA | Lathe machine |  | ??1973 | Up |  |  | Project Lab | Metallurgical Engineering | Dr. M. K. Tripathi | hod.met@nitrr.ac.in | 8103766514 | Dr. M. K. Manoj | 9303407651 | mkmanoj.met@nitrr.ac.in | Dr. M. K. Manoj | mkmanoj.met@nitrr.ac.in | 9303407651 | NA | NA
Vertical milling machine | Pragya Nandan Banjare | pnbanjare.phd2015.meta@nitrr.ac.in | 9770578891 |  | Project Lab | R.K. Machine Tools | 1967 | Institute Funded | NA | Vertical milling machine | 151200 | ??1973 | Up |  |  | Project Lab | Metallurgical Engineering | Dr. M. K. Tripathi | hod.met@nitrr.ac.in | 8103766514 | Dr. M. K. Manoj | 9303407651 | mkmanoj.met@nitrr.ac.in | Dr. M. K. Manoj | mkmanoj.met@nitrr.ac.in | 9303407651 | NA | NA
D.C. Power Supply machine | Sudha Giri | sudhagiri07@gmail.com | 9329287089 |  | Electo Chemistry and Corrosion Lab | Keysight | E3632A | Institute Funded | NA | D.C. Power Supply machine | 190700 | 2016 | Up |  |  | Project Lab | Metallurgical Engineering | Dr. M. K. Tripathi | hod.met@nitrr.ac.in | 8103766514 | Dr. M. K. Tripathi | 8103766514 | mktripathi.met@nitrr.ac.in | Dr. M. K. Tripathi | mktripathi.met@nitrr.ac.in | 8103766514 | NA | NA
Vacuum Arc Melting Furnace | Santosh Nagvanshi | nagwanshi.santosh@gmail.com | 8889302664 |  | Electo Chemistry and Corrosion Lab | VEC Solution |  | Institute Funded | NA | Vacuum Arc Melting Furnace | 1917990 | 2016 | Up |  |  | Project Lab | Metallurgical Engineering | Dr. M. K. Tripathi | hod.met@nitrr.ac.in | 8103766514 | Dr. M. K. Tripathi | 8103766514 | mktripathi.met@nitrr.ac.in | Dr. M. K. Tripathi | mktripathi.met@nitrr.ac.in | 8103766514 | NA | NA
Potentiostat | Sudha Giri | sudhagiri07@gmail.com | 9329287089 |  | Electo Chemistry and Corrosion Lab | Princeton Applied Research | Versa Stat 3 | Institute Funded | NA | Potentiostat | 925847 | 2016 | Up |  |  | Project Lab | Metallurgical Engineering | Dr. M. K. Tripathi | hod.met@nitrr.ac.in | 8103766514 | Dr. M. K. Tripathi | 8103766514 | mktripathi.met@nitrr.ac.in | Dr. M. K. Tripathi | mktripathi.met@nitrr.ac.in | 8103766514 | NA | NA
Ultrasonic Flaw Detector | Sudha Giri | sudhagiri07@gmail.com | 9329287089 |  | Electo Chemistry and Corrosion Lab | Vibronics | FD-201-B | Institute Funded | NA | Ultrasonic Flaw Detector | 354324 | 2018 | Up |  |  | Project Lab | Metallurgical Engineering | Dr. M. K. Tripathi | hod.met@nitrr.ac.in | 8103766514 | Dr. M. K. Tripathi | 8103766514 | mktripathi.met@nitrr.ac.in | Dr. M. K. Tripathi | mktripathi.met@nitrr.ac.in | 8103766514 | NA | NA
Slow Speed Cutting Machine | Rakesh Kumar | rakesh.sparkal@gmail.com | 8349772428 |  | Metallography Lab | S.R. Technology | PRECICUT | Institute Funded | NA | Slow Speed Cutting Machine | 136000 | 2014 | Up |  |  | Metallography Lab | Metallurgical Engineering | Dr. M. K. Tripathi | hod.met@nitrr.ac.in | 8103766514 | Dr. Sanjeev Das | 9436735328 | sdas,met@nitrr.ac.in | Dr. Sanjeev Das | sdas,met@nitrr.ac.in | 9436735328 | NA | NA
Disc Polisher | Rakesh Kumar | rakesh.sparkal@gmail.com | 8349772428 |  | Metallography Lab | SSA Yanthra Vigyan | Master Disk Grinder polisher | Institute Funded | NA | Disc Polisher | 204120 | 2013 | Up |  |  | Metallography Lab | Metallurgical Engineering | Dr. M. K. Tripathi | hod.met@nitrr.ac.in | 8103766514 | Dr. Sanjeev Das | 9436735328 | sdas,met@nitrr.ac.in | Dr. Sanjeev Das | sdas,met@nitrr.ac.in | 9436735328 | NA | NA
Hot Mounting Press | Rakesh Kumar | rakesh.sparkal@gmail.com | 8349772428 |  | Metallography Lab | SSA Yanthra Vigyan | Master Mounting Press | Institute Funded | NA | Hot Mounting Press |  | 2016 | Up |  |  | Metallography Lab | Metallurgical Engineering | Dr. M. K. Tripathi | hod.met@nitrr.ac.in | 8103766514 | Dr. Sanjeev Das | 9436735328 | sdas,met@nitrr.ac.in | Dr. Sanjeev Das | sdas,met@nitrr.ac.in | 9436735328 | NA | NA
Metallurgical Microscope | Rakesh Kumar | rakesh.sparkal@gmail.com | 8349772428 |  | Metallography Lab | Zeiss | AXIO Lab - A1 | Institute Funded | NA | Metallurgical Microscope | 103372 | 2013 | Up |  |  | Metallography Lab | Metallurgical Engineering | Dr. M. K. Tripathi | hod.met@nitrr.ac.in | 8103766514 | Dr. Sanjeev Das | 9436735328 | sdas,met@nitrr.ac.in | Dr. Sanjeev Das | sdas,met@nitrr.ac.in | 9436735328 | NA | NA
Metallographic Stereo zoom Macroscope | Rakesh Kumar | rakesh.sparkal@gmail.com | 8349772428 |  | Metallography Lab | Leica | S8AP0 | TEQUIP III Funded |  | Metallographic Stereo zoom Macroscope | 495000 | 2016 | Up |  |  | Metallography Lab | Metallurgical Engineering | Dr. M. K. Tripathi | hod.met@nitrr.ac.in | 8103766514 | Dr. Sanjeev Das | 9436735328 | sdas,met@nitrr.ac.in | Dr. Sanjeev Das | sdas,met@nitrr.ac.in | 9436735328 | NA | NA
Digital Rockwell Hardness Testing Machine | Rakesh Kumar | rakesh.sparkal@gmail.com | 8349772428 |  | Metallography Lab | PMI Co. India | PMI-3200 | Institute Funded | NA | Digital Rockwell Hardness Testing Machine | 816425 | 2013 | Up |  |  | Metallography Lab | Metallurgical Engineering | Dr. M. K. Tripathi | hod.met@nitrr.ac.in | 8103766514 | Dr. Sanjeev Das | 9436735328 | sdas,met@nitrr.ac.in | Dr. Sanjeev Das | sdas,met@nitrr.ac.in | 9436735328 | NA | NA
HPC/Workstation Computer | Mrinal Kumar Sahu | msahu.phd2017.met@nitrr.ac.in | 7044056212 |  | Computational Materials Engg lab | Dell | Dell Precision 5820 | NIT Raipur, Seed Grant | NA | HPC/Workstation Computer | 325000 | 2019 | Up | NIL |  | MMS Lab | Metallurgical Engineering | Dr. M. K. Tripathi | hod.met@nitrr.ac.in | 8103766514 | Dr. Subhas Ganguly | 9433396665 | sganguly.met@nitrr.ac.in | Dr. Subhas Ganguly | sganguly.met@nitrr.ac.in | 9433396665 | NA | NA
Workstation | Tikam Chand Soni | tcsoni.phd2018.meta@nitrr.ac.in | 9734777722 |  | Electrochemistry and Corrosion Laboratory | Dell | Dell Precision 5820 | Institute Funded | NA | Workstation | 205106 | 2019 | Up |  |  | Corrosion Engg. Lab | Metallurgical Engineering | Dr. M. K. Tripathi | hod.met@nitrr.ac.in | 8103766514 | hod.met@nitrr.ac.in | 8103766514 | mktripathi.met@nitrr.ac.in | Dr. M. K. Tripathi | mktripathi.met@nitrr.ac.in | 8103766514 | NA | NA