## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Field Emission Scanning Electron Microscope | FESEM | Room No. 0102, Block 01 | Thermo Fisher | Apreo 2S | 9962216 | Internal Funding | NA | NA | Resolution: 0.9 nm at 1 kV 0.8 nm at 1 kV (beam decel.) 1.0 nm at 1 kV, 10 mm working distance (beam decel.) 0.8 nm at 500 V (beam decel.) 1.2 nm at 200 V (beam decel.) Standard detectors: ETD, T1, T2, T3, IR-CCD, Nav-Cam+ | CAIF | Central Advanced Instrumental Facility | 78183361 | https://www.thermofisher.com/in/en/home/electron-microscopy/products/scanning-electron-microscopes/apreo-sem.html | Functional | Characterization | FEI Company of USA | anup.biswas@thermofisher.com | IISER Berhampur | fesem@iiserbpr.ac.in | fesem@iiserbpr.ac.in
X-Ray Photoelectron Spectroscopy | XPS | Room No. 0102, Block 01 | Ulvac-PHI | Genesis | 740456 Rev. 1 | Internal Funding | NA | NA | <5 microns microprobe size in x and y for Al X-ray source and <14 microns for Cr X-ray source | CAIF | Central Advanced Instrumental Facility | 69050359 | https://www.phi.com/surface-analysis-equipment/genesis.html#features | Functional | Characterization | Icon Analytical Instruments Pvt. Ltd., Mumbai | sales@iconanalytical.com | IISER Berhampur | xps@iiserbpr.ac.in | xps@iiserbpr.ac.in
Capillary based cell counter | Casy cell counter | Transit Campus, Cell culture suite, Floor 1 | Omni Life Sciences | Casyton | NA | Internal Funding | NA | NA |  | CAIF | Central Advanced Instrumental Facility | 2700000 |  |  | Characterization |  |  | IISER Berhampur | vbulusu@iiserbpr.ac.in | vbulusu@iiserbpr.ac.in
Odyssey DLx Infrared Imaging System | Odyssey DLx | Transit Campus, Biology Lab, Floor 3 | Licor | Odyssey DLx | NA | Internal Funding | NA | NA |  | CAIF | Central Advanced Instrumental Facility | 4500000 |  |  | Characterization |  |  | IISER Berhampur | vbulusu@iiserbpr.ac.in | vbulusu@iiserbpr.ac.in
UV-Vis DRS Spectrophotometer | UV-Vis DRS Spectrophotometer | IISER Berhampur Permanent campus, Common Materials Characterization Lab, Academic Building Block-2, 2nd floor, Room No.: 2094 | Shimadzu | UV-2600i | A12596280447 | Internal Funding | NA | NA | Double beam UV-Vis DRS Spectrophotometer with Accessory Integrating Sphere Attachment and Thermoelectrically Temperature controlled Cell holder using Peltier Effect | CAIF | Central Advanced Instrumental Facility | 2262650 | https://www.iiserbpr.ac.in/ | Functional | Characterization | M/s Toshvin Analytical Pvt. Ltd. | mumbai@toshvin.com | IISER Berhampur | mumbai@toshvin.com | santanub@iiserbpr.ac.in
Potentiostatgalvanostat with Spectroelectrochemical setup | Spectroelectrochemical Setup | IISER Berhampur Permanent campus, Academic Building Block-2, 1st floor, Room No.: 1107 | CH Instruments Inc. | CHI760E | CHI1682 | Internal Funding | NA | NA | Spectroelectrochemical setup with SR 4 Spectrometer, DH2000 BAL light source accessories, cuvette holder, 400 um premium fiber, 100 um premium fiber | CAIF | Central Advanced Instrumental Facility | 3339830 | https://www.iiserbpr.ac.in/ | Functional | Characterization | M/s Sinsil International Pvt Ltd | kolkata@sinsil.in | IISER Berhampur | kolkata@sinsil.in | santanub@iiserbpr.ac.in
UV-Vis DRS Spectrophotometer Agilent Cary 5000 | UV-Vis NIR Spectrophotometer | IISER Berhampur Transit campus, CAIF, Ground floor, Room no: 004 | Agilent Technologies | G9825A | MY2006CD02 | Internal Funding | NA | NA | UV-Vis-NIR Sphectrophotometer with accessory | CAIF | Central Advanced Instrumental Facility | 4500000 | https://www.iiserbpr.ac.in/ | Functional | Characterization | Agilent | saikat.basu@agilent.com | IISER Berhampur | customercare@agilent.com | santanub@iiserbpr.ac.in
Transient Absorption Spectroscopy | Transient absorption spectroscopy (TAS) | IISER Berhampur Permanent campus, Academic Building Block-2, Ground floor, Room No.: 0098 | Laser Spectra Services India Pvt. Ltd. | Excipro- XL, CDP-2022i, Solstice TOPAS-Prime, MTEV SPS SOL | 022115, 20963 | Internal Funding | NA | NA | Transient absorption spectrometer, Spectrograph and Controller, SOLSTICE Amplifier TOPAS Prime (OPA), Maitai head | CAIF | Central Advanced Instrumental Facility | 45000000 | https://www.iiserbpr.ac.in/ | Functional | Characterization | Laser Spectra Services India Pvt. Ltd. | admin@laser-spectra.com | IISER Berhampur | admin@laser-spectra.com | santanub@iiserbpr.ac.in
Asahi Spectra compact light source | Asahi Spectra compact light source | IISER Berhampur Transit campus, 4th floor, Room no: 401 | Asahi Spectra | MAX-350, Compact Xenon Light Source | 81132143 | Internal Funding | NA | NA | Asahi Spectra Compact Xenon Light Source | CAIF | Central Advanced Instrumental Facility | 2000000 | https://www.iiserbpr.ac.in/ | Functional | Characterization | M/s Sinsil International Pvt Ltd | kolkata@sinsil.in | IISER Berhampur | kolkata@sinsil.in | santanub@iiserbpr.ac.in
Horiba Jobin Yvon Fluorolog-3 fluorimeter | Fluorimeter | IISER Berhampur Transit campus, CAIF, Ground floor, Room no: 004 | Horiba Instruments Inc. | FL-1039A/40A, FL-1016 | FL 1040A-1836B-0519, 4384-0919 | Internal Funding | NA | NA | Horiba Jobin Yvon Fluorolog-3 fluorimeter with accessories | CAIF | Central Advanced Instrumental Facility | 5500000 | https://www.iiserbpr.ac.in/ | Functional | Characterization | Analytical Instruments | sales@aictech.in | IISER Berhampur | sales@aictech.in | santanub@iiserbpr.ac.in
WD-XRF | WD XRF | CAIF | Rigaku | ZSX PRIMUS IVi | BE74000096-1 | Internal Funding | NA | NA |  | CAIF | Central Advanced Instrumental Facility | 24000000 |  | Functional | Characterization |  |  | IISER Berhampur | hod_ees@iiserbpr.ac.in | hod_ees@iiserbpr.ac.in
Electron Probe Microanalyzer | EPMA | CAIF | JEOL | JXA-iSP100 | XM-ISP-1000BU | Internal Funding | NA | NA |  | CAIF | Central Advanced Instrumental Facility | 110000000 |  | installing | Characterization |  |  | IISER Berhampur | hod_ees@iiserbpr.ac.in | hod_ees@iiserbpr.ac.in
ICP-OES | ICP-OES | CAIF | Agilant | 5800 | 5800VD | Internal Funding | NA | NA |  | CAIF | Central Advanced Instrumental Facility | 6200000 |  | installing | Characterization |  |  | IISER Berhampur | azharms@iiserbpr.ac.in | azharms@iiserbpr.ac.in
Research Model Upright Petrological Microscope | ARUP | EES | Leica | DM4P | 11888513 | Internal Funding | NA | NA |  | CAIF | Central Advanced Instrumental Facility | 3400000 |  | Functional | Characterization |  |  | IISER Berhampur | tusharmc@iiserbpr.ac.in | tusharmc@iiserbpr.ac.in
Digital Polarizing Zoom Microscope | DPZ | EES | Leica | DVM6 | DVM6 | Internal Funding | NA | NA |  | CAIF | Central Advanced Instrumental Facility | 3398000 |  | Functional | Characterization |  |  | IISER Berhampur | hod_ees@iiserbpr.ac.in | hod_ees@iiserbpr.ac.in
STELLARIS DIVE Multiphoton Microscope & STELLARIS 8 FALCON | Confocal Microscopes | RM 0098 | Leica microsystems | Stellaris 8 & Stellaris DIVE | na | Internal Funding | NA | NA | The STELLARIS DIVE multiphoton microscope provides you with flexible multicolor imaging beyond 1 mm in depth in in live specimens using four or more colors to distinguish relevant proteins etc. STELLARIS 8 FALCON is a fully integrated solution for Fluorescence Lifetime Imaging (FLIM) and enables video-rate lifetime imaging acquisition for rapid kinetic studies in live cells. | CAIF | Advanced Imaging Facility | 1062 | https://www.leica-microsystems.com/ | Functional | Characterization | Leica microsystems |  | IISER Berhampur | imaging@iiserbpr.ac.in | imaging@iiserbpr.ac.in
ESI-HRMS | HRMS | First floor, TC | Waters | Xevo G2-XS QTof Mass Spectrometer | YFA 1829 | Internal Funding | NA | NA | High Resolution mass Spectrometer | CAIF | CAIF-HRMS | 150000000 | https://www.waters.com/ | Functional | Characterization | WATERS India Pvt. Ltd. | "subhadeep_banerjee@waters.com" | IISER Berhampur | caif@iiserbpr.ac.in | thirupathibarla@iiserbpr.ac.in
LC-MS/MS | LC-MS | First floor, TC | Waters | Xevo TQ Absolute | WCA 0176 | Internal Funding | NA | NA | Triple Quadrupole Mass Spectrometer with Liquid Chromatography | CAIF | CAIF-LCMS | 20000000 | https://www.waters.com/ | Functional | Characterization | WATERS India Pvt. Ltd. | "subhadeep_banerjee@waters.com" | IISER Berhampur | caif@iiserbpr.ac.in | ssinha@iiserbpr.ac.in
Multifunctional X Ray Differactometer | Powder XRD | Room No. 0114, Block 02 | M/s Malvern Panalytical B.V. | Emp3 | DY2946 | Internal Funding | NA | NA | Powder X-ray Diffraction (XRD) is a technique employed to identify and analyse the structure of materials in powdered or polycrystalline form. This facility not only caters to the needs of internal researchers but is also made available for external users. | CAIF | Central Advanced Instrumental Facility | 32000000 | http://www.panalytical.com/ | Functional | Characterization | M/s Malvern Panalytical B.V. | sunjoy.bandyopadhyay@panalytical.com | IISER Berhampur | xrd@iisebpr.ac.in | gsthakur@iiserbpr.ac.in
Single Crystal X-Ray Diffraction System | SC XRD | Room No. 0114, Block 03 | Rigaku | XtaLAB Synergy-DW | PL23250056 | Internal Funding | NA | NA |  | CAIF | Central Advanced Instrumental Facility | 35000000 | https://rigaku.com | Functional | Characterization | M/s Rigaku Corporation | sales_cal@irtech.in | IISER Berhampur | xrd@iisebpr.ac.in | gsthakur@iiserbpr.ac.in

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE