## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs)
Micromanipulator to upgrade existing FN1microscopesetup |  | Neuronal systyems lab,science complex | Scientifica | Monitorised Micro manipulator PS 7000C |  | External | DST | DST PURSE II | For electrophysiology | Center for Neural and Cognitive Sciences | Neuronal systems lab,science complex | 460476 |  | Up
CMOS CCD camera to upgrade existing FN1 microscope setup |  | Neuronal systyems lab,science complex | Quantitative Imaging Corporation Canada | Q Imaging Retiga R1 |  | External | DST | DST PURSE II | for fluoresence and functional imaging | Center for Neural and Cognitive Sciences | Neuronal systems lab,science complex | 309400 |  | UnderMaintainance
Optical components to upgrade existing FN1microscope setup |  | Neuronal systyems lab,science complex | Nikon | Nikon |  | External | DST | DST PURSE II | for fluoresence and functional imaging | Center for Neural and Cognitive Sciences | Neuronal systems lab,science complex | 1167032.8 |  | UnderMaintainance
Real time PCR | RT PCR | Molecular Neuroscience lab | HIMEDIA /Cassia Siamia Technologies Pvt. Ltd. | LA1012 INSTA Q96 |  | External | DST | DST PURSE II |  | Center for Neural and Cognitive Sciences | Molecular Neuroscience lab | 873600 |  | Up
Gradient PCR | GPCR | Molecular Neuroscience lab | BIO-RAD Laboratories Pvt.Ltd. | 1861096 |  | External | DST | DST PURSE II |  | Center for Neural and Cognitive Sciences | Molecular Neuroscience lab | 262500 |  | Up
Milli Q Water purifier |  | Molecular Neuroscience lab | Merck Life Science Pvt Ltd | MilliQ Ultra and Elix Reference system |  | External | DST | DST PURSE II |  | Center for Neural and Cognitive Sciences | Molecular Neuroscience lab | 660810 |  | UnderMaintainance
Ph meter |  | Molecular Neuroscience lab | BR Biochem Life Sciences Pvt Ltd | PHS-25 CW |  | External | DST | DST PURSE II |  | Center for Neural and Cognitive Sciences | Molecular Neuroscience lab | 17850 |  | Up
Autoclave |  | Molecular Neuroscience lab | Anm Industries Amkette Analytics | PSSA -2100 |  | External | DST | DST PURSE II |  | Center for Neural and Cognitive Sciences | Molecular Neuroscience lab | 29400 |  | Up
Centrifuges Remi RM 02 plus ,RM- 24 C-24 plus with rotors |  | molecular Neuroscience lab | Remi sales and Engineering , | C-24 Plus |  | External | DST | DST PURSE II |  | Center for Neural and Cognitive Sciences | Molecular Neuroscience lab | 300300 |  | Up
Trinocular Stereo Microscope |  | Behavioural Neuroscience Laboratory, CNCS, Science Complex | Leica Mikrosysteme Vertieb GmbH | Leica M165C |  | External | DST | DST PURSE II | Trinocular Stereo Microscope for Drosophila research | Center for Neural and Cognitive Sciences | Behavioural Neuroscience Laboratory, CNCS, Science Complex | 611620 |  | Up
Circulating Waterbath |  | Behavioural Neuroscience Laboratory, CNCS, Science Complex | J. P. Selecta | Ultraterm-TFT-200 |  | External | DST | DST PURSE II | Circulating Waterbath for experiments involving heat shock | Center for Neural and Cognitive Sciences | Behavioural Neuroscience Laboratory, CNCS, Science Complex | 148200 |  | Up
Temperature controlled Stage |  | Behavioural Neuroscience Laboratory, CNCS, Science Complex | Linkam Scientific Instruments Ltd. | PE120-XY Systems |  | External | DST | DST PURSE II | Temperature controlled Stage for experiments with temperature sensitive mutants in Drosophila | Center for Neural and Cognitive Sciences | Behavioural Neuroscience Laboratory, CNCS, Science Complex | 443822 |  | Up
Stimulus isolator and accessories |  | Behavioural Neuroscience Laboratory, CNCS, Science Complex | A. M. P. Instruments Ltd. | ISO-Flex #1 OF 1 |  | External | DST | DST PURSE II | Stimulus Isolator for employing different stimulation protocols for electrophysiological experiments | Center for Neural and Cognitive Sciences | Behavioural Neuroscience Laboratory, CNCS, Science Complex | 122000 |  | Up
Microforge and accessories |  | Behavioural Neuroscience Laboratory, CNCS, Science Complex | Narishige Scientific Instrument Laboratory | Narishige MF-900 |  | External | DST | DST PURSE II | Microforge for fire-polishing microelectrode tips | Center for Neural and Cognitive Sciences | Behavioural Neuroscience Laboratory, CNCS, Science Complex | 980100 |  | Up
High Speed Monochrome Camera and Accessories |  | Behavioural Neuroscience Laboratory, CNCS, Science Complex | Photron (Europe) Limited) | FASTCAM Mini UX100 200K-M-32GB |  | External | DST | DST PURSE II | High Speed Monochrome Camera for high resolution videorecording of high speed movements of organisms | Center for Neural and Cognitive Sciences | Behavioural Neuroscience Laboratory, CNCS, Science Complex | 2627520 |  | Up
Cryogenic Magnetic Probe Station | Probe Station | School of Physics, Science Complex | microXact USA | Customized |  | Institution | DST-PURSE | DST-PURSE | Probe station with 4 probes to measure the properties of fabricated devices only with inplane field from RT to 70K, Out of plane field from 6K to 100K | School of Physics | Spintronic Materials and Devices Lab | 19356571 |  | Up
Glove Box with Integrated Spin Coater | Glove Box | School of Physics, Science Complex | mBraun | MB200MOD |  | Institution | DST-PURSE | DST-PURSE | Glove box, with an argon atmosphere and Spincoater and a funrnace with max 200 deg C temperature. | School of Physics | Spintronic Materials and Devices Lab | 5654935 |  | Under Maintenance
Laser Tweezers System | Laser tweezers | School of Physics, Science Complex | Aresis AR-Tweez200si | 200si |  | Institution | DST-PURSE, DST Swarnajayanti project | DST-PURSE, Swarnajayanti project | Optical Tweezer | School of Physics | Soft matter Lab | 8983613 |  | Up | Imported
Ocean Optics Maya 2000 -Pro Spectrometer and Accessories | Spectrometer | School of Physics, Science Complex | Ocean Optics | Maya Pro 2000 |  | Institution | DST-PURSE, | DST-PURSE | Spectrometer | School of Physics | Soft matter Lab | 506693 |  | Up | Imported
Florescent Attachment with Fiber Illuminator | Fluorescent attachment | School of Physics, Science Complex | Nikon | Nikon |  | Institution | DST-PURSE, | DST-PURSE | Fluorescent attachment for microscope | School of Physics | Soft matter Lab | 996291 |  | Up | Imported
Research Grade Optical Table Top with vibration control RS2000-48-8, RS-2000-428 Series | Optical table | School of Physics, Science Complex | Newport |  |  | Institution | DST-PURSE, | DST-PURSE | Optical table | School of Physics | Soft matter Lab | 691527 |  | Up | Imported
Force Measurement Option AR-Tweez FM | Force measurement | School of Physics, Science Complex | Aresis | FM |  | Institution | DST-PURSE, |  | Force measurement | School of Physics | Soft matter Lab | 1075481 |  | Under repair | Imported
Video Conferencing Equipment | N/A | IIFc-nuP Lab, School of Physics Univ of Hyderabad | HP Workstation, Polycom video unit, Samsung TV screen |  |  | External | DST PURSE Phase-I | DST-PURSE-Phase I | Workstation with video conference facility | School of Physics | Indian Institutions Fermilab Collaboration on Neutrino Project Lab | 756483 |  | Up | Indegenous
Laser Spares for Pico Second Laser PL 2143A-SH Spares | picosecond laser | School of Physics, Science Complex | ESKPLA | ESKPL |  | External funding | DST core | DST-core grant of Prof DNR (retired) | Picosecond laser | school of physics | Laser lab |  |  | Under repair | imported
E Beam Evaporation System | eBeam | GF-W2-21, Science Complex | M/s Hind High Vacuum (HHV) company Pvt. Ltd., India | HHV: TF600 |  | External | DST-PURSE-II | DST-PURSE-II | Electron beam evopration system for depositing thin-films and thin-film multi-layers | School of Physics | Thin film deposition lab | 11123200 |  | UP | Synthesis
Upgradation of Femtosecond Laser | Femtosceond laser | Ultrafast Laser lab, school of physics | Newport | ASCEND |  | Both internal and external | XII plan, DST purse, DST SERB, ISRO, UGC, UPE | XII plan, DST purse- phase II, DST SERB, ISRO, UGC, UPE | Femtosecond laser | School of Physics | ultrafast lasers and applications | 6800000 |  | Running | imported
(a) HP 3D Structure light Scanner | 3D Structure Scanner | NRC, School of Physics, Science Complex | HP | David-CAM-4-M |  | Institution | DST-PURSE-II | DST-PURSE-II | 3D Stucture Light Scanner to generate the CAD design of physical bodies | School of Physics | Rapid Prototyping Lab | 492900 |  | Running | Indegenous
(b) Turbo Mixer With accessories | Turbo Mixer | NRC, School of Physics, Science Complex | Insmart Systems | TM.2Ltr |  | Institution | DST-PURSE-II | DST-PURSE-II | Turbo-mixer with three-axial movement for intimately mixing two or more compounds/ phases or nano-particle additions under liquid medium to synthesize composite materials with requisite microstructures | School of Physics | Ball Mill Lab | 450531 |  | Running | Indegenous
(c) High Energy Ball Mill | High Energy Ball Mill | NRC, School of Physics, Science Complex | Insmart Systems | MBM |  | Institution | DST-PURSE-II | DST-PURSE-II | High energy Ball mill with SS, HDPE coated and WC bowls and balls for producing fine powders of ceramics and metals | School of Physics | Ball Mill Lab | 659007 |  | Running | Indegenous
(d) CNC Machine for EPS cutting | CNC milling and drilling | NRC, School of Physics, Science Complex | SVP Laser Technologies | - |  | Institution | DST-PURSE-II | DST-PURSE-II | 3D Profiler for patterning by drilling, milling in wood, Styrofoam, polystyrene or other polymer sheets and soft non- ferrous metal plates | School of Physics | Rapid Prototyping Lab | 731000 |  | Running | Indegenous
(e) 3D Printer with accessories | 3D Printer | NRC, School of Physics, Science Complex | Aha 3D | Protocenter999 |  | Institution | DST-PURSE-II | DST-PURSE-II | Rapid prototyping (RPT) or layer by layer building up (from digital drawing) of required parts out of polymers like ABS, HIPS, Nylon, PLA, PVA, Polycarbonate - by fused filament fabrication technology | School of Physics | Rapid Prototyping Lab | 278000 |  | Running | Indegenous
(f) Fume Cub Board | Fume Cub Board | NRC, School of Physics, Science Complex | Chem Asia | - |  | Institution | DST-PURSE-II | DST-PURSE-II | For sysnthesis of materials | School of Physics | Chemical Synthesis lab | 115500 |  | Running | Indegenous
(g) CNC Machine for XYZ Movements | CNC slurry deposition | NRC, School of Physics, Science Complex | SVP Laser Technologies | - |  | Institution | DST-PURSE-II | DST-PURSE-II | Slurry deposition and hot wire cutting with X,Y, Z movements; 3D Profiler for patterning by drilling, milling in wood, Styrofoam, polystyrene or other polymer sheets and soft non- ferrous metal plates | School of Physics | Rapid Prototyping Lab | 520825 |  | Running | Indegenous
(h) Nabertherm Furnace 1700 degrees C | High Temperature Furnace | NRC, School of Physics, Science Complex | Nabertherm | HT16/17(HT032X020) |  | Institution | DST-PURSE-II | DST-PURSE-II | High Temperature Furnace to sinter materials | School of Physics | NRC Furnace Shed | Euros 16,690 |  | Running | Imported
CCD Camera | Rheomicroscopy | School of Physics | Anton Paar |  |  | External | DST-PURSE-II | DST-PURSE-II | Rheomicroscopy | School of Physics | Rheomicroscopy | 444038 |  | up | Imported
Lock-in-Amplifiers and DAQ Card | Lockin amplifier (2), NI DAQ care (1) | Ultrafast laser lab and P-031, School of Physics | Standford and NI DAQ card | Lockin |  | external | DST-PURSE Phase II | DST-Purse Phase II | lockin and DAQ card | School of Physics | ultrafast lasers and applications |  |  | Running | imported
Temperature Controller & Gauss Meter | NA | P-031, School of Physics | Lakeshore, USA | Model 336, Model 475 |  | External | DST-PURSE Phase II | DST-Purse Phase II | Temparature controller and Gauss meter | School of Physics | Magnetic Materials & Multiferroics lab |  |  | Up | Imported
Oscilloscope, 6.5 Digit Multimeter, | NA | L-18 Science Complex, School of Physics | Tektronix, Keithley | TBS1102B, 1200 |  |  | DST-PURSE Phase II | DST-Purse Phase II | Oscilloscope and Multimeter | School of Physics | Surface Science and Nanostructures Lab |  |  | Up | Imported
AC and DC Current Source, | NA | L-18 Science Complex, School of Physics | Keithley | S 2400 |  |  | DST-PURSE Phase II | DST-Purse Phase II | Current source | School of Physics | Surface Science and Nanostructures Lab |  |  | Up | Imported
Nanovoltmeter, Electrometer | NA | [5 empty] | DST-PURSE Phase II | [6 empty] | Up
Particle Size Analyzer | PSA | P 128 School of Physics | Anton Paar | Litesizer tm 500 |  | External | DST-PURSE-II | DST - PURSE Phase II | Particle Size Analyzer | School of Physics | Laser lab | 2133370 |  | Up | Imported
Supercontinuum Laser | SC Laser | P 127, School of Physics | M/s NKT Photonics | EXR-15 |  | External | DST-PURSE Phase II | DST-PURSE Phase II | Supercontinuum laser | School of Physics | Laser Lab | 6568703 |  | Up | Imported
Universal Testing Machine | UTM | G B Singh Hall | Instron | 5982 |  | External | DST-PURSE | DST PURSE I | Used for measurement of mechanical properties of materials | SEST |  | 10000000 |  | working
Creep Testing Machine |  | G B Singh Hall | Star Testing Instruments | STS |  | External | DST-PURSE | DST PURSE I | Used for creep testing of materials | SEST |  | 3200000 |  | Furnace issues
Scanning Probe Microscope | SPM | SIP building SEST lab | NT MDT | NTEGRA Aura |  | External | DST-PURSE | DST PURSE I | Used for surface characterization of materials | SEST |  | 9600000 |  | working
Nano Indentation Testing System |  | SIP building SEST lab | Hysitron Inc. | TI 950 |  | External | DST-PURSE | DST PURSE I | Used for nanomechanical testing of materials | SEST |  | 14700000 |  | working
Microwave Sintering Furnace |  | G B Singh Hall | Linn GmBH Germany | MKH-4,8/150/150/150 |  | External | DST-PURSE | DST PURSE I | Used for high temperature sintering of materials | SEST |  | Partially supported by DST PURSE-total cost is ~65 lakhs |  | chiller problem
Zeta particle size analyser | PSA | science complex | Malvern Instruments Limited, UK | Nano ZSP |  | External | DST-PURSE | DST PURSE II | Used for particle size analysis of materials | SEST |  | 31000 GBP |  | working
Sputtering system for thin film deposition |  | science complex | H.Fillunger and Co., Pune. |  |  | External | DST-PURSE | DST PURSE II | Used for thin film deposition | SEST |  | 94.67 lakhs |  | software issues
Electrochemical workstation |  | science complex | Biologic SAS, France | SP-300 |  | External | DST-PURSE | DST PURSE II | used for electrochemical characterization of materials | SEST | Advanced electrochemistry and corrosion laboratory | 66,604 Eur |  | working
Impedance analyser |  | science complex | Keysight, USA | E4990A |  | External | DST-PURSE | DST PURSE II | Used for dielecric measurement of materials | SEST |  | 4500000 |  | working
Thermal conductivity measurement instrument |  | science complex | M/s. Hot Disk AB, Sweden, | TPS 2200 |  | External | DST-PURSE | DST PURSE II | used for thermal conductivity measurement | SEST |  | 40500 Eur |  | working
Vacuum arc melter |  | science complex | M/s. Mansha Vacuum Equipments Pvt. ltd., Bengaluru |  |  | External | DST-PURSE | DST PURSE II | used for melting of metals and alloys | SEST |  | 2500000 |  | working
Vacuum Induction melter |  | G B Singh Hall | Vacuum Techniques Pvt Ltd., Bangalore |  |  | External | DST-PURSE | DST PURSE II | used for melting of metals and alloys | SEST |  | 4200000 |  | electrical connection pending
Time-resolved confocal fluorescence microscope with single molecule sensitivity |  | S001 | M/s.Pico Quant GmBH, Germany |  |  | External | DST-PURSE-I |  |  | School of chemistry | Confocal microscope | 16174559 |  | Up
D8 Quest SC-XRD Bruker Diffractometer with Dewar and accessories |  | N009 | Bruker | D8 Quest SC-XRD Bruker |  | External | DST-PURSE-II |  |  | School of chemistry | SCXRD | 20964079 |  | Up
SPR-Biacore T200 | SPR | Proteomics Facility,G23,SLS | GE Healthcare | T200 |  | External | DST-PURSE II | DST-PURSE II | Biomolecular Interaction | Proteomics Facility | Proteomics Facility | 15478080 |  | Up
Table top Utracentrifuge | N/A | Centrifugation Facility,G20,SLS | Beckman Coulter | Optima Max-XP |  | External | DST-PURSE II | DST-PURSE II | Ultracentrifugation | Ultracentrifugation facility | Ultracentrifugation facility |  |  | Up
In vivo imaging facility | N/A | Room no.11 ,Centre for Nanotechnology | Kodak System | In vivo MS FX Pro |  | External | DST-PURSE I | DST-PURSE I | In vivo imaging | Imaging Facility | Imaging Facility | 13000000 |  | Up
Linux Cluster and storage | N/A | Bioinformatics faciity,School of Life Sciences | Fujitusu | Fujitsu Primergy PH 900SI |  | External | DST-PURSE I (+CREBB) | DST-PURSE I (+CREBB) | BioInformatics |  |  |  |  | Up
3D Laser Scanning Super Resolution Microscopy with Live Cell Imaging | N/A | Imaging facility,G15,School of Life Sciences | Leica | TCS SP8 STED 3X |  | External | DST-PURSE II | DST-PURSE II | Imaging | Imaging Facility | Imaging Facility | 25000000 |  | Up
Fully Motorized Trinocular Fluorescent Microscope | N/A | Imaging facility,G15,School of Life Sciences | Leica | Leica DM 6B |  | External | DST-PURSE II (+XII Plan) | DST-PURSE II (+XII Plan) | Microscopy | Microscopy | Microscopy | 4000000 |  | Up
Ultra Microtome | N/A | Imaging facility,G15,School of Life Sciences | Leica | Leica EMU7 |  | External | DST-PURSE II | DST-PURSE II | Microscopy | Microscopy | Microscopy | 8000000 |  | Up
Multiplex Programmable Sonicator | N/A | Genomics Facility, G-21, School of Life Sciences | Covaris | NM220 Focused |  | External | DST-PURSE II | DST-PURSE II | Sonication | Genomics Facility | Genomics Facility | 2500000 |  | Up
High Resolution melting curve analysis and quantitative PCR | N/A | Genomics Facility, G-21, School of Life Sciences | Roche | Light Cycler 480II |  | External | DST-PURSE II | DST-PURSE II | PCR | Genomics Facility | Genomics Facility | 3250000 |  | Up