## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
High Performance Liquid Chromatography | HPLC SYSTEM | DAV COLLEGE SECTOR-10 CHANDIGARH-160011 | Waters India Pvt Ltd | ANALYTICAL HPLC SYSTEM | Waters 1525 | Government Agency | Department of Science & Technology (DST NEW DELHI) | DST – Fund for Improvement in S&T Infrastructure (FIST 2000) | High performance liquid chromatography with diode array detector/Fluorescence has been used for various separations | Department Of Chemistry | Central Instrumentation Lab | Rs 26,10,980/- | https://www.davchd.ac.in/davcil | Working |  |  |  |  | Varad Corporation | varadcorp@yahoo.co.in | DAV COLLEGE CHANDIGARH SECTOR 10 |  | raghubirsingh@davchd.ac.in
Electrochemical Workstation | Electrochemical Workstation (Cyclic Voltammertry) | DAV COLLEGE SECTOR-10 CHANDIGARH-160012 | Metrohm Autolab B.V. | Multi-chanal potentiostat -galvanostat M204 | M204 | Government Agency | Department of Science & Technology (DST NEW DELHI) | DST – Fund for Improvement in S&T Infrastructure (FIST 2000) | Multichannel System for up to 11 potentiostatgalvanostat in one single chassis. It is possible to control all the channels through one PC or upto two PCs., Each channel has following specifications. | Department Of Chemistry | Central Instrumentation Lab | Rs 18,27,900/- | https://www.davchd.ac.in/davcil | Working |  |  |  |  | Brightway Agencies | brightwayagencies@yahoo.co.in | DAV COLLEGE CHANDIGARH SECTOR 11 |  | raghubirsingh@davchd.ac.in
Cold Centrifuge | Cold Centrifuge | DAV COLLEGE SECTOR-10 CHANDIGARH-160013 | Eppendorf India Limited | EppendorCold Centrifuge /5804 R | 5804 R | Government Agency | Department of Science & Technology (DST NEW DELHI) | DST – Fund for Improvement in S&T Infrastructure (FIST 2000) | Table top centrifuge for high volume applications, Temp. range –9 to + 40 deg C, Centrifuge has a minimum capacity of 1Litter, Short spin key, Rotor imbalance indicator, Fast cool option & stand by cooling | Department Of Chemistry | Central Instrumentation Lab | Rs 6,60,799/- | https://www.davchd.ac.in/davcil | Working |  |  |  |  | Brightway Agencies | brightwayagencies@yahoo.co.in | DAV COLLEGE CHANDIGARH SECTOR 12 |  | raghubirsingh@davchd.ac.in
Motorized Inverted Microscope | Inverted Microscope | DAV COLLEGE SECTOR-10 CHANDIGARH-160014 | Leica | Leica DMi8 | DMi8 | Government Agency | Department of Science & Technology (DST NEW DELHI) | DST – Fund for Improvement in S&T Infrastructure (FIST 2000) | It is used for the analysis of cell cultures, cell biology and immunology applications. | Department Of Chemistry | Central Instrumentation Lab | Rs 30,00,000/- | https://www.davchd.ac.in/davcil | Working |  |  |  |  | Brightway Agencies | brightwayagencies@yahoo.co.in | DAV COLLEGE CHANDIGARH SECTOR 13 |  | raghubirsingh@davchd.ac.in
Water Purification System | Water Purification System | DAV COLLEGE SECTOR-10 CHANDIGARH-160015 | ELGA LabWater Head Quarters | ELGA Option Q-7 | Option Q-7 | Government Agency | Department of Science & Technology (DST NEW DELHI) | DST – Fund for Improvement in S&T Infrastructure (FIST 2000) | To obtain ultra pure water purification of HPLC Grade | Department Of Chemistry | Central Instrumentation Lab | Rs 5,20,200/- | https://www.davchd.ac.in/davcil | Working |  |  |  |  | Brightway Agencies | brightwayagencies@yahoo.co.in | DAV COLLEGE CHANDIGARH SECTOR 14 |  | raghubirsingh@davchd.ac.in
Gradient PCR | PCR | DAV COLLEGE SECTOR-10 CHANDIGARH-160016 | Eppendorf India Limited | Mastercycler nexus gradient 230V | Mastercycler | Government Agency | Department of Science & Technology (DST NEW DELHI) | DST – Fund for Improvement in S&T Infrastructure (FIST 2000) | Required for amplifying Gene/DNA segments in genome of variety of organisms. | Department Of Chemistry | Central Instrumentation Lab | Rs 4,67,280/- | https://www.davchd.ac.in/davcil | Working |  |  |  |  | Brightway Agencies | brightwayagencies@yahoo.co.in | DAV COLLEGE CHANDIGARH SECTOR 15 |  | raghubirsingh@davchd.ac.in
Biospectrometer Kinetic | Biospectrometer Kinetic | DAV COLLEGE SECTOR-10 CHANDIGARH-160017 | Eppendorf India Limited | Eppendorf Biospectrometer Kinetic | Biospectrometer Kinetic | Government Agency | Department of Science & Technology (DST NEW DELHI) | DST – Fund for Improvement in S&T Infrastructure (FIST 2000) | It is required for the measurement of concentration of nucleic acids, protein and for various colorimetric tests | Department Of Chemistry | Central Instrumentation Lab | Rs 5,84,100/- | https://www.davchd.ac.in/davcil | Working |  |  |  |  | Brightway Agencies | brightwayagencies@yahoo.co.in | DAV COLLEGE CHANDIGARH SECTOR 16 |  | raghubirsingh@davchd.ac.in
Flourescence Spectrophotometer |  | DAV COLLEGE SECTOR-10 CHANDIGARH-160018 | Shimadzu Fluorescence Spectrometer |  |  | Self | DAV College Chandigarh |  |  | Department Of Chemistry | Central Instrumentation Lab |  | https://www.davchd.ac.in/davcil | Working | [6 empty] | DAV COLLEGE CHANDIGARH SECTOR 17 |  | raghubirsingh@davchd.ac.in
Gas Chromatography | GC-FID | DAV COLLEGE SECTOR-10 CHANDIGARH-160019 | Perkin Elmer | Perkin Elmer Clarus 590 | Clarus 590 | Self | DAV College Chandigarh |  |  | Department Of Chemistry | Central Instrumentation Lab |  | https://www.davchd.ac.in/davcil | Working | [6 empty] | DAV COLLEGE CHANDIGARH SECTOR 18 |  | raghubirsingh@davchd.ac.in
FTIR Spectrophotometer | ATR-FTIR | DAV COLLEGE SECTOR-10 CHANDIGARH-160020 | Bruker | Bruker Alpha | Bruker Aplha II | Self | DAV College Chandigarh |  |  | Department Of Chemistry | Central Instrumentation Lab |  | https://www.davchd.ac.in/davcil | Working | [6 empty] | DAV COLLEGE CHANDIGARH SECTOR 19 |  | raghubirsingh@davchd.ac.in
UV-VISIBLE Spectrophotometer | UV-VIS Spec. | DAV COLLEGE SECTOR-10 CHANDIGARH-160021 | Local made |  |  | Self | DAV College Chandigarh |  |  | Department Of Chemistry | Central Instrumentation Lab |  | https://www.davchd.ac.in/davcil | Working | [6 empty] | DAV COLLEGE CHANDIGARH SECTOR 20 |  | raghubirsingh@davchd.ac.in