## civil
NITTTR CHENNAI
Sl. No. | Department | Name of the Equipment | Description | Abbrevation/Asset Identification No | Quantity | Location (lab no./ room no.) | Make(company name) | Model | Serial No. | Category a)Fabrication Equipment b)Characterisation/Analytical/Testing Equipment | Funding Agency | Project Title | Facility/Lab | Funding Agency Type External(Govt.fund)/ Internal(institute fund) | Usage Rate /hr (industry rate) | Reference Web Site (if any)
1 | DCEE | Weight-Star Electronic Weight Scale Capacity 20kg | Measure weight of Sample | NITTTR/V6/P34/3/1 | 1 | Geo Technical Lab | ZARNA Instrument Company | HB-20k | 2201062 | Analytical | _ | _ | Geo Technical Lab | Internal(institute fund) | Rs.100/hour | _
2 | DCEE | Water Quality Meters / Analyzers | Measure parameters like pH, conductivity, dissolved oxygen, turbidity, or TDS in water | NITTTR/V2/P50/1/1 | 1 | CEM Lab | M labs | WCM-10B | 8110712021-22 | Testing Equipment | _ | _ | CEM Lab | Internal(institute fund) | Rs.400/hour | _
3 | DCEE | Digital Electronic Weighing Scale | Measure weight of Sample | NITTTR/V6/P30/3/1 | 1 | Geo Technical Lab | Axis | ACN320G | 633 | Analytical | _ | _ | Geo Technical Lab | Internal(institute fund) | Rs.150/hour | _
4 | DCEE | REMI CM 101 Vortex Mixer | Mixes small liquid samples by creating a vortex, commonly used in laboratories for mixing reagents, suspensions, or biological samples. | NITTTR/V2/P49/1/1 | 1 | CEM Lab | REMI Elektrotechnik Ltd | CM-110 | ZICS-12859 | Testing Equipment | _ | _ | CEM Lab | Internal(institute fund) | Rs.100/hour | _
5 | DCEE | Edge Dedicated Dissolved oxygen Meter - HI2004 | Measures dissolved oxygen levels in water | NITTTR/V2/P53/1/1 | 1 | CEM Lab | Hanna | _ | _ | Testing Equipment | _ | _ | CEM Lab | Internal(institute fund) | Rs.400/hour | _
6 | DCEE | Field Density Test Core Cutter Method | determines the in-situ density of soil | NITTTR/V6/P34/4/1 | 1 | Geo Technical Lab | Gurukripa Enterprises | _ | _ | Testing Equipment | _ | _ | Geo Technical Lab | Internal(institute fund) | Rs.100/hour | _
7 | DCEE | Remi RWB 6 Water Bath | Maintains a constant temperature for incubating samples in water, | NITTTR/V2/P54/1/1 | 1 | CEM Lab | REMI Elektrotechnik Limited | RWB6 | 220314771 | Testing Equipment | _ | _ | CEM Lab | Internal(institute fund) | Rs.200/hour | _
8 | DCEE | Soil Permeabilty Determination Apparatus | Measures the rate at which water passes through soil, | NITTTR/V6/P36/3/1 | 1 | Geo Technical Lab | SOFFEL Marketing | A/31 | _ | Testing Equipment | _ | _ | Geo Technical Lab | Internal(institute fund) | Rs.300/hour | _
9 | DCEE | Crucible Tong With Bow | Handles hot crucibles or other lab equipment safely | NITTTR/V6/P36/1/1 | 1 | Geo Technical Lab | Lawence & Mayo (Pvt.Ltd) | _ | _ | Testing Equipment | _ | _ | Geo Technical Lab | Internal(institute fund) | Rs.100/hour | _
10 | DCEE | Test Sieves - 1 SET | Separates particles by size | NITTTR/V6/P35/1/1 | 1 | Geo Technical Lab | SOFFEL Marketing | _ | _ | Testing Equipment | _ | _ | Geo Technical Lab | Internal(institute fund) | Rs.100/hour | _
11 | DCEE | Elangation Index Length Guage | Measures the elongation index of aggregates | NITTTR/V6/P39/2/1 | 1 | Geo Technical Lab | Barlar Hi Tech Engineering | _ | _ | Testing Equipment | _ | _ | Geo Technical Lab | Internal(institute fund) | Rs.100/hour | _
12 | DCEE | Top Loading Table Top Autoclave | terilizes equipment and media using high-pressure steam. | NITTTR/V2/P57/2/1 | 1 | CEM Lab | Vision Enterprises | _ | _ | Testing Equipment | _ | _ | CEM Lab | Internal(institute fund) | Rs.200/hour | _
13 | DCEE | Merck 0.5 500 milliliter (Vacuum Pump) | Creates a vacuum for filtration | NITTTR/V2/P57/1/1 | 1 | CEM Lab | Selvelli Bio Engineers | X10422050 | BM2PB8429F | Testing Equipment | _ | _ | CEM Lab | Internal(institute fund) | Rs.300/hour | _
14 | DCEE | Equiptronics manual Benchtop Trubidity Meter | Measures water cloudiness (turbidity) caused by suspended particles | NITTTR/V2/P58/3/1 | 1 | CEM Lab | Equiptronics | EQ-811 | 032423045318-001 | Testing Equipment | _ | _ | CEM Lab | Internal(institute fund) | Rs.200/hour | _
15 | DCEE | Equiptronics Bench Type Water Quality Meter / Analyzer Measuring TDS Meter | Measures total dissolved solids (TDS) in water | NITTTR/V2/P58/2/1 | 1 | CEM Lab | Equiptronics | EQ-680 | 032423045329-001 | Testing Equipment | _ | _ | CEM Lab | Internal(institute fund) | Rs.200/hour | _
16 | DCEE | Quasmo Binocular and Trinocular Penta Head Microscope | Enables multiple users to view samples simultaneously | NITTTR/V2/P58/1/1 | 1 | CEM Lab | Quasmo | PH-777 | 2023030201 2023030203 | Testing Equipment | _ | _ | CEM Lab | Internal(institute fund) | Rs.900/hour | _
17 | DCEE | ACCUWEIGH Electronic Weighing Scale Brand | Provides precise weight measurements | NITTTR/V6/P39/3/1 | 1 | Material Testing Lab | Accurate machine |  | CZL642F | Testing Equipment | _ | _ | Highway Lab | Internal(institute fund) | Rs.100/hour | _
18 | DCEE | LED Display Orbital Shaking Incubators | Combines incubation with orbital shaking to grow and mix cultures | NITTTR/V2/P59/1/1 | 1 | CEM Lab | Dinesh Scientific | DS-BI-125 | DS/2023-24/01/1310 | Testing Equipment | _ | _ | CEM Lab | Internal(institute fund) | Rs.600/hour | _
19 | DCEE | LED Display Bacteriological Incubator | Maintains controlled temperature for growing bacterial cultures | NITTTR/V2/P59/3/1 | 1 | CEM Lab | Dinesh Scientific | DS-0S1-18 | DS/2023-24/01/1335 | Testing Equipment | _ | _ | CEM Lab | Internal(institute fund) | Rs.600/hour | _
20 | DCEE | Unbranded Elogation Index Length gauge | Similar to the branded version, measures aggregate elongation | NITTTR/V6/P39/4/1 | 1 | Material Testing Lab | Barlar Hitech | _ | _ | Testing Equipment | _ | _ | Highway Lab | Internal(institute fund) | Rs.100/hour | _
21 | DCEE | ASEW Mild Steel Aggregate impact tester | Tests the impact resistance of aggregates | NITTTR/V6/P40/1/1 | 1 | Material Testing Lab | EIE Instruments | _ | _ | Testing Equipment | _ | _ | Highway Lab | Internal(institute fund) | Rs.300/hour | _
22 | DCEE | ASEW Analog Penetrometer | Measures the consistency or hardness of materials | NITTTR/V6/P40/2/1 | 1 | Material Testing Lab | Baker/Avociated Scientific | _ | SI24081920B1 | Testing Equipment | _ | _ | Highway Lab | Internal(institute fund) | Rs.500/hour | _
23 | DCEE | Universal Soil Equipers, Semi Auotomatic Mild steel Bitmen Extractor | General term for soil testing equipment,Extracts bitumen from asphalt samples | NITTTR/V6/P40/3/1 | 1 | Structural lab | Universal Soil Equipers | 105-L | 2403188 | Testing Equipment | _ | _ | Highway Lab | Internal(institute fund) | Rs.600/hour | _
24 | DCEE | FINE SIEVE -20CM DIA-BRASS-10MM | Filters fine particles (10mm mesh) for material analysis, | NITTTR/V6/P41/4/1 | 10 | Structural lab | EIE Instruments | _ | _ | Testing Equipment | _ | _ | Highway Lab | Internal(institute fund) | Rs.200/hour | _
25 | DCEE | COARSE SIEVE -45 CM DIA-G.I.-10.00MM | Filters coarser particles (10mm mesh) for material testing, | NITTTR/V6/P41/3/1 | 6 | Structural lab | EIE Instruments | _ | _ | Testing Equipment | _ | _ | Highway Lab | Internal(institute fund) | Rs.200/hour | _
26 | DCEE | Omsons 67.08 0C Bi Double Distillation water unit | Produces high-purity distilled water, | NITTTR/V2/P60/1/1 | 1 | CEM Lab | Omsons | _ | _ | Testing Equipment | _ | _ | CEM Lab | Internal(institute fund) | Rs.300/hour | _
27 | DCEE | EIE Mild steel aggregate impact tester | tests aggregate toughness for construction material quality assurance | NITTTR/V6/P43/1/1 | 1 | Material Testing Lab | EIE Instruments | _ | _ | Testing Equipment | _ | _ | Highway Lab | Internal(institute fund) | Rs.300/hour | _
28 | DCEE | Hot Air Oven With Rechargeable battery | Dries or sterilizes samples using hot air | NITTTR/V6/P45/1/1 | 1 | Material Testing Lab | Sn Solutions | SNS-Ho-225 | 210825-21 | Testing Equipment | _ | _ | Highway Lab | Internal(institute fund) | Rs.800/hour | _
29 | DCEE | Highway laboratory Equipments | [8 empty] | _ | _