## Sheet1
School of Life Science & Biotechnology
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Eppendorf Cold centrifuge |  | AU-2- 009A Biolab I | Eppendorf | 5810 R | 5811EM775817 | Internal Funding | Adamas University | NA | Centrifugation in controlled temperature | Department of Biotechnology |  | 1601250 |  | Active | Centrifugation | Eppendorf (I) Ltd |  |  |  | dean.solsb@adamasuniversity.ac.in
Eppendorf Centrifuge (room temperature) for microfuge tube |  | AU-2- 009A Biolab I | Eppendorf | 5418 | 5418EL723015 | Internal Funding | Adamas University | NA | Centrifugation of small volume | Department of Biotechnology |  | 100000 |  | Active | Centrifugation |  |  |  |  | dean.solsb@adamasuniversity.ac.in
Thermo scientific Thermo Fiesher Microfuge heating system |  | AU-2- 009A Biolab I | Thermo scientific | E335633 | F1V304040 | Internal Funding | Adamas University | NA | Controlled heating | Department of Biotechnology |  | 170000 |  | Active | Heating |  |  |  |  | dean.solsb@adamasuniversity.ac.in
Stuart Hot plate cum Magnetic stirrer |  | AU3- LAB 217 | Stuart | UC-152 | R600002525 | Internal Funding | Adamas University | NA | Controlled heating and mixing | Department of Biotechnology |  | 52500 |  | Active | Stirring and heating |  |  |  |  | dean.solsb@adamasuniversity.ac.in
Relitech Water Bath |  | AU-2- 009B Biolab I | Relitech | WBD-12D | 4249 | Internal Funding | Adamas University | NA | Controlled moist heat | Department of Biotechnology |  | 14200 |  | Active | Heating |  |  |  |  | dean.solsb@adamasuniversity.ac.in
Relitech Incubator |  | AU-2- 009B Biolab I | Relitech | NA | NA | Internal Funding | Adamas University | NA | Controlled temperature and airation | Department of Biotechnology |  | 52000 |  | Active | Storage |  |  |  |  | dean.solsb@adamasuniversity.ac.in
New Brunswick Shaking incubator |  | AU-2- 009B Biolab I | New Brunswick | E24 | SE24EP201624 | Internal Funding | Adamas University | NA | controlled temperature and shaking with aeration | Department of Biotechnology |  | 175400 |  | Active | Storage |  |  |  |  | dean.solsb@adamasuniversity.ac.in
Das traders Plant Growth Chamber |  | AU-2- 009C Biolab I | Das traders | NA | NA | Internal Funding | Adamas University | NA | Controlled environment for specified/specially designed growth from plant tissues | Department of Biotechnology |  | 84000 |  | Out of order | Storage |  |  |  |  | dean.solsb@adamasuniversity.ac.in
Samsung Refrigerator |  | AU-2- 009D Biolab I | Samsung | RT39HDJTESP | 0BLE4DAG800118A | Internal Funding | Adamas University | NA | Stores laboratory reagents and buffers | Department of Biotechnology |  | 28910 |  | Active | Storage |  |  |  |  | dean.solsb@adamasuniversity.ac.in
Local Stage Microscope |  | AU-2- 009D Biolab I | NA | NA | NA | Internal Funding | Adamas University | NA | Dissection of invertibrates | Department of Biotechnology |  | 2000 |  | Active | Dissection |  |  |  |  | dean.solsb@adamasuniversity.ac.in
Safron Analytical Balance |  | AU-2- 009D Biolab I | Safron | SES200 | 22020178 | Internal Funding | Adamas University | NA | Measures mass of reagents | Department of Biotechnology |  | 57750 |  | Active | Weighing |  |  |  |  | dean.solsb@adamasuniversity.ac.in
Olympus Compound microscope |  | AU-2- 009D Biolab I | Olympus | CH20iBIMF | 15C0352 | Internal Funding | Adamas University | NA | Clear visibility of microscopic organisms | Department of Biotechnology |  | 19200 |  | Active | Charatarisation |  |  |  |  | dean.solsb@adamasuniversity.ac.in
Relitech Autoclave |  | AU-2- 009H Biolab I | Relitech | VA55-95 | 4246 | Internal Funding | Adamas University | NA | Moist sterilazation of media and equipments etc. | Department of Biotechnology |  | 190000 |  | Active | Moist heating |  |  |  |  | dean.solsb@adamasuniversity.ac.in
PCR Machine |  | AU-2- 009I Biolab I | Applied Biosystem | EN61326,ClassA,Gr1 | 228002748 | Internal Funding | Adamas University | NA | Amplification of nucleic acid chain | Department of Biotechnology |  | 338000 |  | Active | Amplification |  |  |  |  | dean.solsb@adamasuniversity.ac.in
Life technologies Powerpack |  | AU-2- 009I Biolab I | Life technologies | PS0091 | 910953125 | Internal Funding | Adamas University | NA | Part of gel apparatus | Department of Biotechnology |  | 25000 |  | Active | Charatarisation |  |  |  |  | dean.solsb@adamasuniversity.ac.in
Double Helix DNA electrophoresis apparatus (Double Helix) |  | AU-2- 009I Biolab I | Double Helix | NA | NA | Internal Funding | Adamas University | NA | Purification/characterisation of DNA sample | Department of Biotechnology |  | 10000 |  | Active | Charatarisation |  |  |  |  | dean.solsb@adamasuniversity.ac.in
Biolab Bioreactor |  | AU-2- 009I Biolab I | Biolab Industried | BLF-5 | 1901 | Internal Funding | Adamas University | NA | Mass production of biomass and othe components | Department of Biotechnology |  | 257250 |  | Active | Fermentation |  |  |  |  | dean.solsb@adamasuniversity.ac.in
Blue Star -20 C Freezer |  | AU-2- 009J Biolab I | Blue Star | CHFDD300D | NA | Internal Funding | Adamas University | NA | Stores laboratory reagents and buffers for molecular biology experiments | Department of Biotechnology |  | 29925 |  | Active | Storage |  |  |  |  | dean.solsb@adamasuniversity.ac.in
Crystal Bio-Glow UV Transilluminator |  | AU-2- 009L Biolab I | Crystal Bio-Glow | ZT-20 | 2806002 | Internal Funding | Adamas University | NA | Visualisation of ethidium bromide treated DNA | Department of Biotechnology |  | 22000 |  | Active | Charatarisation |  |  |  |  | dean.solsb@adamasuniversity.ac.in
ZIESS Phase Contrast Microscope |  | AU-2- 009L Biolab I | ZIESS | PrimoStar-176045 | 3147001131 | Internal Funding | Adamas University | NA | Visualisation of microscopic organisms without staining | Department of Biotechnology |  | 270000 |  | Out of order | Magnification, charaterisation |  |  |  |  | dean.solsb@adamasuniversity.ac.in
Labman Probe Sonicator |  | AU-2- 009L Biolab I | Labman | PRO-650 | L39024 | Internal Funding | Adamas University | NA | Sonication of sample | Department of Biotechnology |  | 173250 |  | Active | Sheering |  |  |  |  | dean.solsb@adamasuniversity.ac.in
Testing Instruments MFG Company Water Bath |  | Room no: AU3-202 (BIO+C442:C454 LAB III) | TESTING INSTRUMENTS | NA | NA | Internal Funding | Adamas University | NA | Controlled moist heat | Department of Biotechnology |  | 9000 |  | Active | Heating |  |  |  |  | dean.solsb@adamasuniversity.ac.in
K.Roy & Co. Laminar Air Flow |  | Room no: AU3-202 (BIO LAB III) | K ROY | NA | 20160134496 | Internal Funding | Adamas University | NA | Sterile environment for microbiological works | Department of Biotechnology |  | 106200 |  | Active | Filtration |  |  |  |  | dean.solsb@adamasuniversity.ac.in
Testing Instruments MFG Company Pvt. Autoclave |  | Room no: AU3-201 (BIO LAB II) | TESTING INSTRUMENTS | NA | NA | Internal Funding | Adamas University | NA | Moist sterilazation of media and equipments etc. | Department of Biotechnology |  | 17500 |  | Active | Moist heating |  |  |  |  | dean.solsb@adamasuniversity.ac.in
K Roy instruments Double Distillation Apparatus |  | Room no: AU3-217 (BIO LAB IV) | NA | NA | NA | Internal Funding | Adamas University | NA | Preparation of distilled water | Department of Biotechnology |  | 15000 |  | Active | Boiling |  |  |  |  | dean.solsb@adamasuniversity.ac.in
Magnus Compound Microscope |  | Room no: AU3-217 (BIO LAB IV) | MAGNUS | SM100 | 1810011217 | Internal Funding | Adamas University | NA | Clear visibility of microscopic organisms | Department of Biotechnology |  | 19917 |  | Active | Magnification, charaterisation |  |  |  |  | dean.solsb@adamasuniversity.ac.in
SNS instruments Shaking Incubator |  | Room no: AU3-217 (BIO LAB IV) | SPAC-N-SERVICE | SNS-CRSI-6 | NA | Internal Funding | Adamas University | NA | controlled temperature and shaking with aeration | Department of Biotechnology |  | 94400 |  | Active | Storage |  |  |  |  | dean.solsb@adamasuniversity.ac.in
Magnus Compound Microscope |  | Room no: AU3-217 (BIO LAB IV) | MAGNUS | SM 100 | 18N002396 | Internal Funding | Adamas University | NA | Clear visibility of microscopic organisms | Department of Biotechnology |  | 19917 |  | Active | Magnification, charaterisation |  |  |  |  | dean.solsb@adamasuniversity.ac.in
Systronics Digital pH meter |  | Room no: AU3-217 (BIO LAB IV) | SYSTRONICS | 335 | 9150 | Internal Funding | Adamas University | NA | Detection of pH value of solutions | Department of Biotechnology |  | 15236 |  | Out of order | Charatarisation |  |  |  |  | dean.solsb@adamasuniversity.ac.in
Magnus Compound Microscope |  | Room no: AU3-217 (BIO LAB IV) | MAGNUS | NA | NA | Internal Funding | Adamas University | NA | Clear visibility of microscopic organisms | Department of Biotechnology |  | 19917 |  | Active | Magnification, charaterisation |  |  |  |  | dean.solsb@adamasuniversity.ac.in
Citizon Weighing Balance |  | Room no: AU3-217 (BIO LAB IV) | CITIZON | CY220 | 15201855 | Internal Funding | Adamas University | NA | Measures mass of reagents | Department of Biotechnology |  | 52500 |  | Active | Weighing |  |  |  |  | dean.solsb@adamasuniversity.ac.in
Autoclave |  | Room no: AU3-218 | TESTING INSTRUMENTS | NA | NA | Internal Funding | Adamas University | NA | Moist sterilazation of media and equipments etc. | Department of Biotechnology |  | 17500 |  | Active | Moist heating |  |  |  |  | dean.solsb@adamasuniversity.ac.in