## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Equipment Description | Department Name* | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Alert to be sent (Email id)*
COD Reactor | COD | NITTTR Kolkata | Hach | --- | 10200008425 | Internal Funding | NITTTR Kolkata | Determination of COD | Civil Engineering |  | US$ 686.14 | https://www.nitttrkol.ac.in/ces-irg.php#top | working | Research | kunwar@nitttrkol.ac.in
BOD Trak Apparatus | BOD | NITTTR Kolkata | Hach | 26197 - 01 | 1205600 | Internal Funding | NITTTR Kolkata | Determination of BOD | Civil Engineering |  | US$ 1,987.88 | https://www.nitttrkol.ac.in/ces-irg.php#top | working
pH-cum-Ion meter | pH | NITTTR Kolkata | Eutech | ECPH5500/21S | 242938 | Internal Funding | NITTTR Kolkata | Determination of pH | Civil Engineering |  | 1,16,235.00 | https://www.nitttrkol.ac.in/ces-irg.php#top | Not Working
Conductivity, Resistivity, TDS | CON | NITTTR Kolkata | Eutech | EC-CON1500/23S | 242865 | Internal Funding | NITTTR Kolkata | Determination of Conductivity, &TDS | Civil Engineering |  | 47023 | https://www.nitttrkol.ac.in/ces-irg.php#top | Not working
Flame Photometer: | FP | NITTTR Kolkata | Systronic | 128 | 1414 | Internal Funding | NITTTR Kolkata | Determination of Na & K | Civil Engineering |  | 43105 | https://www.nitttrkol.ac.in/ces-irg.php#top | working
Titration Instruments | TI | NITTTR Kolkata | Schott, Germany | Titronic Universal | 691261 | Internal Funding | NITTTR Kolkata | Determination of Hardness, Alkalinity & Chloride | Civil Engineering |  | 1,30,000.00 | https://www.nitttrkol.ac.in/ces-irg.php#top | working
Automatic Titrator | AT | NITTTR Kolkata | Metrohm | 848 | 1848001010294 | Internal Funding | NITTTR Kolkata | Determination of Hardness, Alkalinity & Chloride | Civil Engineering |  | (SFR / CHF) 5,375.00 | https://www.nitttrkol.ac.in/ces-irg.php#top | working
UV-Visible Spectrophotometer | UVVS | NITTTR Kolkata | Merck | Pharo 300 | --- | Internal Funding | NITTTR Kolkata | Determination of Metal (e.g.: Iron, etc.), Non – metal (e.g.: Chloride, etc.), Metalloid (e.g. Arsenic, etc.), Negative Radical (e.g.: Nitrate ion, etc.), Positive Radical (e.g.: Ammonium, etc.), Compound (e.g.: Surfactant, etc.) | Civil Engineering |  | 2,57,170.00 | https://www.nitttrkol.ac.in/ces-irg.php#top | Not working
Turbidity meter, | TM | NITTTR Kolkata | Merck | TURBIQUANT | --- | Internal Funding | NITTTR Kolkata | Determination of Turbidity | Civil Engineering |  | 1,25,000.00 | https://www.nitttrkol.ac.in/ces-irg.php#top | Not working
pH Meter: | pH | NITTTR Kolkata | InoLab | 730 | -- | Internal Funding | NITTTR Kolkata | Determination of pH | Civil Engineering |  | 52370 | https://www.nitttrkol.ac.in/ces-irg.php#top | Not working
Conductivity/TDS Meter | CON | NITTTR Kolkata | InoLab | 720 | --- | Internal Funding | NITTTR Kolkata | Determination of Conductivity, &TDS | Civil Engineering |  | 59911 | https://www.nitttrkol.ac.in/ces-irg.php#top | Working
UV-Visible Spectrophotometer | UVVS | NITTTR Kolkata | Hach, | Model: DR / 5000, | Cat. No.: DR5000 – 03 | Internal Funding | NITTTR Kolkata | Determination of Metal (e.g.: Iron, etc.), Non – metal (e.g.: Chloride, etc.), Metalloid (e.g. Arsenic, etc.), Negative Radical (e.g.: Nitrate ion, etc.), Positive Radical (e.g.: Ammonium, etc.), Compound (e.g.: Surfactant, etc.) | Civil Engineering |  | 4,00,000.00 | https://www.nitttrkol.ac.in/ces-irg.php#top | Not working
Multipara meter instrument with BOD | MULTI | NITTTR Kolkata | Hach | HQ40d | --- | Internal Funding | NITTTR Kolkata | Determination of Do, Bod, Fluoride, pH, Conductivity, TDS | Civil Engineering |  | 1,12,000.00 | https://www.nitttrkol.ac.in/ces-irg.php#top | Not working
COD Digestion | COD | NITTTR Kolkata | Hach | DRB 200 Reactor | Cat. No.: LTV082.52.44001 | Internal Funding | NITTTR Kolkata | Determination of COD | Civil Engineering |  | 62300 | https://www.nitttrkol.ac.in/ces-irg.php#top | Not working
Turbidity Meter | TM | NITTTR Kolkata | Hach | 2100N | Product No.: 47000 – 02 | Internal Funding | NITTTR Kolkata | Determination of Turbidity | Civil Engineering |  | 99500 | https://www.nitttrkol.ac.in/ces-irg.php#top | working
Multipara meter instrument with Fluoride | MULTI | NITTTR Kolkata | Hach | HQ40d | Cat. No.: ISEF 12101 | Internal Funding | NITTTR Kolkata | Determination of Fluoride | Civil Engineering |  | 73253 | https://www.nitttrkol.ac.in/ces-irg.php#top | Not working
pH Meter | pH | NITTTR Kolkata | Merck | WTW, inoLab | 15230844 | Internal Funding | NITTTR Kolkata | Determination of pH | Civil Engineering |  | 1,46,159.25 | https://www.nitttrkol.ac.in/ces-irg.php#top | working
Conductivity cum TDS meter | CON | NITTTR Kolkata | WTW – Merck | Model: inoLab Cond 7310P | 15090606 | Internal Funding | NITTTR Kolkata | Determination of Conductivity and TDS | Civil Engineering |  | 1,76,330.00 | https://www.nitttrkol.ac.in/ces-irg.php#top | Not working
UV – VIS Spectrophotometer | UVVS | NITTTR Kolkata | Hach | DR 6000 | 1558890 | Internal Funding | NITTTR Kolkata | Determination of Metal (e.g.: Iron, etc.), Non – metal (e.g.: Chloride, etc.), Metalloid (e.g. Arsenic, etc.), Negative Radical (e.g.: Nitrate ion, etc.), Positive Radical (e.g.: Ammonium, etc.), Compound (e.g.: Surfactant, etc.) | Civil Engineering |  | 5,75,000.00 | https://www.nitttrkol.ac.in/ces-irg.php#top | Not working
Atomic Absorption Spectrophotometer | AAS | NITTTR Kolkata | Agilent Technologies | Model: Agilent 240 AA | --- | Internal Funding | NITTTR Kolkata | Determination of heavy elements e.g.: As, Cd, Cr, Cu, Hg, Mo, Pb, Zn | Civil Engineering |  | 23,90,000.00 | https://www.nitttrkol.ac.in/ces-irg.php#top | Not working
Portable Multipara meter Analyzer | MULTI | NITTTR Kolkata | WTW |  | --- | Internal Funding | NITTTR Kolkata | Determination of pH , Conductivity and etc Cell | Civil Engineering |  | 2,73,000.00 | https://www.nitttrkol.ac.in/ces-irg.php#top | Not working
TSS Portable Hand | TSS | NITTTR Kolkata | Hach |  | 2030592, | Internal Funding | NITTTR Kolkata | Determination of TSS | Civil Engineering |  | 4,25,000.00 | https://www.nitttrkol.ac.in/ces-irg.php#top | Working
Water Quality multi-parameter Analyser | MULTI | NITTTR Kolkata | Hach |  | 213334300083 | Internal Funding | NITTTR Kolkata | Determination of pH, TDS, COND, ORP, ISE, Salinity, DO Meter, Sodium ISE, Fluoride ISE | Civil Engineering |  | 4,22,033.90 | https://www.nitttrkol.ac.in/ces-irg.php#top | Working
BOD Measurement System | BOD | NITTTR Kolkata | Hach |  | 20100C010148 | Internal Funding | NITTTR Kolkata | Determination of BOD | Civil Engineering |  | 2,94,915.25 | https://www.nitttrkol.ac.in/ces-irg.php#top | Working
COD Reactor | COD | NITTTR Kolkata | Hach |  | 22100C0094 | Internal Funding | NITTTR Kolkata | Determination of COD | Civil Engineering |  | 2,12,489.68 | https://www.nitttrkol.ac.in/ces-irg.php#top | Working
Turbidity Meter | TM | NITTTR Kolkata | Hach |  | 2023020C0039 | Internal Funding | NITTTR Kolkata | Determination of Turbidity | Civil Engineering |  | 3,25,173.78 | https://www.nitttrkol.ac.in/ces-irg.php#top | Working
Flame Photometer | FM | NITTTR Kolkata | Cole – Parmer |  | 90224 | Internal Funding | NITTTR Kolkata | Determination of Element “Na, K, Cl, Li” | Civil Engineering |  | 7,15,870.00 | https://www.nitttrkol.ac.in/ces-irg.php#top | Working
TOC Analyser | TOC | NITTTR Kolkata | Systronic |  | 2025010019014 | Internal Funding | NITTTR Kolkata | Determination of TOC | Civil Engineering |  | 13,99,000.00 | https://www.nitttrkol.ac.in/ces-irg.php#top | Working
Air and sound pollution lab
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Equipment Description | Department Name* | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Alert to be sent (Email id)*
High Volume Air Sampler | HVAS | NITTTR Kolkata | Netel | NPM – HVS | --- | Internal Funding | NITTTR Kolkata | Determination of RSPM, SOx, NOx, H2S, Cl2 etc., | Civil Engineering |  | 46105.4 | https://www.nitttrkol.ac.in/ces-irg.php#top | Not working
High Volume Air Sampler | HVAS | NITTTR Kolkata | Netel | NPM – HVS / R | --- | Internal Funding | NITTTR Kolkata | Determination of RSPM, SOx, NOx, H2S, Cl2 etc., | Civil Engineering |  | 44332 | https://www.nitttrkol.ac.in/ces-irg.php#top | Not working
Stack Monitoring Kit | SMK | NITTTR Kolkata | Netel | NPM – SMK – 1 | --- | Internal Funding | NITTTR Kolkata | To measure temperature, differential pressure and static pressure for determination of velocity, volumetric flow and particulate sampling under isokinetic conditions, | Civil Engineering |  | 57665 | https://www.nitttrkol.ac.in/ces-irg.php#top | Not working
Multi Gas Analyser | MGA | NITTTR Kolkata | Netel, | NPM – MGA – 1 | --- | Internal Funding | NITTTR Kolkata | For Petrol/CNG/LPG driven vehicle emission testing (ARAI approved), measures: CO, HC, CO2, O2 engine RPM & Oil temp. | Civil Engineering |  | 133333 | https://www.nitttrkol.ac.in/ces-irg.php#top | Not working
Diesel Smoke Meter | DSM | NITTTR Kolkata | Netel, | NPM – SM – 111B | --- | Internal Funding | NITTTR Kolkata | Measures: HSU, Engine RPM, Oil Temp by Piezo Sensor, | Civil Engineering |  | 97665 | https://www.nitttrkol.ac.in/ces-irg.php#top | Not working
Lux Meter | LM | NITTTR Kolkata | TAIWAN | LX-101. LUTRON | --- | Internal Funding | NITTTR Kolkata | Measure Intensity of light | Civil Engineering |  | 5600 | https://www.nitttrkol.ac.in/ces-irg.php#top | Working
Lux Meter | LM | NITTTR Kolkata | TAIWAN | 1102. LUTRONE | --- | Internal Funding | NITTTR Kolkata | Measure Intensity of light | Civil Engineering |  | 16800 | https://www.nitttrkol.ac.in/ces-irg.php#top | Working
Microbial Air Sampler | MAS | NITTTR Kolkata | Merck | MAS-100 ECO | Article No.: 1.09227.0001 | Internal Funding | NITTTR Kolkata | Sampling of air microbe | Civil Engineering |  | 171600 | https://www.nitttrkol.ac.in/ces-irg.php#top | Not working
Air Sampler: Fine | ASF | NITTTR Kolkata | Envirotech | APM 550, | --- | Internal Funding | NITTTR Kolkata | Measure PM10 and PM 2.5 | Civil Engineering |  | 165000 | https://www.nitttrkol.ac.in/ces-irg.php#top | Not Working
Fine Dust Sampler | ASF | NITTTR Kolkata | Netel (India) Pvt. Ltd. | NPM FDS 2.5, | --- | Internal Funding | NITTTR Kolkata | Measure PM10 and PM 2.5 | Civil Engineering |  | 140000 | https://www.nitttrkol.ac.in/ces-irg.php#top | Not working
Sound Level / Portable dB Meter | SL | NITTTR Kolkata | Cole-parmer | WW – 20250 – 2 9 | --- | Internal Funding | NITTTR Kolkata | Measure Intensity of Sound | Civil Engineering |  | 56640 | https://www.nitttrkol.ac.in/ces-irg.php#top | Working
Digi-Sense Wireless Digital Thermometer & Humidity Set, | DSM | NITTTR Kolkata | Cole-parmer | WW – 94460 – 84 | --- | Internal Funding | NITTTR Kolkata | Measure Intensity of Thermometer & Humidity | Civil Engineering |  | 19116 | https://www.nitttrkol.ac.in/ces-irg.php#top | Working
Sound Level Meter | SLM | NITTTR Kolkata | Antylia Scientific, | --- | 220721637 & 220721651 | Internal Funding | NITTTR Kolkata | Measure Intensity of Sound | Civil Engineering |  | 94990 | https://www.nitttrkol.ac.in/ces-irg.php#top | Working
Air quality Monitor equipment | AQM | NITTTR Kolkata | Serrax Technologies, | IAQ3007R | 302DTL22 | Internal Funding | NITTTR Kolkata | Measure PM1.0 and PM 2.5 | Civil Engineering |  | 136290 | https://www.nitttrkol.ac.in/ces-irg.php#top | Working
CO2, CO Analyser | CO2 A | NITTTR Kolkata | Antylia Scientific | --- | 10470993 | Internal Funding | NITTTR Kolkata | Measure CO2, CO | Civil Engineering |  | 1,63,123.20 | https://www.nitttrkol.ac.in/ces-irg.php#top | Working
Infrared Thermometer, | IT | NITTTR Kolkata | Antylia Scientific, | --- | 211054412 & 211054227 | Internal Funding | NITTTR Kolkata | Measure Temparature | Civil Engineering |  | 52392 | https://www.nitttrkol.ac.in/ces-irg.php#top | Working

## Worksheet 1 (hidden)
NEHU Internal Funds
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Internal Resource Generation
SRIC Development Fund
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Vinayaka Missions Research Foundation
NITTTR Bhopal
ICAR-CMFRI
Ministry of Textiles
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
DBT, Govt. of India
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
Minister of Labour and Employment
Central Water Commission CWC
National Mineral Exploration and Development Trust
CSIR, Govt. of India
DST, Govt. of India
ICFRE