## data format
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Cold Spray System | CSS | Yourlab, IIT Ropar | Plasma Giken Company Private Limited, Japan | PCS-100 | PCSHG0093 | MoE/DST, Institute | UAY and FIST programs | Development of Cold-Spraying Based Additive Manufacturing Process for Industrial Application & Department FIST Grant | High pressure (50 bar) and high-temperature (1000 deg C) | Mechanical Engineering | YOURLAB | 2.5 Crore | http://www.plasma.co.jp/en/ | Working | Fabrication Equipment | - | 181340 | - | Plasma Giken Company Private Limited, Japan | fukanuma@plasma.co.jp, d.oka@plasma.co.jp | YourLab | yourlab@iitrpr.ac.in | me.drf@iitrpr.ac.in
Thermal Conductivity Analyser | TCA | Yourlab, IIT Ropar | Linseis, Germany | LFA 500 | 04-005-022 | MOE and DHI, Institute | IMPRINT | Erosion, Corrosion and Deposition Resistant Coatings for Coal-Fired Boilers | Flash method to measure thermal diffusivity and specific heat of the material, Furnace temperature range up to 500 °C , Measuring range of alpha 0.01 up to 2000 mm²/s, Measurement range of thermal conductivity upto 0.1 to 4000 W/ (m∙K) | Mechanical Engineering | YOURLAB | 42 Lac | https://sg-instruments.com/ | Working | Analytical/Testing Equipment | - | 49000 | - | SG Instruments Pvt Ltd, India | sales@sg-instruments.com | YourLab | yourlab@iitrpr.ac.in | me.drf@iitrpr.ac.in