## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
NANO DROP |  |  | Ms Thermo Electron Scientific Instruments LLC, USA | 2000C | T672 | government | PART I MAINTENANACE |  |  |  |  | Rs 5,81,237 |  |  | ANALYTICAL Measurement |  |  |  |  | akondapi@uohyd.ac.in
CIRCULAR DICHROISM SPCTROPHOTOMETER |  |  | Ms Jasco International Co.Ltd, Japan | J-1500 | A015961638 | government | DST-FIST |  |  |  |  | Rs 48,98,220 |  |  | ANALYTICAL Measurement |  |  |  |  | prakash@uohyd.ac.in
PHOSPHOR IMAGER |  |  | Ms BioRad Pacifict Ltd, Hong Kong | Pharos FX + | 447BR1255 | government | DST-FIST |  |  |  |  | Rs 26,36,118 |  |  | ANALYTICAL Measurement |  |  |  |  | niyaz.ahmed@uohyd.ac.in
SPECTROFLUOROMETER |  |  | Ms Jasco International Co.Ltd, Japan | FP-8500ST | D039261452 | government | UGC-SAP-DRS-I |  |  |  |  | Rs 22,78,221 |  |  | ANALYTICAL Measurement |  |  |  |  | kpssl@uohyd.ac.in
FLUOROSCENCE MICROSCOPE |  |  | Ms CarlZeiss Microscopy GmbH, Germany | Axio observer7 | 3858000495 | government | UGC-SAP-DRS-I |  |  |  |  | Rs 40,94,137 |  |  | ANALYTICAL Measurement |  |  |  |  | syamasundarp@uohyd.ac.in
BINOCULAR MICROSCOPE |  |  | Ms Micro Instruments company , india | mi-xci-st | 18030482 | government | PART I MAINTENANACE |  |  |  |  | Rs 89,250 |  |  | ANALYTICAL Measurement |  |  |  |  | mvrsl@uohyd.ac.in
INCUBATOR SHAKER |  |  | Ms Scigenics Biotech Pvt Ltd, India | Obitek -LE | 201810503006 | government | PART I MAINTENANACE |  |  |  |  | Rs 1,88,265 |  |  | ANALYTICAL Measurement |  |  |  |  | vaibhav@uohyd.ac.in
BENCHTOP CENTRIFUGE REFRIGERATED |  |  | Ms Remi sales and Engineering Ltd | NEYA 16 R | ZHFU-19302 | government | MSc DBT |  |  |  |  | 2,24,990 |  |  | ANALYTICAL Measurement |  |  |  |  | nppsl@uohyd.ac.in
PLANT GROWTH CHAMBER |  |  | Ms Matrix Eco Solutions Pvt. Ltd. INDIA | MES-126-B | 531247 | government | PART I MAINTENANACE |  |  |  |  | Rs 3,41,250 |  |  | ANALYTICAL Measurement |  |  |  |  | sbtsl@uohyd.ac.in
SPECTROPHOTOMETER |  |  | Ms Jasco International Co.Ltd, Japan | IRM-V630 | C238661148 C235161148 C234761148 C234861148 | government | DBT-CREBB |  |  |  |  | Rs 12,97,332 |  |  | ANALYTICAL Measurement |  |  |  |  | insaf@uohyd.ac.in
BENCHTOP CENTRIFUGE REFRIGERATED |  |  | Ms MPW MED Instruments, Poland | MPW- 352R | 10352R059319 | government | PART I MAINTENANACE |  |  |  |  | Rs 6,63,621 |  |  | ANALYTICAL Measurement |  |  |  |  | madhubabu@uohyd.ac.in
BENCHTOP CENTRIFUGE REFRIGERATED |  |  | Ms Eppendorfindia Pvt Ltd | 5804 R | 5805JJ873469 | government | PART I MAINTENANACE |  |  |  |  | Rs 6,98,251 |  |  | ANALYTICAL Measurement |  |  |  |  | pankaz@uohyd.ac.in
VERTICAL GEL ELECTROPHORESIS |  |  | Ms Junyi Electrophoresis | JY-CZ-BL | JY-3000E | government | PART I MAINTENANACE |  |  |  |  | Rs 2,15,707 |  |  | ANALYTICAL Measurement |  |  |  |  | rkg@uohyd.ac.in
SONICATOR |  |  | Ms Sonics and Materials | VCX130B | 53912T | government | DBT -CREBB |  |  |  |  | Rs. 5,04,553 |  |  | ANALYTICAL Measurement
LAMINAR FLOW (VERTICAL) |  |  | Ms Ocean Lifescience corporation INDIA | OLSC-113-04 | OLSC-113-04 | government | PART I MAINTENANACE |  |  |  |  | Rs 96,600 |  |  | Research Infrastructure
INVERTED MICROSCOPE |  |  | Ms LAWRENCE and MAYO | NIB-100 | G090019519 | government | OBC/XI Plan |  |  |  |  | Rs 1,16,790 |  |  | Research Infrastructure
MICROSCOPE |  |  | Magnus | invi | 11D586 | government | OBC/XI Plan |  |  |  |  | Rs. 1,10,235 |  |  | Research Infrastructure
CO2 INCUBATOR |  |  | SANYO | MCO-15AC | 8030071 | government | MSc DBT |  |  |  |  | Rs 2,44,766 |  |  | Research Infrastructure
CO2 INCUBATOR |  |  | Ms Thermo Scientific , USA | 311 | 111246-5479 | government | OBC/XI Plan |  |  |  |  | Rs. 3,30,000 |  |  | Research Infrastructure
2 DIMENSION ELECTROPHORESIS |  |  | Ms GE Healthcare BIOSCIENCES Ltd Hong Kong | Ettan Iphor3 | 1467053 | government | OBC/XI Plan |  |  |  |  | Rs 4,37,448 |  |  | ANALYTICAL Measurement
FAST PROTEIN LIQUID CHROMATOGRAGHY |  |  | Ms GE Healthcare BIOSCIENCES Ltd Hong Kong | AKTA prime plus | 1476739 | government | OBC/XI Plan |  |  |  |  | Rs. 7,21,910 |  |  | ANALYTICAL Measurement
MICROMANIPULATOR |  |  | Ms Harward Apparatus | JOY STICK DC-3K | 7073020 | government | OBC/XI Plan |  |  |  |  | Rs. 5,25,269 |  |  | ANALYTICAL Measurement
BENCH TOP BIOREACTOR |  |  | Ms Eppendorfindia Pvt Ltd | Bioflo 120 | 1390MH703246 | government | MSc DBT |  |  |  |  | Rs 22,61,710 |  |  | ANALYTICAL Measurement
COLD ROOM |  |  | Ms CARRIER AIR CONDITIONING and REFRIGERATION LIMITED | NOT AVAILABLE | NOT AVAILABLE | government | OBC/XI Plan |  |  |  |  | Rs. 4,25,000 |  |  | Research Infrastructure
CO 2 INCUBATOR |  |  | SYMBIOGEN BIOTECHNOLOGIES(P)LTD | EPA165AS | 2013EPA004 | government | OBC/XI Plan |  |  |  |  | Rs. 3,56,148 |  |  | Research Infrastructure
INVERTED MICROSCOPE |  |  | Ms LAWRENCE and MAYO INDIA Pvt Ltd | Lynx | G012016630 | government | OBC/XI Plan |  |  |  |  | Rs. 1,25,862 |  |  | Research Infrastructure

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE