## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
NANO DROP |  |  | MS THERMO ELECTRON SCIENTIFIC INSTRUMENTS LLC USA | 2000C | T672 | government | PART I MAINTENANACE |  |  |  |  | 581237 |  |  | ANALYTICAL Measurement |  |  |  |  | akondapi@uohyd.ac.in
CIRCULAR DICHROISM SPCTROPHOTOMETER |  |  | MS JASCO INTERNATIONAL CO LTD JAPAN | J1500 | A015961638 | government | DST FIST |  |  |  |  | 4898220 |  |  | ANALYTICAL Measurement |  |  |  |  | prakash@uohyd.ac.in
PHOSPHOR IMAGER |  |  | MS BIORAD PACIFICT LTD HONG KONG | Pharos FX plus | 447BR1255 | government | DST FIST |  |  |  |  | 2636118 |  |  | ANALYTICAL Measurement |  |  |  |  | niyaz.ahmed@uohyd.ac.in
SPECTROFLUOROMETER |  |  | MS JASCO INTERNATIONAL CO LTD JAPAN | FP8500ST | D039261452 | government | UGC SAP DRS I |  |  |  |  | 2278221 |  |  | ANALYTICAL Measurement |  |  |  |  | kpssl@uohyd.ac.in
FLUOROSCENCE MICROSCOPE |  |  | MS CARLZEISS MICROSCOPY GMBH GERMANY | Axio observer7 | 3858000495 | government | UGC SAP DRS I |  |  |  |  | 4094137 |  |  | ANALYTICAL Measurement |  |  |  |  | syamasundarp@uohyd.ac.in
BINOCULAR MICROSCOPE |  |  | MS MICRO INSTRUMENTS COMPANY INDIA | mi xci st | 18030482 | government | PART I MAINTENANACE |  |  |  |  | 89250 |  |  | ANALYTICAL Measurement |  |  |  |  | mvrsl@uohyd.ac.in
INCUBATOR SHAKER |  |  | MS SCIGENICS BIOTECH PVT LTD INDIA | Obitek LE | 201810503006 | government | PART I MAINTENANACE |  |  |  |  | 188265 |  |  | ANALYTICAL Measurement |  |  |  |  | vaibhav@uohyd.ac.in
BENCHTOP CENTRIFUGE REFRIGERATED |  |  | MS REMI SALES AND ENGINEERING LTD | NEYA 16 R | ZHFU-19302 | government | MSc DBT |  |  |  |  | 224990 |  |  | ANALYTICAL Measurement |  |  |  |  | nppsl@uohyd.ac.in
PLANT GROWTH CHAMBER |  |  | MS MATRIX ECO SOLUTIONS PVT LTD INDIA | MES 126 B | 531247 | government | PART I MAINTENANACE |  |  |  |  | 341250 |  |  | ANALYTICAL Measurement |  |  |  |  | sbtsl@uohyd.ac.in
SPECTROPHOTOMETER |  |  | MS JASCO INTERNATIONAL CO LTD JAPAN | IRM V630 | C238661148 C235161148 C234761148 C234861148 | government | DBT-CREBB |  |  |  |  | 1297332 |  |  | ANALYTICAL Measurement |  |  |  |  | insaf@uohyd.ac.in
BENCHTOP CENTRIFUGE REFRIGERATED |  |  | MS MPW MED INSTRUMENTS POLAND | MPW 352R | 10352R059319 | government | PART I MAINTENANACE |  |  |  |  | 663621 |  |  | ANALYTICAL Measurement |  |  |  |  | madhubabu@uohyd.ac.in
BENCHTOP CENTRIFUGE REFRIGERATED |  |  | MS EPPENDORFINDIA PVT LTD | 5804 R | 5805JJ873469 | government | PART I MAINTENANACE |  |  |  |  | 698251 |  |  | ANALYTICAL Measurement |  |  |  |  | pankaz@uohyd.ac.in
VERTICAL GEL ELECTROPHORESIS |  |  | MS JUNYI ELECTROPHORESIS | JY CZ BL | JY-3000E | government | PART I MAINTENANACE |  |  |  |  | 215707 |  |  | ANALYTICAL Measurement |  |  |  |  | rkg@uohyd.ac.in
SONICATOR |  |  | MS SONICS AND MATERIALS | VCX130B | 53912T | government | DBT -CREBB |  |  |  |  | 504553 |  |  | ANALYTICAL Measurement
LAMINAR FLOW (VERTICAL) |  |  | MS OCEAN LIFESCIENCE CORPORATION INDIA | OLSC 113 04 | OLSC-113-04 | government | PART I MAINTENANACE |  |  |  |  | 96600 |  |  | Research Infrastructure
INVERTED MICROSCOPE |  |  | MS LAWRENCE AND MAYO | NIB 100 | G090019519 | government | OBC XI Plan |  |  |  |  | 116790 |  |  | Research Infrastructure
MICROSCOPE |  |  | MAGNUS | invi | 11D586 | government | OBC XI Plan |  |  |  |  | 110235 |  |  | Research Infrastructure
CO2 INCUBATOR |  |  | SANYO | MCO 15AC | 8030071 | government | MSc DBT |  |  |  |  | 244766 |  |  | Research Infrastructure
CO2 INCUBATOR |  |  | MS THERMO SCIENTIFIC USA | 311 | 111246-5479 | government | OBC XI Plan |  |  |  |  | 330000 |  |  | Research Infrastructure
2 DIMENSION ELECTROPHORESIS |  |  | MS GE HEALTHCARE BIOSCIENCES LTD HONG KONG | Ettan Iphor3 | 1467053 | government | OBC XI Plan |  |  |  |  | 437448 |  |  | ANALYTICAL Measurement
FAST PROTEIN LIQUID CHROMATOGRAGHY |  |  | MS GE HEALTHCARE BIOSCIENCES LTD HONG KONG | AKTA prime plus | 1476739 | government | OBC XI Plan |  |  |  |  | 721910 |  |  | ANALYTICAL Measurement
MICROMANIPULATOR |  |  | MS HARWARD APPARATUS | JOY STICK DC-3K | 7073020 | government | OBC XI Plan |  |  |  |  | 525269 |  |  | ANALYTICAL Measurement
BENCH TOP BIOREACTOR |  |  | MS EPPENDORFINDIA PVT LTD | Bioflo 120 | 1390MH703246 | government | MSc DBT |  |  |  |  | 2261710 |  |  | ANALYTICAL Measurement
COLD ROOM |  |  | MS CARRIER AIR CONDITIONING AND REFRIGERATION LIMITED | NOT AVAILABLE | NOT AVAILABLE | government | OBC XI Plan |  |  |  |  | 425000 |  |  | Research Infrastructure
CO 2 INCUBATOR |  |  | SYMBIOGEN BIOTECHNOLOGIES PVT LTD | EPA165AS | 2013EPA004 | government | OBC XI Plan |  |  |  |  | 356148 |  |  | Research Infrastructure
INVERTED MICROSCOPE |  |  | MS LAWRENCE AND MAYO INDIA PVT LTD | Lynx | G012016630 | government | OBC XI Plan |  |  |  |  | 125862 |  |  | Research Infrastructure

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE