## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
DC shunt motor with salient pole alternator | M- 5HP, 19A, 220V A- 3.5KVA, 4.5A | PS Lab (Room No-001) | BENLEC( BENN ELECTRICALS PVT. LTD) | BEPL | 1713 | Intrenal | GITA Autonomous College, Bhubaneswar |  | M-G Set(2 sets) | Electrical Engineering |  | 270000 |  | Active | Experimental | Utech Enterprises | sales@u-techindia.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
DC shunt motor with nonsalient pole alternator | M- 5HP, 19A, 220V A- 3.5KVA, 4.5A, 415V | PS Lab (Room No-001) | BENLEC( BENN ELECTRICALS PVT. LTD) | BEPL | 1714 | Intrenal | GITA Autonomous College, Bhubaneswar |  | M-G Set(1 set) | Electrical Engineering |  | 145000 |  | Active | Experimental | Utech Enterprises | sales@u-techindia.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
DC Power supply unit | Input- 415V, Output- 220V | PS Lab (Room No-001) | Utech Enterprises | UT | 1190 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Rectifier unit | Electrical Engineering |  | 275000 |  | Active | Experimental | Utech Enterprises | sales@u-techindia.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Electromagnetic over current relay | 250V,50Hz transactor with 12 V relay activation | PS Lab (Room No-001) | Utech Enterprises | UT | 1191 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Over current relay | Electrical Engineering |  | 37000 |  | Active | Experimental | Utech Enterprises | sales@u-techindia.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Control Panel for 2 capacitor Induction Motor | Panel provided with 1Ph,250V DOL starter for capacitor start and run operation | PS Lab (Room No-001) | UNOPOS | UNO | 1162 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Control panel | Electrical Engineering |  | 8500 |  | Active | Experimental | UNOPOS | unopos@yahoo.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Variable Inductor | 1 Ph,250V | PS Lab (Room No-001) | UNOPOS | UNO | 1163 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Inductor | Electrical Engineering |  | 30500 |  | Active | Experimental | UNOPOS | unopos@yahoo.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Digital Oscilloscope | 40MHz | PS Lab (Room No-001) | UNOPOS | UNO | 1164 | Intrenal | GITA Autonomous College, Bhubaneswar |  | DSO | Electrical Engineering |  | 103646 |  | Active | Experimental | UNOPOS | unopos@yahoo.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Energy Meter | 1-Phase, 20A | PS Lab (Room No-001) | Utech Enterprises | UT | 1197 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Energy Measurement Device | Electrical Engineering |  | 691 |  | Active | Experimental | Navajyoti Electricals |  | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Slipring Induction Motor with DC Shunt Generator | M-5HP , G-3KW, 220V | PS Lab (Room No-001) | Utech Enterprises | UT | 1198 | Intrenal | GITA Autonomous College, Bhubaneswar |  | M-G Set(1 set) | Electrical Engineering |  | 70743 |  | Active | Experimental | UNOPOS | unopos@yahoo.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Rotor Resistance Starter | Input- 415V | PS Lab (Room No-001) | Utech Enterprises | UT | 1199 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Slipring Induction Motor Starter | Electrical Engineering |  | 10843.87 |  | Active | Experimental | UNOPOS | unopos@yahoo.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Pony Brake Arrengement | Pony Brake Arrengement with( 0-30)KGF Two spring balance | PS Lab (Room No-001) | Utech Enterprises | UT | 1200 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Braking System | Electrical Engineering |  | 7459 |  | Active | Experimental | UNOPOS | unopos@yahoo.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Transformer | 1-Phase, 1KVA | PS Lab (Room No-001) | Utech Enterprises | UT | 1201 | Intrenal | GITA Autonomous College, Bhubaneswar |  | 1-Phase two winding transformer. | Electrical Engineering |  | 25857 |  | Active | Experimental | UNOPOS | unopos@yahoo.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Rheostat | 100 ohm, 5A | PS Lab (Room No-001) | Utech Enterprises | UT | 1202 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Variable Resistor | Electrical Engineering |  | 21145 |  | Active | Experimental | UNOPOS | unopos@yahoo.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Variac | 1-Phase, 15A | PS Lab (Room No-001) | Utech Enterprises | UT | 1203 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Convertfixed AC to Variable AC | Electrical Engineering |  | 6878 |  | Active | Experimental | UNOPOS | unopos@yahoo.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Static Differential Relay | 1Ph,230V Static Differential Relay kit | PS Lab (Room No-001) | Utech Enterprises | UT | 1204 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Relay | Electrical Engineering |  | 55000 |  | Active | Experimental | Scientech Technology Pvt. Ltd. | scitech@scitech.net.in | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
ABCD Parameter | 1Ph,250V ABCD Parameter Kit | PS Lab (Room No-001) | Utech Enterprises | UT | 1205 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Transmission line Parameter Detection Device | Electrical Engineering |  | 22000 |  | Active | Experimental | UNOPOS | unopos@yahoo.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Insulation Transformer | 250/250V,50Hz | PS Lab (Room No-001) | Utech Enterprises | UT | 1206 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Transformer | Electrical Engineering |  | 12000 |  | Active | Experimental | Scientech Technology Pvt. Ltd. | scitech@scitech.net.in | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Induction type over current relay | 250V,50Hz Induction type OC relay | PS Lab (Room No-001) | Utech Enterprises | UT | 1207 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Relay | Electrical Engineering |  | 65000 |  | Active | Experimental | Utech Enterprises | sales@u-techindia.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Stroboscope | Digital Stroboscope | PS Lab (Room No-001) | Utech Enterprises | UT | 1208 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Stroboscope | Electrical Engineering |  | 17250 |  | Active | Experimental | Utech Enterprises | sales@u-techindia.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
3-point field regulator | Ramson and Sons regulator with 0-100% tapping | PS Lab (Room No-001) | Utech Enterprises | UT | 1209 | Intrenal | GITA Autonomous College, Bhubaneswar |  | field regulator | Electrical Engineering |  | 6850 |  | Active | Experimental | Utech Enterprises | sales@u-techindia.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
DC Shunt Motor with Alternator | M-7.5HP, G-5KW, 3-Phase, 415V | PS Lab (Room No-001) | BENLEC( BENN ELECTRICALS PVT. LTD) | BEPL | 1810 | Intrenal | GITA Autonomous College, Bhubaneswar |  | M-G Set | Electrical Engineering |  | 148302 |  | Active | Experimental | UNOPOS | unopos@yahoo.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
3-Point Starter | 220VDC | PS Lab (Room No-001) | UNOPOS | UNO | 12 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Starter | Electrical Engineering |  | 6183 |  | Active | Experimental | UNOPOS | unopos@yahoo.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Field regulator for HP Motor | Ramson and Sons regulator with 0-100% tapping | PS Lab (Room No-001) | UNOPOS | UNO | 1182 | Intrenal | GITA Autonomous College, Bhubaneswar |  | field regulator | Electrical Engineering |  | 8856 |  | Active | Experimental | UNOPOS | unopos@yahoo.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Damper winding across the field for alternator | Amortisseur type | PS Lab (Room No-001) | UNOPOS | UNO | 1183 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Damper winding | Electrical Engineering |  | 9765 |  | Active | Experimental | UNOPOS | unopos@yahoo.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Static earth fault relay | 250V,50Hz EF relay kit | PS Lab (Room No-001) | Utech Enterprises | UT | 1211 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Relay | Electrical Engineering |  | 37500 |  | Active | Experimental | Utech Enterprises | sales@u-techindia.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Circuit Breaker | 415V, 3-Phase | PS Lab (Room No-001) | Utech Enterprises | UT | 1212 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Circuit Breaker | Electrical Engineering |  | 36000 |  | Active | Experimental | Utech Enterprises | sales@u-techindia.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Autotransformer | 1-Phase, (0-270)V | PS Lab (Room No-001) | UNOPOS | UNO | 1185 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Variac | Electrical Engineering |  | 19125 |  | Active | Experimental | Utech Enterprises | sales@u-techindia.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
1-Phase capacitor start capacitor run induction motor | 1-HP, 1-Phase 220V, 1440rpm, 4.5A | PS Lab (Room No-001) | BENLEC( BENN ELECTRICALS PVT. LTD) | BEPL | 1820 | Intrenal | GITA Autonomous College, Bhubaneswar |  | 1-Phase I.M. | Electrical Engineering |  | 16355 |  | Active | Experimental | Utech Enterprises | sales@u-techindia.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
CRO | 50MHz | PS Lab (Room No-001) | Utech Enterprises | UT | 1223 | Intrenal | GITA Autonomous College, Bhubaneswar |  | CRO | Electrical Engineering |  | 50000 |  | Active | Experimental | Scientech Technology Pvt. Ltd. | scitech@scitech.net.in | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Artificial transmission line | 440V,3Ph Honalec based transmission line simulator | PS Lab (Room No-001) | UNOPOS | UNO | 1195 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Artificial transmission line | Electrical Engineering |  | 456000 |  | Active | Experimental | UNOPOS | unopos@yahoo.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
KVL kit | 0-250V,50Hz kVL test kit | ND Lab | UTech | UT | 1234 | Intrenal | GITA Autonomous College, Bhubaneswar |  | KVL kit | Electrical Engineering |  | 2500 |  | Active | Experimental | Utech Enterprises | sales@u-techindia.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
KCL Kit | 0-250V,50Hz kCL test kit | ND Lab | UTech | UT | 1235 | Intrenal | GITA Autonomous College, Bhubaneswar |  | KCL Kit | Electrical Engineering |  | 2500 |  | Active | Experimental | Utech Enterprises | sales@u-techindia.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Super position Theorem Kit | 0-250V,50Hz Superposition Theorem test kit | ND Lab | UTech | UT | 1236 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Super position Theorem Kit | Electrical Engineering |  | 2500 |  | Active | Experimental | Utech Enterprises | sales@u-techindia.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Maximum Power Transfer Theorem | 0-250V,50Hz Maximum Power transfer Theorem test kit | ND Lab | Hindustan Scientific Linker | HSL | 1124 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Maximum Power Transfer Theorem | Electrical Engineering |  | 2500 |  | Active | Experimental | Utech Enterprises | sales@u-techindia.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Thevenin Theorem Kit | 0-250V,50Hz Thevinin's Theorem test kit | ND Lab | UTech | UT | 1237 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Thevenin's Theorem Kit | Electrical Engineering |  | 2500 |  | Active | Experimental | Utech Enterprises | sales@u-techindia.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Nortons Theorem Kit | 0-250V,50Hz Norton's Theorem test kit | ND Lab | UTech | UT | 1238 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Norton's Theorem Kit | Electrical Engineering |  | 2500 |  | Active | Experimental | Utech Enterprises | sales@u-techindia.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Reciprocity Theorem Kit | 0-250V,50Hz Reciprocity Theorem test kit | ND Lab | UTech | UT | 1239 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Reciprocity Theorem Kit | Electrical Engineering |  | 2500 |  | Active | Experimental | Utech Enterprises | sales@u-techindia.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
DC and AC Transient Kit | 0-250V,0-220V AC/DC Transient Kit | ND Lab | UTech | UT | 1240 | Intrenal | GITA Autonomous College, Bhubaneswar |  | DC & AC Transient Kit | Electrical Engineering |  | 3000 |  | Active | Experimental | Utech Enterprises | sales@u-techindia.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Single and Double tuned ckt Kit | 230/115V,50Hz single and double tuned cct. | ND Lab | UTech | UT | 1241 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Tuned Circuit | Electrical Engineering |  | 3500 |  | Active | Experimental | Utech Enterprises | sales@u-techindia.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Z Y H Parameter Kit | 0-230V Z, Y, H Parameter Kit | ND Lab | UTech | UT | 1242 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Z, Y, H Parameter Kit | Electrical Engineering |  | 3000 |  | Active | Experimental | Utech Enterprises | sales@u-techindia.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
A B C D Parameter Kit | 0-230V, A, B, C, D Parameter Kit | ND Lab | UTech | UT | 1243 | Intrenal | GITA Autonomous College, Bhubaneswar |  | A, B, C, D Parameter Kit | Electrical Engineering |  | 3000 |  | Active | Experimental | Utech Enterprises | sales@u-techindia.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Low pass filter Kit | 0-230V,Low pass filter Kit | ND Lab | UNOPOS | UNO | 1110 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Low pass filter Kit | Electrical Engineering |  | 2500 |  | Active | Experimental | Utech Enterprises | sales@u-techindia.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
High pass filter Kit | 0-230V,High pass filter Kit | ND Lab | UNOPOS | UNO | 1111 | Intrenal | GITA Autonomous College, Bhubaneswar |  | High pass filter Kit | Electrical Engineering |  | 2600 |  | Active | Experimental | Utech Enterprises | sales@u-techindia.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Band pass filter Kit | 0-230V,Band pass filter Kit | ND Lab | UNOPOS | UNO | 1112 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Band pass filter Kit | Electrical Engineering |  | 2500 |  | Active | Experimental | Utech Enterprises | sales@u-techindia.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Band Elimination filter Kit | 0-230V,Band Elimination filter Kit | ND Lab | UNOPOS | UNO | 1113 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Band Elimination filter Kit | Electrical Engineering |  | 2700 |  | Active | Experimental | Utech Enterprises | sales@u-techindia.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Fourier analysis Kit | 0-230V Fourier analysis Kit | ND Lab | UNOPOS | UNO | 1114 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Fourier analysis Kit | Electrical Engineering |  | 6000 |  | Active | Experimental | Utech Enterprises | sales@u-techindia.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Function Generator | 0-20 MHz | ND Lab | UNOPOS | UNO | 1115 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Function Generator | Electrical Engineering |  | 98600 |  | Active | Experimental | Utech Enterprises | sales@u-techindia.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Band pass filter Kit | Passive filter | ND Lab | UNOPOS | UNO | 1116 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Band pass filter Kit | Electrical Engineering |  | 5000 |  | Active | Experimental | Utech Enterprises | sales@u-techindia.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Band Rejection filter Kit | Passive filter | ND Lab | UNOPOS | UNO | 1117 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Band Rejection filter Kit | Electrical Engineering |  | 2700 |  | Active | Experimental | Utech Enterprises | sales@u-techindia.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
CRO | 50 MHz | ND Lab | UNOPOS | UNO | 1117 | Intrenal | GITA Autonomous College, Bhubaneswar |  | CRO | Electrical Engineering |  | 92000 |  | Active | Experimental | Utech Enterprises | sales@u-techindia.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Series RLC Resonance Kit | 250V,50Hz Series RLC KIT | ND Lab | UNOPOS | UNO | 1118 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Resonance Kit | Electrical Engineering |  | 3500 |  | Active | Experimental | Utech Enterprises | sales@u-techindia.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Parallel RLC Resonance Kit | 250V,50Hz Parallel RLC KIT | ND Lab | UNOPOS | UNO | 1119 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Resonance Kit | Electrical Engineering |  | 3500 |  | Active | Experimental | Utech Enterprises | sales@u-techindia.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
3- Φ bridge rectifier and load box | 440V/220V/1KW | Power Electronics Laboratory | V.I MICRO SYSTEM PVT. LTD | VIMSPL | GITA/EE/PE/11 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Bridge rectifier kit | Electrical Engineering |  | 66150 |  | Working | Experimental | V.I MICRO SYSTEM PVT. LTD | sales@vimicrosystems.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
CRO | 4 TRACE | Power Electronics Laboratory | Scitech PVT.LTD | SPL | GITA/EE/PE/12 | Intrenal | GITA Autonomous College, Bhubaneswar |  | CRO | Electrical Engineering |  | 50400 |  | Working | Experimental | Scitech PVT.LTD | scitech@scitech.net.in | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
V I characteristics of SCR | 230V/12V | Power Electronics Laboratory | V.I MICRO SYSTEM PVT. LTD | VIMSPL | GITA/EE/PE/03 | Intrenal | GITA Autonomous College, Bhubaneswar |  | SCR characteristic Kit | Electrical Engineering |  | 31500 |  | Working | Experimental | V.I MICRO SYSTEM PVT. LTD | sales@vimicrosystems.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Variable DC power supply | 0-30V DC/5A | Power Electronics Laboratory | unopose PVT. LTD | UNO | GITA/EE/PE/13 | Intrenal | GITA Autonomous College, Bhubaneswar |  | DC power supply | Electrical Engineering |  | 15750 |  | Working | Experimental | unopose PVT. LTD | unopos@yahoo.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
UJT FET and MOSFET characteristics | 230V AC/2A | Power Electronics Laboratory | NVLS Technology | NVLST | GITA/EE/PE/15 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Characteristic Kit | Electrical Engineering |  | 10584 |  | Working | Experimental | NVLS Technology | info@nvlspain.es | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Characteristics of DIAC TRIAC and SCR | 230V/2A | Power Electronics Laboratory | NVLS Technology | NVLST | GITA/EE/PE/16 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Characteristic Kit | Electrical Engineering |  | 10584 |  | Working | Experimental | NVLS Technology | info@nvlspain.es | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
1 Φ AC voltage controller | AC voltage controller Kit | Power Electronics Laboratory | V.I MICRO SYSTEM PVT. LTD | VIMSPL | GITA/EE/PE/08 | Intrenal | GITA Autonomous College, Bhubaneswar |  | AC voltage controller Kit | Electrical Engineering |  | 12000 |  | Working | Experimental | V.I MICRO SYSTEM PVT. LTD | sales@vimicrosystems.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
R RC and BJT triggering | Triggering kit | Power Electronics Laboratory | V.I MICRO SYSTEM PVT. LTD | VIMSPL | GITA/EE/PE/04 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Triggering kit | Electrical Engineering |  | 8000 |  | Working | Experimental | V.I MICRO SYSTEM PVT. LTD | sales@vimicrosystems.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
AC to DC forward converter kit | Forword converter kit | Power Electronics Laboratory | V.I MICRO SYSTEM PVT. LTD | VIMSPL | GITA/EE/PE/09 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Forword converter kit | Electrical Engineering |  | 20000 |  | Working | Experimental | V.I MICRO SYSTEM PVT. LTD | sales@vimicrosystems.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
IGBT SCR TRIAC and MOSFET module | IGBT,SCR, TRIAC & MOSFET Trainer Kit | Power Electronics Laboratory | V.I MICRO SYSTEM PVT. LTD | VIMSPL | GITA/EE/PE/01 | Intrenal | GITA Autonomous College, Bhubaneswar |  | IGBT,SCR, TRIAC & MOSFET Trainer Kit | Electrical Engineering |  | 5000 |  | Working | Experimental | V.I MICRO SYSTEM PVT. LTD | sales@vimicrosystems.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
DC to DC fly back converter trainer kit | 0-30V DC | Power Electronics Laboratory | V.I MICRO SYSTEM PVT. LTD | VIMSPL | GITA/EE/PE/10 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Fly back converter kit | Electrical Engineering |  | 20000 |  | Working | Experimental | V.I MICRO SYSTEM PVT. LTD | sales@vimicrosystems.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Thyristor forced commutation trainer kit | Forced commutation kit | Power Electronics Laboratory | V.I MICRO SYSTEM PVT. LTD | VIMSPL | GITA/EE/PE/23 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Forced commutation kit | Electrical Engineering |  | 20000 |  | Working | Experimental | V.I MICRO SYSTEM PVT. LTD | sales@vimicrosystems.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
1 Φ SCR bridge converter | 230V/24V/1A | Power Electronics Laboratory | V.I MICRO SYSTEM PVT. LTD | VIMSPL | GITA/EE/PE/06&07 | Intrenal | GITA Autonomous College, Bhubaneswar |  | SCR bridge converter kit | Electrical Engineering |  | 39375 |  | Working | Experimental | V.I MICRO SYSTEM PVT. LTD | sales@vimicrosystems.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
1- Φ cyclo converter | 230V/12-0-12 | Power Electronics Laboratory | V.I MICRO SYSTEM PVT. LTD | VIMSPL | GITA/EE/PE/24 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Cyclo converter kit | Electrical Engineering |  | 25313 |  | Working | Experimental | V.I MICRO SYSTEM PVT. LTD | sales@vimicrosystems.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
DC chopper control kit | 0-30V/230V | Power Electronics Laboratory | V.I MICRO SYSTEM PVT. LTD | VIMSPL | GITA/EE/PE/25 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Chopper control kit | Electrical Engineering |  | 7000 |  | Working | Experimental | V.I MICRO SYSTEM PVT. LTD | sales@vimicrosystems.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Cosine firing kit | 230V | Power Electronics Laboratory | V.I MICRO SYSTEM PVT. LTD | VIMSPL | GITA/EE/PE/05 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Cosine firing kit | Electrical Engineering |  | 11250 |  | Working | Experimental | V.I MICRO SYSTEM PVT. LTD | sales@vimicrosystems.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
UJT trainer kit | 0-15V | Power Electronics Laboratory | V.I MICRO SYSTEM PVT. LTD | VIMSPL | GITA/EE/PE/02 | Intrenal | GITA Autonomous College, Bhubaneswar |  | UJT trainer kit | Electrical Engineering |  | 9000 |  | Working | Experimental | V.I MICRO SYSTEM PVT. LTD | sales@vimicrosystems.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
1-Φ series inverter | 24V DC/230V AC | Power Electronics Laboratory | V.I MICRO SYSTEM PVT. LTD | VIMSPL | GITA/EE/PE/019 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Series inverter Kit | Electrical Engineering |  | 26970 |  | Working | Experimental | V.I MICRO SYSTEM PVT. LTD | sales@vimicrosystems.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
DSO | DSO | Power Electronics Laboratory | NVLS technology PVT .LTD | NVLST | GITA/EE/PE/21,22 | Intrenal | GITA Autonomous College, Bhubaneswar |  | DSO | Electrical Engineering |  | 180800 |  | Working | Experimental | NVLS technology PVT .LTD | info@nvlspain.es | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
1-Φ controlled rectifier with cosine firing scheme | 1-Φ controlled rectifier with cosine firing scheme Kit | Power Electronics Laboratory | Scitech PVT.LTD | SPL | 20701 | Intrenal | GITA Autonomous College, Bhubaneswar |  | 1-Φ controlled rectifier with cosine firing scheme Kit | Electrical Engineering |  | 37019 |  | Working | Experimental | Scitech PVT.LTD | scitech@scitech.net.in | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Lamp diameter | Lamp diameter Kit | Power Electronics Laboratory | Scitech PVT.LTD | SPL | 50177 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Lamp diameter Kit | Electrical Engineering |  | 5040 |  | Working | Experimental | Scitech PVT.LTD | scitech@scitech.net.in | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Buck converter | Buck converter Kit | Power Electronics Laboratory | Scitech PVT.LTD | SPL | 11419 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Buck converter Kit | Electrical Engineering |  | 9030 |  | Working | Experimental | Scitech PVT.LTD | scitech@scitech.net.in | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Bost converter | Bost converter Kit | Power Electronics Laboratory | Scitech PVT.LTD | SPL | 91314 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Bost converter Kit | Electrical Engineering |  | 9030 |  | Working | Experimental | Scitech PVT.LTD | scitech@scitech.net.in | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Thermistor Kit | Thermistor Kit | Control system Engineering Laboratory | Hindustan Scientific Linker | HSL | GITA/EE/CSE/15 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Thermistor Kit | Electrical Engineering |  | 37700 |  | Active | Experimental | Hindustan Scientific Linker | hslinkers@gmail.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Temperature Control System Kit | MSTC-113 | Control system Engineering Laboratory | Hindustan Scientific Linker | HSL | GITA/EE/CSE/16 | Intrenal | GITA Autonomous College, Bhubaneswar |  | MSTC-113 | Electrical Engineering |  | 37700 |  | Active | Experimental | Hindustan Scientific Linker | hslinkers@gmail.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Strain gauge Kit | Strain gauge Kit | Control system Engineering Laboratory | Hindustan Scientific Linker | HSL | GITA/EE/CSE/17 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Strain gauge Kit | Electrical Engineering |  | 20930 |  | Active | Experimental | Hindustan Scientific Linker | hslinkers@gmail.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
CRO | DUAL TRACE | Control system Engineering Laboratory | Hindustan Scientific Linker | HSL | GITA/EE/CSE/18 | Intrenal | GITA Autonomous College, Bhubaneswar |  | DUAL TRACE | Electrical Engineering |  | 49000 |  | Active | Experimental | Hindustan Scientific Linker | hslinkers@gmail.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Schering Bridge Kit | Schering Bridge Kit | Control system Engineering Laboratory | Hindustan Scientific Linker | HSL | GITA/EE/CSE/19 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Schering Bridge Kit | Electrical Engineering |  | 13728 |  | Active | Experimental | Hindustan Scientific Linker | hslinkers@gmail.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Kelvins Bridge Kit | Kelvin's Bridge Kit | Control system Engineering Laboratory | Hindustan Scientific Linker | HSL | GITA/EE/CSE/20 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Kelvin's Bridge Kit | Electrical Engineering |  | 12870 |  | Active | Experimental | Hindustan Scientific Linker | hslinkers@gmail.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Anderson Bridge Kit | Anderson Bridge Kit | Control system Engineering Laboratory | Hindustan Scientific Linker | HSL | GITA/EE/CSE/21 | Intrenal | GITA Autonomous College, Bhubaneswar |  | Anderson Bridge Kit | Electrical Engineering |  | 13700 |  | Active | Experimental | Hindustan Scientific Linker | hslinkers@gmail.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
LVDT Trainer kit | ITB-12CE | Control system Engineering Laboratory | V.I MICRO SYSTEM PVT. LTD | VIMSPL | GITA/EE/CSE/22 | Intrenal | GITA Autonomous College, Bhubaneswar |  | ITB-12CE | Electrical Engineering |  | 14100 |  | Active | Experimental | Hindustan Scientific Linker | sales@vimicrosystems.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Thermocouple trainer kit | ITB-05CE | Control system Engineering Laboratory | V.I MICRO SYSTEM PVT. LTD | VIMSPL | GITA/EE/CSE/23 | Intrenal | GITA Autonomous College, Bhubaneswar |  | ITB-05CE | Electrical Engineering |  | 11250 |  | Active | Experimental | Hindustan Scientific Linker | sales@vimicrosystems.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
DC Motor speed control system trainer kit | 1KΩ Servo potentiometer | Control system Engineering Laboratory | UNOPOS | UNO | GITA/EE/CSE/24 | Intrenal | GITA Autonomous College, Bhubaneswar |  | 1KΩ Servo potentiometer | Electrical Engineering |  | 34664 |  | Active | Experimental | Utech Enterprises | sales@u-techindia.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
2-phase ac Servo Motor trainer kit | ACS-01 | Control system Engineering Laboratory | UNOPOS | UNO | GITA/EE/CSE/24 | Intrenal | GITA Autonomous College, Bhubaneswar |  | ACS-01 | Electrical Engineering |  | 36098 |  | Active | Experimental | Utech Enterprises | sales@u-techindia.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
3-Phase 1KVA Isolation Transformer | 440V/110V , 1KVA | ED Lab | VI Microsystem Pvt(L) | VIMS | 1234 | Intrenal | GITA Autonomous College, Bhubaneswar |  | 440V/110V , 1KVA | Electrical Engineering |  | 22161 |  | Active | Experimental | UNOPOS | unopos@yahoo.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Inductive Load box | 1-Phase, 5A, 230V | ED Lab | VI Microsystem Pvt(L) | VIMS | 1235 | Intrenal | GITA Autonomous College, Bhubaneswar |  | 1-Phase, 5A, 230V | Electrical Engineering |  | 7422 |  | Active | Experimental | UNOPOS | unopos@yahoo.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
1-Phase loading rheostat | 200W | ED Lab | VI Microsystem Pvt(L) | VIMS | 1256 | Intrenal | GITA Autonomous College, Bhubaneswar |  | 200W | Electrical Engineering |  | 20417 |  | Damaged | Experimental | UNOPOS | unopos@yahoo.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
1-Phase IGBT Based 4-Quadrant Chopper with DC Motor | 230V, 4A, 1HP, 1440rpm | ED Lab | VI Microsystem Pvt(L) | VIMS | 1345 | Intrenal | GITA Autonomous College, Bhubaneswar |  | 230V, 4A, 1HP, 1440rpm | Electrical Engineering |  | 86610 |  | Active | Experimental | VI Microsystem Pvt(L) | vijay@vimicrosystem.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
3-Phase half wave and full wave controlled converter and firing unit | 440V, 5A | ED Lab | VI Microsystem Pvt(L) | VIMS | 1348 | Intrenal | GITA Autonomous College, Bhubaneswar |  | 440V, 5A | Electrical Engineering |  | 49350 |  | Active | Experimental | VI Microsystem Pvt(L) | vijay@vimicrosystem.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
DC Motor | 1HP, 220V, 4.1A | ED Lab | VI Microsystem Pvt(L) | VIMS |  | Intrenal | GITA Autonomous College, Bhubaneswar |  | 1HP, 220V, 4.1A | Electrical Engineering |  | 10650 |  | Active | Experimental | VI Microsystem Pvt(L) | vijay@vimicrosystem.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Speed control of Separately Excited DC Motor Using 1-Phase Dual Converter with DC Motor, Inductive Load and Isolation Transformer | DC Motor-220V,1 HP, 1500rpm, Load & Transformer-230V, 3A, | ED Lab | VI Microsystem Pvt(L) | VIMS | 1356 | Intrenal | GITA Autonomous College, Bhubaneswar |  | DC Motor-220V,1 HP, 1500rpm, Load & Transformer-230V, 3A, | Electrical Engineering |  | 84975 |  | Active | Experimental | UNOPOS | unopos@yahoo.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Speed control of single phase inductin motor by using single phase AC to AC Converter | 230V/3A/0.5 HP/1440 rpm | ED Lab | VI Microsystem Pvt(L) | VIMS | 1389 | Intrenal | GITA Autonomous College, Bhubaneswar |  | 230V/3A/0.5 HP/1440 rpm | Electrical Engineering |  | 32889 |  | Active | Experimental | UNOPOS | unopos@yahoo.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Speed Control of separately excited DC Motor Using 1-PhaseFully Controlled Converter with DC Motor and isolation Transformer | 230v/2A/1HP/1500 rpm 220V,4.1 Amp | ED Lab | VI Microsystem Pvt(L) | VIMS |  | Intrenal | GITA Autonomous College, Bhubaneswar |  | 230v/2A/1HP/1500 rpm 220V,4.1 Amp | Electrical Engineering |  | 41777 |  | Active | Experimental | UNOPOS | unopos@yahoo.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Speed Control of Separately excited Dc Shunt motor using Four Quadrant Chopper With Dc Motor and Loading arrangement | 230V Ac/2Amp,0.05 HP/24V DC | ED Lab | VI Microsystem Pvt(L) | VIMS | 1450 | Intrenal | GITA Autonomous College, Bhubaneswar |  | 230V Ac/2Amp,0.05 HP/24V DC | Electrical Engineering |  | 35555 |  | Active | Experimental | UNOPOS | unopos@yahoo.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
DC Power Supply Rectifier Unit | 220V/80A/DC | ED Lab | VI Microsystem Pvt(L) | VIMS | 1457 | Intrenal | GITA Autonomous College, Bhubaneswar |  | 220V/80A/DC | Electrical Engineering |  | 150000 |  | Active | Experimental | UNOPOS | unopos@yahoo.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
CRO | 4 Trace ,60 MHz | ED Lab | VI Microsystem Pvt(L) | VIMS | 1478 | Intrenal | GITA Autonomous College, Bhubaneswar |  | 4 Trace ,60 MHz | Electrical Engineering |  | 120000 |  | Active | Experimental | Scientech | scientech@yahoo.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Single Phase Transformer | 1KVA | ED Lab | VI Microsystem Pvt(L) | VIMS | 1489 | Intrenal | GITA Autonomous College, Bhubaneswar |  | 1KVA | Electrical Engineering |  | 14000 |  | Active | Experimental | UNOPOS | unopos@yahoo.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
Three Phase Transformer | 1KVA | ED Lab | VI Microsystem Pvt(L) | VIMS | 1498 | Intrenal | GITA Autonomous College, Bhubaneswar |  | 1KVA | Electrical Engineering |  | 24000 |  | Active | Experimental | UNOPOS | unopos@yahoo.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
AC/DC Distribution Pannel | AC/DC | ED Lab | VI Microsystem Pvt(L) | VIMS | 1530 | Intrenal | GITA Autonomous College, Bhubaneswar |  | AC/DC | Electrical Engineering |  | 24000 |  | Active | Experimental | UNOPOS | unopos@yahoo.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in
CRO | 4 Trace | ED Lab | VI Microsystem Pvt(L) | VIMS | 1540 | Intrenal | GITA Autonomous College, Bhubaneswar |  | 4 Trace | Electrical Engineering |  | 60000 |  | Active | Experimental | UNOPOS | unopos@yahoo.com | GITA Autonomous College Bhubaneswar | principal@gita.edu.in | principal@gita.edu.in

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE
Ministry of Textiles
SRIC Development Fund