## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Equipment Description | Department Name* | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Alert to be sent (Email id)*
MATLAB |  | Electrical Simulation Lab | MathWorks | MatLab 2025b | 997331 | Internal Funding | Institution | MATLAB | EEE | Software | 1277516 | www.mathworks.com | Installed | Campus Wide | ponnganti.chandana@arkance.world
Single Phase Dual Converter | SDC | 11102 | Fortune Engineering Equipments | 230 V/5 A | 28 | Internal Funding | Institution Funding (Self Supported) | This set consists of a a)Single phase dual converter firing unit (Microcontroller based)&single phase Dual converter Power circuit | EEE | Converter | 58655 | powertronics_sk@yahoo.com | GOOD | Characterisation Equipment | fortuneequipments2010@gmail.com
Three Phase Bridge Inverter With 120 degree and 180 degrees | TBIN120180 | 11102 | Fortune Engineering Equipments |  | 32 | Internal Funding | Institution Funding (Self Supported) | This unit consists of two parts a)control unit b)Power unit | EEE | Inverter | 39110 | powertronics_sk@yahoo.com | GOOD | Characterisation Equipment | fortuneequipments2010@gmail.com
Three Phase PWM Inverter IGBT based | PWMIN | 11102 | Fortune Engineering Equipments |  | 33 | Internal Funding | Institution Funding (Self Supported) | This unit consists of two parts a)control unit b)Power unit | EEE | Inverter | 36884 | powertronics_sk@yahoo.com | GOOD | Characterisation Equipment | fortuneequipments2010@gmail.com
Transfer Function of DC Shunt Motor Kit | TFDCM | 11104 | Fortune Engineering equipments | 0.5 HP/180 V | 30 | Internal Funding | Institution Funding (Self Supported) | This unit consists of DC/AC supplies , digital AC/DC voltmeter and a Digital AC/DC ammeter for DC motor to find its Transfer function | EEE | Transfer function | 36000 | pragnamicrodesigns@yahoo.com | GOOD | Characterisation Equipment | fortuneengineering2010@gmail.com
Characteristics of AC servo Motor Kit | ACSM | 11104 | Fortune Engineering equipments | 230 V/ 2 A | 31 | Internal Funding | Institution Funding (Self Supported) | This unit consists of AC Servo motor is coupled to DC servo Motor.DC motor is used to load the AC servo motor. | EEE | Speed - Torque characteristics | 27000 | pragnamicrodesigns@yahoo.com | GOOD | Characterisation Equipment | fortuneengineering2010@gmail.com
Digital Storage Osilloscope | DSO | 11104 | Fortune Engineering equipments | DSO10100S | 32 | Internal Funding | Institution Funding (Self Supported) | 100 MHz/1 Gsa/s | EEE | Digital input and output waveforms | 23000 | pragnamicrodesigns@yahoo.com | GOOD | Testing Equipment | fortuneengineering2010@gmail.com
Digital Storage Osilloscope | DSO | 11104 | Fortune Engineering equipments | DSO10100S | 32 | Internal Funding | Institution Funding (Self Supported) | 100 MHz/1 Gsa/s | EEE | Digital input and output waveforms | 23000 | pragnamicrodesigns@yahoo.com | GOOD | Testing Equipment | fortuneengineering2010@gmail.com
Volt Meter MI (0-300/600V) | VM | 11004 | Fortune Engineering Equipments,Hyderabad | MIACP | 2601015400 | Internal Funding | Institution Funding(Self Supported) | Used to measure Voltage | EEE | EC& MI Lab | 1600 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Volt Meter MI (0-300/600V) | VM | 11004 | Fortune Engineering Equipments,Hyderabad | MIACP | 2601015421 | Internal Funding | Institution Funding(Self Supported) | Used to Measure Voltage | EEE | EC& MI Lab | 1600 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Volt Meter MI (0-300/600V) | VM | 11004 | Fortune Engineering Equipments,Hyderabad | MIACP | 2601015422 | Internal Funding | Institution Funding(Self Supported) | Used to Measure Voltage | EEE | EC& MI Lab | 1600 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Watt Meter (0-300/600V) 5/10 UPF | WM | 11004 | Fortune Engineering Equipments,Hyderabad | SPW1 | 2512047959 | Internal Funding | Institution Funding(Self Supported) | Used to measure Power | EEE | EC& MI Lab | 2900 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Watt Meter (0-300/600V) 5/10 UPF | WM | 11004 | Fortune Engineering Equipments,Hyderabad | SPW1 | 2512047958 | Internal Funding | Institution Funding(Self Supported) | Used to measure Power | EEE | EC& MI Lab | 2900 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Watt Meter (0-300/600V) 5/10 UPF | WM | 11004 | Fortune Engineering Equipments,Hyderabad | SPW1 | 2512047960 | Internal Funding | Institution Funding(Self Supported) | Used to measure Power | EEE | EC& MI Lab | 29000 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Watt Meter (0-300/600V) 5/10 UPF | WM | 11004 | Fortune Engineering Equipments,Hyderabad | SPW1 | 2512047961 | Internal Funding | Institution Funding(Self Supported) | Used to Measure Power | EEE | EC& MI Lab | 2900 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Watt Meter (0-300/600V) 5/10 LPF | WM | 11004 | Fortune Engineering Equipments,Hyderabad | SPLW | 2601047999 | Internal Funding | Institution Funding(Self Supported) | Used to Measure Power | EEE | EC& MI Lab | 4800 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Watt Meter (0-300/600V) 5/10 LPF | WM | 11004 | Fortune Engineering Equipments,Hyderabad | SPLW | 2601047998 | Internal Funding | Institution Funding(Self Supported) | Used to Measure Power | EEE | EC& MI Lab | 4800 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Single Phase Auto Transformer (0-270V/10A) | AT | 11004 | Fortune Engineering Equipments,Hyderabad | MIACP | 2512015427 | Internal Funding | Institution Funding(Self Supported) | Controlled Voltage Supply for testing | EEE | EC& MI Lab | 6500 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Single Phase Auto Transformer (0-270V/10A) | AT | 11004 | Fortune Engineering Equipments,Hyderabad | MIACP | 2512015424 | Internal Funding | Institution Funding(Self Supported) | Controlled Voltage Supply for testing | EEE | EC& MI Lab | 6500 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
DC Regulated Power Supply (30V/2A) | DCRPS | 11004 | Fortune Engineering Equipments,Hyderabad | MIACP | 2512015426 | Internal Funding | Institution Funding(Self Supported) | stable power for experiments | EEE | EC& MI Lab | 6000 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
DC Regulated Power Supply (30V/2A) | DCRPS | 11004 | Fortune Engineering Equipments,Hyderabad | MIACP | 2512015425 | Internal Funding | Institution Funding(Self Supported) | Stable Power for Experiments | EEE | EC& MI Lab | 6000 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
DSO 100Mhz | DSO | 11004 | Fortune Engineering Equipments,Hyderabad | DSO-101005 |  | Internal Funding | Institution Funding(Self Supported) | Signal and Waveform Analysis | EEE | EC& MI Lab | 23000 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
DSO 100Mhz | DSO | 11004 | Fortune Engineering Equipments,Hyderabad | DSO-101005 |  | Internal Funding | Institution Funding(Self Supported) | Signal and Waveform Analysis | EEE | EC& MI Lab | 23000 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Function Geneartor 1Mhz | FG | 11004 | Fortune Engineering Equipments,Hyderabad | FG-01 |  | Internal Funding | Institution Funding(Self Supported) | Used to give rated frequency | EEE | EC& MI Lab | 6700 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Chock coil 240V 50Hz | CHCoil | 11004 | Fortune Engineering Equipments,Hyderabad | SFB4340 |  | Internal Funding | Institution Funding(Self Supported) | inductive behavior analysis | EEE | EC& MI Lab | 600 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Chock coil 240V 50Hz | CHCoil | 11004 | Fortune Engineering Equipments,Hyderabad | SFB4340 |  | Internal Funding | Institution Funding(Self Supported) | inductive behavior analysis | EEE | EC& MI Lab | 600 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Stop Watch | SW | 11004 | Fortune Engineering Equipments,Hyderabad |  |  | Internal Funding | Institution Funding(Self Supported) | Digital timing device | EEE | EC& MI Lab | 850 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Volt Meter (0-50V) Digital | VMD | 11004 | Fortune Engineering Equipments,Hyderabad |  |  | Internal Funding | Institution Funding(Self Supported) | Used to measure Voltage | EEE | EC& MI Lab | 1000 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Volt Meter (0-50V) Digital | VMD | 11004 | Fortune Engineering Equipments,Hyderabad |  |  | Internal Funding | Institution Funding(Self Supported) | Used to measure Voltage | EEE | EC& MI Lab | 1000 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Ammeter (0-200mA) Digital | AMD | 11004 | Fortune Engineering Equipments,Hyderabad |  |  | Internal Funding | Institution Funding(Self Supported) | Current Measurement | EEE | EC& MI Lab | 1000 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Ammeter (0-200mA) Digital | AMD | 11004 | Fortune Engineering Equipments,Hyderabad |  |  | Internal Funding | Institution Funding(Self Supported) | Current Measurement | EEE | EC& MI Lab | 1000 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Ammeter (0-2A) Digital | AMD | 11004 | Fortune Engineering Equipments,Hyderabad |  |  | Internal Funding | Institution Funding(Self Supported) | Current Measurement | EEE | EC& MI Lab | 1000 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Ammeter (0-2A) Digital | AMD | 11004 | Fortune Engineering Equipments,Hyderabad |  |  | Internal Funding | Institution Funding(Self Supported) | Current Measurement | EEE | EC& MI Lab | 1000 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Ammeter (0-200 Micro A) Digital | AMD | 11004 | Fortune Engineering Equipments,Hyderabad |  |  | Internal Funding | Institution Funding(Self Supported) | Current Measurement | EEE | EC& MI Lab | 1000 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Ammeter (0-200 Micro A) Digital | AMD | 11004 | Fortune Engineering Equipments,Hyderabad |  |  | Internal Funding | Institution Funding(Self Supported) | Current Measurement | EEE | EC& MI Lab | 1000 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Linear Variable Differential Transformer(LVDT) | LVDT | 11004 | Fortune Engineering Equipments,Hyderabad | UITM-02 | 8121 | Internal Funding | Institution Funding(Self Supported) | displacement measurement (characterisation) | EEE | EC& MI Lab | 10900 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Capacitive Trnsducer | CT | 11004 | Fortune Engineering Equipments,Hyderabad | UITM-11 | 8122 | Internal Funding | Institution Funding(Self Supported) | capacitance-based sensing |  | EC& MI Lab | 13000 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Strain for bridge strain gage | SBSG | 11004 | Fortune Engineering Equipments,Hyderabad | UITM-01 | 8081 | Internal Funding | Institution Funding(Self Supported) | strain/stress measurement | EEE | EC& MI Lab | 10900 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Ammeter (0-5/10A) MI | AM | 11004 | Fortune Engineering Equipments,Hyderabad | MIACP | 2512015424 | Internal Funding | Institution Funding(Self Supported) | Current Measurement | EEE | EC& MI Lab | 1600 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Ammeter (0-5/10A) MI | AM | 11004 | Fortune Engineering Equipments,Hyderabad | MIACP | 2512015425 | Internal Funding | Institution Funding(Self Supported) | Current Measurement | EEE | EC& MI Lab | 1600 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Ammeter (0-5/10A) MI | AM | 11004 | Fortune Engineering Equipments,Hyderabad | MIACP | 2512015426 | Internal Funding | Institution Funding(Self Supported) | Current Measurement | EEE | EC& MI Lab | 1600 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Ammeter (0-5/10A) MI | AM | 11004 | Fortune Engineering Equipments,Hyderabad | MIACP | 2512015427 | Internal Funding | Institution Funding(Self Supported) | Current Measurement |  | EC& MI Lab | 1600 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Ammeter (0-1/2A) MI | AM | 11004 | Fortune Engineering Equipments,Hyderabad | MIACP | 2512015428 | Internal Funding | Institution Funding(Self Supported) | Current Measurement | EEE | EC& MI Lab | 1600 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Ammeter (0-1/2A) MI | AM | 11004 | Fortune Engineering Equipments,Hyderabad | MIACP | 2512015429 | Internal Funding | Institution Funding(Self Supported) | Current Measurement |  | EC& MI Lab | 1600 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Ammeter (0-1/2A) MI | AM | 11004 | Fortune Engineering Equipments,Hyderabad | MIACP | 2512015431 | Internal Funding | Institution Funding(Self Supported) | Current Measurement |  | EC& MI Lab | 1600 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Ammeter (0-1/2A) MI | AM | 11004 | Fortune Engineering Equipments,Hyderabad | MIACP | 2512015432 | Internal Funding | Institution Funding(Self Supported) | Current Measurement | EEE | EC& MI Lab | 1600 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Ammeter (0-1/2A) MI | AM | 11004 | Fortune Engineering Equipments,Hyderabad | MIACP | 2512015434 | Internal Funding | Institution Funding(Self Supported) | Current Measurement | EEE | EC& MI Lab | 1600 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Rheostas 100Ohm/2A | RHE | 11004 | Fortune Engineering Equipments,Hyderabad |  |  | Internal Funding | Institution Funding(Self Supported) | Varaible Resistance | EEE | EC& MI Lab | 2800 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Rheostas 100Ohm/2A | RHE | 11004 | Fortune Engineering Equipments,Hyderabad |  |  | Internal Funding | Institution Funding(Self Supported) | Varaible Resistance | EEE | EC& MI Lab | 2800 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Rheostas 100Ohm/2A | RHE | 11004 | Fortune Engineering Equipments,Hyderabad |  |  | Internal Funding | Institution Funding(Self Supported) | Varaible Resistance | EEE | EC& MI Lab | 2800 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Rheostas 100Ohm/2A | RHE | 11004 | Fortune Engineering Equipments,Hyderabad |  |  | Internal Funding | Institution Funding(Self Supported) | Varaible Resistance | EEE | EC& MI Lab | 2800 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Rheostas 150Ohm/2A | RHE | 11004 | Fortune Engineering Equipments,Hyderabad |  |  | Internal Funding | Institution Funding(Self Supported) | Varaible Resistance | EEE | EC& MI Lab | 4500 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Rheostas 150Ohm/2A | RHE | 11004 | Fortune Engineering Equipments,Hyderabad |  |  | Internal Funding | Institution Funding(Self Supported) | Varaible Resistance | EEE | EC& MI Lab | 4500 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Rheostas 150Ohm/2A | RHE | 11004 | Fortune Engineering Equipments,Hyderabad |  |  | Internal Funding | Institution Funding(Self Supported) | Varaible Resistance | EEE | EC& MI Lab | 4500 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Rheostas 150Ohm/2A | RHE | 11004 | Fortune Engineering Equipments,Hyderabad |  |  | Internal Funding | Institution Funding(Self Supported) | Varaible Resistance | EEE | EC& MI Lab | 4500 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Rheostas 150Ohm/2A | RHE | 11004 | Fortune Engineering Equipments,Hyderabad |  |  | Internal Funding | Institution Funding(Self Supported) | Varaible Resistance | EEE | EC& MI Lab | 4500 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Rheostas 210Ohm/2A | RHE | 11004 | Fortune Engineering Equipments,Hyderabad |  |  | Internal Funding | Institution Funding(Self Supported) | Varaible Resistance | EEE | EC& MI Lab | 3400 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Rheostas 210Ohm/2A | RHE | 11004 | Fortune Engineering Equipments,Hyderabad |  |  | Internal Funding | Institution Funding(Self Supported) | Varaible Resistance | EEE | EC& MI Lab | 3400 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Rheostas 210Ohm/2A | RHE | 11004 | Fortune Engineering Equipments,Hyderabad |  |  | Internal Funding | Institution Funding(Self Supported) | Varaible Resistance | EEE | EC& MI Lab | 3400 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Rheostas 210Ohm/2A | RHE | 11004 | Fortune Engineering Equipments,Hyderabad |  |  | Internal Funding | Institution Funding(Self Supported) | Varaible Resistance | EEE | EC& MI Lab | 3400 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Rheostas 210Ohm/2A | RHE | 11004 | Fortune Engineering Equipments,Hyderabad |  |  | Internal Funding | Institution Funding(Self Supported) | Varaible Resistance | EEE | EC& MI Lab | 3400 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Rheostas 300Ohm/2A | RHE | 11004 | Fortune Engineering Equipments,Hyderabad |  |  | Internal Funding | Institution Funding(Self Supported) | Varaible Resistance | EEE | EC& MI Lab | 3900 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Rheostas 300Ohm/2A | RHE | 11004 | Fortune Engineering Equipments,Hyderabad |  |  | Internal Funding | Institution Funding(Self Supported) | Varaible Resistance | EEE | EC& MI Lab | 3900 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Rheostas 300Ohm/2A | RHE | 11004 | Fortune Engineering Equipments,Hyderabad |  |  | Internal Funding | Institution Funding(Self Supported) | Varaible Resistance | EEE | EC& MI Lab | 3900 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Rheostas 460Ohm/2A | RHE | 11004 | Fortune Engineering Equipments,Hyderabad |  |  | Internal Funding | Institution Funding(Self Supported) | Varaible Resistance | EEE | EC& MI Lab | 4800 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Rheostas 460Ohm/2A | RHE | 11004 | Fortune Engineering Equipments,Hyderabad |  |  | Internal Funding | Institution Funding(Self Supported) | Varaible Resistance | EEE | EC& MI Lab | 4800 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Rheostas 460Ohm/2A | RHE | 11004 | Fortune Engineering Equipments,Hyderabad |  |  | Internal Funding | Institution Funding(Self Supported) | Varaible Resistance | EEE | EC& MI Lab | 4800 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Rheostas 460Ohm/2A | RHE | 11004 | Fortune Engineering Equipments,Hyderabad |  |  | Internal Funding | Institution Funding(Self Supported) | Varaible Resistance | EEE | EC& MI Lab | 4800 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Rheostas 600Ohm/2A | RHE | 11004 | Fortune Engineering Equipments,Hyderabad |  |  | Internal Funding | Institution Funding(Self Supported) | Varaible Resistance | EEE | EC& MI Lab | 5800 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Rheostas 600Ohm/2A | RHE | 11004 | Fortune Engineering Equipments,Hyderabad |  |  | Internal Funding | Institution Funding(Self Supported) | Varaible Resistance | EEE | EC& MI Lab | 5800 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Rheostas 600Ohm/2A | RHE | 11004 | Fortune Engineering Equipments,Hyderabad |  |  | Internal Funding | Institution Funding(Self Supported) | Varaible Resistance | EEE | EC& MI Lab | 5800 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Rheostas 600Ohm/2A | RHE | 11004 | Fortune Engineering Equipments,Hyderabad |  |  | Internal Funding | Institution Funding(Self Supported) | Varaible Resistance | EEE | EC& MI Lab | 5800 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Rheostas 600Ohm/2A | RHE | 11004 | Fortune Engineering Equipments,Hyderabad |  |  | Internal Funding | Institution Funding(Self Supported) | Varaible Resistance | EEE | EC& MI Lab | 5800 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Multi Meter | MM | 11004 | Fortune Engineering Equipments,Hyderabad | VM8909 |  | Internal Funding | Institution Funding(Self Supported) | Measure Multiple Electrical Quantities | EEE | EC& MI Lab | 2000 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Multi Meter | MM | 11004 | Fortune Engineering Equipments,Hyderabad | VM8909 |  | Internal Funding | Institution Funding(Self Supported) | Measure Multiple Electrical Quantities | EEE | EC& MI Lab | 2000 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Multi Meter | MM | 11004 | Fortune Engineering Equipments,Hyderabad | VM8909 |  | Internal Funding | Institution Funding(Self Supported) | Measure Multiple Electrical Quantities | EEE | EC& MI Lab | 2000 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Verificaion of impendace and current of RC,RL and RLC seires cirucit | IMP RLC | 11004 | Fortune Engineering Equipments,Hyderabad |  |  | Internal Funding | Institution Funding(Self Supported) | Circuit Parameter Analysis | EEE | EC& MI Lab | 4750 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com
Transient resonsnce of series RL and RC circuits using DC Exicitation | TR RLC | 11004 | Fortune Engineering Equipments,Hyderabad |  |  | Internal Funding | Institution Funding(Self Supported) | System Response Analysis | EEE | EC& MI Lab | 4750 | MECO‑G products on Moglix | Good | Characterisation | fortuneequipments2010@gmail.com

## Worksheet 1 (hidden)
NEHU Internal Funds
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Internal Resource Generation
SRIC Development Fund
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Vinayaka Missions Research Foundation
NITTTR Bhopal
ICAR-CMFRI
Ministry of Textiles
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
DBT, Govt. of India
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
Minister of Labour and Employment
Central Water Commission CWC
National Mineral Exploration and Development Trust
CSIR, Govt. of India
DST, Govt. of India
ICFRE