## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Equipment Description | Department Name* | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Alert to be sent (Email id)*
MATLAB |  | Electrical Simulation Lab | MathWorks | MatLab 2025b | 997331 | Internal Funding | Institution | MATLAB | EEE | Software | 1277516 |  | Installed | Campus Wide | hodeee@sasi.ac.in
Single Phase Dual Converter | SDC | 11102 | Fortune Engineering Equipments | 230 V/5 A | 28 | Internal Funding | Institution Funding (Self Supported) | This set consists of a a)Single phase dual converter firing unit (Microcontroller based)&single phase Dual converter Power circuit | EEE | Converter | 58655 |  | GOOD | Characterisation Equipment | hodeee@sasi.ac.in
Three Phase Bridge Inverter With 120 degree and 180 degrees | TBIN120180 | 11102 | Fortune Engineering Equipments | 1 | 32 | Internal Funding | Institution Funding (Self Supported) | This unit consists of two parts a)control unit b)Power unit | EEE | Inverter | 39110 |  | GOOD | Characterisation Equipment | hodeee@sasi.ac.in
Three Phase PWM Inverter IGBT based | PWMIN | 11102 | Fortune Engineering Equipments | 1 | 33 | Internal Funding | Institution Funding (Self Supported) | This unit consists of two parts a)control unit b)Power unit | EEE | Inverter | 36884 |  | GOOD | Characterisation Equipment | hodeee@sasi.ac.in
Transfer Function of DC Shunt Motor Kit | TFDCM | 11104 | Fortune Engineering equipments | 0.5 HP/180 V | 30 | Internal Funding | Institution Funding (Self Supported) | This unit consists of DC/AC supplies , digital AC/DC voltmeter and a Digital AC/DC ammeter for DC motor to find its Transfer function | EEE | Transfer function | 36000 |  | GOOD | Characterisation Equipment | hodeee@sasi.ac.in
Characteristics of AC servo Motor Kit | ACSM | 11104 | Fortune Engineering equipments | 230 V/ 2 A | 31 | Internal Funding | Institution Funding (Self Supported) | This unit consists of AC Servo motor is coupled to DC servo Motor.DC motor is used to load the AC servo motor. | EEE | Speed - Torque characteristics | 27000 |  | GOOD | Characterisation Equipment | hodeee@sasi.ac.in
Digital Storage Osilloscope | DSO | 11104 | Fortune Engineering equipments | DSO10100S | 32 | Internal Funding | Institution Funding (Self Supported) | 100 MHz/1 Gsa/s | EEE | Digital input and output waveforms | 23000 |  | GOOD | Testing Equipment | hodeee@sasi.ac.in
Digital Storage Osilloscope | DSO | 11104 | Fortune Engineering equipments | DSO10100S | 32 | Internal Funding | Institution Funding (Self Supported) | 100 MHz/1 Gsa/s | EEE | Digital input and output waveforms | 23000 |  | GOOD | Testing Equipment | hodeee@sasi.ac.in
Single Phase Auto Transformer (0-270V/10A) | AT | 11004 | Fortune Engineering Equipments,Hyderabad | MIACP | 2512015427 | Internal Funding | Institution Funding(Self Supported) | Controlled Voltage Supply for testing | EEE | EC& MI Lab | 6500 |  | Good | Characterisation | hodeee@sasi.ac.in
Single Phase Auto Transformer | AT | 11004 | Fortune Engineering Equipments,Hyderabad | MIACP | 2512015424 | Internal Funding | Institution Funding(Self Supported) | Controlled Voltage Supply for testing | EEE | EC& MI Lab | 6500 |  | Good | Characterisation | hodeee@sasi.ac.in
DC Regulated Power Supply | DCRPS | 11004 | Fortune Engineering Equipments,Hyderabad | MIACP | 2512015426 | Internal Funding | Institution Funding(Self Supported) | stable power for experiments | EEE | EC& MI Lab | 6000 |  | Good | Characterisation | hodeee@sasi.ac.in
DC Regulated Power Supply | DCRPS | 11004 | Fortune Engineering Equipments,Hyderabad | MIACP | 2512015425 | Internal Funding | Institution Funding(Self Supported) | Stable Power for Experiments | EEE | EC& MI Lab | 6000 |  | Good | Characterisation | hodeee@sasi.ac.in
DSO 100Mhz | DSO | 11004 | Fortune Engineering Equipments,Hyderabad | DSO-101005 | 1 | Internal Funding | Institution Funding(Self Supported) | Signal and Waveform Analysis | EEE | EC& MI Lab | 23000 |  | Good | Characterisation | hodeee@sasi.ac.in
DSO 100Mhz | DSO | 11004 | Fortune Engineering Equipments,Hyderabad | DSO-101005 | 1 | Internal Funding | Institution Funding(Self Supported) | Signal and Waveform Analysis | EEE | EC& MI Lab | 23000 |  | Good | Characterisation | hodeee@sasi.ac.in
Function Geneartor 1Mhz | FG | 11004 | Fortune Engineering Equipments,Hyderabad | FG-01 | 1 | Internal Funding | Institution Funding(Self Supported) | Used to give rated frequency | EEE | EC& MI Lab | 6700 |  | Good | Characterisation | hodeee@sasi.ac.in
Linear Variable Differential Transformer(LVDT) | LVDT | 11004 | Fortune Engineering Equipments,Hyderabad | UITM-02 | 8121 | Internal Funding | Institution Funding(Self Supported) | displacement measurement (characterisation) | EEE | EC& MI Lab | 10900 |  | Good | Characterisation | hodeee@sasi.ac.in
Capacitive Trnsducer | CT | 11004 | Fortune Engineering Equipments,Hyderabad | UITM-11 | 8122 | Internal Funding | Institution Funding(Self Supported) | capacitance-based sensing |  | EC& MI Lab | 13000 |  | Good | Characterisation | hodeee@sasi.ac.in
Strain for bridge strain gage | SBSG | 11004 | Fortune Engineering Equipments,Hyderabad | UITM-01 | 8081 | Internal Funding | Institution Funding(Self Supported) | strain/stress measurement | EEE | EC& MI Lab | 10900 |  | Good | Characterisation | hodeee@sasi.ac.in
Verificaion of impendace and current of RC,RL and RLC seires cirucit | IMP RLC | 11004 | Fortune Engineering Equipments,Hyderabad | 1 | 1 | Internal Funding | Institution Funding(Self Supported) | Circuit Parameter Analysis | EEE | EC& MI Lab | 4750 |  | Good | Characterisation | hodeee@sasi.ac.in
Transient resonsnce of series RL and RC circuits using DC Exicitation | TR RLC | 11004 | Fortune Engineering Equipments,Hyderabad | 1 | 1 | Internal Funding | Institution Funding(Self Supported) | System Response Analysis | EEE | EC& MI Lab | 4750 |  | Good | Characterisation | hodeee@sasi.ac.in

## Worksheet 1 (hidden)
NEHU Internal Funds
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Internal Resource Generation
SRIC Development Fund
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Vinayaka Missions Research Foundation
NITTTR Bhopal
ICAR-CMFRI
Ministry of Textiles
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
DBT, Govt. of India
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
Minister of Labour and Employment
Central Water Commission CWC
National Mineral Exploration and Development Trust
CSIR, Govt. of India
DST, Govt. of India
ICFRE