## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Robot Husky Nugenis mobile robot | NA | ISC Lab | ClearPath robotics Canada | A200 | NA | External Funding | MeitY, Govt. of India | Husky A200 is engineered to thrive in harsh outdoor environments. With a powerful 4x4 zero-maintenance drivetrain, rugged all-terrain tires and class-leading ground clearance. Using Husky to program complex autonomous systems is simple with open-source Robot Operating System (ROS) or National Instruments LabVIEW Robotics. Rich demos and tutorials are provided to help you getstarted quickly and hassle-free. | EE | Perception Lab | 2940000 | https://clearpathrobotics.com/husky-a300-unmanned-ground-vehicle-robot/ | Working | NA | NA | NA | NA | NA | NA
NIKON TS2R Microscope |  | PIL | NIKON | NIKONTS2R-FL |  | Internal Funding | Institution | Nikon Ts2R inverted microscope (brightfield). With additional parts and components this microscope can be upgraded to fluorescence, but currently non-fluoresent. The microscope comes with a binocular viewing head complete with a side mounted photo port which will allow you to add a camera to this microscope. The microscope comes with a brightfield 4x, and phase contrast 10x, 20x, and 40x objectives. The XY stage comes with the glass slide holder can be controlled mannually. | EE | Perception Lab | 4624975 | https://microscopecentral.com/products/nikon-ts2r-fl-inverted-phase-contrast-micorscope | Working | NA | NA | NA | NA | NA | NA
N5244A, Keysight | PNA-X | esb-2 building | Keysight Technology | (N5244A) | MY56042450 | FIST | External Funding | RF Measurement System | EE | NanoLab | 5594796 | https://www.iitk.ac.in/nanolab/Facilities.html | working | Characterization | Agmatel singapore pte ltd |  | Keysight Technology |  | head_ee@iitk.ac.in
High Power Device Analyzer (B1505, Keysight) | B1505/Curve tracer | esb-2 building | Keysight Technology | B1505A | MY55230305 | FIST | External Funding | Power semicundcutor Device Analyser | EE | NanoLab | 9122766 | https://www.iitk.ac.in/nanolab/Facilities.html | working | Characterization | Agmatel singapore pte ltd |  | Keysight Technology |  | head_ee@iitk.ac.in
Pulsed IV and RF System (AM3203) | AMCAD (AM3221) | esb-2 building | AMCAD Engineering | AM3221 | S/N: 02-007 | FIST | External Funding | Pulsed IV or Load Pull and RF System (AM3203) applications. | EE | NanoLab | 9207273 | https://www.iitk.ac.in/nanolab/Facilities.html | working | Characterization | Maury Microwave |  | AMCAD Engineering |  | head_ee@iitk.ac.in
Arbitrary waveform generator |  | esb-2 building | Keysight Technology | M8190A |  |  |  |  | EE | NanoLab | 7999000 | https://www.iitk.ac.in/nanolab/Facilities.html | working | Characterization |  |  | Keysight Technology |  | head_ee@iitk.ac.in
NOISEfigure analyzer |  | esb-2 building | Keysight Technology | N8975B |  |  |  | Noise figure analyzer 10Mhz to 26.5 Ghz | EE | NanoLab | 5665033 | https://www.iitk.ac.in/nanolab/Facilities.html | working | Characterization |  |  | Keysight Technology |  | head_ee@iitk.ac.in
Automated Antenna Positioner | DS700, DSFM-5-40 | Western Lab 216 | Diamond Micowave chamber | DS700, DSFM-5-40, | DS700, DSFM-5-40, | FIST | External Funding | Automated Antenna Positioner System (D7000, Diamond Microwave Chambers Ltd ) | EE | NanoLab | 2547781 | https://www.iitk.ac.in/nanolab/Facilities.html | working | Characterization | Diamond Micowave chamber |  | Diamond Micowave chamber |  | head_ee@iitk.ac.in
Optical modulation analyzer | OMA | DA317 | KEYSIGHT | M8290A | DE57800125 | External Funding | DST, Govt. of India | Maximum symbol rate 74 Gbaud, Sampling rate 83 to 92 GSa/s | EE |  | 66,06,950/- | https://www.keysight.com/in/en/product/M8292A/modular-optical-modulation-analyzer.html | NA | NA | NA | NA | NA | NA | head_ee@iitk.ac.in
ARBITRARY waveform Generator | AWG | DA317 | KEYSIGHT | M8195A | MY55A00999 | External Funding | DST, Govt. of India | up to 65 GSa/s sample rate, 25 GHz bandwidth on up to 4 channels per module | EE |  | 86,95,521/- | https://www.keysight.com/in/en/product/M8195A/65-gsa-s-arbitrary-waveform-generator.html | NA | NA | NA | NA | NA | NA | head_ee@iitk.ac.in
Digital storage oscilloscope | DSO | DA317 | KEYSIGHT | DSO V254A | infiniium V-Series | External Funding | DST, Govt. of India | 25 GHz, 4 Analog Channels | EE |  | 1,01,02,598/- | https://www.keysight.com/in/en/product/DSOV254A/infiniium-v-series-oscilloscope-25-ghz-4-analog-channels.html | NA | NA | NA | NA | NA | NA | head_ee@iitk.ac.in
Supply installation testing and commissioning of advanced metering infrastructure (AMI), system interation (SI) Home automation systems for the smart grid pilot project | OK | [7 empty] | EE |  | 2,24,23,464/- |  | Running | NC |  |  |  |  | head_ee@iitk.ac.in
Supply installation testing & commissioning of Thermal storage energy system (545 TR HR) capacity & its integration. | OK | [7 empty] | EE |  | 36,75,000/- |  | Running | NC |  |  |  |  | head_ee@iitk.ac.in
AC Load Simulator model- 63802, Make- Chroma ate INC Taiwan | OK |  | Chroma ate INC Taiwan | [5 empty] | EE |  | 31,42,125/- |  | Running | NC |  |  |  |  | head_ee@iitk.ac.in
Partial discharge detector, make- ISA | OK |  | ISA | [5 empty] | EE |  | 29,34,708/- |  | Running | NC |  |  |  |  | head_ee@iitk.ac.in
Oscilloscope with data logger facility with memory expansion to 1G PTS | OK | [7 empty] | EE |  | 43,80,248/- |  | Running | NC |  |  |  |  | head_ee@iitk.ac.in
Sputtering deposition system | OK | [7 empty] | EE |  | 85,68,000/- |  | Running | NC |  |  |  |  | head_ee@iitk.ac.in
Optical modulation analyzer, model- KEYSIGHT M8290A | OK |  | KEYSIGHT | M8290A |  |  |  |  | EE |  | 66,06,950/- |  | Running | NC |  |  |  |  | head_ee@iitk.ac.in
Digital storage oscilloscope mode- MSO-58, make-TEKTRONIX | OK |  | TEKTRONIX | MSO-58 |  |  |  |  | EE |  | 29,96,120/- |  | Running | NC |  |  |  |  | head_ee@iitk.ac.in
3- Meter Semi ANECHOIC Shielded Chamber with acc. | OK | [7 empty] | EE |  | 4,85,20,509/- |  | Running | NC |  |  |  |  | head_ee@iitk.ac.in
ARBITRARY waveform Generator | OK | [7 empty] | EE |  | 86,95,521/- |  | Running | NC |  |  |  |  | head_ee@iitk.ac.in
Harmonic and flicker emission test system Brand- PACIFIC power source | OK | [7 empty] | EE |  | 52,23,750/- |  | Running | NC |  |  |  |  | head_ee@iitk.ac.in
IMU test system brand- EMC partner mode- IMU- MGS | OK |  | EMC | [5 empty] | EE |  | 81,37,500/- |  | Running | NC |  |  |  |  | head_ee@iitk.ac.in
Digital storage oscilloscope 80/40, 25GHz, Brand- KEYSIGHT, Model-DSO V254A | OK |  | KEYSIGHT | DSO V254A |  |  |  |  | EE |  | 1,01,02,598/- |  | Running | NC |  |  |  |  | head_ee@iitk.ac.in
Radiated Emission Eadiated immunity & conducted emission Brand- ETS- LINDGRENB, Model- EMI- EMC test solution | OK |  | ETS- LINDGRENB | EMI-EMC |  |  |  |  | EE |  | 3,79,00,000/- |  | Running | NC |  |  |  |  | head_ee@iitk.ac.in
High performance multifunction switch matrix unit with Probe system | OK | [7 empty] | EE |  | 77,99,800/- |  | Running | NC |  |  |  |  | head_ee@iitk.ac.in
Vector Network Analyzer 100KHz to 18GHz Brand- KEYSIGHT, Model- N9917B | OK |  | KEYSIGHT | N9917B |  |  |  |  | EE |  | 31,46,554/- |  | Running | NC |  |  |  |  | head_ee@iitk.ac.in
Network analyzer N5224B, 10Mhz to 43.5GHz PNA Brand: KEYSIGHT, NS224B | OK |  | KEYSIGHT | NS224B |  |  |  |  | EE |  | 1,15,00,000/- |  | Running | NC |  |  |  |  | head_ee@iitk.ac.in
CYTATION 5 multimode reader CYTS-SN, CYTATION, multimode microplate reader | OK | [7 empty] | EE |  | 29,91,300/- |  | Running | NC |  |  |  |  | head_ee@iitk.ac.in
Radiated Emission Eadiated immunity & conducted emission Brand- ETS- LINDGRENB, Model- EMI- EMC test solution | OK |  | ETS- LINDGRENB | EMI- EMC |  |  |  |  | EE |  | 3,79,00,000/- |  | Running | NC |  |  |  |  | head_ee@iitk.ac.in
Design supply installation testing & commissioning of renewable source (Solar PV BIOMASS) & storage (L1-ION Batteries) integrated smart Grid field Pilots | OK | [7 empty] | EE |  | 12,05,69,910/- |  | Running | NC |  |  |  |  | head_ee@iitk.ac.in
Super continuum laser with accessories | OK | [7 empty] | EE |  | 98,47,159/- |  | Running | NC |  |  |  |  | head_ee@iitk.ac.in
Two channel audio generator & analyzer model- APX555B-500-COMCON-APX | OK |  |  | APX555B-500-COMCON-APX |  |  |  |  | EE |  | 52,48,000/- |  | Running | NC |  |  |  |  | head_ee@iitk.ac.in
Semiconductor parameter analyzer & probe station Brand- KEYSIGHT, Model- B1500A | OK |  | KEYSIGHT | B1500A |  |  |  |  | EE |  | 36,68,620/- |  | Running | NC |  |  |  |  | head_ee@iitk.ac.in
R & S phase noise analyzer Brand- R & S, Model- FSPN8 | OK |  | R & S | FSPN8 |  |  |  |  | EE |  | 67,62,198/- |  | Running | NC |  |  |  |  | head_ee@iitk.ac.in
Vector Network analyzer Brand- R & S Model- ZNL20 | OK |  | R & S | ZNL20 |  |  |  |  | EE |  | 36,49,998/- |  | Running | NC |  |  |  |  | head_ee@iitk.ac.in
Broad band Di electri spectrometer with acc | OK | [7 empty] | EE |  | 8271952.87/- |  | Running | NC |  |  |  |  | head_ee@iitk.ac.in
Programmable AC Power Source | OK | [7 empty] | EE |  | 45,93,062/- |  | Running | NC |  |  |  |  | head_ee@iitk.ac.in
Network Analyzer N5244A etc. | OK |  |  | N5244A |  |  |  |  | EE |  | 98,86,304.93/- |  | Running | NC |  |  |  |  | head_ee@iitk.ac.in
Master Node with acc. Etc. | OK | [7 empty] | EE |  | 4776902.02/- |  | Running | NC |  |  |  |  | head_ee@iitk.ac.in
NI USRP-2952R etc. with acc. | OK | [7 empty] | EE |  | 34,65,629.62/- |  | Running | NC |  |  |  |  | head_ee@iitk.ac.in
Chroma regenerative grid simulator with acc | OK | [7 empty] | EE |  | 51,27,311.72/- |  | Running | NC |  |  |  |  | head_ee@iitk.ac.in
Power Device Analyzer etc with acc Model- B1505A, Make-Keysight | OK |  | Keysight | B1505A |  |  |  |  | EE |  | 128,83,381.5/- |  | Running | NC |  |  |  |  | head_ee@iitk.ac.in
Pulsed RF Measurements etc with acc | OK | [7 empty] | EE |  | 75,47,834.13/- |  | Running | NC |  |  |  |  | head_ee@iitk.ac.in
Microgrid HIL tested with acc etc | OK | [7 empty] | EE |  | 418,81,872.5/- |  | Running | NC |  |  |  |  | head_ee@iitk.ac.in
Vector signal generator and analyzer make : KEYSIGHT | OK |  | KEYSIGHT | [5 empty] | EE |  | 180,77,028.93/- |  | Running | NC |  |  |  |  | head_ee@iitk.ac.in
Load pull system 2GHz and 18Ghz with acc make- MAURY Microwave Corporation USA | OK |  | MAURY Microwave Corporation USA | [5 empty] | EE |  | 17999728.64/- |  | Running | NC |  |  |  |  | head_ee@iitk.ac.in
Noise figure anylize 10Mhz to 26.5 GHz with acc model-N8975B, Make- KEYSIGHT | OK |  | KEYSIGHT | N8975B |  |  |  |  | EE |  | 56,65,033/- |  | Running | NC |  |  |  |  | head_ee@iitk.ac.in
Power implifire with regenerated grid emulatormodel- 61830, make- chroma | OK |  | chroma | 61830 |  |  |  |  | EE |  | 50,34,569.65/- |  | Running | NC |  |  |  |  | head_ee@iitk.ac.in
Surface Profiler model- XP-100 with acc make- AMBIOS | OK |  | AMBIOS | XP-100 |  |  |  |  | EE |  | 58,29,501.7/- |  | Running | NC |  |  |  |  | head_ee@iitk.ac.in

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
Test Funding Agency
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
INODE FAG
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
Testing Funding Agency
GIA
TestName12
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
TestFundingAgencySS
DME Government of Karnataka
I-STEM Funding at IISc
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE