## cs lab
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Equipment Description | Department Name* | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Alert to be sent (Email id)*
Electric Vehicle Emulator | EV - Emulator | NMS-01 | EVRETRON ENERGIES INDIA PRIVATE LIMITED | EVR-BLDC-250W-36V-2024 | NA | Internal Funding |  | Electric Vehicle Emulator: Test platform for BLDC motor–based EV systems, enabling emulation of vehicle dynamics, load conditions, and drive cycles for performance evaluation, and real-time analysis. | EEE | Electric Vehicle Technology | 50000 |  | Working | Analytical Measurement | nareshkumar.g@bvrit.ac.in
Lithium Ion Battery Charging and Discharging kit | 1.2 kW battery with smart BMS | NMS-01 | EVRETRON ENERGIES INDIA PRIVATE LIMITED | EVR-CDC-LION-99V-20A-2024 | NA | Internal Funding |  | Provides safe energy storage with real-time monitoring, protection, and control, enabling controlled charging and discharging, performance analysis and data logging through a PC interface for testing and evaluation purposes. | EEE | Electric Vehicle Technology | 230790 |  | Working | Analytical Measurement | nareshkumar.g@bvrit.ac.in
1 kW SRM Mid Drive Motor Experimental Kit | SRM Mid Drive Motor Experimental Kit | NMS-01 | EVRETRON ENERGIES INDIA PRIVATE LIMITED | EVR-SRM-1.5KW-48V-2024 | NA | Internal Funding |  | Enables experimental study of mid-drive motor operation, control, and performance under static and varying load conditions, supporting torque–speed analysis, efficiency evaluation, real-time monitoring, and PC-based data acquisition for academic and research use. | EEE | Electric Vehicle Technology | 275000 |  | Working | Analytical Measurement | nareshkumar.g@bvrit.ac.in
1 kW PMSM Mid Drive Motor Experimental Kit: | PMSM Mid Drive Motor Experimental Kit | NMS-01 | EVRETRON ENERGIES INDIA PRIVATE LIMITED | EVR-PMSM-1.5KW-48V-2024 | NA | Internal Funding |  | Facilitates experimental analysis of mid-drive motor control and performance, under static and varying load conditions allowing study of torque–speed characteristics, efficiency, load dynamics, and real-time monitoring with PC-based data acquisition for teaching and research. | EEE | Electric Vehicle Technology | 275000 |  | Working | Analytical Measurement | nareshkumar.g@bvrit.ac.in
3 Phase input Thyristorised drive 3HP DC Motor with Closed loop Control | 3 Phase input Thyristorised drive 3HP DC Motor with Closed loop Control | V108 | FRAX |  | NA | External Funding | AICTE, Govt. of India | This experiment studies a 3-phase input thyristorised DC drive used to control the speed of a 3 HP DC motor with closed-loop control. A controlled rectifier converts AC to DC, and speed feedback adjusts the firing angle of thyristors to maintain constant speed under load variations. | EEE | EEE | 89250 |  | Working | Analytical Measurement | ramchander.nirudi@bvrit.ac.in
Thyristorised drive for 1 HP dc motor with closed loop control | Thyristorised drive for 1 HP dc motor with closed loop control | V108 | FRAX |  | NA | External Funding | AICTE, Govt. of India | This experiment studies a thyristorised DC drive used to control the speed of a 1 HP DC motor under closed-loop control. The firing angle of the thyristors is adjusted based on speed feedback, ensuring accurate speed regulation and improved performance under varying load conditions. | EEE | EEE | 63500 |  | Working | Analytical Measurement | ramchander.nirudi@bvrit.ac.in
Speed measurement and closed loop control PMDC Motor | Speed measurement and closed loop control PMDC Motor | V108 | FRAX |  | NA | External Funding | AICTE, Govt. of India | This experiment studies a MOSFET-based drive for speed measurement and closed loop control of a PMDC motor. Motor speed is sensed and compared with a reference. The controller adjusts MOSFET switching to maintain accurate speed and stable operation under load variations. | EEE | EEE | 26500 |  | Working | Analytical Measurement | ramchander.nirudi@bvrit.ac.in
Thyristorised drive for motor with speed measurement and closed loop control | Thyristorised drive for motor with speed measurement and closed loop control | V108 | FRAX |  | NA | External Funding | AICTE, Govt. of India | This experiment studies a thyristorised drive for a PMDC motor with speed measurement and closed loop control. The motor speed is sensed and compared with a reference value. The error signal controls the thyristor firing angle, ensuring precise speed regulation and stable operation under varying load conditions | EEE | EEE | 28500 |  | Working | Analytical Measurement | ramchander.nirudi@bvrit.ac.in

## Worksheet 1 (hidden)
NEHU Internal Funds
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Internal Resource Generation
SRIC Development Fund
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Vinayaka Missions Research Foundation
NITTTR Bhopal
ICAR-CMFRI
Ministry of Textiles
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
DBT, Govt. of India
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
Minister of Labour and Employment
Central Water Commission CWC
CSIR, Govt. of India
DST, Govt. of India
ICFRE