## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Insulation Resistance Test (Upto 5KV) | IRT | TPC Patiala | Motwane (Nasik) | IT-250G Spot |  | AICTE | MODROB | Testing & Measuring of various Electrical Engg. and Applied Physics parameters. | To test the insulation resistence of Motors, Transformer, Cables etc. | Electrical Engineering |  | 50500 | www.motwane.com | Working |  |  |  |  | The Motwane Manufacturing Company | sales@motwane.com | The Motwane Manufacturing Company | sales@motwane.com
Digital Multimeter cum Insulation Reistence Tester with Bluetooth (Upto 1000V) | DMI | TPC Patiala | Motwane (Nasik) | MIRT-61 |  | AICTE | MODROB | Testing & Measuring of various Electrical Engg. and Applied Physics parameters. | Ideal for Insulation Resistance Measurement during maintenance for electrical equipments (Motors, Transformers, Machines, Switchgears etc.) | Electrical Engineering |  | 29500 | www.motwane.com | Working |  |  |  |  | The Motwane Manufacturing Company | sales@motwane.com | The Motwane Manufacturing Company | sales@motwane.com
Diagnostic Insulation Resistence Tester 5KPI 3MA 10T with Bluetooth | DIR | TPC Patiala | Motwane (Nasik) | 5K PI 3mA |  | AICTE | MODROB | Testing & Measuring of various Electrical Engg. and Applied Physics parameters. | The instrument is designed for routine and diagnostic testing like IR, PI, DD, DAR & SV of high voltage electric apparatus like transformers generators, motors, cables, bushings, LA's, switchgear, etc | Electrical Engineering |  | 254000 | www.motwane.com | Working |  |  |  |  | The Motwane Manufacturing Company | sales@motwane.com | The Motwane Manufacturing Company | sales@motwane.com
High Voltage Test KIT20KV 50mA AC/DC | HVT | TPC Patiala | Motwane (Nasik) | HVT20 |  | AICTE | MODROB | Testing & Measuring of various Electrical Engg. and Applied Physics parameters. | HVT is used to determine the withstand strength of electrical insulation for the normally occurring over voltage transients | Electrical Engineering |  | 177800 | www.motwane.com | Working |  |  |  |  | The Motwane Manufacturing Company | sales@motwane.com | The Motwane Manufacturing Company | sales@motwane.com
Oil Test Set 60kV Digital and Motorized with stirrer | OTS | TPC Patiala | Motwane (Nasik) | OTS-60DS |  | AICTE | MODROB | Testing & Measuring of various Electrical Engg. and Applied Physics parameters. | Oil Breakdown Voltage test kits to check dielectric strength of insulating oil used in Transformers, | Electrical Engineering |  | 211800 | www.motwane.com | Working |  |  |  |  | The Motwane Manufacturing Company | sales@motwane.com | The Motwane Manufacturing Company | sales@motwane.com
Digital Multimeter | DM | TPC Patiala | Motwane (Nasik) | M-41 & M-42 |  | AICTE | MODROB | Testing & Measuring of various Electrical Engg. and Applied Physics parameters. | Digital Multimeter M-42 is used to measure Ac/Dc voltage, current, resistence, Diode Test, Continuity Test, Capacitenece test etc. | Electrical Engineering |  | 18050 | www.motwane.com | Working |  |  |  |  | The Motwane Manufacturing Company | sales@motwane.com | The Motwane Manufacturing Company | sales@motwane.com
Digital Insulation Resistence Tester (Upto 1000V) | DIRT | TPC Patiala | Motwane (Nasik) | i-12 |  | AICTE | MODROB | Testing & Measuring of various Electrical Engg. and Applied Physics parameters. | To test the insulation resistence of Motors, Transformer, Cables etc. | Electrical Engineering |  | 21000 | www.motwane.com | Working |  |  |  |  | The Motwane Manufacturing Company | sales@motwane.com | The Motwane Manufacturing Company | sales@motwane.com