## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Nano material testing machine | NMT | Structures Lab | BISS Bangalore | BISQ2017322 | 18030501L105 | Goverment Grant | TEQIP -III Grant |  | SERVO Controlled Actuator System - 25kN capacity - ±30mm stroke Civil MTL Nano materials testing equipment along with tension (for coupoun specimens), compression and flexural tests | Civil Engineering | Structures Lab | 2749999 |  | Working | Analytical | BISS | sales@biss.in | BISS | sales@biss.in | hodciv@tce.edu
Ultrasonic pulse velocity | UPV | Structures Lab | PROCEQ(NDT),SWITZERLAND | 32620001 | PL02-006-0265 | Goverment Grant | Develpment Fees |  | Display unit,2 Transducers(54khz),2BNC cables,1.5m,couplant,calibration rod,battery charger with USB Cable | Civil Engineering | Structures Lab | 525100 | https://www.aimil.com/ | Working | Analytical | AIMIL Ltd | info@aimil.com | AIMIL Ltd | info@aimil.com | hodciv@tce.edu
Rebound hammer SILVER SCHMIDT N type | RH | Structures Lab | PROCEQ(NDT),SWITZERLAND | 34130000 | SH02-008-0177 | DTE- Special Grant | DTE |  | Silver schmidt standard model (ST) Type -N | Civil Engineering | Structures Lab | 153400 | https://www.aimil.com | Working | Analytical | AIMIL Ltd | info@aimil.com | AIMIL Ltd | info@aimil.com | hodciv@tce.edu
Rebar locator | RL | Structures Lab | PROCEQ(NDT),SWITZERLAND | 39210001 | UP01-005-0487 | Goverment Grant | Develpment Fees |  | profometer PM-600,touch screen,universel probe with probe cart,probe cable 1.5m,battery charger,chalk,USB cable | Civil Engineering | Structures Lab | 420080 | https://www.aimil.com | Working | Analytical | AIMIL Ltd | info@aimil.com | AIMIL Ltd | info@aimil.com | hodciv@tce.edu
Concrete Resitivity Meter and Profometer Corrosion | CRM & PC | Structures Lab | PROCEQ(NDT),SWITZERLAND | profometer PM-630 | PM10-004-0055 | TCE Management | KKTCMCT |  | Concrete Resistivity meter,Resipod,50mm probe spacing up gradation of Rebar Locator Profometer 600 to corrosion meter | Civil Engineering | Structures Lab | 974090 | https://www.aimil.com | Working | Analytical | AIMIL Ltd | info@aimil.com | AIMIL Ltd | info@aimil.com | hodciv@tce.edu
Core cutting machine | CCM | Structures Lab | HILTI INDIA PRIVATE LIMITED | 1321430 | 102904 | Goverment Grant | TEQIP |  | Hammer drill bit, Flush anchor | Civil Engineering | Structures Lab | 350453 | https://www.hilti.in | Working | Analytical | HILTI | customercare@hilti.com | HILTI | Customercare@hilti.com | hodciv@tce.edu
Inductively Coupled Plasma Optical Emission Spectrometer | ICP-OES | Environmental Research Lab | AGILENT TECHNOLOGIES INDIA P LTD., | Agilent 5100 VDV | MY16190010 | EXTERNAL-TEQIP | TEQIP |  | Determine the elemental composition of samples, widely used in various industries and research areas for quality control, process monitoring, and environmental analysis | Civil Engineering | Environmental Research Lab | 3042532 | https://www.agilent.com | Working | Analytical | AGILENT TECHNOLOGIES, Bangalore, Karnataka | customercare.india@agilent.com | AGILENT TECHNOLOGIES, Bangalore, Karnataka | customercare.india@agilent.com | hodciv@tce.edu
UV Spectrophotometer | UV-VIS | Environmental Research Lab | SHIMADZU | UV 1900 i | A125359 | EXTERNAL-KKTCMCT | KKTCMCT |  | Analyze the interaction of light with matter, providing insights into the composition, properties, and behavior of various substances | Civil Engineering | Environmental Research Lab | 435000 | https://www.shimadzu.com | Working | Analytical | Toshvin Analytical Pvt. Ltd. |  | Toshvin Analytical Pvt. Ltd. |  | hodciv@tce.edu
Building Information Modeling Software | BIM | Computer Lab | Bentley Education | Software | NA | TCE Management | Management Grant |  | STAAD Pro,OBD-Open Building Designer & Synchro 4D | Civil Engineering | Computer Lab | 460200 | https://www.bentley.com | working | Analytical | TechApps Consulting Pvt Ltd, Chennai in alliance with Bentley Education | sales@techappsconsulting.in | TechApps Consulting Pvt Ltd, Chennai | sales@techappsconsulting.in | hodciv@tce.edu
MIDAS Software | MIDAS Software - Civil | Computer Lab | MIDAS | Software | NA | TCE Management | Management Grant |  | Midas Bridge Software | Civil Engineering | Computer Lab | 531000 | https://www.midasuser.com | working | Analytical | Tech Apps Consulting, Chennai. | sales@techappsconsulting.in | Techapps | sales@techappsconsulting.in | hodciv@tce.edu
Primavera Enterprise Software | Primavera P6 | Computer Lab | ORACLE | Software | NA | GOVT., | TEQIP Grant |  | Software | Civil Engineering | Computer Lab | 194700 | https://www.oracle.com | working | Analytical | Infinity PMC Pvt LTD., Chennai |  | Infinity PMC Pvt LTD., Chennai |  | hodciv@tce.edu
High Volume Sampler |  | Environmental Engineering Lab | Envirotech Instruments P ltd | APM 460 BL | NA | EXTERNAL-KKTCMCT | KKTCMCT |  | Determine Ambient Air Particulate Matter 10micron size | Civil Engineering | Environmental Engineering Lab | 97400 | https://www.envirotechindia.com | Working | Analytical | Envirotech Instruments P Ltd., | sales.envirotech@gmail.com | Envirotech Instruments P Ltd., | sales.envirotech@gmail.com | hodciv@tce.edu
Fine Dust Sampler |  | Environmental Engineering Lab | Envirotech Instruments P ltd | APM 550 | NA | EXTERNAL-KKTCMCT | KKTCMCT |  | Determine Ambient Air Particulate Matter 2.5 micron size | Civil Engineering | Environmental Engineering Lab | 134300 | https://www.envirotechindia.com | Working | Analytical | Envirotech Instruments P Ltd., | sales.envirotech@gmail.com | Envirotech Instruments P Ltd., | sales.envirotech@gmail.com | hodciv@tce.edu
Universal Testing Machine (1000 KN) | UTM | Material Testing Lab | Hi -Tech | TUF-C-1000 SERVO | 2018/51 | Goverment Grant | College Development fund | tension &compression | analytical | Civil Engineering | Material Testing Lab | 1640200 |  | working | Analytical | HI-Tech |  | HI-Tech |  | hodciv@tce.edu
Mortar Mixer |  | Material Testing Lab | Yash Scientific Corporation | mfc-2590 | 848112 | Goverment Grant | Equipment & Infra Structure Accounts |  | analytical | Civil Engineering | Material Testing Lab | 108864 |  | working | Analytical | Yash scientific Corporation | Yashscientific1986@gmail.com | yash scientific | Yashscientific1986@gmail.com | hodciv@tce.edu
Sieve Shaker |  | Material Testing Lab | Concord Instrument pvt.ltd | 054-1 | 162812 | Goverment Grant | Equipment & Infra Structure Accounts |  | analytical | Civil Engineering | Material Testing Lab | 61910 |  | working | Analytical | Concord Instrument pvt Ltd | concordchn@gmail.com | Concord INSTRUMENTS | concordchn@gmail.com | hodciv@tce.edu
Humidity Chamber |  | Material Testing Lab | hitech India Associates | 106 | 190428 | Goverment Grant | College Development fees |  | analytical | Civil Engineering | Material Testing Lab | 151000 |  | working | Analytical | Hitech india Associates |  | Hitech india Associates |  | hodciv@tce.edu
Buoyancy Balance |  | Material Testing Lab | Aerann Instrument and engineering Services Pvt. ltd | NA | A120194 | Goverment Grant | College Development fees |  | analytical | Civil Engineering | Material Testing Lab | 47200 |  | working | Analytical | Aerann Instrument and engineering Services Pvt. ltd | ramgopals238@gmail.com | Aerann Instrument and engineering Services Pvt. ltd | ramgopals238@gmail.com | hodciv@tce.edu
compression Testing machine 2000kN | CTM | Material Testing Lab | AIMIL pvt ltd., | AIM317E-DG-1 | 253485 | Goverment Grant | Goverment Grant | funding agency AICE-RPS | digital | Civil Engineering | Material Testing Lab | 260400 | https://www.aimil.com | working | Analytical | AIMIL Ltd | info@aimil.com | AIMIL Ltd | info@aimil.com | hodciv@tce.edu
Compression testing Machine 3000kN | CTM | Material Testing Lab | AIMIL pvt ltd., | 20E-MU-1 | 13182 | Goverment Grant | Goverment Grant |  | digital | Civil Engineering | Material Testing Lab | 608135 | https://www.aimil.com | working | Analytical | AIMIL Ltd | info@aimil.com | AIMIL Ltd | info@aimil.com | hodciv@tce.edu
Concrete mixer |  | Material Testing Lab | Concord Instrument pvt.ltd | AIM-9891 | 13404 | Goverment Grant | AICTE-RTS |  | analytical | Civil Engineering | Material Testing Lab | 143620 | concordchn@gmail.com | working | Analytical | Concord Instrument pvt Ltd | concordchn@gmail.com | Concord Instrument pvt Ltd | concordchn@gmail.com | hodciv@tce.edu
Hot Air Oven |  | Material Testing Lab | AIMIL pvt ltd., | AIM-9108 | 21507 | EXTERNAL-KKTCMCT | KKTCMCT |  | analytical | Civil Engineering | Material Testing Lab | 64013 | https://www.aimil.com | working | Analytical | AIMIL Ltd | info@aimil.com | AIMIL Ltd | info@aimil.com | hodciv@tce.edu
Vibrator Table |  | Material Testing Lab | AIMIL pvt ltd., | 367-1 | 27564 | EXTERNAL-KKTCMCT | KKTCMCT |  | analytical | Civil Engineering | Material Testing Lab | 83489 | https://www.aimil.com | working | Analytical | AIMIL Ltd | info@aimil.com | AIMIL Ltd | info@aimil.com | hodciv@tce.edu
Los Angeles abrasion Testing Machine |  | Soil and Roads Lab | M/s.Scientific Corporation | NA | 407 | Goverment Grant | Goverment Grant |  | Motorized | Civil Engineering | Soil and Roads Lab | 58240 |  | Working | Analytical | M/S.Scientific Corporation | scientific_corp@bsnl.in | M/S.Scientific Corporation | scientific_corp@bsnl.in | hodciv@tce.edu
Universal Automatic Compactor |  | Soil and Roads Lab | AIMIL pvt ltd., | AIM - 114-1 | 21595 | Modrobs Scheme | Modrobs Scheme |  | Motorized | Civil Engineering | Soil and Roads Lab | 119492 | https://www.aimil.com | Working | Analytical | AIMIL Ltd | info@aimil.com | AIMIL Ltd | info@aimil.com | hodciv@tce.edu
Direct Shear Test Apparatus |  | Soil and Roads Lab | AIMIL pvt ltd., | AIM - 104 | 191345 | Goverment Grant | College Development fees |  | Motorized | Civil Engineering | Soil and Roads Lab | 145349 | https://www.aimil.com | Working | Analytical | AIMIL Ltd | info@aimil.com | AIMIL Ltd | info@aimil.com | hodciv@tce.edu
Hot Air Oven |  | Soil and Roads Lab | M/s.Supreme Scientific Corporation |  | 752 | Goverment Grant | Goverment Grant |  | Digital | Civil Engineering | Soil and Roads Lab | 21482 |  | Working | Analytical | M/s.Supreme Scientific Corporation | supremesc@gmail.com | M/s.Supreme Scientific Corporation | supremesc@gmail.com | hodciv@tce.edu
Sieve Shaker |  | Soil and Roads Lab | AIMIL pvt ltd., | AIM - 054 - 1 | 211750 | EXTERNAL-KKTCMCT | KKTCMCT |  | Motorized | Civil Engineering | Soil and Roads Lab | 59115 | https://www.aimil.com | Working | Analytical | AIMIL Ltd | info@aimil.com | AIMIL Ltd | info@aimil.com | hodciv@tce.edu
Loding Frame Motorized |  | Soil and Roads Lab | AIMIL pvt ltd., | AIM - 121-1 | 211615 | Modrobs Scheme | Modrobs Scheme |  | Motorized | Civil Engineering | Soil and Roads Lab | 198000 | https://www.aimil.com | Working | Analytical | AIMIL Ltd | info@aimil.com | AIMIL Ltd | info@aimil.com | hodciv@tce.edu
Consolidation Apparatus |  | Soil and Roads Lab | AIMIL pvt ltd., | AIM - 127 | 9434 | Goverment Grant | Goverment Grant |  | analytical | Civil Engineering | Soil and Roads Lab | 97569 | https://www.aimil.com | Working | Analytical | AIMIL Ltd | info@aimil.com | AIMIL Ltd | info@aimil.com | hodciv@tce.edu
Permeability Apparatus |  | Soil and Roads Lab | AIMIL pvt ltd., | AIM - 131, 13111 | 21378 | Goverment Grant | Goverment Grant |  | analytical | Civil Engineering | Soil and Roads Lab | 45000 | https://www.aimil.com | Working | Analytical | AIMIL Ltd | info@aimil.com | AIMIL Ltd | info@aimil.com | hodciv@tce.edu
Impact Testing Machine |  | Soil and Roads Lab | AIMIL pvt ltd., | AIM - 456 | 212912 | EXTERNAL-KKTCMCT | KKTCMCT |  | analytical | Civil Engineering | Soil and Roads Lab | 17644 | https://www.aimil.com | Working | Analytical | AIMIL Ltd | info@aimil.com | AIMIL Ltd | info@aimil.com | hodciv@tce.edu
Auto level | Level | Survey Lab | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | NA | NA | DTE Grant 15-16 | DTE Grant 15-16 |  | Analytical | Civil Engineering | Survey Lab | 45000 |  | Working | Analytical | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | chenmtrd@lynxinst.com | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | chenmtrd@lynxinst.com | hodciv@tce.edu
Auto level | Level | Survey Lab | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | NA | NA | CD fee Account | CD fee Account |  | Analytical | Civil Engineering | Survey Lab | 63000 |  | Working | Analytical | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | chenmtrd@lynxinst.com | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | chenmtrd@lynxinst.com | hodciv@tce.edu
Prismatic Compass | compass | Survey Lab | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | NA | NA | DTE Grant 2015-16 | DTE Grant 2015-16 |  | Analytical | Civil Engineering | Survey Lab | 21600 |  | Working | Analytical | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | chenmtrd@lynxinst.com | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | chenmtrd@lynxinst.com | hodciv@tce.edu
Plane table |  | Survey Lab | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | NA | NA | DTE Grant 2015-16 | DTE Grant 2015-16 |  |  | Civil Engineering | Survey Lab | 25200 |  | Working | Analytical | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | chenmtrd@lynxinst.com | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | chenmtrd@lynxinst.com | hodciv@tce.edu
Standard Vernier Theodolite | Theodolite | Survey Lab | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | NA | NA | CD fee Account | CD fee Account |  | Analytical | Civil Engineering | Survey Lab | 86625 |  | Working | Analytical | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | chenmtrd@lynxinst.com | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | chenmtrd@lynxinst.com | hodciv@tce.edu
Standard Vernier Theodolite | Theodolite | Survey Lab | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | NA | NA | DTE Grant 2015-16 | DTE Grant 2015-16 |  | Analytical | Civil Engineering | Survey Lab | 45000 |  | Working | Analytical | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | chenmtrd@lynxinst.com | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | chenmtrd@lynxinst.com | hodciv@tce.edu
Standard Vernier Theodolite | Theodolite | Survey Lab | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | NA | NA | CD fee Account | CD fee Account |  | Goverment Grant & SF | Civil Engineering | Survey Lab | 115752 |  | Working | Analytical | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | chenmtrd@lynxinst.com | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | chenmtrd@lynxinst.com | hodciv@tce.edu
Total Station Leica | Total station | Survey Lab | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | NA | NA | CD fee Account | CD fee Account |  | Digital | Civil Engineering | Survey Lab | 337276 |  | Working | Analytical | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | chenmtrd@lynxinst.com | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | chenmtrd@lynxinst.com | hodciv@tce.edu
Total Station Pentax | Total station | Survey Lab | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | NA | NA | TEQIP 2013-14 | TEQIP 2013-14 |  | Digital | Civil Engineering | Survey Lab | 829850 |  | Working | Analytical | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | chenmtrd@lynxinst.com | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | chenmtrd@lynxinst.com | hodciv@tce.edu
Total Station LTS | Total station | Survey Lab | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | NA | NA | CSR scheme KKTCMCT Account | CSR scheme KKTCMCT Account |  | Digital | Civil Engineering | Survey Lab | 480000 |  | Working | Analytical | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | chenmtrd@lynxinst.com | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | chenmtrd@lynxinst.com | hodciv@tce.edu
Total Station Linertec | Total station | Survey Lab | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | NA | NA | CD fee Account | CD fee Account |  | Digital | Civil Engineering | Survey Lab | 247800 |  | Working | Analytical | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | chenmtrd@lynxinst.com | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | chenmtrd@lynxinst.com | hodciv@tce.edu
Total Station Linertec Model LTS205N | Total station | Survey Lab | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | NA | NA | CD fee Account | CD fee Account |  | Digital | Civil Engineering | Survey Lab | 247800 |  | Working | Analytical | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | chenmtrd@lynxinst.com | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | chenmtrd@lynxinst.com | hodciv@tce.edu
Total Station Linertec Model LTS201N | Total station | Survey Lab | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | NA | NA | CD fee Account | CD fee Account |  | Digital | Civil Engineering | Survey Lab | 247800 |  | Working | Analytical | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | chenmtrd@lynxinst.com | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | chenmtrd@lynxinst.com | hodciv@tce.edu
Total Station Pentax Model R 1505N | Total station | Survey Lab | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | NA | NA | Development fee Account | Development fee Account |  | Digital | Civil Engineering | Survey Lab | 566400 |  | Working | Analytical | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | chenmtrd@lynxinst.com | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | chenmtrd@lynxinst.com | hodciv@tce.edu
Hand held GPS |  | Survey Lab | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | NA | NA | DTE Grant 2012-13 | DTE Grant 2012-13 |  |  | Civil Engineering | Survey Lab | 59850 |  | Working | Analytical | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | chenmtrd@lynxinst.com | M/s Lawrence and Mayo (India)Pvt.,Ltd.,Chennai 20 | chenmtrd@lynxinst.com | hodciv@tce.edu
Leica Disto Laser Distance Meter |  | Infrastructure Lab | Radieance Engineering Equipments | NA | 5160140130 | TCE Management | Management Grant |  | Digital | Civil Engineering | Infrastructure Lab | 94500 |  | Working | Analytical | Radiance Engineering Equipments | info@radianceengg.com | Radiance Engineering Equipments | info@radianceengg.com | hodciv@tce.edu
Directional Doppler Radar Gun |  | Infrastructure Lab | M/s.Supreme Scientific Corporation | NA | SHD 03060, 03053 | TCE Management | Management Grant |  | Digital | Civil Engineering | Infrastructure Lab | 278640 |  | Working | Analytical | M/s.Supreme Scientific Corporation | supremesc@gmail.com | M/s.Supreme Scientific Corporation | supremesc@gmail.com | hodciv@tce.edu
Handheld GPS |  | Infrastructure Lab | M/s.Supreme Scientific Corporation | NA | 5375914196 | TCE Management | Management Grant |  | Digital | Civil Engineering | Infrastructure Lab | 19928 |  | Working | Analytical | M/s.Supreme Scientific Corporation | supremesc@gmail.com | M/s.Supreme Scientific Corporation | supremesc@gmail.com | hodciv@tce.edu
Modified Roughness Indicating Machine Merlin | Merlin | Infrastructure Lab | AIMIL pvt ltd., | AIM - 570 | 21222 | EXTERNAL-KKTCMCT | KKTCMCT |  | analytical | Civil Engineering | Infrastructure Lab | 25678 | https://www.aimil.com | working | Analytical | AIMIL Ltd | info@aimil.com | AIMIL Ltd | info@aimil.com | hodciv@tce.edu
Benkelman Beam wth digital dial gauge |  | Infrastructure Lab | AIMIL pvt ltd., | AIM - 566-3 | 21568 | EXTERNAL-KKTCMCT | KKTCMCT |  | analytical | Civil Engineering | Infrastructure Lab | 40692 | https://www.aimil.com | working | Analytical | AIMIL Ltd | info@aimil.com | AIMIL Ltd | info@aimil.com | hodciv@tce.edu
Skid Resistance Tester |  | Infrastructure Lab | AIMIL pvt ltd., | AIM - 580 | 21156 | EXTERNAL-KKTCMCT | KKTCMCT |  | analytical | Civil Engineering | Infrastructure Lab | 89019 | https://www.aimil.com | working | Analytical | AIMIL Ltd | info@aimil.com | AIMIL Ltd | info@aimil.com | hodciv@tce.edu
California Bearing Ratio test apparatus Field Type |  | Infrastructure Lab | AIMIL pvt ltd., | AIM - 155, 274, 072 | 21302 | EXTERNAL-KKTCMCT | KKTCMCT |  | analytical | Civil Engineering | Infrastructure Lab | 65622 | https://www.aimil.com | working | Analytical | AIMIL Ltd | info@aimil.com | AIMIL Ltd | info@aimil.com | hodciv@tce.edu
Water Quality Analysis for Potable and Construction Purposes including Design and Vetting of Treatment plant |  | Environmental Engineering Lab | Laboratory Instruments | Basic Instruments | Basic Instruments | Basic Instruments | Goverment Grant & SF |  | Analytical | Civil Engineering | Environmental Engineering Lab | 953084 |  | Working | Analytical |  |  |  |  | hodciv@tce.edu
Wastewater including Industrial Effluent Analysis and Design and Vetting of Treatment plant |  | Environmental Engineering Lab | Laboratory Instruments | Basic Instruments | Basic Instruments | Basic Instruments | Goverment Grant & SF |  | Analytical | Civil Engineering | Environmental Engineering Lab | 153236 |  | Working | Analytical |  |  |  |  | hodciv@tce.edu
Solidwaste Analysis including Design for Management |  | Environmental Engineering Lab | Laboratory Instruments | Basic Instruments | Basic Instruments | Basic Instruments | Goverment Grant & SF |  | Analytical | Civil Engineering | Environmental Engineering Lab | 73000 |  | Working | Analytical |  |  |  |  | hodciv@tce.edu
Air Pollution Management for Industries |  | Environmental Engineering Lab | Laboratory Instruments | Dust Sampler and VOC analyzer | Basic Instruments | Basic Instruments | Goverment Grant & SF |  | Analytical | Civil Engineering | Environmental Engineering Lab | 231700 |  | Working | Analytical |  |  |  |  | hodciv@tce.edu

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE
Ministry of Textiles