## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Thermal image CAMERA | Flir E60 Model | Electrical Machines lab | VAMARA TECHWARE | E60 | IE000269 | External Funding | AICTE, Govt. of India |  | High-temperature range up to 650°C/1,202°F, Thermal sensitivity of 50 mK (0.05°C) 60 Hz sample rate Bluetooth-enabled meter connectivity via FLIR Meter Link Accurate to ±2% of reading 3 moveable spots, 3 box areas, and Delta T 4x continuous digital zoom Scalable picture-in-picture mode 3.5” LCD touch screen w/ Auto Orientation | Electrial and Electronics Engineering | Electrical machines LAB | 532000 | https://team.tce.edu/labwisereportpage | Working | Testing Equipment | VAMARA TECHWARE |  | VAMARA TECHWARE |  | vseee@tce.edu
Battery Tester | Harmonic Analyzer | Electrical Machines lab | HIOKI INDIA PRIVATE LIMITED |  | IE000272 | External Funding | AICTE, Govt. of India |  | 3 mΩ to 3 Ω/60V Handheld Battery Tester for Diagnosing and Managing UPS Batteries | Electrial and Electronics Engineering | Electrical machines LAB | 153228 | https://team.tce.edu/labwisereportpage | Working | Testing Equipment | HIOKI INDIA PRIVATE LIMITED |  | https://www.hioki.com/in-en/ |  | vseee@tce.edu
Vibration Meter | Fluke 805 Vibration Meter– Model | Electrical Machines lab | Fluke | Fluke 805 | IE000273 | External Funding | AICTE, Govt. of India |  | AA (2) Lithium Iron Disulfide, 250 measurements 24.1 x 7.1 x 5.8 cm (9.5 x 2.8 x 2.3 in) 0.40 kg (0.89 lb) USB mini-B 7-pin, stereo audio output jack (3.5 mm Audio Plug), external sensor jack (SMB connector) | Electrial and Electronics Engineering | Electrical machines LAB | 192442 | https://team.tce.edu/labwisereportpage | Working | Testing Equipment | SYSTEMS CONTROLS AND ELECTRONIK DEVICES |  | SYSTEMS CONTROLS AND ELECTRONIK DEVICES |  | vseee@tce.edu
POWER Quality Analyser | TESTO 770-3 CLAMP METER | Electrical Machines lab | I SQUARE SYSTEMS | TESTO 770-3 CLAMP METER | IE001092 | Internal Funding | I Square systems |  | Energy Auditing | Electrial and Electronics Engineering | Electrical machines LAB | 28302 | https://team.tce.edu/labwisereportpage | Working | Testing Equipment | I Square Systems |  | I Square system |  | vseee@tce.edu

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE
Ministry of Textiles