## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Muffle Furnance Upto 1000 degree celsius | MF | CIPET Korba | Arcade | ARC545MF | 1292021 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | Used for high-temperature analysis, particularly for determining ash content, studying thermal degradation, and analyzing the stability of plastic materials under extreme heat. | Testing | Lab | 98489 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterization and Testing | MS San Engineering Company, Aurangabad | sanenggco@rediffmail.com | MS San Engineering Company, Aurangabad | sanenggco@rediffmail.com | korba@cipet.gov.in
HDT VST Apparatus | HDT VST | CIPET Korba | Shanta | Shanta | SE-034 2021 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | Used to determine the temperature at which a plastic sample begins to deform under a specified load (HDT) or softens under a standard indenter penetration (VST) | Testing | Lab | 350000 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterization and Testing | MS Khushboo Scientific Pvt Ltd, Mumbai | sales@khushbooscientific.com | MS Khushboo Scientific Pvt Ltd, Mumbai | crm1@khushbooscientific.com | korba@cipet.gov.in
Deep Freezer | DF | CIPET Korba | Arcade | ARC2220HDF | 112 20 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | deep freezers, especially ultra-low temperature (ULT) models, are crucial for preserving samples, conditioning materials for testing, and ensuring accurate results by maintaining stable, low temperatures | Testing | Lab | 138989 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterization and Testing | MS San Engineering Company, Aurangabad | sanenggco@rediffmail.com | MS San Engineering Company, Aurangabad | sanenggco@rediffmail.com | korba@cipet.gov.in
Impact Tester-Falling Weight Impact Tester for Pipe with all Strikers | IT | CIPET Korba | DSH | DSH | 15382021 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | used to determine impact resistance, ensuring product durability and compliance with industry standards | Testing | Lab | 95000 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterization and Testing | MS Khushboo Scientific Pvt. Ltd, Mumbai | sales@khushbooscientific.com | MS Khushboo Scientific Pvt. Ltd, Mumbai | crm1@khushbooscientific.com | korba@cipet.gov.in
Carbon Black Content Apparatus | CBC | CIPET Korba | KAISER | KCBC1 | 13872021 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | determines the percentage of carbon black, a crucial pigment and UV stabilizer, within a plastic material, ensuring quality and consistency, especially in applications like pipes, films, and sheets. | Testing | Lab | 75000 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterization and Testing | MS Khushboo Scientific Pvt. Ltd, Mumbai | sales@khushbooscientific.com | MS Khushboo Scientific Pvt. Ltd, Mumbai | crm1@khushbooscientific.com | korba@cipet.gov.in
Hight Temperature Water Bath Upto 100 degree celsius | HTWB | CIPET Korba | KAISER | SMPT | 13862021 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | Hight Temperature Water Bath is used for Heating the Water | Testing | Lab | 142000 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterization and Testing | MS Khushboo Scientific Pvt. Ltd, Mumbai | sales@khushbooscientific.com | MS Khushboo Scientific Pvt. Ltd, Mumbai | crm1@khushbooscientific.com | korba@cipet.gov.in
Hot Air Oven up to 300 degree celsius | HAO | CIPET Korba | EPI | HAO 024 | 4998 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | hot air oven is used for various applications, including drying samples, assessing shrinkage and reversion, determining moisture content, and testing material resistance under controlled temperature conditions | Testing | Lab | 72000 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterization and Testing | MS Elmech Pneumatic Industries Pvt Ltd, New Delhi | elmechpneumatic@rediffmail.com | MS Elmech Pneumatic Industries Pvt Ltd, New Delhi | elmechpneumatic@rediffmail.com | korba@cipet.gov.in
Falling Weight Dart Impact Tester for Film | FWDITF | CIPET Korba | DSH | STECH | 212720-21 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | used to evaluate the impact resistance of films and other materials by measuring the energy required for a free-falling dart to rupture a clamped sample | Testing | Lab | 90000 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterization and Testing | MS Khushboo Scientific Pvt Ltd, Mumbai | sales@khushbooscientific.com | MS Khushboo Scientific Pvt Ltd, Mumbai | crm1@khushbooscientific.com | korba@cipet.gov.in
End Fittings for Pressure Test of Pipe for UPVC HDPE and CPVC | EFPT | CIPET Korba | SAUMYA | SAUMYA | 15392021 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | Used for end fitting of pipe for pressure test. | Testing | Lab | 430000 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterization and Testing | MS Khushboo Scientific Pvt Ltd, Mumbai | sales@khushbooscientific.com | MS Khushboo Scientific Pvt Ltd, Mumbai | crm1@khushbooscientific.com | korba@cipet.gov.in
Weighing Balance Precision Electronic Balance | WB | CIPET Korba | SCALETEC | SAB 223CL | F2220122 147 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | It is help to perform density test, CBC test, Ash Content test etc. | Testing | Lab | 91500 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterization and Testing | MS Khushboo Scientific Pvt Ltd, Mumbai | sales@khushbooscientific.com | MS Khushboo Scientific Pvt Ltd, Mumbai | crm1@khushbooscientific.com | korba@cipet.gov.in
Viscocity Thermostatic Bath | VTB | CIPET Korba | HAMCO | HAMC048HI | 220350 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | used for precise control of temperature during viscosity measurements | Testing | Lab | 108000 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterization and Testing | MS Khushboo Scientific Pvt Ltd, Mumbai | sales@khushbooscientific.com | MS Khushboo Scientific Pvt Ltd, Mumbai | crm1@khushbooscientific.com | korba@cipet.gov.in
Projector and Hot Plate for Carbon Black Dispersion for HDPE Pipes Testing | CBD | CIPET Korba | ELMECH | EPIHP 018 HEPI PM019P | 4363 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | assesses the uniform distribution of carbon black, a crucial UV stabilizer, to ensure the pipe's longevity and prevent degradation | Testing | Lab | 50400 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterization and Testing | MS Elmech Pneumatic Industries Pvt Ltd, New Delhi | elmechpneumatic@rediffmail.com | MS Elmech Pneumatic Industries Pvt Ltd, New Delhi | elmechpneumatic@rediffmail.com | korba@cipet.gov.in
Opacity Tester | OT | CIPET Korba | ELMECH | EPI OT016 | 4361 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | used to determine optical characteristic of plastics including colour, clarity, general appearance & move directly measurable properties | Testing | Lab | 78389 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterization and Testing | MS Elmech Pneumatic Industries Pvt Ltd, New Delhi | elmechpneumatic@rediffmail.com | MS Elmech Pneumatic Industries Pvt Ltd, New Delhi | elmechpneumatic@rediffmail.com | korba@cipet.gov.in
Melting Point Apparatus | MPA | CIPET Korba | WISWO | MPA 200 | 4938 0622 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | used to determine the melting point of a plastic sample | Testing | Lab | 84739 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterization and Testing | MS Khushboo Scientific Pvt Ltd, Mumbai | sales@khushbooscientific.com | MS Khushboo Scientific Pvt Ltd, Mumbai | crm1@khushbooscientific.com | korba@cipet.gov.in
Compression Moulding Press for Specimen Preparation for Thermoplastics 30T | CMP | CIPET Korba | SAUMYA | HYPR30T | STPL0524158 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | used for specimen preparation by forcing a preheated polymer into a heated mold cavity, ensuring the material conforms to the mold shape under pressure and heat, | Testing | Lab | 422881 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterization and Testing | MS Saumya Technocrates Private Limited, Ahemdabad | sales@saumyainternational.com | MS Saumya Technocrates Private Limited, Ahemdabad | sales@saumyainternational.com | korba@cipet.gov.in
Reversion Oil Bath | ROB | CIPET Korba | Hexaplast | HPROB01 | 47207828 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | to determine the reversion characteristics of PVC pipes by immersing them in a heated oil bath, | Testing | Lab | 114406 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterization and Testing | MS Hexaplast Industries Private Limited, Ahmedabad | nakulrana@yahoo.com | MS Hexaplast Industries Private Limited, Ahmedabad | sales@hexaplastindia.com | korba@cipet.gov.in
Izod Charpy Impact Tester | ICIT | CIPET Korba | Advance Equipment | AEAEICITC270 | 182 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | etermining a material's ability to resist fracture under sudden impact | Testing | Lab | 346679 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterization and Testing | MS San Engineering Company, Aurangabad | sanenggco@rediffmail.com | MS San Engineering Company, Aurangabad | sanenggco@rediffmail.com | korba@cipet.gov.in
Press Cutting 30 Tonnes with Dies | PC | CIPET Korba | Park Industries | PCD200 | 22425 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | crucial for preparing standardized samples for various tests, ensuring accurate and reliable results for properties like tensile strength, compression, and bending | Testing | Lab | 134745 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterization and Testing | MS PARK Industries, Ahemdabad | parkindustries9@gmail.com | MS PARK Industries, Ahemdabad | parkindustries9@gmail.com | korba@cipet.gov.in
Climatic Chamber | CC | CIPET Korba | Dinesh Scitific | DSCC100 | DS202324111613 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | used for testing the durability, reliability, and performance of various products under different environmental conditions | Testing | Lab | 112711 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterization and Testing | MS Dinesh Scientific, Ambala Cantt | dineshvrm@gmail.com | MS Dinesh Scientific, Ambala Cantt | dineshvrmoffice@gmail.com | korba@cipet.gov.in
Co efficient of Friction | CF | CIPET Korba | Advance Equipment | AECTTSP422 | 161 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | The coefficient of friction testing gives you measurable insights into how plastics, films, and packaging materials interact with various surfaces. | Testing | Lab | 156300 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterization and Testing | MS San Engineering Company, Aurangabad | sanenggco@rediffmail.com | MS San Engineering Company, Aurangabad | sanenggco@rediffmail.com | korba@cipet.gov.in
Contour Cutter with Templates | CT | CIPET Korba | SCS Equipment | SECCT | 924 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | used for preparing test specimens, particularly for materials IS (Type A,B,&C) | Testing | Lab | 207000 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Characterization and Testing | MS Keval Machine Tools, Ahmedabad | kevalmachinetools@gmail.com | MS Keval Machine Tools, Ahmedabad | kevalmachinetools@gmail.com | korba@cipet.gov.in
Hand Injection Moulding Machine | HIMM | CIPET Korba | Kumar Engineering Works | 1 Oz | HIMM1 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | Hand Injection Moulding M/c used for produce small size product | Processing | Lab | 10700 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Manufacturing | MS Kumar Engineering Works, Kolkata | sales@kumareng.com | MS Kumar Engineering Works, Kolkata | sales@kumareng.com | korba@cipet.gov.in
Hand Injection Moulding Machine | HIMM | CIPET Korba | Kumar Engineering Works | 1 Oz | HIMM2 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | Hand Injection Moulding M/c used for produce small size product | Processing | Lab | 10700 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Manufacturing | MS Kumar Engineering Works, Kolkata | sales@kumareng.com | MS Kumar Engineering Works, Kolkata | sales@kumareng.com | korba@cipet.gov.in
Hand Injection Moulding Machine | HIMM | CIPET Korba | Kumar Engineering Works | 1 Oz | HIMM3 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | Hand Injection Moulding M/c used for produce small size product | Processing | Lab | 10700 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Manufacturing | MS Kumar Engineering Works, Kolkata | sales@kumareng.com | MS Kumar Engineering Works, Kolkata | sales@kumareng.com | korba@cipet.gov.in
Hand Injection Moulding Machine | HIMM | CIPET Korba | Kumar Engineering Works | 1 and half Oz | HIMM4 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | Hand Injection Moulding M/c used for produce small size product | Processing | Lab | 15300 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Manufacturing | MS Kumar Engineering Works, Kolkata | sales@kumareng.com | MS Kumar Engineering Works, Kolkata | sales@kumareng.com | korba@cipet.gov.in
Hand Injection Moulding Machine | HIMM | CIPET Korba | Kumar Engineering Works | 1 and half Oz | HIMM5 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | Hand Injection Moulding M/c used for produce small size product | Processing | Lab | 15300 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Manufacturing | MS Kumar Engineering Works, Kolkata | sales@kumareng.com | MS Kumar Engineering Works, Kolkata | sales@kumareng.com | korba@cipet.gov.in
Hand Injection Moulding Machine | HIMM | CIPET Korba | Kumar Engineering Works | 2 Oz | HIMM6 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | Hand Injection Moulding M/c used for produce small size product | Processing | Lab | 16900 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Manufacturing | MS Kumar Engineering Works, Kolkata | sales@kumareng.com | MS Kumar Engineering Works, Kolkata | sales@kumareng.com | korba@cipet.gov.in
Hand Injection Moulding Machine | HIMM | CIPET Korba | Kumar Engineering Works | 2 Oz | HIMM7 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | Hand Injection Moulding M/c used for produce small size product | Processing | Lab | 16900 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Manufacturing | MS Kumar Engineering Works, Kolkata | sales@kumareng.com | MS Kumar Engineering Works, Kolkata | sales@kumareng.com | korba@cipet.gov.in
Hand Blow Moulding Machine | HBMM | CIPET Korba | Kumar Engineering Works | Standard | HBMM1 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | Hand Injection Moulding M/c used for produce small size hollow product | Processing | Lab | 11500 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Manufacturing | MS Kumar Engineering Works, Kolkata | sales@kumareng.com | MS Kumar Engineering Works, Kolkata | sales@kumareng.com | korba@cipet.gov.in
Hand Blow Moulding Machine | HBMM | CIPET Korba | Kumar Engineering Works | Standard | HBMM2 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | Hand Injection Moulding M/c used for produce small size hollow product | Processing | Lab | 11500 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Manufacturing | MS Kumar Engineering Works, Kolkata | sales@kumareng.com | MS Kumar Engineering Works, Kolkata | sales@kumareng.com | korba@cipet.gov.in
Hand Blow Moulding Machine | HBMM | CIPET Korba | Kumar Engineering Works | Big | HBMM3 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | Hand Injection Moulding M/c used for produce small size hollow product | Processing | Lab | 19400 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Manufacturing | MS Kumar Engineering Works, Kolkata | sales@kumareng.com | MS Kumar Engineering Works, Kolkata | sales@kumareng.com | korba@cipet.gov.in
Hot Air Oven | HAR | CIPET Korba | Macro Scientific Works Pvt. Ltd. | OUD-224 | 0919114 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | Hot air oven is used to remove moiture from plastics raw materials | Processing | Lab | 90000 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Manufacturing | MS K K Impex, Raipur | k.k.impex@outlook.in | MS K K Impex, Raipur | k.k.impex@outlook.in | korba@cipet.gov.in
Scrap Grinder | SG | CIPET Korba | Auxilink Projects and Machinery Pvt. Ltd | SG 100F | SG1 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | Scrap Grinder is used to crush defective plastics prodsuct for reuse. | Processing | Lab | 195762 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Manufacturing | MS Auxilink Projects & Machinery Pvt Ltd | santosh.tiwari@auxilinkgroup.com | MS Auxilink Projects & Machinery Pvt Ltd | santosh.tiwari@auxilinkgroup.com | korba@cipet.gov.in
Scrap Grinder | SG | CIPET Korba | Priyanka Polypack | GND 18 | 012024 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | Scrap Grinder is used to crush defective plastics prodsuct for reuse. | Processing | Lab | 388000 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Manufacturing | MS Vardhman Machinery, Ahmedabad | vardhmaanmachine@gmail.com | MS Vardhman Machinery, Ahmedabad | vardhmaanmachine@gmail.com | korba@cipet.gov.in
Air Compressor | AC | CIPET Korba | IndoAir Compressors Pvt. Ltd | IA 45TZ | 20200924779 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | Air Comressor is uded to develop comressed air. | Processing | Lab | 338644 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Manufacturing | MS K K Impex, Raipur | k.k.impex@outlook.in | MS K K Impex, Raipur | k.k.impex@outlook.in | korba@cipet.gov.in
Air Compressor | AC | CIPET Korba | IndoAir Compressors Pvt. Ltd | IA 45TZ | 20220329599 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | Air Comressor is uded to develop comressed air. | Processing | Lab | 333180 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Manufacturing | MS Indo Air Compressors Pvt. Ltd, Ahmedabad | info.indoair.com | MS Indo Air Compressors Pvt. Ltd, Ahmedabad | info.indoair.com | korba@cipet.gov.in
Cooling Tower with Tub | CTT | CIPET Korba | Pratibha Cooling Tower | 50 TR | CTT1 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | Cooling Tower is used water cooling system | Processing | Lab | 63559 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Manufacturing | MS Palk Enterprises, Rewari | ent.palak@gmail.com | MS Palk Enterprises, Rewari | ent.palak@gmail.com | korba@cipet.gov.in
Cooling Tower with Tub | CTT | CIPET Korba | Pratibha Cooling Tower | 50 TR | CTT2 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | Cooling Tower is used water cooling system | Processing | Lab | 63559 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Manufacturing | MS Palk Enterprises, Rewari | ent.palak@gmail.com | MS Palk Enterprises, Rewari | ent.palak@gmail.com | korba@cipet.gov.in
Cooling Tower with Tub | CTT | CIPET Korba | Nilkanth Cooling Tower | NCT 200-05 | CTT3 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | Cooling Tower is used water cooling system | Processing | Lab | 14500 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Manufacturing | MS Nilkanth Cooling Tower | nilkanthcoolingtower@yahoo.com | MS Nilkanth Cooling Tower | nilkanthcoolingtower@yahoo.com | korba@cipet.gov.in
Agglomerator | AG | CIPET Korba | Twist Engineering Works | AG150 | 2024 0145 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | Agglomerators are used to convert plastic waste, such as films, fibers, or flakes, into larger, denser pellets or agglomerates. | Processing | Lab | 423000 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Manufacturing | MS Keval Machine Tools, Ahmedabad | kevalmachinetools@gmail.com | MS Keval Machine Tools, Ahmedabad | kevalmachinetools@gmail.com | korba@cipet.gov.in
Hot Plate Welding Machine | HPWM | CIPET Korba | SCS Equipments | SE160 | HPWM1 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | Hot Plate Welding Machine is used joining plastic pipes for gas and water distribution. | Processing | Lab | 333000 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Manufacturing | MS Park Industries Ahmedabad | parkindustries9@gmail.com | MS Park Industries Ahmedabad | parkindustries9@gmail.com | korba@cipet.gov.in
High Speed Mixer | HSP | CIPET Korba | Ravindra Plastic Machinery Works | RP10 | HSP | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | High-speed plastic mixer is commonly used in plastic processing and manufacturing operations to prepare materials for subsequent processes like extrusion, injection molding, and more. | Processing | Lab | 393200 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Manufacturing | MS Kapal Industries, Ludhiana | kapalindustries@gmail.com | MS Kapal Industries, Ludhiana | kapalindustries@gmail.com | korba@cipet.gov.in
Scissor Lift | SL | CIPET Korba | Kingom | 3 Feet Height K SL | 1 2024 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | scissor lifts are used for various applications, including loading/unloading materials, positioning work for assembly, and transferring materials at machine height, enhancing safety and productivity. | Processing | Lab | 84725 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Manufacturing | MS Sanvik Ind, Hariyana | sanvikindustry@gmail.com | MS Sanvik Ind, Hariyana | sanvikindustry@gmail.com | korba@cipet.gov.in
Scissor Lift | SL | CIPET Korba | Kingom | 3 Feet Height K SL | 2 2024 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | scissor lifts are used for various applications, including loading/unloading materials, positioning work for assembly, and transferring materials at machine height, enhancing safety and productivity. | Processing | Lab | 84725 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Manufacturing | MS Sanvik Ind, Hariyana | sanvikindustry@gmail.com | MS Sanvik Ind, Hariyana | sanvikindustry@gmail.com | korba@cipet.gov.in
Ultrasonic Plastics Welding Machine | UPWM | CIPET Korba | Johnson Plastosonic Pvt, Ltd. | UPWM 2020 | UPWM 1 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | Ultrasonic plastic welding machines join thermoplastic parts using high-frequency vibrations to create friction and heat, melting the plastic at the interface and forming a strong, durable bond, without adhesives or fasteners | Processing | Lab | 384000 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Manufacturing | MS Shri Krishna Commercial | shrikrishnacommercial@gmail.com | MS Shri Krishna Commercial | shrikrishnacommercial@gmail.com | korba@cipet.gov.in
Gantry Crane |  | CIPET Korba | A K Industries | 3 Ton | GC 1 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | Gantry cranes are used for efficient and safe material handling, particularly for lifting and moving raw materials, finished products, and machinery, optimizing floor space and boosting productivity | Processing | Lab | 362585 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Manufacturing | MS AK Industries | akindustries@yahoo.com | MS AK Industries | akindustries@yahoo.com | korba@cipet.gov.in
Semi Automatic Vertical Injection Moulding Machine | SAVIMM | CIPET Korba | Delta Machine -Craft | 60 VH | VIM 1 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | The function of an automatic injection molding machine is to create plastic parts by injecting molten plastic into a mold and then solidifying the plastic. | Processing | Lab | 173850 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Manufacturing | MS Delta Machine Craft | maliksons@plasticsmachineryindia.com | MS Delta Machine Craft | maliksons@plasticsmachineryindia.com | korba@cipet.gov.in
Semi Automatic Horizontal Injection Moulding Machine | SAVIMM | CIPET Korba | Delta Machine -Craft | PJ 25 | 091017 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | The function of an automatic injection molding machine is to create plastic parts by injecting molten plastic into a mold and then solidifying the plastic. | Processing | Lab | 319600 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Manufacturing | MS Delta Machine Craft | maliksons@plasticsmachineryindia.com | MS Delta Machine Craft | maliksons@plasticsmachineryindia.com | korba@cipet.gov.in
Recycling Extruder With Pelletizer | REP | CIPET Korba | Delta Machine -Craft | PGP 65 | 211216 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | A plastic recycling extruder's primary function is to melt plastic waste and force it through a die to create new plastic products | Processing | Lab | 713900 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Manufacturing | MS Delta Machine Craft | maliksons@plasticsmachineryindia.com | MS Delta Machine Craft | maliksons@plasticsmachineryindia.com | korba@cipet.gov.in
Dry Mixure | DM | CIPET Korba | Resonance Automation and Machines | RESOTECH-DMT125 | 2010101DL10093 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | Dry Mixturer nvolves blending dry plastic pellets or powders with additives like colorants, stabilizers, or fillers before processing, ensuring consistent quality and efficient production. | Processing | Lab | 211865 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Manufacturing | MS Resonance Automation and Machines | umardin.ramachines@gmail.com | MS Resonance Automation and Machines | umardin.ramachines@gmail.com | korba@cipet.gov.in
Dry Mixure | DM | CIPET Korba | Resonance Automation and Machines | RESOTECH-DMT125 | 2010101DL10093 | Govt of Chhattisgarh | District Mineral Fund, Korba | Establishment of CIPET Centre at Korba CG | Dry Mixturer nvolves blending dry plastic pellets or powders with additives like colorants, stabilizers, or fillers before processing, ensuring consistent quality and efficient production. | Processing | Lab | 211865 | https://www.cipet.gov.in/centres/cipet-korba/facilities.php | Working | Manufacturing | MS Resonance Automation and Machines | umardin.ramachines@gmail.com | MS Resonance Automation and Machines | umardin.ramachines@gmail.com | korba@cipet.gov.in

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
Test Funding Agency
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
INODE FAG
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
Testing Funding Agency
GIA
TestName12
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
TestFundingAgencySS
DME Government of Karnataka
I-STEM Funding at IISc
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE