## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
UV Spectrophotometer with Acc |  |  | SHIMADZU | UV-2600 | A11664900409 | Internal | CSIR |  |  | IIM Jammu |  | 1282170.00 |  |  | Research |  |  |  |  | ravindraphatake.iiim@csir.res.in
AV 4400 Avance Neo 400Mhz FT NMR Spectometer with consumable acc |  |  | Bruker | AV 4400 Avance Neo 400 Mhz | HCAB-40/250 | Internal | CSIR |  |  | IIM Jammu |  | 20159192.00 |  |  | Research |  |  |  |  | raj@iiim.res.in
Multimode Plate Reader |  |  | Tecan | Infinite M Plex | 2310002857 | Internal | CSIR |  |  | IIM Jammu |  | 2147600.00 |  |  | Research |  |  |  |  | p.ramajayan@iiim.res.in
Flame Atomic Absorption System with Acc |  |  | 2023 | Nova AA 350i AA System | 10143001262B0117 | Internal | CSIR |  |  | IIM Jammu |  | 2787363.00 |  |  | Research |  |  |  |  | rbhanwaria@iiim.res.in
Roraty Evaporator Q3 with acc |  |  | EYELA | N-1210B | 12318617 | Internal | CSIR |  |  | IIM Jammu |  | 4731415.00 |  |  | Research |  |  |  |  | ravindraphatake.iiim@csir.res.in
Automated Tissue Processor |  |  | Leica | Histocare Pearl | 1614 | Internal | CSIR |  |  | IIM Jammu |  | 3200000.00 |  |  | Research |  |  |  |  | p.ramajayan@iiim.res.in
Real Time PCR Machine |  |  | BIO-RAD | CFX PUS | 795BR07001 | Internal | CSIR |  |  | IIM Jammu |  | 1695000.00 |  |  | Research |  |  |  |  | Rsharma.iiim@csir.res.in
Parallel Bioreactor with 4 vessels wih acc |  |  | Eppendorf | DASGIP | CTPCNH408775 | Internal | CSIR |  |  | IIM Jammu |  | 18900000.00 |  |  | Research |  |  |  |  | k.kumar222@iiim.res.in
Bioreactor 10 ltrs Habitant Ferment |  |  | IKA | HABITAT F CCT S099 CCT + DW10+RC2Lite | NA | Internal | CSIR |  |  | IIM Jammu |  | 2999796.00 |  |  | Research |  |  |  |  | ssaran@iiim.res.in
Fractional Distillation Unit 20 ltr |  |  | assembled | NA | NA | Internal | CSIR |  |  | IIM Jammu |  | 4000000.00 |  |  | Research |  |  |  |  | akkatare@iiim.res.in
Diesel Generator 600 KVA |  |  | M/s Mahindra (Perkins Engine) | 2806D-E18TAG1A | P625E3B19-12502 | Internal | CSIR |  |  | IIM Jammu |  | 5525200.00 |  |  | Research |  |  |  |  | b.singhcharak@iiim.res.in
Walk in Plant Growth Chamber with acc |  |  | NA | Model-AR91LS | 24406.01.17J | Internal | CSIR |  |  | IIM Jammu |  | 5832411.00 |  |  | Research |  |  |  |  | pmisra@iiim.res.in
UPLC with acc |  |  | Thermo | Ultimate 3000 | 8163562 | Internal | CSIR |  |  | IIM Jammu |  | 14348660.00 |  |  | Research |  |  |  |  | akyadav@iiim.res.in
HPLC System with acc |  |  | Waters | 1525 Binary | L1825P808A | Internal | CSIR |  |  | IIM Jammu |  | 4692532.00 |  |  | Research |  |  |  |  | mkverma@iiim.res.in
Media Degassert Dispener |  |  | 4501825 | Distek EZ1LL4500 | NA | Internal | CSIR |  |  | IIM Jammu |  | 2131405.00 |  |  | Research |  |  |  |  | akyadav@iiim.res.in
Digital Dispenser with acc |  |  | Ika | T50 | 6.2391 | Internal | CSIR |  |  | IIM Jammu |  | 1008000.00 |  |  | Research |  |  |  |  | achaubey.iiim@csir.res.in
Confocal Quantitative Image Cytometer Microlens Enhanced (High Content Imaging System) with acc |  |  | NA | NA | NA | Internal | CSIR |  |  | IIM Jammu |  | 25956987.00 |  |  | Research |  |  |  |  | ajaykumar@iiim.res.in
SpectraScanning Unit UV-Visible Spectrophotometer |  |  | NA | NA | NA | Internal | CSIR |  |  | IIM Jammu |  | 1050000.00 |  |  | Research |  |  |  |  | mkatoch@iiim.res.in
Bio-Rad Table Top Real Time PCR Machine |  |  | Bio red | 1845097-IVD & 1841000-IVD | NA | Internal | CSIR |  |  | IIM Jammu |  | 5200000.00 |  |  | Research |  |  |  |  | vprahul@iiim.res.in
Aria MxReal Time PCR with acc |  |  | Agilent | Aria-MX G8830A | MY20505283 | Internal | CSIR |  |  | IIM Jammu |  | 1417500.00 |  |  | Research |  |  |  |  | p.ramajayan@iiim.res.in
Real Time PCR Machine |  |  | BioRad | Biorad-1845097-IVD | 787BR11819 | Internal | CSIR |  |  | IIM Jammu |  | 1375000.00 |  |  | Research |  |  |  |  | sumit@iiim.res.in
Flow Cytometer with acc |  |  | BD | BD FACSlyric TM | R659180000608 | Internal | CSIR |  |  | IIM Jammu |  | 6814500.00 |  |  | Research |  |  |  |  | sanket.shukla@iiim.res.in
Master sizer 3000 articles size analyser with acc |  |  | Malvern | Mastersizer 3000 | MAL1215115 | Internal | CSIR |  |  | IIM Jammu |  | 6696317.00 |  |  | Research |  |  |  |  | akyadav@iiim.res.in
Automated biochemical analyser with accessories |  |  | NA | EM360 Make transasia | 60922 | Internal | CSIR |  |  | IIM Jammu |  | 1983450.00 |  |  | Research |  |  |  |  | stabdullah@iiim.res.in
Automated blood analyzer |  |  | NA | LAURA | 0179-1-202001 | Internal | CSIR |  |  | IIM Jammu |  | 1749825.00 |  |  | Research |  |  |  |  | stabdullah@iiim.res.in
Biochemistry analyser |  |  | Erba | EM360 | 601100 | Internal | CSIR |  |  | IIM Jammu |  | 1597999.00 |  |  | Research |  |  |  |  | p.ramajayan@iiim.res.in
PCR machine Real time |  |  | Qiagen | QIAquant 5 plex 230v | 3108V-3930237 | Internal | CSIR |  |  | IIM Jammu |  | 1489995.00 |  |  | Research |  |  |  |  | sumit@iiim.res.in
Gel documentation system with accessories |  |  | BioRad | MP Basic | 733BR4834 | Internal | CSIR |  |  | IIM Jammu |  | 1500000.00 |  |  | Research |  |  |  |  | p.ramajayan@iiim.res.in
Supply and installation of 500 kg SS Field distillation unit |  |  | na | 2022 | na | Internal | CSIR |  |  | IIM Jammu |  | 6678000.00 |  |  | Research |  |  |  |  | rbhanwaria@iiim.res.in
GC MS MS Triple quarupole system |  |  | Shimadzu | TO8050EiNX | 217659 | Internal | CSIR |  |  | IIM Jammu |  | 12160834.00 |  |  | Research |  |  |  |  | vikas.roy@iiim.res.in
Horizontal rectangular autoclave |  |  | Yorco | YSU 608 | 22F-2011 | Internal | CSIR |  |  | IIM Jammu |  | 1942395 |  |  | Research |  |  |  |  | k.kumar222@iiim.res.in
GC MS 7890 A seriess with consumaable Acc |  |  | NA | GS-MS 7890A Series | NA | Internal | CSIR |  |  | IIM Jammu |  | 5210406.00 |  |  | Research |  |  |  |  | k.kumar222@iiim.res.in
2 D Electrophoresis System with acc |  |  | BIO-RAD | i21EF | 559BR2820 | Internal | CSIR |  |  | IIM Jammu |  | 1029424.00 |  |  | Research |  |  |  |  | Rsharma.iiim@csir.res.in
Fully Automated Biochemistry Analyser with acc |  |  | Transasia | ERBA360 | 60568 | Internal | CSIR |  |  | IIM Jammu |  | 2153663.00 |  |  | Research |  |  |  |  | sanket.shukla@iiim.res.in
EVOS Imaging System |  |  | NA | EVOSR113 | 1414371 | Internal | CSIR |  |  | IIM Jammu |  | 1889775.00 |  |  | Research |  |  |  |  | stabdullah@iiim.res.in
Biosafety Cabinet Complete |  |  | ESCO | AB2-5S1 | 2016-108238,2016-108237 | Internal | CSIR |  |  | IIM Jammu |  | 1387526.00 |  |  | Research |  |  |  |  | gyadav@iiim.res.in
Omega Multidetection Microplate Reader |  |  | BMG | Fluostar Omega | 415-1921 | Internal | CSIR |  |  | IIM Jammu |  | 1487289.00 |  |  | Research |  |  |  |  | sksingh@iiim.res.in
Gas Utility System with acc |  |  | Labguard | ST1500 LCV | 2642 | Internal | CSIR |  |  | IIM Jammu |  | 1303569.00 |  |  | Research |  |  |  |  | ppsingh@iiim.res.in
HPLC System with acc |  |  | Thermo Fischer | Dionex Ultimate 3000 | 8099541 | Internal | CSIR |  |  | IIM Jammu |  | 2905307.00 |  |  | Research |  |  |  |  | bashah@iiim.res.in
HPTLC with MS Interface and acc |  |  | CAMAG | 230625 | 230625 | Internal | CSIR |  |  | IIM Jammu |  | 15501074.00 |  |  | Research |  |  |  |  | raj@iiim.res.in
Steelcage Washer |  |  | Steelco | AC-1400/2 | 1607810FQ002 | Internal | CSIR |  |  | IIM Jammu |  | 3574533.00 |  |  | Research |  |  |  |  | raj@iiim.res.in
ICP-MS-7800 Series |  |  | AGILENT | MS-7800 | JP16210307 | Internal | CSIR |  |  | IIM Jammu |  | 6454982.00 |  |  | Research |  |  |  |  | raj@iiim.res.in
Kilo Lab Reactor cum Distillation Unit |  |  | CENTI-R | GMP | CF-162 | Internal | CSIR |  |  | IIM Jammu |  | 4252500.00 |  |  | Research |  |  |  |  | ppsingh@iiim.res.in
LC-MS MS along with acc |  |  | Thermo Scientific | TSQ Endura Model-5003 | TQH-E1-0372 | Internal | CSIR |  |  | IIM Jammu |  | 16016806.00 |  |  | Research |  |  |  |  | sanket.shukla@iiim.res.in
Forbes Marshall Boiler 750kg per hr |  |  | Forbes Marshall | boiler 750kg/hr | FVPL-14-2041 | Internal | CSIR |  |  | IIM Jammu |  | 5974875.00 |  |  | Research |  |  |  |  | sanket.shukla@iiim.res.in
Fermenter 30 ltr |  |  | SCIGENICS INDIA Pvt. Ltd. | FM-30 IM-522 | NA | Internal | CSIR |  |  | IIM Jammu |  | 3951500.00 |  |  | Research |  |  |  |  | ssaran@iiim.res.in
Multiwave Go 50Hz with acc |  |  | ANTON PAAR | MULTIWAVE GO PLUS 50HZ | 82202033 | Internal | CSIR |  |  | IIM Jammu |  | 1226842.00 |  |  | Research |  |  |  |  | raj@iiim.res.in
Micro Ultrafiltration System with acc |  |  | SIEMENS Versa flux | VERSAflux 3868 | 3868 | Internal | CSIR |  |  | IIM Jammu |  | 2121474.00 |  |  | Research |  |  |  |  | ssaran@iiim.res.in
Automated Urine Analyser |  |  | Roche | Cobas U411 | NA | Internal | CSIR |  |  | IIM Jammu |  | 452865.00 |  |  | Research |  |  |  |  | sanket.shukla@iiim.res.in
Distek 2500 Bath Bathless Dissolution System |  |  | Distak | Distek EZ1LL4500 | 5301082 | Internal | CSIR |  |  | IIM Jammu |  | 2131405.00 |  |  | Research |  |  |  |  | akyadav@iiim.res.in
L1 6400 XTP Portale photosynthesis system with consumable acc |  |  | LICOR | LI6400XT | NA | Internal | CSIR |  |  | IIM Jammu |  | 2284131.00 |  |  | Research |  |  |  |  | Rsharma.iiim@csir.res.in
IBM server |  |  | IBM | System x3650 M3 | 99V3897 99V3874 99V3896 99V3884 99V3876 | Internal | CSIR |  |  | IIM Jammu |  | 2154507.00 |  |  | Research |  |  |  |  | shaghaf@iiim.res.in
Roche light cycler 96 real time PCR with Acc |  |  | Roche | LightCycler 96 | 10572 | Internal | CSIR |  |  | IIM Jammu |  | 1433866.00 |  |  | Research |  |  |  |  | sumit@iiim.res.in
Zen 3692 zetasizer |  |  | Malvern | 2590 | NA | Internal | CSIR |  |  | IIM Jammu |  | 2340294.00 |  |  | Research |  |  |  |  | pngupta@iiim.res.in
Advance freeze dryer with Acc |  |  | SP Scientific | Advantage AD20EL | NA | Internal | CSIR |  |  | IIM Jammu |  | 1529777.00 |  |  | Research |  |  |  |  | pngupta@iiim.res.in
HPLC System Shimadzu make |  |  | Shimadzu | LC 20 ADXR 230V | L20504900509 | Internal | CSIR |  |  | IIM Jammu |  | 2210019.00 |  |  | Research |  |  |  |  | vikas.roy@iiim.res.in
AMF4300 EVOSFL Imaging system with Acc |  |  | Invitrogen | NA | I1713-155G-308 | Internal | CSIR |  |  | IIM Jammu |  | 1957875.00 |  |  | Research |  |  |  |  | sumit@iiim.res.in
Stereozoom fluorescence microscope |  |  | Dewinter | DIGIXoom star Vi-Fl | DO-303194 | Internal | CSIR |  |  | IIM Jammu |  | 1673558.00 |  |  | Research |  |  |  |  | sumit@iiim.res.in
Plant growth chamber |  |  | PERCIVAL | LCD 4112 with Acc | 17091.01.12F | Internal | CSIR |  |  | IIM Jammu |  | 1921405.00 |  |  | Research |  |  |  |  | Rsharma.iiim@csir.res.in
Electronic Microscope |  |  | JEOL | JEM-1400 | EM1848004630463 | Internal | CSIR |  |  | IIM Jammu |  | 21762766.00 |  |  | Research |  |  |  |  | raj@iiim.res.in
Scanning Electronic Microscope |  |  | JEOL | JSM-LT300LV | MP1372002120212 | Internal | CSIR |  |  | IIM Jammu |  | 8142554.00 |  |  | Research |  |  |  |  | raj@iiim.res.in
1260 Infinity iii Fluorscense Detector |  |  | Agilent | G7121A | DEGD00281 | Internal | CSIR |  |  | IIM Jammu |  | 1799958.00 |  |  | Research |  |  |  |  | akyadav@iiim.res.in
Inverted Epifluorocense Microscope |  |  | Leica | Leica DM IL LED Inverted Microscope with K3м Microscope Camera (Leica Microsystem) | 669610 | Internal | CSIR |  |  | IIM Jammu |  | 1994200.00 |  |  | Research |  |  |  |  | avisek.mahapa@iiim.res.in

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE
Ministry of Textiles
SRIC Development Fund