## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Rate/Hr | Refernce Website | Equipment Status | Category
H2 Gas Generator Standard Model Flow Control Valve |  | Lab 2 Chemeng | Ashena Tech | ATH 300 standard model |  | External | DBT |  |  | Chemical Engineering | Lab2 |  |  | Up | Fabrication
Spectrophotometer |  | Lab 2 Chemeng | Metrohm Rarrim | Sierra 2.0532 model |  | External | DST GoI |  | 532 wavelengh | Chemical Engineering | Lab 2 |  |  | Up | Characterization
Fast Protein Liquid Chromatography |  | CES Building | GE Lifesciences | AKTA Start |  | External | DBT |  | Akta start, unicorn start, froc 30, mono Q, Hitrap desalting | Chemical Engineering | Lab 3 |  |  | Up | Characterization
High Speed Table Top Centrifuge |  | CES Building | Hermle Centrifuge | Z36HK |  | External | DBT |  | Model 236 HK, 230v/50-60 Hz | Chemical Engineering | Lab 3 |  |  | Up | Fabrication
Fluorospectrometer |  | CES Building | Agilent Technologies | Cary Eclipse |  | External | DBT |  |  | Chemical Engineering | Lab 3 |  |  | Up | Characterization
UV-Vis Spectrophotometer |  | CES Building | Agilent Tech Pvt Ltd | Cary 60 |  | Internal | Institution |  |  | Chemical Engineering | Lab 3 |  |  | Up | Characterization
Nanodrop UV-Visible Spectrophotometer |  | CES Building | Thermofisher | Nanodrop 2000 |  | External | DBT |  |  | Chemical Engineering | Lab 3 |  |  | Up | Characterization
Tensiometer with acc |  | Lab 2 Chemeng | KSV Instruments Finland | DC934 | [5 empty] | Chemical Engineering | Lab 2 |  |  | Up | Analytical Measurement
Lyophilizer |  | Lab 11 Chemeng | Bio Gentek BG PVT Ltd | Labconco FreeZone 2.5 |  |  |  |  | Labconco FreeZone 2.5 | Chemical Engineering | Lab 11 |  |  | Up | Characterization
Cluster |  | R 21 Chemeng | Micropoint Comp | Node 6018R WTR |  |  |  |  | 12 Node Cluster | Chemical Engineering | R 21 |  |  | Up | Characterization
Plasma Cleaner |  | Lab 8 Chemeng | Harrick Plasma |  |  | External | DST GoI |  |  | Chemical Engineering | Lab 8 |  |  | Up | Fabrication
Laser Engraver Machine |  | Lab 13 Chemeng | Unique Laser Engraccer | engraver | [5 empty] | Chemical Engineering | Lab 13 |  |  | Up | Fabrication
Electrodynamic Shaker System with ac |  | Lab 13 Chemeng | Ducom Instrument Pvt Ltd |  |  | External | DST GoI |  |  | Chemical Engineering | Lab 13 |  |  | Up | Characterization
Data Physics ACE System |  | Lab 13 Chemeng | Environ Serve Tech | analyser |  | External | DST GoI |  | signal analyzer | Chemical Engineering | Lab 13 |  |  | Up | Characterization
Transducer wireless |  | Lab 4 Chemeng | ATI Industrial Automation |  |  | External | DST GoI |  |  | Chemical Engineering | Lab 4 |  |  | Up | Characterization
Lock in Amplifier |  | Lab 4 Chemeng | Stanford Research System | measure&detect AC signal |  |  |  |  | AC signal detector | Chemical Engineering | Lab 4 |  |  | Up | Characterization