## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Rate/Hr | Refernce Website | Equipment Status | Category
Hot Air Oven |  | B-307 | GEEKAY | i-therm AI-7981 |  | Internal | Institution |  | Max.Temperature 270 | Chemistry | Chemistry Lab |  |  | Up | Fabrication
ATV 75 S Oil Free Diaphragm Vacuum Pump |  | B-307 | Vacuum Pump | ATV-75-S |  | Internal | Institution |  | Oil Free Diaphragm Vacuum Pump | Chemistry | Chemistry Lab |  |  | Up | Fabrication
Analytical Balance |  | B-307 | Sartorius | BSA 224 S-CW |  | Internal | Institution |  | Readability 0.1 mg | Chemistry | Chemistry Lab |  |  | Up | Analytical Measurement
Analytical Balance |  | B-307 | Sartorius | BSA 223 S-CW |  | Internal | Institution |  | Readability 0.001 mg | Chemistry | Chemistry Lab |  |  | Up | Analytical Measurement
Water Bath |  | B-307 | Equitron | #7520 |  | Internal | Institution |  | Un Stirred Water Bath with Lid | Chemistry | Chemistry Lab |  |  | Up | Fabrication
Digital Conductivity Meter |  | B-307 | Global Electronics | DCM900 |  | Internal | Institution |  | DCM 900 Lab Digital conductivity Meter | Chemistry | Chemistry Lab |  |  | Up | Analytical Measurement
Photo Colorimeter |  | B-307 | Decibel | DB-1111 |  | Internal | Institution |  | Photo Colorimeter Microprocessor Base | Chemistry | Chemistry Lab |  |  | Up | Analytical Measurement
Digital pH Meter |  | B-307 | ELICO | LI 120 |  | Internal | Institution |  | Digital pH Meter with combined pH Electrode type CL 51B | Chemistry | Chemistry Lab |  |  | Up | Analytical Measurement
Ice Flaking Machine |  | B-307 | Simag Scotsman Italy | APN 605 |  | Internal | Institution |  | NA | Chemistry | Chemistry Lab |  |  | Up | Fabrication
Rotary Evaporator with Pump Mannual Vacuum Controller and Chiller |  | B-307 | Heidolph German | HEI-VAP Value G3 (HL) |  | Internal | Institution |  | Rotary Evaporator with Pump Mannual Vacuum Controller & Chiller | Chemistry | Chemistry Lab |  |  | Up | Fabrication
Photoreactor |  | B-307 | Luzchem Canada | LZC-4Xb |  | Internal | Institution |  | Photo Reactor with 2 complete sets of lamps: 14 UVA (350nm) and 14 UVC (254 nm) lammps (28 lamps total) | Chemistry | Chemistry Lab |  |  | Up | Fabrication
Vortex Mixture |  | B-307 | Borosil | Lab Quest VMSP |  | Internal | Institution |  | Max. RMP 4500 | Chemistry | Chemistry Lab |  |  | Up | Fabrication
FTIR ATR |  | B-308 | Perkin Elmer Singapore | l600400-Spectrum Two FT-IR |  | Internal | Institution |  | FTIR with ATR | Chemistry | Chemistry Lab |  |  | Up | Characterization
NMR 60 MHz Spectrometer |  | B-308 | Nanalysis Canada | NMReady Pro-60 |  | Internal | Institution |  | 1H, 13C, 31P 60MHz Spectrometer | Chemistry | Chemistry Lab |  |  | Up | Characterization
Ultrasonic Cleaner |  | B-307 | Cole Parmer | 08895-29 |  | Internal | Institution |  | capacity 1/2 gallon | Chemistry | Chemistry Lab |  |  | Up | Fabrication
Unimat CNC Complete 4 Axis Turning and Milling Machine |  | B-008 | Unimat |  |  | Internal | Institution |  |  | Mechanical Engineering | DIY Lab |  |  | Up | Fabrication
Unimat CNC Complete 4 Axis Turning and Milling Machine |  | B-008 | Unimat |  |  | Internal | Institution |  |  | Mechanical Engineering | DIY Lab |  |  | Up | Fabrication
Unimat CNC Complete 4 Axis Turning and Milling Machine |  | B-008 | Unimat |  |  | Internal | Institution |  |  | Mechanical Engineering | DIY Lab |  |  | Up | Fabrication
Unimat CNC Complete 4 Axis Turning and Milling Machine |  | B-008 | Unimat |  |  | Internal | Institution |  |  | Mechanical Engineering | DIY Lab |  |  | Up | Fabrication
Unimat CNC Complete 4 Axis Turning and Milling Machine |  | B-008 | Unimat |  |  | Internal | Institution |  |  | Mechanical Engineering | DIY Lab |  |  | Up | Fabrication
Laser Engraver |  | B-008 | SI Laser Pvt Ltd | SIL 9060 |  | Internal | Institution |  | Working size 3' x 2' | Mechanical Engineering | DIY Lab |  |  | Up | Fabrication
Material Jetting Based 3D Printer with accessories Objet 30 Prim from Stratasys |  | B-105 | Sratasys | Objet 30 Prime |  | Internal | Institution |  | Working size 160mm x 130mm x 120mm | Mechanical Engineering | Digital Fabrication Lab |  |  | Up | Fabrication
Mojo 3D Printer with Startup Supplies Wavewash 55 Support Cleaning System EcoWorks Tablets Case of 24 from Statasys |  | B-105 | Sratasys | Mojo |  | Internal | Institution |  | Working 120 x120x120 mm | Mechanical Engineering | Digital Fabrication Lab |  |  | Up | Fabrication
Mojo 3D Printer with Startup Supplies Wavewash 55 Support Cleaning System EcoWorks Tablets Case of 24 from Statasys |  | B-105 | Sratasys | Mojo |  | Internal | Institution |  | Working 120 x120x120 mm | Mechanical Engineering | Digital Fabrication Lab |  |  | Up | Fabrication
Mojo 3D Printer with Startup Supplies from Statasys |  | B-105 | Sratasys | Mojo |  | Internal | Institution |  | Working 120 x120x120 mm | Mechanical Engineering | Digital Fabrication Lab |  |  | Up | Fabrication
Mojo 3D Printer with Startup Supplies from Statasys |  | B-105 | Sratasys | Mojo |  | Internal | Institution |  | Working 120 x120x120 mm | Mechanical Engineering | Digital Fabrication Lab |  |  | Up | Fabrication
Mojo 3D Printer with Startup Supplies from Statasys |  | B-105 | Sratasys | Mojo |  | Internal | Institution |  | Working 120 x120x120 mm | Mechanical Engineering | Digital Fabrication Lab |  |  | Up | Fabrication
Mojo 3D Printer with Startup Supplies from Statasys |  | B-105 | Sratasys | Mojo |  | Internal | Institution |  | Working 120 x120x120 mm | Mechanical Engineering | Digital Fabrication Lab |  |  | Up | Fabrication
Makerbot Digitizer Desktop 3D Scanner |  | B-105 | Makerbot |  |  | Internal | Institution |  | Diameter 240 mm | Mechanical Engineering | Digital Fabrication Lab |  |  | Up | Fabrication
4 Axis Robot |  | B-008 | MTAB Engineers Pvt Ltd | Scara Robot |  | Internal | Institution |  |  | Mechanical Engineering | Automation Lab |  |  | Up | Characterization
6 Axis Robot |  | B-008 | MTAB Engineers Pvt Ltd | Aristo Robot |  | Internal | Institution |  |  | Mechanical Engineering | Automation Lab |  |  | Up | Characterization
Compressor 100 Liter Tank Capacity 8 to 10 Bar 100 psi |  | B-008 |  |  |  | Internal | Institution |  | 100 Liter Tank Capacity, 8 to 10 Bar 100 psi | Mechanical Engineering | Automation Lab |  |  | Up | Characterization
PLC Module from ScienTech |  | B-008 | ScienTech |  |  | Internal | Institution |  |  | Mechanical Engineering | Automation Lab |  |  | Up | Fabrication
Diffused Light Research Polariscope |  | B-008 | EEE |  |  | Internal | Institution |  |  | Mechanical Engineering | Solid Mechanics Lab |  |  | Up | Characterization
Weldskill 180 ESAB Welding Machine |  | B-007 | Fair Deal Corporation |  |  | Internal | Institution |  |  | Mechanical Engineering | Workshop |  |  | Up | Fabrication
Metallic Table Frame |  | B-007 | Vikas Welding Works |  |  | Internal | Institution |  |  | Mechanical Engineering | Workshop |  |  | Up | Characterization
14" Cut off Machine Saw |  | B-007 | Bosch |  |  | Internal | Institution |  |  | Mechanical Engineering | Workshop |  |  | Up | Fabrication
Grinder AG 5 |  | B-007 | Bosch |  |  | Internal | Institution |  |  | Mechanical Engineering | Workshop |  |  | Up | Fabrication
Wood and Marble Cutter |  | B-007 | Bosch |  |  | Internal | Institution |  |  | Mechanical Engineering | Workshop |  |  | Up | Fabrication
Sheet Cutter 16" |  | B-007 |  |  |  | Internal | Institution |  |  | Mechanical Engineering | Workshop |  |  | Up | Fabrication
Bench Grinder |  | B-007 | Bosch |  |  | Internal | Institution |  |  | Mechanical Engineering | Workshop |  |  | Up | Fabrication
Bosch Hand Grinder GWS 600 |  | B-007 | Bosch |  |  | Internal | Institution |  |  | Mechanical Engineering | Workshop |  |  | Up | Fabrication
Bench Vise |  | B-007 |  |  |  | Internal | Institution |  |  | Mechanical Engineering | Workshop |  |  | Up | Fabrication
Prestige PIC 20 1200W induction Cooktop |  | B-008 | Prestige |  |  | Internal | Institution |  |  | Mechanical Engineering | Digital Fabrication Lab |  |  | Up | Fabrication
Expansion Testing Equipment |  | B-008 |  |  |  | Internal | Institution |  |  | Mechanical Engineering | Solid Mechanics Lab |  |  | Up | Characterization
DIC Setup |  | B-008 | Dentech |  |  | Internal | Institution |  |  | Mechanical Engineering | DIY Lab |  |  | Up | Characterization
CNC wire cut EDM |  | B-008 | Electronica India Limited |  |  | Internal | Institution |  |  | Mechanical Engineering | Manufacturing Lab |  |  | Up | Fabrication
CNC Vertical Machining Center |  | GEC Workshop | ACE Manufacturing Systems | 540V |  | Internal | Institution |  |  | Mechanical Engineering | Manufacturing Lab |  |  | Up | Fabrication
Piller Drilling Machine |  | B-008 | Jay Industries |  |  | Internal | Institution |  |  | Mechanical Engineering | Manufacturing Lab |  |  | Up | Fabrication
Inverted Metallurgical Microscope |  | B-105 | Leica Microsystems | Leica DMi8M |  | Internal | Institution |  |  | Mechanical Engineering | Digital Fabrication Lab |  |  | Up | Fabrication
Stereo Zoom Microscope |  | B-105 | Leica Microsystems | Leica S9i |  | Internal | Institution |  |  | Mechanical Engineering | Digital Fabrication Lab |  |  | Up | Fabrication
Experimental setup to investigate friction losses in Pipe and Fittings |  | B-008 | Mass International | MI/FM 06 |  | Internal | Institution |  |  | Mechanical Engineering | Digital Fabrication Lab |  |  | Up | Fabrication
Flow Meters Demostration Unit |  | B-008 | Mass International | MI/FM 02 |  | Internal | Institution |  |  | Mechanical Engineering | Digital Fabrication Lab |  |  | Up | Fabrication
Basic Hydraulic Trainer |  | B-008 | Mass International | MI/MI HT |  | Internal | Institution |  |  | Mechanical Engineering | Digital Fabrication Lab |  |  | Up | Fabrication
Susceptibility of Paramagnetic Solids by Gouys Method with setup |  | B-209 | Raman Scientific | CP-11,DGM-20,CAS-44,EM-20 |  | Internal | Institution |  |  | Physics | Physics Lab |  |  | Up | Characterization
Hall Effect Experiment HEX 21 Setup |  | B-209 | SES Instrument | DSP-50,DGM-102,DHE-21A,EMU-50 |  | Internal | Institution |  |  | Physics | Physics Lab |  |  | Up | Characterization
Newtons Ring Experiment apparatus |  | B-209 | HOLMARC | HO-ED-INT-01 |  | Internal | Institution |  |  | Physics | Physics Lab |  |  | Up | Characterization
Stefans Law apparatus kit with accessories |  | B-209 | Academy of Embedded Technology |  |  | Internal | Institution |  |  | Physics | Physics Lab |  |  | Up | Characterization
Screen based apparatus for Diffraction Experiment Laser Diffraction |  | B-209 | HOLMARC | HO-ED-D-01 |  | Internal | Institution |  |  | Physics | Physics Lab |  |  | Up | Characterization
Scientific Digital Storage Oscilloscope SMO 702 70 MHz with Dual Channel and Function Generators SM 5062 |  | B-209 | Scientific | SMO702,SM5062 |  | Internal | Institution |  |  | Physics | Physics Lab |  |  | Up | Characterization
Klystron Power Supply VSWR Meter Microwave Test Bench setup with accessories for X Band |  | B-209 | Microwave Techno Ventures |  |  | Internal | Institution |  |  | Physics | Physics Lab |  |  | Up | Characterization
Energy Band Gap of Semiconductor Diode apparatus Kit with Digital Display with accessories |  | B-209 | Academy of Embedded Technology |  |  | Internal | Institution |  |  | Physics | Physics Lab |  |  | Up | Characterization
Transistor Characteristics apparatus with Common Emitter NPN Transistor |  | B-209 | Mars Edpal Instruments Pvt Ltd | ME533P |  | Internal | Institution |  |  | Physics | Physics Lab |  |  | Up | Characterization
Zener VI Diode Characteristics |  | B-209 | Mars Edpal Instruments | ME542RFP |  | Internal | Institution |  |  | Physics | Physics Lab |  |  | Up | Characterization
Youngs Modulus of Wood using Strain Gauge apparatus |  | B-209 | Physical Instrument CO | SG 01 |  | Internal | Institution |  |  | Physics | Physics Lab |  |  | Up | Characterization
Digital Multimeter 4000 count SM7023 |  | B-209 | Scientific | SM7023 |  | Internal | Institution |  |  | Physics | Physics Lab |  |  | Up | Analytical Measurement
100 MHz 2 Channel Digital Storage Oscilloscope |  | B-209 | TETRONIX | TBS1102B |  | Internal | Institution |  |  | Physics | Physics Lab |  |  | Up | Characterization
ExpEYES 17 with standard accessories |  | B-209 | ExpEYES | ExpEYES-17 |  | Internal | Institution |  |  | Physics | Physics Lab |  |  | Up | Characterization
Celestron Advanced VX 8'' SCT Telescope with accessories |  | B-209 | Celestron | VX 8'' SCT |  | Internal | Institution |  |  | Physics | Physics Lab |  |  | Up | Characterization
Celestron Omni XLT120 Refractor Telescope |  | B-209 | Celestron | XLT120 |  | Internal | Institution |  |  | Physics | Physics Lab |  |  | Up | Characterization
Celestron Advanced VX 8'' Newtonian Telescope |  | B-209 | Celestron | VX 8'' Newtonian |  | Internal | Institution |  |  | Physics | Physics Lab |  |  | Up | Characterization
Tektronix Digital Storage Oscilloscope 70 MHz |  | B-108 | Tektronix | TBS1072B-EDU |  | Internal | Institution |  | 70 MHz | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
Tektronix Digital Storage Oscilloscope 100 MHz |  | B-108 | Tektronix | TBS1102B-EDU |  | Internal | Institution |  | 100 Mhz | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
Tektronix Digital Storage Oscilloscope 200 MHz |  | B-108 | Tektronix | TBS1202B-EDU |  | Internal | Institution |  | 200 MHz | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
Keithley 5.5 Digital Multimeter |  | B-108 | Keithley | 2110-220 |  | Internal | Institution |  | R,C, AC V, DC V measurement | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Analytical Measurement
Tektronix Function Generator |  | B-108 | Tektronix | AFG1022 |  | Internal | Institution |  | 2 Channel 25MHz | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Fabrication
Keithley Triple Channel DC Power Supply 195 W |  | B-108 | Keithley | 2231A-30-3 |  | Internal | Institution |  | Triple channel 0-5V, 0-30 V, 0-30 V, 3A | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
Keithley Source Measurement Unit (SMU) | SMU | B-108 | Keithley | 2450 |  | Internal | Institution |  | V-Ranges: 20 mV – 200 V, -Ranges: 10 nA – 1 A, 0.012% Basic Accuracy, Wideband Noise: 2 mVrms Ty p. | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Analytical Measurement
Keysight LCR Meter |  | B-108 | Keysight | E4980A |  | Internal | Institution |  | 20 Hz to 2 MHz | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Analytical Measurement
Keysight LCR Meter with Kelvin Clip Test Fixtures |  | B-108 | Keysight | E4980AL |  | Internal | Institution |  | 20 Hz to 300 kHz/500 kHz/1 MHz | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Analytical Measurement
Keysight Digital Oscilloscope |  | B-108 | Keysight | DSOS054A |  | Internal | Institution |  | 500 MHz, 10 bit ADC, 4 Channel | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
Weller Soldering Station |  | B-108 | Weller | WR2002 SET DSX80/ WP 80 230V F/G |  | Internal | Institution |  | Soldering and Dis | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Fabrication
Scientific DC Power Supply |  | B-108 | Scientific | PSD 3304 |  | Internal | Institution |  |  | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
Weller Temperature Controlled Soldering Station |  | B-108 | Weller | WSD-17 |  | Internal | Institution |  |  | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Fabrication
Xilinx Vivado License for 25 Users |  | B-108 | Xilinx |  |  | Internal | Institution |  |  | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Software
Artix 7 Based Basys 3 FPGA Board |  | B-108 | Xilinx | Basys3 |  | Internal | Institution |  |  | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
Artix 7 Based Zybo Z7 FPGA Board |  | B-108 | Xilinx | Zybo Z7 |  | Internal | Institution |  |  | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
Xilinx Evaluation Kit |  | B-108 | Xilinx | KCU 105 |  | Internal | Institution |  |  | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Software
Analog Discovery 2 100 MSPS |  | B-108 | Xilinx | Part Number- 210 321 |  | Internal | Institution |  | 5 Volt DC | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
Xilinx Zynq Evaluation Kit |  | B-108 | Xilinx | 7000 SoC ZC702 |  | Internal | Institution |  |  | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Software
C-DAC Spartan 6 FPGA Boards |  | B-108 | C-DAC |  |  | Internal | Institution |  | Based on Spartan 6 | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
LoRa Development Board |  | B-108 | DRAGINO | LoRa mini Dev |  | Internal | Institution |  |  | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
LoRa Indoor Gateway Single Channel |  | B-108 | DRAGINO | LG01-P |  | Internal | Institution |  |  | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
USRP B200 SDR |  | B-108 | National Instruments | 782980-01 |  | Internal | Institution |  | Single Channel Transceiver (70 MHz - 6GHz) | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
Steel Enclosure accessory |  | B-108 | National Instruments | 784190-01 |  | Internal | Institution |  |  | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
Vert400 Vertical Antenna |  | B-108 | National Instruments | 783074-01 |  | Internal | Institution |  | 1200 MHz | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
Vert900 Vertical Antenna |  | B-108 | National Instruments | 782773-01 |  | Internal | Institution |  | 960 MHz | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
Vert2450 vertical Antenna |  | B-108 | National Instruments | 783075-01 |  | Internal | Institution |  | 2.48 GHz | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
Digital Tachometer |  | B-108 | Premier Trading Corporation | RAJAT |  | Internal | Institution |  | (60-50000)RPM, 05 Digit | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Analytical Measurement
Digital Multimeter MASTECH 830L |  | B-108 | MASTECH | MAS830L |  | Internal | Institution |  | 10 Amp, 600V AC/DC | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Analytical Measurement
Adjustable SMD Rework Desoldering Station |  | B-108 |  | GJ- 8018LCD |  | Internal | Institution |  | AC 220V 450W 2.5A Internal Heating Type | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Fabrication
Temperature and Intensity Control Trainer Kit and Setup |  | B-108 | Anshuman Tech Pvt Ltd | PROCESS-I |  | Internal | Institution |  | Temperature and light intensity control through P, PI, PID Controller | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
DC System Control Trainer Kit and Setup |  | B-108 | Anshuman Tech Pvt Ltd | PROCESS-III |  | Internal | Institution |  | Position & Speed control of DC Servo Motor through P, PI, PID controller | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
AC System Control Trainer Kit and Setup |  | B-108 | Anshuman Tech Pvt Ltd | PROCESS-IV |  | Internal | Institution |  | Position & Speed control of AC servo motorthrough P, PI, PID controller | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
Fluke Infrared Thermometer |  | B-108 | Fluke | 59 Max+ |  | Internal | Institution |  | Temperature Range:-30 °C to 500 °C | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Analytical Measurement
Infrared Thermometer |  | B-108 |  |  |  | Internal | Institution |  |  | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Analytical Measurement
UV Ozone Cleaner |  | B-307 | HOLMARC | HO-TH-UVT |  | External | DST GoI |  | High Ozone UV Lamp, 4000 V, 30 mA, 230V, 50Hz, Duration 1 - 99 sec / min / hr | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Fabrication
Double Beam UV-VIS-NIR Spectrophotometer with Film Holder |  | B-210 | Simadzu | UV-2600 |  | External | DST GoI |  |  | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization