## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Rate/Hr | Refernce Website | Equipment Status | Category
USB Adapter with USB Cable |  | B-108 |  | 2231A-001 |  | Internal | Institution |  |  | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
Computer Server |  | B-108 |  |  |  | Internal | Institution |  |  | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
N600 wireless Gigabit ceiling mount access point |  | B-108 |  |  |  | Internal | Institution |  |  | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
300 Mbps wireless N Gigabit ceiling mount access point |  | B-108 |  |  |  | Internal | Institution |  |  | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
8 Port Gigabit Desktop |  | B-108 |  |  |  | Internal | Institution |  |  | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
SafeStream Gigabit Broadband VPN Router |  | B-108 |  |  |  | Internal | Institution |  |  | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
WiFi Dongles |  | B-108 |  |  |  | Internal | Institution |  |  | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
HP All in One PC |  | B-108 | HP | EliteOne 800G2 |  | Internal | Institution |  | Touch support with 10 touch points, 16GB RAM, HDD: 2TB, 64bit , Processor 3.40GHz | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
Single Phase Transformers 240 120V |  | B-108 | Premier Trading Corporation | RAJAT |  | Internal | Institution |  | (0-15)A, (0-270)V, 50/60Hz | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
DC Motors Coupled with Synchronous Machines 1.5 KW |  | B-108 | Premier Trading Corporation | RAJAT |  | Internal | Institution |  | 1.5KW, 1500RPM, 230V, 09A | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
Three Phase Synchronous Generators 1.5 KW |  | B-108 | Premier Trading Corporation | RAJAT |  | Internal | Institution |  | 1.5KW, 1500RPM, 50Hz, 415Vac, 2.6Vac, 175Vdc, 1.2Adc | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
Ten Three Phase Induction Motors five coupled with DC machines these are in addition to the ten DC motors mentioned in point 2 and five with drum brake arrangement 1.5 KW |  | B-108 | Premier Trading Corporation | RAJAT |  | Internal | Institution |  | 2.2KW, 3HP, 415V, 4.8A, 1440RPM, 50Hz | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
Regulated Power Supply Systems 3 Phase auto transformer |  | B-108 | Premier Trading Corporation | RAJAT |  | Internal | Institution |  | (0-415)V, 10A, 8.14KVA | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
Resistor Banks |  | B-108 | Premier Trading Corporation | RAJAT |  | Internal | Institution |  | 3.5KW, 415(star)V, 5A | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
Inductor Banks |  | B-108 | Premier Trading Corporation | RAJAT |  | Internal | Institution |  |  | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
Induction Motor Drives |  | B-108 | Premier Trading Corporation | RAJAT |  | Internal | Institution |  |  | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
Drum brake arrangements |  | B-108 | Premier Trading Corporation | RAJAT |  | Internal | Institution |  | (0-100)Kg | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
Control Panel Elements |  | B-108 | Premier Trading Corporation | RAJAT |  | Internal | Institution |  |  | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
Control Panel |  | B-108 | Premier Trading Corporation | RAJAT |  | Internal | Institution |  | Two DC Ammeters, Two DC Voltmeters, One AC Voltmeter, One AC Ammeter, Two single phase AC watt meters, Two terminal boards, One 3-phase power factor meter, One Frequency meter, One Star-Delta switch, One Armature and field resistance control Variac | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
Tripod Projector Screen 8'x6' |  | B-108 | Suvira | 8'x6' |  | Internal | Institution |  |  | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
Dell PCs |  | B-108 | Dell | Optiplex 3060 |  | Internal | Institution |  |  | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
Spike Board 30 Nos |  | B-108 | Onlite |  |  | Internal | Institution |  | 5 Ports, 6 Ampere | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
Elvy Black Alcor Card Reader |  | B-108 | Alcor |  |  | Internal | Institution |  | For SIM Card Programming | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
HITSAN Incorporation SIM Card |  | B-108 | HITSAN |  |  | Internal | Institution |  | Blank Sim cards for experiments related to communication lab | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
Webcam |  | B-108 | Logitech | C922 |  | External | Vphore Labs |  |  | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization
Bluetooth Beacons IP65 AA Battery Broadcast accelerometer Information |  | B-108 |  |  |  | External | Vphore Labs |  |  | Electrical Engineering and Computer Science | Electrical Engineering Lab |  |  | Up | Characterization