## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Rate/Hr | Refernce Website | Equipment Status | Category
CHNSO Element Analyzer (CHNS) | CHNS |  | Thermo Finnigan Italy | FLASH EA 1112 Series |  |  |  |  | Estimation of CHN/CHNS/O in percentage level to high concentration level. | Sophisticated Analytical Instruments Facility (SAIF) |  |  |  | Up | Analytical Measurement
Electron Spin Resonance Spectrometer (ESR) | ESR |  | JEOL Japan | JES FA200 ESR Spectrometer with X and Q Band |  |  |  |  | EStandard Frequency (X band) - 8.75-9.65 GHz | Sophisticated Analytical Instruments Facility (SAIF) |  |  |  | Up | Characterization
Field Emission Gun Scanning Electron Microscopes (FEGSEM) | FEGSEM |  |  | JSM-7600F | [5 empty] | Sophisticated Analytical Instruments Facility (SAIF) |  |  |  | Up | Characterization
FTIR Imaging System |  |  | Bruker Germany | 3000 | [5 empty] | Sophisticated Analytical Instruments Facility (SAIF) |  |  |  | Up | Characterization
Gas Chromatograph with High Resolution Mass Spectrometer (GCHRMS) | GCHRMS |  | Jeol | AccuTOF GCV | [5 empty] | Sophisticated Analytical Instruments Facility (SAIF) |  |  |  | Up | Characterization
ICP Atomic Emission Spectroscopy (ICPAES) | ICPAES |  | SPECTRO Analytical Instruments GmbH Germany | ARCOS | [5 empty] | Sophisticated Analytical Instruments Facility (SAIF) |  |  |  | Up | Characterization
High Resolution Inductively Coupled Plasma Mass Spectrometer (ICPMS) | ICPMS |  | Thermo Fisher Scientific Germany | Element XR |  |  |  |  | Magnetic Sector (High Resolution) Inductively Coupled Plasma Mass SpectrometerSystem with all required accessories like cooling water system and various mass flow Controllers for Argon and Helium Gas with Laser Ablation System | Sophisticated Analytical Instruments Facility (SAIF) |  |  |  | Up | Characterization
High Resolution Liquid Chromatograph Mass Spectrometer |  |  | Agilent Technologies USA | [5 empty] | 1290 Infinity UHPLC System,1260 infinity Nano HPLC with Chipcube, 6550 iFunnel Q-TOFs | Sophisticated Analytical Instruments Facility (SAIF) |  |  |  | Up | Characterization
Q Exactive Plus Biopharma High Resolution Orbitrap Liquid Chromatograph Mass Spectrometer |  |  | Thermo Fischer Scientific Pt. Ltd | [5 empty] | Q-Exactive Plus Biopharma-High Resolution Orbitrap | Sophisticated Analytical Instruments Facility (SAIF) |  |  |  | Up | Characterization
Liquid Chromatograph Mass Spectrometer |  |  | Varian Inc USA | [5 empty] | 410 Prostar Binary LC with 500 MS IT PDA Detectors | Sophisticated Analytical Instruments Facility (SAIF) |  |  |  | Up | Characterization
Nuclear Magnetic Resonance Spectrometer |  |  | Varian USA | [5 empty] | Mercury Plus 300MHz NMR SPECTROMETER | Sophisticated Analytical Instruments Facility (SAIF) |  |  |  | Up | Characterization
Nuclear Magnetic Resonance Spectrometer 600 MHz |  |  | JEOL Japan | ECZR Series |  |  |  |  | 600 MHz NMR SPECTROMETER | Sophisticated Analytical Instruments Facility (SAIF) |  |  |  | Up | Characterization
Thermal Analysis System |  |  | Perkin Elmer USA | Diamond TG/DTA | [5 empty] | Sophisticated Analytical Instruments Facility (SAIF) |  |  |  | Up | Characterization
Field Emission Gun Transmission Electron Microscope 300 Kv |  |  | FEI | Tecnai G2 F30 | [5 empty] | Sophisticated Analytical Instruments Facility (SAIF) |  |  |  | Up | Characterization
Transmission Electron Microscope (TEM) | TEM |  | PHILIPS | CM 200 |  |  |  |  | Operating voltages : 20-200kv Resolution :2.4 Ao | Sophisticated Analytical Instruments Facility (SAIF) |  |  |  | Up | Characterization
Time of Flight Secondary Ion Mass Spectrometer (TOFSIMS) | TOFSIMS |  | Physical Electronics | PHI TRIFT V NANO TOF | [5 empty] | Sophisticated Analytical Instruments Facility (SAIF) |  |  |  | Up | Characterization
Small Angle X-ray Scattering (SAXS) | SAXS |  | Xenocs SAS | Xeuss 2.0 | [5 empty] | Sophisticated Analytical Instruments Facility (SAIF) |  |  |  | Up | Characterization
Broadband Dielectric Spectrometer (BDS) Facility | BDS | [8 empty] | Sophisticated Analytical Instruments Facility (SAIF) |  |  |  | Up | Analytical Measurement
Conductive Atomic Force Microscope (cAFM) | Cafm | [8 empty] | Sophisticated Analytical Instruments Facility (SAIF) |  |  |  | Up | Characterization
CRYO FEG SEM Facility | [9 empty] | Sophisticated Analytical Instruments Facility (SAIF) |  |  |  | Up | Characterization
GC GC TOF MS Facility | [9 empty] | Sophisticated Analytical Instruments Facility (SAIF) |  |  |  | Up | Characterization
Hall Measurement System (HMS) | HMS | [8 empty] | Sophisticated Analytical Instruments Facility (SAIF) |  |  |  | Up | Analytical Measurement
MALDI TOF TOF Facility | [9 empty] | Sophisticated Analytical Instruments Facility (SAIF) |  |  |  | Up | Characterization
Scanning Probe Microscopy (SPM) Facility | SPM | [8 empty] | Sophisticated Analytical Instruments Facility (SAIF) |  |  |  | Up | Characterization