## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Rate/Hr | Refernce Website | Equipment Status | Category
3D Printer | 3D Printer | 3 D Lab Workshop Building | Raise 3D | Pro 2 Plus |  | Internal | IIT Delhi |  | Fused deposide machine (25*25*50 CM) |  |  |  |  | Up | Fabrication
Atomic Force Microscope (AFM) | AFM | Block IV, Room No. 243 | Asylum Research | Asylum Research MFP3D-SA |  | Internal | IIT Delhi |  | Imaging Modes, Contact Mode, Force Spectroscopy | Department of Applied Mechanics |  |  |  | Up | Characterization
Atomic Absorption Spectrometer (AAS) | AAS | Block I, Room No. 233 | Thermo Fisher Scientific |  |  | Internal | IIT Delhi |  | Metel Analysis | Department of Biochemical Engineering and Biotechnology |  |  |  | Up | Testing
Biomedical Atomic Force Microscopes (BioAFM) | BIOAFM | MG-2 Mass Spectrometry Laboratory, Ground Floor | Bruker | Neno Scope 8.1 |  | Internal | IIT Delhi |  | Image Morphology of Soft samples | Kusuma School of Biological Sciences |  |  |  | Up | Characterization
Contact Angle (CA) | CA | TX-103D, Ground Floor | Kruss | DSA100 |  | Internal | IIT Delhi |  | Liquid samples Contact Angle | Department of Materials Science and Engineering |  |  |  | Up | Testing
Confocal Facility (CF) | CF | Kusuma School of Biological Sciences | Olympus | IX83 |  | Internal | IIT Delhi |  | Confocal Micoscope | Kusuma School of Biological Sciences |  |  |  | Up | Testing
Cryo HR TEM | CryoTEM | EM Laboratory, Ground Floor | FEI | FEI Tecnai TF20 |  | Internal | IIT Delhi |  | 200 KV | Department of Biochemical Engineering and Biotechnology |  |  |  | Up | Testing
Elemental Analyser (EA) | EA | Instrument Lab, Block I, Room No. 233 | Elemental USA | REQ |  | Internal | IIT Delhi |  | CHNS Analyser | Department of Biochemical Engineering and Biotechnology |  |  |  | Up | Testing
ESI-LC-MS | ESILCMS | MG-2 Mass Spectrometry Laboratory, Ground Floor | Bruker | Bruker amaZon SL Mass Spectrometer |  | Internal | IIT Delhi |  | LC MS | Kusuma School of Biological Sciences |  |  |  | Down | Testing
Fluorescence Activated Cell Sorter (FACS) | FACS | FACS Room, Ground Floor | BD FACS | BD FACS Aria III |  | Internal | IIT Delhi |  | Cellular uptake studies, Cancer Studies,Detection of apoptosis with Annexin V | Kusuma School of Biological Sciences |  |  |  | Up | Testing
Field Emission Scanning Electron Microscope (FESEM) with Energy Dispersive Spectrometer (EDS) | FESEMEDS | Ex- Hall Room No. MS 108 | FEI | FEI Quanta 200 F SEM |  | External | DST |  | FESEM with megnification 50 x 100000 x with SDD Detected for EDX | Department of Textile Technology |  |  |  | Down | Testing
Fluorometer | Fluorimeter |  | Perkin Alimener | LS-5 |  |  |  |  | Well Plate Detector | Department of Biochemical Engineering and Biotechnology |  |  |  | Up | Testing
Fast protein liquid chromatography (FPLC) | FPLC | Instrument Lab, Block I, Room No. 233 | GE Healthcare Life Sciences | AKTA Explorer |  | Internal | IIT Delhi |  | To analyze or purify mixtures of proteins. Separation is possible | Department of Biochemical Engineering and Biotechnology |  |  |  | Up | Testing
Fourier Transform Infrared Spectroscopy (FTIR) | FTIR | Block-I, Room No. 107 | Thermo Fisher Scientific |  |  | External | ONCG |  | IR Spectrum | Department of Chemical Engineering |  |  |  | Down | Characterization
Gas Chromatography (GC) | GC | Instrument Lab, Block I, Room No. 233 | Agilent | 7890 |  | Internal | IIT Delhi |  | Gas and Liquid Anlyser | Department of Biochemical Engineering and Biotechnology |  |  |  | Up | Testing
Gas Chromatography Mass Spectroscopy (GCMS) | GCMS | Instrument Lab, Block I, Room No. 233 | Agilent |  |  | Internal | IIT Delhi |  | Mass psctromeetry | Department of Biochemical Engineering and Biotechnology |  |  |  | Down | Research Equipment
Glass Blowing Workshop | Glass Blowing Lab | Glass Blowing Workshop, Central Facility, MS-739, 6th Floor |  |  |  | Internal | IIT Delhi |  | Glass Fecrication, Rotajet Burner with 6 Nozels | Department of Chemistry |  |  |  | Up | Fabrication
HPLC 1100 | HPLC | Instrument Lab, Block I, Room No. 233 | Agilent | 1100 |  | Internal | IIT Delhi |  | used for precise measurement of the concentrations of individual compounds in a mixture | Department of Biochemical Engineering and Biotechnology |  |  |  | Up | Testing
HPLC 1200-1 | HPLC | Instrument Lab, Block I, Room No. 233 | Agilent | 1200-1 |  | Internal | IIT Delhi |  | used for precise measurement of the concentrations of individual compounds in a mixture | Department of Biochemical Engineering and Biotechnology |  |  |  | Up | Testing
HPLC 1200-2 | HPLC | Instrument Lab, Block I, Room No. 233 | Agilent | 1200-2 |  | Internal | IIT Delhi |  | used for precise measurement of the concentrations of individual compounds in a mixture | Department of Biochemical Engineering and Biotechnology |  |  |  | Up | Testing
HPLC 1260 | HPLC | Instrument Lab, Block I, Room No. 233 | Agilent | 1260 |  | Internal | IIT Delhi |  | used for precise measurement of the concentrations of individual compounds in a mixture | Department of Biochemical Engineering and Biotechnology |  |  |  | Up | Testing
High Resolution Transmission Electron Microscope (HRTEM) | HRTEM | V1 Block, Room No. 112 | FEI | Tecnai™ G2 20 |  | Internal | IIT Delhi |  | high performance with versatility | Department of Physics |  |  |  | Down | Testing
Inductively Coupled Plasma Mass Spectrometry (ICPMS) | ICPMS | ICP-MS Lab, Block- I, Room No. 233 C | Agilent | ICP MS 7900 |  | Internal | IIT Delhi |  | ICP MS of Solid And Liquid Samples | Department of Biochemical Engineering and Biotechnology |  |  |  | Up | Testing
Laser Cutter | Laser Cutter | 3 D Lab Workshop Building | Epilog Laser | Helix |  | Internal | IIT Delhi |  | Cutting Instument for 18 inch * 24 inch |  |  |  |  | Up | Fabrication
Liquid Nitrogen (LN2) | LN2 | Block-I, Ground Floor Room No. 4 |  |  |  | Internal | IIT Delhi |  | Supply for Liquid Nitrogen Only |  |  |  |  | Up | Research Equipment
Matrix Assissted Laser Desorption Ionization Mass Spectrometry (MALDIMS) | MALDIMS | MG-2 Mass Spectrometry Laboratory, Ground Floor | Bruker | Ultrafle Xtreme MALDI-TOF/TOF |  | Internal | IIT Delhi |  | MALDI for intact mass | Kusuma School of Biological Sciences |  |  |  | Down | Testing
Micro Raman Spectroscope | MicroRaman | Room No. Tx 110 | Renishaw plc | Micro Raman Spectrometer |  | External | DST |  | Raman Spectrometer | Department of Textile Technology |  |  |  | Up | Testing
NMR 300 MHz Liquid Probe (NMR LP) | NMR LP | Department of Chemistry | Bruker | NMR 300 Mhz |  | Internal | IIT Delhi |  | NMR 300 MHz | Department of Chemistry |  |  |  | Down | Testing
NMR 400 MHz Liquid Probe | NMR400MHz | Department of Chemistry | Bruker | NMR 400 Mhz |  | Internal | IIT Delhi |  | NMR 400 Mhz liquid prob | Department of Chemistry |  |  |  | Up | Testing
NMR 400 MHz Solid and Liquid | NMRMHSL | Room No. Tx 110 | JEOL | JNM-ECA Series (Delta V4.3)-400 MHz-FT-NMR |  | External | DST |  | NMR 400 Mhz for Solid and Liquid Samples | Department of Textile Technology |  |  |  | Up | Testing
NMR 500 MHz Liquid Probe | NMR Mhz500 | Department of Chemistry | Bruker | NMR 500 Mhz |  | Internal | IIT Delhi |  | NMR 500 Mhz | Department of Chemistry |  |  |  | Up | Testing
RF and Microwave Measurement | RFMM | RF and Microwave Lab | Anritsu, Hittite | MS2719B |  | Internal | IIT Delhi |  | DAMS Antenna Measurement Studio, Spectrum Analyzer, RF Signal Generator Rotor, Tripod, Controlling Unit. | Centre for Applied Research in Electronics |  |  |  | Up | Testing
Scanning Electron Microscope (SEM) and EDX | SEM | Room No. Tx 118 | Carl Zeiss, Bruker | EVO 50, EVO 18 |  | Internal | IIT Delhi |  | Megnification from 50x to 100 kx with Edx | Department of Textile Technology |  |  |  | Up | Characterization
SPR Spectroscopy | SPRS | Block III, Room No. 02 | GE Healthcare Life Sciences | Biacore 3000 |  | Internal | IIT Delhi | [6 empty] | Up | Testing
Superconducting Quantum Interference Device (SQUID) Magnetometer | SQUID | Room No. MS-305 | Quantam Design | MPMS XL7 |  | External | DST |  | Magnetic field range -7T to +7T ( with resolution of 1 Oe) | Department of Physics |  |  |  | Up | Testing
Transmission Electron Microscopy (TEM) | TEM | Main Building, MS-108 | JEOL JEM-1400 | JEM-1400 |  | Internal | IIT Delhi |  | TEM with EDX |  |  |  |  | Up | Characterization
Transmission Electron Microscopy (TEM) | TEM | Main Building, MS-108 | JEOL JEM-1400 | JEM-1400 |  | Internal | IIT Delhi |  | TEM with EDX |  |  |  |  | Up | Characterization
X-Ray Diffractometer (XRD) | XRD | Room No. Tx 118 | PANalytical Netherlands | X Pert PRO |  | Internal | IIT Delhi |  | Powder XRD | Department of Textile Technology |  |  |  | Down | Characterization
Ultramicrotome (UM) | UM | Room No. Tx 118 | Leica | UC6 |  | Internal | IIT Delhi |  | Ultra Mitotome | Department of Textile Technology |  |  |  | Up | Testing