## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Rate/Hr | Refernce Website | Equipment Status | Category
Real Time PCR | [9 empty] | Department of Biomedical Engineering |  |  |  | Up | Characterization
3D Bioprinter | [9 empty] | Department of Biomedical Engineering |  |  |  | Up | Fabrication
Fluorescent Microscope | [9 empty] | Department of Biomedical Engineering |  |  |  | Up | Characterization
Instron Mechanical Testing Machine | [9 empty] | Department of Biomedical Engineering |  |  |  | Up | Characterization
Plate Reader for Absorbance | [9 empty] | Department of Biomedical Engineering |  |  |  | Up | Characterization
Plate Reader for Fluroescence | [9 empty] | Department of Biomedical Engineering |  |  |  | Up | Characterization
Plate Reader for Luminiscence | [9 empty] | Department of Biomedical Engineering |  |  |  | Up | Characterization
CO2 Incubator | [9 empty] | Department of Biomedical Engineering |  |  |  | Up | Characterization
Electrophoresis System | [9 empty] | Department of Biomedical Engineering |  |  |  | Up | Characterization
Blotting System | [9 empty] | Department of Biomedical Engineering |  |  |  | Up | Characterization
BioDrop DUO UV-Vis Spectrophotometer | [9 empty] | Department of Biomedical Engineering |  |  |  | Up | Characterization
Magnetic Stirrer | [9 empty] | Department of Biomedical Engineering |  |  |  | Up | Fabrication
Inverted Microscope | [9 empty] | Department of Biomedical Engineering |  |  |  | Up | Characterization
Vortex Mixer | [9 empty] | Department of Biomedical Engineering |  |  |  | Up | Fabrication
Hot Plate Stirrer | [9 empty] | Department of Biomedical Engineering |  |  |  | Up | Fabrication
Circulating Water Baths | [9 empty] | Department of Biomedical Engineering |  |  |  | Up | Characterization
Ice Flaker | [9 empty] | Department of Biomedical Engineering |  |  |  | Up | Characterization
Orbital Shaker | [9 empty] | Department of Biomedical Engineering |  |  |  | Up | Characterization
Centrifuges | [9 empty] | Department of Biomedical Engineering |  |  |  | Up | Characterization
Electronic Balance | [9 empty] | Department of Biomedical Engineering |  |  |  | Up | Analytical Measurement
Tissue Homogenizer | [9 empty] | Department of Biomedical Engineering |  |  |  | Up | Characterization
PCR Mastercycler | [9 empty] | Department of Biomedical Engineering |  |  |  | Up | Characterization
Autoclave | [9 empty] | Department of Biomedical Engineering |  |  |  | Up | Fabrication
-80C Freezer | [9 empty] | Department of Biomedical Engineering |  |  |  | Up | Characterization
Lyophilizer | [9 empty] | Department of Biomedical Engineering |  |  |  | Up | Characterization
Shaker Incubator | [9 empty] | Department of Biomedical Engineering |  |  |  | Up | Characterization
Fast Performance Liquid Chromatography (FPLC) | FPLC | [8 empty] | Department of Biotechnology |  |  |  | Up | Characterization
Cytometer | [9 empty] | Department of Biotechnology |  |  |  | Up | Analytical Measurement
Multimode Plate Reader | [9 empty] | Department of Biotechnology |  |  |  | Up | Characterization
Sonicator | [9 empty] | Department of Biotechnology |  |  |  | Up | Characterization
PCR | [9 empty] | Department of Biotechnology |  |  |  | Up | Characterization
MAX XP Ultracentrifuge |  |  | Beckman Coulter | [6 empty] | Department of Biotechnology |  |  |  | Up | Characterization
UV-Visible Spectrophotometer |  |  | Beckman Coulter | [6 empty] | Department of Biotechnology |  |  |  | Up | Characterization
Multi Mode Plate Reader | [9 empty] | Department of Biotechnology |  |  |  | Up | Analytical Measurement
Microscope | [9 empty] | Department of Biotechnology |  |  |  | Up | Characterization
Microscope | [9 empty] | Department of Biotechnology |  |  |  | Up | Characterization
Digesdahl Apparatus |  |  | Hach | [5 empty] | Digestion of solid and liquid samples prior to analysis | Department of Civil Engineering | Environmental Engineering Lab |  |  | Up | Characterization
ICP-MS | [8 empty] | CRI 11 Universal analysis mode provides fast and accurate results for samples rountinely encounted across the wide range of environmental and industrial monitoring processes. | Department of Civil Engineering | Environmental Engineering Lab |  |  | Up | Characterization
TOC L Analyser | [8 empty] | Total organic carbon(TOC) analyzers are used to evaluate the total amount of organic matter in water from the amount of carbon it contains | Department of Civil Engineering | Environmental Engineering Lab |  |  | Up | Analytical Measurement
GCMS | [8 empty] | Biogas analysis and analysis of organic in water/waste water samples | Department of Civil Engineering | Environmental Engineering Lab |  |  | Up | Characterization
Orbital Incubator Shaker | [9 empty] | Department of Civil Engineering | Environmental Engineering Lab |  |  | Up | Characterization
Autoclave | [8 empty] | Autoclaving biological samples | Department of Civil Engineering | Environmental Engineering Lab |  |  | Up | Fabrication
Temperature Meter | [9 empty] | Department of Civil Engineering | Environmental Engineering Lab |  |  | Up | Characterization
Real Time PCR | [8 empty] | Microbial community characterization. | Department of Civil Engineering | Environmental Engineering Lab |  |  | Up | Characterization
BOD Incubator | [8 empty] | B.O.D. Incubator is widely used in industrial purposes, bio-tech sector, pharmaceutical industry and medical research. | Department of Civil Engineering | Environmental Engineering Lab |  |  | Up | Characterization
Aerobic Anaerobic Respirometer | [9 empty] | Department of Civil Engineering | Environmental Engineering Lab |  |  | Up | Analytical Measurement
COD Digester DBR 200 |  |  | HACH | [5 empty] | Digestion of wastewater samples prior to COD analysis | Department of Civil Engineering | Environmental Engineering Lab |  |  | Up | Characterization
Infrared Moisture Meter | [8 empty] | Rapid and accurate measurement of moisture content of the material | Department of Civil Engineering | Geotechnical Engineering Lab |  |  | Up | Analytical Measurement
Soil Cone Penetrometer | [8 empty] | Determination of liquid limit simply and quickly | Department of Civil Engineering | Geotechnical Engineering Lab |  |  | Up | Analytical Measurement
Permeability Test Falling Head Method | [8 empty] | Determination of coefficient of permeability of remoulded or undisturbed fine grained soil | Department of Civil Engineering | Geotechnical Engineering Lab |  |  | Up | Characterization
Permeability Test Constant Method | [8 empty] | Determination of coefficient of permeability of coarse grained soil | Department of Civil Engineering | Geotechnical Engineering Lab |  |  | Up | Characterization
Consolidation Test | [8 empty] | Determination of settlement of clayey soil | Department of Civil Engineering | Geotechnical Engineering Lab |  |  | Up | Characterization
California Bearing Ratio | [8 empty] | Determination of Relative bearing ratio and expansion characteristic under known surcharge weight of base, sub-base and subgrade soils for the design of roads,pavements and runways | Department of Civil Engineering | Geotechnical Engineering Lab |  |  | Up | Characterization
Laboratory Vane Shear | [8 empty] | Relationship designed for conducting in-situ Vane Shear Test from the bottom of the bore hole in saturated cohesive deposits, for determining their in-place shearing resistance | Department of Civil Engineering | Geotechnical Engineering Lab |  |  | Up | Characterization
Triaxial Test Apparatus | [8 empty] | To determine the shear strength parameters of soil | Department of Civil Engineering | Geotechnical Engineering Lab |  |  | Up | Characterization
Direct Shear | [8 empty] | To determine the shear strength parameters of soil | Department of Civil Engineering | Geotechnical Engineering Lab |  |  | Up | Characterization
Compaction | [8 empty] | Determination of maximum dry density and optimum moisture content | Department of Civil Engineering | Geotechnical Engineering Lab |  |  | Up | Characterization
Universal Automatic Compactor | [8 empty] | To compact the soil sample for sample prepartion | Department of Civil Engineering | Geotechnical Engineering Lab |  |  | Up | Characterization
Bending Moments and Shear Force in a Beam | [8 empty] | Bending moment variation at the point of loading | Department of Civil Engineering | Strength of Materials Lab |  |  | Up | Characterization
Unsymmetrical Bending and Shear Centre | [8 empty] | Horizontal and vertical deflection of different asymmetrical sections at various angles | Department of Civil Engineering | Strength of Materials Lab |  |  | Up | Characterization
Pin Jointed Frameworks | [8 empty] | Study of strains, stresses, forces and deflections in various frameworks including a warren girder and roof truss | Department of Civil Engineering | Strength of Materials Lab |  |  | Up | Analytical Measurement
Plastic Bending of Portals | [9 empty] | Department of Civil Engineering | Strength of Materials Lab |  |  | Up | Characterization
Frame Deflections and Reactions | [9 empty] | Department of Civil Engineering | Strength of Materials Lab |  |  | Up | Analytical Measurement
Pulse Laser Deposition | [9 empty] | Department of Materials Science and Metallurgical Engineering | Synthesis and Processing |  |  | Up | Fabrication
E-Beam Deposition | [9 empty] | Department of Materials Science and Metallurgical Engineering | Synthesis and Processing |  |  | Up | Fabrication
Electrochemical Analyzer | [9 empty] | Department of Materials Science and Metallurgical Engineering | Synthesis and Processing |  |  | Up | Characterization
Rolling Mill | [9 empty] | Department of Materials Science and Metallurgical Engineering | Synthesis and Processing |  |  | Up | Fabrication
TEM | [9 empty] | Department of Materials Science and Metallurgical Engineering | Microstructure and Mechanical Property Analysis |  |  | Up | Characterization
SEM EBSD | [9 empty] | Department of Materials Science and Metallurgical Engineering | Microstructure and Mechanical Property Analysis |  |  | Up | Characterization
Optical Microscopes | [9 empty] | Department of Materials Science and Metallurgical Engineering | Microstructure and Mechanical Property Analysis |  |  | Up | Characterization
Nanoindenter | [9 empty] | Department of Materials Science and Metallurgical Engineering | Microstructure and Mechanical Property Analysis |  |  | Up | Characterization
Ion Milling | [9 empty] | Department of Materials Science and Metallurgical Engineering | Microstructure and Mechanical Property Analysis |  |  | Up | Fabrication
Universal Testing Machine | [9 empty] | Department of Materials Science and Metallurgical Engineering | Microstructure and Mechanical Property Analysis |  |  | Up | Characterization
Hardness Tester | [9 empty] | Department of Materials Science and Metallurgical Engineering | Microstructure and Mechanical Property Analysis |  |  | Up | Characterization
Pin on Disk Wear | [9 empty] | Department of Materials Science and Metallurgical Engineering | Microstructure and Mechanical Property Analysis |  |  | Up | Characterization
Dilatometer | [9 empty] | Department of Materials Science and Metallurgical Engineering | Microstructure and Mechanical Property Analysis |  |  | Up | Analytical Measurement
Induction Melting Furnace | [9 empty] | Department of Materials Science and Metallurgical Engineering | Furnaces |  |  | Up | Fabrication
High Temperature Vacuum Furnace | [9 empty] | Department of Materials Science and Metallurgical Engineering | Furnaces |  |  | Up | Fabrication
Infrared Rapid Heating Furnace | [9 empty] | Department of Materials Science and Metallurgical Engineering | Furnaces |  |  | Up | Fabrication
Maffle Furnace | [9 empty] | Department of Materials Science and Metallurgical Engineering | Furnaces |  |  | Up | Fabrication
Tube Furnace | [9 empty] | Department of Materials Science and Metallurgical Engineering | Furnaces |  |  | Up | Fabrication
Salt Bath Furnace | [9 empty] | Department of Materials Science and Metallurgical Engineering | Furnaces |  |  | Up | Fabrication
Autoclave | [9 empty] | Department of Materials Science and Metallurgical Engineering | Furnaces |  |  | Up | Fabrication
Surface Area Bet | [9 empty] | Department of Materials Science and Metallurgical Engineering | Functional Properties Characterization |  |  | Up | Characterization
Thin Film XRD | [9 empty] | Department of Materials Science and Metallurgical Engineering | Functional Properties Characterization |  |  | Up | Characterization
Confocal Raman | [9 empty] | Department of Materials Science and Metallurgical Engineering | Functional Properties Characterization |  |  | Up | Characterization
UV-Visible Spectrometer | [9 empty] | Department of Materials Science and Metallurgical Engineering | Functional Properties Characterization |  |  | Up | Characterization
Ovens | [9 empty] | Department of Materials Science and Metallurgical Engineering |  |  |  | Up | Fabrication
Incubator Shaker | [9 empty] | Department of Materials Science and Metallurgical Engineering |  |  |  | Up | Fabrication
Freeze Drier | [9 empty] | Department of Materials Science and Metallurgical Engineering |  |  |  | Up | Characterization
Glove Box | [9 empty] | Department of Materials Science and Metallurgical Engineering |  |  |  | Up | Fabrication
Glass Vacuum Sealing | [9 empty] | Department of Materials Science and Metallurgical Engineering |  |  |  | Up | Fabrication
Turbo Mixer | [9 empty] | Department of Materials Science and Metallurgical Engineering |  |  |  | Up | Fabrication
Edm Wire Cutting | [9 empty] | Department of Materials Science and Metallurgical Engineering |  |  |  | Up | Fabrication
Data Acquisition System | [9 empty] | Department of Mechanical Engineering | Acoustics Lab |  |  | Up | Analytical Measurement
Advanced Sound Level Meter | [9 empty] | Department of Mechanical Engineering | Acoustics Lab |  |  | Up | Analytical Measurement
Impedance Tube | [9 empty] | Department of Mechanical Engineering | Acoustics Lab |  |  | Up | Analytical Measurement
Modal Exciter | [9 empty] | Department of Mechanical Engineering | Acoustics Lab |  |  | Up | Fabrication
Portable Shaker with Amplifier Mini Shaker | [9 empty] | Department of Mechanical Engineering | Acoustics Lab |  |  | Up | Characterization
Sound Source | [9 empty] | Department of Mechanical Engineering | Acoustics Lab |  |  | Up | Analytical Measurement
Damping Measurement System Oberst Set Apparatus | [9 empty] | Department of Mechanical Engineering | Acoustics Lab |  |  | Up | Analytical Measurement
Sound Quality Measurement System Squadriga II | [9 empty] | Department of Mechanical Engineering | Acoustics Lab |  |  | Up | Analytical Measurement
Impact Impulse Hammer | [9 empty] | Department of Mechanical Engineering | Acoustics Lab |  |  | Up | Characterization
Laser Shaft Alignment | [9 empty] | Department of Mechanical Engineering | Acoustics Lab |  |  | Up | Analytical Measurement
Basic Sound Level Meter | [9 empty] | Department of Mechanical Engineering | Acoustics Lab |  |  | Up | Analytical Measurement
Handheld Vibration Meter | [9 empty] | Department of Mechanical Engineering | Acoustics Lab |  |  | Up | Analytical Measurement
Impedance Head | [9 empty] | Department of Mechanical Engineering | Acoustics Lab |  |  | Up | Analytical Measurement
Laser Vibrometer | [9 empty] | Department of Mechanical Engineering | Acoustics Lab |  |  | Up | Analytical Measurement
Digital Anemometer | [9 empty] | Department of Mechanical Engineering | Acoustics Lab |  |  | Up | Analytical Measurement
3D Printer | [9 empty] | Department of Mechanical Engineering | CAD CAM Lab |  |  | Up | Fabrication
Coordinate Measuring Machine (CMM) | CMM | [8 empty] | Department of Mechanical Engineering | CAD CAM Lab |  |  | Up | Analytical Measurement
CNC Mini Lathe | [9 empty] | Department of Mechanical Engineering | CAD CAM Lab |  |  | Up | Fabrication
CNC Vertical Machining Center | [9 empty] | Department of Mechanical Engineering | CAD CAM Lab |  |  | Up | Fabrication
EDM Hole Drilling | [9 empty] | Department of Mechanical Engineering | CAD CAM Lab |  |  | Up | Fabrication
Form Measuring Station | [9 empty] | Department of Mechanical Engineering | CAD CAM Lab |  |  | Up | Analytical Measurement
Injection Molding System | [9 empty] | Department of Mechanical Engineering | CAD CAM Lab |  |  | Up | Fabrication
Microhardness Tester | [9 empty] | Department of Mechanical Engineering | CAD CAM Lab |  |  | Up | Characterization
Measuring Microscope | [9 empty] | Department of Mechanical Engineering | CAD CAM Lab |  |  | Up | Characterization
Profile Projector | [9 empty] | Department of Mechanical Engineering | CAD CAM Lab |  |  | Up | Analytical Measurement
Residual Stress Measurement System XRD | [9 empty] | Department of Mechanical Engineering | CAD CAM Lab |  |  | Up | Characterization
Robotic Welding Station | [9 empty] | Department of Mechanical Engineering | CAD CAM Lab |  |  | Up | Fabrication