## Sheet1
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Rate/Hr | Refernce Website | Equipment Status | Category
3D Handheld Scanner |  | CSE Department | Tektronix |  |  | Internal | Institution |  | Mixed Domain Oscilloscope | Discipline of Computer Science and Engineering (CSE) | Department Facility |  |  | Up | Analytical Measurement
Microscope |  | Electrical Engineering | Leica | A60 S |  | Internal | Institution |  | STEREO MICROSCOPE | Department of Electrical Engineering | Electrical Engineering |  |  | Up | Characterization
Spin Coater With Vacuum Pump |  | Electrical Engineering | Aapex | NXGP1AA12 |  | Internal | Institution |  |  | Department of Electrical Engineering | Electrical Engineering |  |  | Up | Fabrication
Digital Ultrasonic Cleaner |  | Electrical Engineering |  | AI-7981 |  | Internal | Institution |  |  | Department of Electrical Engineering | Electrical Engineering |  |  | Up | Fabrication
Hot Oven |  | Electrical Engineering |  |  |  | Internal | Institution |  |  | Department of Electrical Engineering | Electrical Engineering |  |  | Up | Fabrication
DC Regulated Power Supply |  | Electrical Engineering | Zeal | ZMPS200-6 |  | Internal | Institution |  |  | Department of Electrical Engineering | Electrical Engineering |  |  | Up | Characterization
Photodiode Amplifier |  | Electrical Engineering | Thorlabs | PDA200C |  | Internal | Institution |  |  | Department of Electrical Engineering | Electrical Engineering |  |  | Up | Characterization
Dual Ion Beam Sputtering (DIBS) System | DIBS | Electrical Engineering | Elettrorava |  |  | Internal | Institution |  |  | Department of Electrical Engineering | Electrical Engineering |  |  | Up | Fabrication
Solar Simulator |  | Electrical Engineering | Photo Emission Tech Inc |  |  | Internal | Institution |  |  | Department of Electrical Engineering | Electrical Engineering |  |  | Up | Characterization
Photoluminescence Spectroscopy |  | Electrical Engineering | Dong Woo |  |  | Internal | Institution |  |  | Department of Electrical Engineering | Electrical Engineering |  |  | Up | Characterization
Physical Vapour Deposition System Resistive Heating Based |  | Electrical Engineering |  |  |  | Internal | Institution |  |  | Department of Electrical Engineering | Electrical Engineering |  |  | Up | Fabrication
Spin Coater |  | Electrical Engineering | Spinco Instruments |  |  | Internal | Institution |  |  | Department of Electrical Engineering | Electrical Engineering |  |  | Up | Fabrication
Oven |  | Electrical Engineering | Memmert |  |  | Internal | Institution |  |  | Department of Electrical Engineering | Electrical Engineering |  |  | Up | Fabrication
Ultra Sonicator |  | Electrical Engineering | Analab |  |  | Internal | Institution |  |  | Department of Electrical Engineering | Electrical Engineering |  |  | Up | Characterization
Hot Plate with Stirrer |  | Electrical Engineering | Remi |  |  | Internal | Institution |  |  | Department of Electrical Engineering | Electrical Engineering |  |  | Up | Fabrication
Microbalance |  | Electrical Engineering |  |  |  | Internal | Institution |  | Analytical, MH series | Department of Electrical Engineering | Electrical Engineering |  |  | Up | Analytical Measurement
Portable Vacuum Chamber with Accessories |  | Electrical Engineering | HPVT |  |  | Internal | Institution |  |  | Department of Electrical Engineering | Electrical Engineering |  |  | Up | Fabrication
Digital Storage Oscilloscope 70 MHz |  | Electrical Engineering | Tektronix |  |  | Internal | Institution |  |  | Department of Electrical Engineering | Electrical Engineering |  |  | Up | Analytical Measurement
Centrifuge |  | School Building | Remi | R-24 |  | Internal | Institution |  |  | Discipline of Chemistry | Departmental Facility |  |  | Up | Fabrication
Electrochemical Workstation CV |  | School Building | Autolab |  |  | External | CSIR |  |  | Discipline of Chemistry | Departmental Facility |  |  | Up | Characterization
Fluorimeter (FL) | FL | School Building | Horiba | Fluromax |  | External | DST |  |  | Discipline of Chemistry | Departmental Facility |  |  | Up | Analytical Measurement
UV-Visible Spectrometer |  | School Building | PerkinElmer | Lambda 45 |  | External | DST |  |  | Discipline of Chemistry | Departmental Facility |  |  | Up | Characterization
Glove Box |  | School Building | MBraun |  |  | External | Science and Engineering Research Board |  |  | Discipline of Chemistry | Departmental Facility |  |  | Up | Fabrication
Glove Box |  | School Building | MBraun |  |  | External | Science and Engineering Research Board |  |  | Discipline of Chemistry | Departmental Facility |  |  | Up | Fabrication
Microwave |  | School Building | Milestone |  |  | External | Science and Engineering Research Board |  |  | Discipline of Chemistry | Departmental Facility |  |  | Up | Characterization
Centrifuge |  | School Building | Kubota |  |  | Internal | Institute Funds |  |  | Discipline of Chemistry | Departmental Facility |  |  | Up | Fabrication
Spin Coater |  | School Building | Apex |  |  | External | CSIR |  |  | Discipline of Chemistry | Departmental Facility |  |  | Up | Fabrication
GC Instrument |  | School Building | Shimadzu |  |  | External | DST |  |  | Discipline of Chemistry | Departmental Facility |  |  | Up | Characterization
UV-Visible |  | School Building | Agilent Technology |  |  | External | DST |  |  | Discipline of Chemistry | Departmental Facility |  |  | Up | Characterization
Revelers HPLC Purification System |  | School Building | Buchi |  |  | External | DST |  |  | Discipline of Chemistry | Departmental Facility |  |  | Up | Characterization
DLS | DLS | School Building |  |  |  | External | DST |  |  | Discipline of Chemistry | Departmental Facility |  |  | Up | Characterization
Fluorimeter |  | School Building |  |  |  | Internal | Institution |  | Fluoroman for Horiba | Discipline of Chemistry | Departmental Facility |  |  | Up | Analytical Measurement
KrF Laser |  | Physics Department | Coherent | Compex Pro 102 F |  | Internal | Institution |  |  | Discipline of Physics | Departmental Facility |  |  | Up | Fabrication
PLD Chamber 1 |  | Physics Department | Excel Instruments |  |  | Internal | Institution |  |  | Discipline of Physics | Departmental Facility |  |  | Up | Fabrication
PLD Chamber 2 |  | Physics Department | Excel Instruments |  |  | Internal | Institution |  |  | Discipline of Physics | Departmental Facility |  |  | Up | Fabrication
Source Meter |  | Physics Department | Keithley | 2612A |  | Internal | Institution |  |  | Discipline of Physics | Departmental Facility |  |  | Up | Analytical Measurement
Temperature Controller |  | Physics Department | Lakeshore | 332 |  | Internal | Institution |  |  | Discipline of Physics | Departmental Facility |  |  | Up | Fabrication
High Resistance Meter |  | Physics Department | Keithley | 6517B |  | Internal | Institution |  |  | Discipline of Physics | Departmental Facility |  |  | Up | Analytical Measurement
Box Furnace |  | Physics Department | Nabertherm | LHT 04 |  | Internal | Institution |  |  | Discipline of Physics | Departmental Facility |  |  | Up | Fabrication
Tube Furnace 1100 ˚C |  | Physics Department |  | MTI OTF-1200X |  | Internal | Institution |  |  | Discipline of Physics | Departmental Facility |  |  | Up | Fabrication
Tube Furnace 1600˚C |  | Physics Department | VB Ceramic Consultants |  |  | Internal | Institution |  |  | Discipline of Physics | Departmental Facility |  |  | Up | Fabrication
PE Loop Tracer |  | Physics Department | Marine India |  |  | Internal | Institution |  |  | Discipline of Physics | Departmental Facility |  |  | Up | Analytical Measurement
UV-Visible Spectrometer |  | Physics Department |  | Cary 60 |  | Internal | Institution |  |  | Discipline of Physics | Departmental Facility |  |  | Up | Characterization
Precision Voltmeter and Micro Ampere Current Source Meter |  | Physics Department |  | 6221 and 2182A |  | Internal | Institution |  |  | Discipline of Physics | Departmental Facility |  |  | Up | Analytical Measurement
PE Setup |  | Physics Department |  |  |  | Internal | Institution |  | Mine PE | Discipline of Physics | Departmental Facility |  |  | Up | Research Infrastructure
Furnace |  | Physics Department |  | HT Fur 1500 | [5 empty] | Discipline of Physics | Departmental Facility |  |  | Up | Fabrication
RF Power Supply |  | Physics Department |  | Cesar RF |  | Internal | Institution |  |  | Discipline of Physics | Departmental Facility |  |  | Up | Characterization
DC Power Supply |  | Physics Department | Pinnacle |  |  | Internal | Institution |  |  | Discipline of Physics | Departmental Facility |  |  | Up | Characterization
Lock in Amplifier |  | Physics Department | SRS | 860 |  | Internal | Institution |  |  | Discipline of Physics | Departmental Facility |  |  | Up | Characterization
Temperature Controller |  | Physics Department | SRS |  |  | Internal | Institution |  |  | Discipline of Physics | Departmental Facility |  |  | Up | Fabrication
Powder X-ray Diffraction (PXRD) | PXRD | Physics Department | Rigaku |  |  | Internal | Institution |  | SmartLab | Discipline of Physics | Departmental Facility |  |  | Up | Characterization
Atomic Layer Deposition (ALD) | ALD | Physics Department | Beneq | TFS 200-203 |  | Internal | Institution |  |  | Discipline of Physics | Departmental Facility |  |  | Up | Fabrication
High Temperature Tube Furnace |  | Physics Department | Nabertherm | RHTH |  | Internal | Institution |  |  | Discipline of Physics | Departmental Facility |  |  | Up | Fabrication
Glove Box |  | Physics Department | Mbraun | UNIlab Plus |  | Internal | Institution |  |  | Discipline of Physics | Departmental Facility |  |  | Up | Fabrication
Programmable Spin Coating System with UV Curer and Dip Coater |  | Physics Department | Apex | spinNXG-P2 H |  | Internal | Institution |  |  | Discipline of Physics | Departmental Facility |  |  | Up | Fabrication
Electrochemical Analyser |  | Physics Department | CH Instruments | CHI423B |  | Internal | Institution |  |  | Discipline of Physics | Departmental Facility |  |  | Up | Characterization
Spectrophotometer |  | Perkin Elmer | PerkinElmer |  |  | Internal | Institution |  |  | Discipline of Physics | Departmental Facility |  |  | Up | Characterization
DOS Measurement and Physical Quantities Measurement Set Up |  | Physics Department | Quaar Technology |  |  | Internal | Institution |  |  | Discipline of Physics | Departmental Facility |  |  | Up | Analytical Measurement
Keilklerp I-V Meter |  | Physics Department |  |  |  | Internal | Institution |  | Keilklerp | Discipline of Physics | Departmental Facility |  |  | Up | Analytical Measurement
Table Top Powder XRD |  | Physics Department | Bruker | D2 Phaser |  | Internal | Institution |  |  | Discipline of Physics | Departmental Facility |  |  | Up | Characterization
Raman Spectroscopy |  | Physics Department |  | RIRMI5I |  | Internal | Institution |  |  | Discipline of Physics | Departmental Facility |  |  | Up | Characterization
UV-Vis Spectroscopy |  | Physics Department |  | DT 2000 |  | Internal | Institution |  | UV.Vis light source | Discipline of Physics | Departmental Facility |  |  | Up | Characterization