## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Rate/Hr | Refernce Website | Equipment Status | Category
Scanning Electron Microscope (SEM) W filament SEM with EDS Facility | SEM | 112, EM Lab | JEOL | JSM-6010 LA |  | Internal | Institution |  |  | Advanced Centre for Materials Science | Electron Microscopy Lab |  |  | Up | Characterization
Field Emission Scanning Electron Microscope (FESEM) with OIM and In-Situ Facility | FEG-SEM | 112, EM Lab | JEOL | JSM-7100F |  | Internal | Institution |  |  | Advanced Centre for Materials Science | Electron Microscopy Lab |  |  | Up | Characterization
SEM without EDS Facility | SEM | 112, EM Lab | FEI Quanta | Quanta-200 |  | Internal | Institution |  |  | Advanced Centre for Materials Science | Electron Microscopy Lab |  |  | Up | Characterization
Gold Coating Auto Fine Coating Facility |  | 112, EM Lab | JEOL | JEC-300FC |  | Internal | Institution |  |  | Advanced Centre for Materials Science | Electron Microscopy Lab |  |  | Up | Fabrication
Electron Probe Micro Analyser (EPMA) | EPMA | 112, EM Lab | JEOL | JXA-8230 |  | Internal | Institution |  |  | Advanced Centre for Materials Science | Electron Microscopy Lab |  |  | Up | Characterization
Instron 1195 |  | 104, MTL | Instron | Instron-1195 |  | Internal | Institution |  | UTM 100KN, MTS | Advanced Centre for Materials Science | Mechanical Testing Lab |  |  | Up | Characterization
MTS 810 |  | 104, MTL | MTS | MTS-810 |  | Internal | Institution |  | MTS | Advanced Centre for Materials Science | Mechanical Testing Lab |  |  | Up | Characterization
UTM 100 KN |  |  | BISS Bangalore |  |  | Internal | Institution |  | MTS | Advanced Centre for Materials Science | Mechanical Testing Lab |  |  | Up | Characterization
Axial Torsion 100 KN 1500 NM |  |  | BISS Bangalore |  |  | Internal | Institution |  | MTS | Advanced Centre for Materials Science | Mechanical Testing Lab |  |  | Down | Characterization
Creep Test System 50 KN |  |  | BISS Bangalore | Station-1 |  | Internal | Institution |  | Creep frame | Advanced Centre for Materials Science | Mechanical Testing Lab |  |  | Up | Characterization
Slow Strain Rate Mech Test |  | 104, Mater Test Lab | BISS Bangalore |  |  | Internal | Institution |  |  | Advanced Centre for Materials Science | Mechanical Testing Lab |  |  | Up | Characterization
Thermoelectric Measurement System |  | ECF-201, ACMS | ULVAC RICO | ZEM-3M10HR |  | Internal | Institution |  |  | Advanced Centre for Materials Science | Electrical Characterization Facility |  |  | Down | Characterization
Ferro Piezo Pyro Electric Measurement System |  | ECF-201, ACMS | aixACCT Systems GmbH | TF-ANALYZER-2000HS |  | Internal | Institution |  |  | Advanced Centre for Materials Science | Electrical Characterization Facility |  |  | Down | Characterization
Low Temp Cryostat |  | ECF-201, ACMS | Advanced Research Systems Inc | CS204AE-FMX-1AL |  | Internal | Institution |  |  | Advanced Centre for Materials Science | Electrical Characterization Facility |  |  | Up | Characterization
Gold Sputter Coater |  | ECF-201, ACMS | MTI Corporation | GSL-1100X-SPC12 |  | Internal | Institution |  | gold coater | Advanced Centre for Materials Science | Electrical Characterization Facility |  |  | Up | Characterization
NSOM | NSOM | ECF-201, ACMS | Nanonics Imaging Ltd | MultiView 4000 System |  | Internal | Institution |  |  | Advanced Centre for Materials Science | Electrical Characterization Facility |  |  | Up | Characterization
Solartron 1260 |  | ECF-201, ACMS | Solartron Analytical | 1260A |  | Internal | Institution |  | Impedance Analyzer with Smart software | Advanced Centre for Materials Science | Electrical Characterization Facility |  |  | Up | Characterization
Probostat |  | ECF-201, ACMS | Elite Thermal Systems Ltd | TSVH/12/45/305+2216E Furnace |  | Internal | Institution |  | Probostat Compatible Furace (1200 Deegre Centrigrade) | Advanced Centre for Materials Science | Electrical Characterization Facility |  |  | Up | Characterization
Vibrating Sample Magnetometer (VSM) | VSM | 105, Magnetic Lab, ACMS | ADE DMS USA | EV-7 |  | Internal | Institution |  |  | Advanced Centre for Materials Science | Magnetic Lab |  |  | Up | Analytical Measurement
Sheet Resistance Measurement |  | ECF-201, ACMS | Signatone | Pro4-440N |  | Internal | Institution |  |  | Advanced Centre for Materials Science | Electrical Characterization Facility |  |  | Up | Characterization
Ambient to Low Temperature Probe Station along with SCS 4200 |  | ECF-201, ACMS | Advanced Research Systems Inc | PSF-10-1-4 |  | Internal | Institution |  |  | Advanced Centre for Materials Science | Electrical Characterization Facility |  |  | Up | Characterization
Ambient to High Temperature Probe Station along with SCS 4200 |  | ECF-201, ACMS | Signatone | S-1160 Series |  | Internal | Institution |  | Probe Station | Advanced Centre for Materials Science | Electrical Characterization Facility |  |  | Up | Characterization
Table Top Hall Effect Measurement |  | ECF-201, ACMS | Ecopia | HMS-5000 |  | Internal | Institution |  | Hall effect | Advanced Centre for Materials Science | Electrical Characterization Facility |  |  | Up | Characterization
Universal Hardness Tester |  | 108A,Mechanical Lab Extention | TINIUS OLSEM | FH-10 |  | Internal | Institution |  | Hardness scales Brinell, Vickers, Rockwell | Advanced Centre for Materials Science | MT Lab Extension |  |  | Down | Characterization
Panalytical‎ XRD | XRD | 106, XRD Facility Lab | PANalitical Netherlands | X’Pert Powder |  | Internal | Institution |  | powder, thin film, high temp | Advanced Centre for Materials Science | X-Ray Diffraction Facility |  |  | Up | Characterization
Two Circle Diffractometer XRD | XRD | 106, XRD Facility Lab | Rigaku Corporation Japan | Miniflex 600 |  | Internal | Institution |  |  | Advanced Centre for Materials Science | X-Ray Diffraction Facility |  |  | Up | Characterization
Four Circle Diffractometer XRD | XRD | 106, XRD Facility Lab | Rigaku Corporation Japan | Ultima IV |  | Internal | Institution |  | Macrotexture, Residual stress | Advanced Centre for Materials Science | X-Ray Diffraction Facility |  |  | Up | Characterization
WD X-Ray Fluorescence (XRF) | XRF | ACMS-101 | Rigaku | ZSX PRIMUS II |  | Internal | Institution |  | Quatitative analysis of major & trace elements | Advanced Centre for Materials Science | XRF-IRMS |  |  | Up | Analytical Measurement
Isotope Ratio Mass Spectrometer (IRMS) | IRMS | ACMS-101 | Thermo Scientific | Delta V Plus |  | Internal | Institution |  | Stable C, N, & O iaotope ratio determination | Advanced Centre for Materials Science | XRF-IRMS |  |  | Up | Characterization
Surface Area and Pore Size Analyser BET | BET | 113, Thermal Processing Lab | Quantachrome Instuments | AutoSorb IQ - C-XR |  | Internal | Institution |  | Surface area and pore size distribution | Advanced Centre for Materials Science | Thermal Processing Lab |  |  | Up | Characterization
Optical Emission Spectroscopy (OES) | OES | 102, Thermal Processing Lab | Spectro Analytical Instruments | Spectro MaXx |  | Internal | Institution |  | Chemical composition | Advanced Centre for Materials Science | Thermal Processing Lab |  |  | Up | Characterization
X-ray Photoelectron Spectroscopy (XPS) | XPS | 110, XPS Lab | Physical Electronics Inc | PHI 5000 Versa Prob II |  | Internal | Institution |  | XPS, AES, depth profiling with ion gun, C60 for depth profiling | Advanced Centre for Materials Science | Surface Characterization Lab |  |  | Up | Characterization
Optical Microscope (OM) | OM | 112, EM Lab | Carl Zeiss | Imager.Z2m |  | Internal | Institution |  | Research Microscope with Phase contrast, DIC, 50X to 1000X | Advanced Centre for Materials Science | Electron Microscopy Lab |  |  | Up | Characterization
Confocal and Multiphoton Microscope System |  | ACMS, 209 | Carl Zeiss GmbH | LSM780NLO |  | Internal | Institution |  |  | Advanced Centre for Materials Science | Live Cell Imaging Facility |  |  | Up | Characterization
Differential Scanning Calorimeters (DSC) | DSC | 113, Thermal Processing Lab | Perkin Elmer | DSC 8500 |  | Internal | Institution |  | Heat flow Vs Temperature and Time with temperature range -180 to 750°C | Advanced Centre for Materials Science | Thermal Processing Lab |  |  | Up | Characterization
Simultaneous Thermal Analyzer (STA) | STA | 108A, Mechanical Lab Extention | Perkin Elmer | STA 8000 |  | Internal | Institution |  | Heat flow and Weight Change Vs Temperature and Time with temperature range RT-1600 | Advanced Centre for Materials Science | Mechanical Testing Lab Extension |  |  | Up | Characterization
Nano Mechanical Test System |  | 112, EM Lab | Hysitron Inc | TI 750 D |  | Internal | Institution |  | Hardness DMA Mapping scratch load range from 10uN to 10mN, Nano Indentation | Advanced Centre for Materials Science | Electron Microscopy Lab |  |  | Up | Characterization
Micro Indentation Tester |  | 112, EM Lab | CSM Instrunments | MHT-01-05721 |  | Internal | Institution |  | Hardness and scratch with range 30mN to 30N, Micro Indentation, MICRO COMBI TESTER | Advanced Centre for Materials Science | Electron Microscopy Lab |  |  | Up | Characterization
Optical Profilometer |  | 110, Surface Characterization Lab | Bruker AXS Pte Ltd | Contour GT-K |  | Internal | Institution |  | Surface profiling coating thickness Step hight up to 8mm | Advanced Centre for Materials Science | Surface Characterization Lab |  |  | Down | Characterization