## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Rate/Hr | Refernce Website | Equipment Status | Category
3D Optical Surface Profilometer (3D-OSP) Laboratory | 3D-OSP | NB/FF-3 | Bruker Axs Pte Ltd | CONTOUR GT-K |  | External | MHRD |  | NON-CONTACT 3-D OPTICAL PROFILOMETER. | Central Research Facility (CRF) | 3D-OSP Lab |  |  | Up | Characterization
Atomic Force Microscope (AFM) Laboratory | AFM | NB/FF-4 | Agilent Technologies USA | Asilent Model 5500 |  | External | MHRD |  | ATOMIC FORCE MICROSCOPE | Central Research Facility (CRF) | AFM Lab |  |  | Up | Characterization
Analytical Transmission Electron Microscope (Analytical TEM) Laboratory | Analytical TEM | NB/GF-10 | FEI Company USA S.E.A Pte Ltd | TECNAI G2 20 S-TWIN SYSTEM200KV |  | External | MHRD |  | TRANSMISSION ELECTRON MICROSCOPE | Central Research Facility (CRF) | Analytical TEM Lab |  |  | Down | Characterization
Scanning Auger Nanoprobe (SANP) Laboratory | SANP | NB/GF-7 | Physical Electronics USA | PHI710 |  | External | MHRD |  | Scanning Auger Nanoprobe (SAN) integrates a high resolution SEM with a high resolution scanning Auger which provides a very important and unique capability | Central Research Facility (CRF) | SANP Lab |  |  | Up | Characterization
CRYO Analytical HR TEM Laboratory (HRTEM-CRYO) | HRTEM-CRYO | NB/GF-5 | JEOL Asia Pte Ltd | JEM-2100F(HR) |  | External | MHRD |  | CRYO – Analytical HR – TEM | Central Research Facility (CRF) | HRTEM-CRYO |  |  | Up | Characterization
Field Emission Gun Scanning Electron Microscope (FEG-SEM) Laboratory | FEG-SEM | NB/GF-1 | Carl Zeiss Microscopy | MERLIN FEG-SEM |  | External | MHRD |  | Field Emission Gun – Scanning Electron Microscope | Central Research Facility (CRF) | FEG-SEM MARLIN |  |  | Up | Characterization
Field Emission Gun Scanning Electron Microscope (FEG-SEM) Laboratory | FEG-SEM | GF MME Dept R No. 104 | Carl Zeiss Microscopy | Supra 40 |  | External | MHRD |  | Field Emission Gun – Scanning Electron Microscope | Central Research Facility (CRF) | FEG-SEM SUPRA 40 |  |  | Down | Characterization
FIB EBSD 3D Imaging STEM FIB Fabrication and Lithography FIB TEM Sample Preparation Laboatory | FIB | NB/GF-3 | Carl Zeiss Microscopy Germany | ZEISS AURIGA COMPACT |  | External | MHRD |  | FIB EBSD / 3D Imaging / STEM, FIB Fabrication & Lithography, FIB TEM Sample Preparation | Central Research Facility (CRF) | FIB |  |  | Up | Fabrication
Fourier Transformed Infrared Spectroscopy (FTIR) Laboratory | FTIR | NB/FF-2 | Thermo Fisher Scientific India Pvt Ltd | NICOLET 6700 FTIR |  | External | MHRD |  | Fourier Transformed Infra-red Spectroscopy | Central Research Facility (CRF) | FTIR |  |  | Up | Characterization
Hall Effect (HE) Laboratory | HE | NB/FF-8 | Lakeshore Cryotronics USA | 7504 |  | External | MHRD |  | Low voltage , wide Resistance, hall effect measurement | Central Research Facility (CRF) | HE |  |  | Up | Characterization
High Resolution TEM (HRTEM) Laboratory | HRTEM | NB/GF-5 | JEOL | JEOL JEM-2100 |  | External | MHRD |  | High Resolution Transmission Microscope | Central Research Facility (CRF) | HRTEM |  |  | Up | Characterization
High Resolution XRD (HRXRD) Laboratory | HRXRD | OB/FF-3 and 14 | Spectris Pte Ltd | PANalytical X'Pert Pro PW 3040/60 |  | External | MHRD |  | High Resolution – XRD ,X-RAY DIIRACTOMETER | Central Research Facility (CRF) | HR-XRD |  |  | Up | Characterization
INSTRON Laboratory | INSTRON | GF/MME Dept | INSTRON | MK3305 |  | External | MHRD |  | universal testing machine | Metallurgical and Materials Engineering (MME) | INSTRON |  |  | Up | Research Infrastructure
Non Destructive Imaging Laboratory |  | OB/GF-4 | Ge Sensing and Inspection Technologies Germany | V/TOME/X 5240 |  | External | MHRD |  | Non – Destructive Imaging | Central Research Facility (CRF) | MICRO-CT |  |  | Up | Characterization
Nanoindentation and Nano Tribology (NINT) Laboratory | NINT | NB/FF-3 | Hysitron Inc USA | TI 950 TriboIndenter |  | External | MHRD |  | nanoindenter with nano-tribological testing | Central Research Facility (CRF) | NANT |  |  | Up | Characterization
Optical Microscopy and Mechanical Testing (OMMT) Laboratory | OMMT | NB/GF-8 | LEICA | LEICA DMRX |  | External | MHRD |  | Optical Microscopy and Mechanical Testing | Central Research Facility (CRF) | OMMT |  |  | Up | Characterization
Pulsed Electron Spin Paramagnetic Resonance (PEPR) Laboratory | PEPR | OB/GF | Bruker Biospin Germany | BRUKER EMX-10/12 |  | External | MHRD |  | Pulsed Electron Spin Paramagnetic Resonance | Central Research Facility (CRF) | Plused-EPR |  |  | Up | Characterization
Raman Spectrometer Laboratory |  | OB/GF-2 | Jobin Yvon Horiba France | T64000 |  | External | MHRD |  | Triple Raman Spectrometer | Central Research Facility (CRF) | RAMAN |  |  | Up | Characterization
Small Angle X-ray Scattering (SAXS) Laboratory | SAXS | OB/FF-6 | Xenocs Ltd France | SAXS/WAXS HRHP 300-fm |  | External | MHRD |  | Small Angle X – Ray Scattering | Central Research Facility (CRF) | SAXS |  |  | Up | Characterization
Single Crystal X-ray Diffractometer (SCXD) Laboratory | SCXD | OB/FF | Bruker Germany | AXSD8 |  | External | MHRD |  | Single Crystal X-Ray Diffractometer | Central Research Facility (CRF) | SCXD |  |  | Up | Characterization
SQUID Laboratory | SQUID | NB/GF-13 | Quantum USA | MPMS SQUID VSM |  | External | MHRD |  | SQUID | Central Research Facility (CRF) | SQUID |  |  | Down | Characterization
TEM Sample Preparation Laboratory |  | NB/GF-12 |  |  |  | External | MHRD |  |  | Central Research Facility (CRF) | TEM Sample Preparation |  |  | Up | Characterization
Thermal Analysis DSC DTA TGA TMA Laboratory |  | OB/FF-12 | Perkin Elmer Switzerland |  |  | External | MHRD |  | THERMAL ANALYSIS | Central Research Facility (CRF) | Thermal |  |  | Up | Characterization
Vibrating Sample Magnetometer (VSM) Laboratory | VSM | OB/GF-3 | Lakeshore Cryotronics USA | VSM 7410 |  | External | MHRD |  | measure magnetic properties of different kinds of materials | Central Research Facility (CRF) | VSM |  |  | Up | Characterization
ZEISS Scanning Electron Microscope (SEM) Laboratory | SEM | NB/GF-14 | Carl Zeiss | EVO-60 |  | External | MHRD |  | Scanning Electron Microscope | Central Research Facility (CRF) | ZEISS SEM |  |  | Up | Characterization
Analytical Ultracentrifuge Lab |  | School of Bio Science (2nd Floor Sir J.C. Bose Lab Complex) | Beckman Coulter | XL-I |  | External | MHRD |  | Analytical Ultracentrifuge | School of Bio Science | Analytical Ultracentrifuge |  |  | Up | Characterization
Surface Plasmon Resonance (SPR) Laboratory | SPR | School of Bio Science (2nd Floor Sir J.C. Bose Lab Complex) | Ge Healthcare Bio-Science Ltd | BIACORE T200 |  | External | MHRD |  | Surface Plasmon Resonance | School of Bio Science | SPR |  |  | Up | Characterization
Circular Dichroism Spectropolarimetry (CD-SPEC) Laboratory | CD-SPEC | OB/FF-10 |  |  |  | External | MHRD |  | Circular Dichroism Spectropolarimetry | Central Research Facility (CRF) | CD-SPEC |  |  | Down | Characterization
DNA Sequencer Laboratory |  | NB/FF-5 |  |  |  | External | MHRD |  | DNA Sequencer | Central Research Facility (CRF) | DNA Sequencer |  |  | Up | Characterization
Fluorescence Activated Cell Sorter (FACS) Laboratory | FACS | NB / FF-4 and 5 |  | BD ARIA -III |  | External | MHRD |  | Fluorescence Activated Cell Sorter | Central Research Facility (CRF) | FACS |  |  | Up | Characterization
High Pressure Liquid Chromatography (HPLC) Laboratory | HPLC | OB/FF-1 | Agilent Technologies USA |  |  | External | MHRD |  | High Pressure Liquid Chromatography | Central Research Facility (CRF) | HPLC |  |  | Down | Characterization
High Resolution Mass Spectrometry (HRMS) Laboratory | HRMS | OB/FF-5 | Waters Austria | WATERSXEVOG2 |  | External | MHRD |  | High Resolution – Mass Spectrometry | Central Research Facility (CRF) | HR-MS |  |  | Down | Characterization
Isothermal Titration Calorimetry (ITC) Laboratory | ITC | NB/FF-9 | Ge Healthcare Bio-Science Ltd | ITC200 |  | External | MHRD |  | Isothermal Titration Calorimetry | Central Research Facility (CRF) | ITC |  |  | Up | Characterization
Liquid Chromatography MS MS (LCMSMS) Laboratory | LCMSMS | NB/FF-10 | Waters GmbH |  |  | External | MHRD |  | Liquid Chromatography – MS / MS | Central Research Facility (CRF) | LC-MS MS |  |  | Up | Characterization
Matrix Assisted Laser Desorption Ionization (MALDI) Laboratory | MALDI | NB/FF-6 | Bruker Daltonics Germany |  |  | External | MHRD |  | Matrix Assisted Laser Desorption Ionization | Central Research Facility (CRF) | MALDI |  |  | Up | Characterization
Nuclear Magnetic Resonance (NMR) Laboratory 600 MHz | NMR | OB/GF-1 | Bruker | Avance III HD 600 MHz |  | External | MHRD |  | NMR nuclaer magnetic resonance | Central Research Facility (CRF) | NMR |  |  | Up | Characterization
X-ray Protein Crystallography Laboratory |  | NB/GF-4 | Rigaku Americas Corporation | Micromax 007 HFRaxisIV++ X stream 2000 |  | External | MHRD |  | X-ray Protein Crystallography | Central Research Facility (CRF) | XRD-PC |  |  | Up | Characterization